Confined Space Permits

Confined Space Entry Permit

| Date and time issued: | ________________________ | Date and time expires: | ________________________ |
| --- | --- | --- | --- |
| Jobsite/space I.D.: | ________________________ | Job supervisor: | ________________________ |
| Equipment to be worked on: | ________________________ | Work to be performed: | ________________________ |
| Entrants name(s): | ______________________________________________________________________________ |  |  |
| Stand-by personnel: | ______________________________________________________________________________ |  |  |

1. Atmospheric checks:

| Time | __________ |  |
| --- | --- | --- |
| Oxygen | __________ | % |
| Explosive | __________ | % L.F.L. |
| Toxic | __________ | PPM |

2. Tester’s signature: _________________________________________________________

3. Source isolation (no entry):

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Pumps or lines blinded |  |  |  |
| Disconnected or blocked |  |  |  |

4. Ventilation modification:

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Mechanical |  |  |  |
| Natural ventilation only |  |  |  |

5. Atmospheric check after isolation and ventilation:

| Oxygen | ____________ | % | > | 19.5 | <23.5% |
| --- | --- | --- | --- | --- | --- |
| Explosive | ____________ | % L.F.L | < | 10 | % |
| Toxic | ____________ | PPM | < | 10 | H2S PPM |
| Time | ____________ |  |  |  |  |

Tester’s signature: __________________________________________________________________________________________

6. Communication procedures: ________________________________________________________________________________

7. Rescue procedures: ______________________________________________________________________________________

8. Entry, standby and backup persons: ______________________________

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Successfully completed required training? |  |  |  |
| Is it current? |  |  |  |

9. Equipment

| Direct reading gas monitor-tested | Yes | No | N/A |
| --- | --- | --- | --- |
| Safety harnesses and lifelines for entry and standby persons |  |  |  |
| Hoisting equipment |  |  |  |
| Powered communications |  |  |  |
| SAR or SCBA for entry and standby persons |  |  |  |
| Protective clothing |  |  |  |
| All electric equipment listed Class I, Division I, Group D and nonsparking tools |  |  |  |

10. Periodic atmospheric tests:

| Oxygen | ____________ | % Time | ____________ | Oxygen | ____________ | % Time | ____________ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Oxygen | ____________ | % Time | ____________ | Oxygen | ____________ | % Time | ____________ |
| Explosive | ____________ | % Time | ____________ | Explosive | ____________ | % Time | ____________ |
| Explosive | ____________ | % Time | ____________ | Explosive | ____________ | % Time | ____________ |
| Toxic | ____________ | % Time | ____________ | Toxic | ____________ | % Time | ____________ |
| Toxic | ____________ | % Time | ____________ | Toxic | ____________ | % Time | ____________ |

We have reviewed the work authorized by this permit and the information contained herein. Written instructions and safety procedures have been received and are understood. Entry cannot be approved if any squares are marked in the “No” column. This permit is not valid unless all appropriate items are completed.

| Permit prepared by: (supervisor) | ___________________________________ | ___________________________________ |
| --- | --- | --- |
| Approved by: (unit supervisor) | ___________________________________ | ___________________________________ |
| Reviewed by: (operations personnel) | ___________________________________ | ___________________________________ |
|  | (Printed name) | (Signature) |

Confined Space Entry Permit

| Date: | _______________________________________________ |
| --- | --- |
| Site location and description: | _______________________________________________ |
| Purpose of entry: | _______________________________________________ |
| Supervisor(s) in charge of crews: | _______________________________________________ |
| Crew Phone #: | _______________________________________________ |
| Communication procedures: | _______________________________________________ |
| Rescue procedures (phone numbers at bottom): | _______________________________________________ |

| Requirements Completed | Date | Time |
| --- | --- | --- |
| Lockout/de-energize/verify | _____________ | _____________ |
| Line(s) broken-capped-blanked | _____________ | _____________ |
| Purge (flush and vent) | _____________ | _____________ |
| Ventilation | _____________ | _____________ |
| Secure area (post and flag) | _____________ | _____________ |
| Breathing apparatus | _____________ | _____________ |
| Resuscitator—inhalator | _____________ | _____________ |
| Standby safety personnel | _____________ | _____________ |
| Full body harness with “D” ring | _____________ | _____________ |
| Emergency escape retrieval equipment | _____________ | _____________ |
| Lifelines | _____________ | _____________ |
| Fire extinguishers | _____________ | _____________ |
| Lightning (explosive proof) | _____________ | _____________ |
| Protective clothing | _____________ | _____________ |
| Respirator(s) (air-purifying) | _____________ | _____________ |
| Burning and welding permit | _____________ | _____________ |

Note: Items that do not apply enter N/A in the blank.

**Record continuous monitoring results every two hours

| Continuous monitoring** Test(s) to be taken | Permissible entry level | Results | Results | Results | Results | Results |
| --- | --- | --- | --- | --- | --- | --- |
| Percent of oxygen | 19.5% to 23.5% | _____ | _____ | _____ | _____ | _____ |
| Lower flammable limit | Under 10% | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |

See Appendix D-2 in 1910.146 for prior table layout.

*Short-term exposure limit: Employee can work in the area up to 15 minutes.

+8-hour time-weighted average: Employee can work in area 8 hours (longer with appropriate respiratory protection).

Remarks: __________________________________________________________________________________________________

| Gas tester name and check # | Instrument(s) used | Model and/or type | Serial and/or unit # |
| --- | --- | --- | --- |
| ________________________ | ________________________ | ________________________ | ________________________ |
| ________________________ | ________________________ | ________________________ | ________________________ |

| Standby person(s) | Check # | Instrument(s) | Check # | Confined space entrant(s) | Check # |
| --- | --- | --- | --- | --- | --- |
| _______________ | _______________ | _______________ | _______________ | _______________ | _______________ |
| _______________ | _______________ | _______________ | _______________ | _______________ | _______________ |

| Supervisor authorizing—all conditions satisfied: | ___________________________________________________ |
| --- | --- |
| Department/phone: | ___________________________________________________ |
| Phone # for ambulance: | ___________________________________________________ |
| Phone # for fire department: | ___________________________________________________ |
| Phone # for rescue: | ___________________________________________________ |
| Phone # for gas company: | ___________________________________________________ |