Construction Industry

Comprehensive Environmental, Health and Safety Program

Occupational Safety and Health Division

N.C. Department of Labor

1101 Mail Service Center

Raleigh, NC 27699-1101

N.C. Department of Labor

Occupational Safety and Health Program

This guide is a compilation of example environmental, health and safety programs, plans, policies, practices and procedures that may be required by a specific Construction Industry standard. Each one is intended to be consistent with an existing OSHA standard; therefore, if an area is considered by the reader to be inconsistent with a standard, then the OSHA standard should be followed.

To obtain additional copies of this guide, or if you have questions about North Carolina occupational safety and health standards or rules, please contact:

N.C. Department of Labor

Education, Training and Technical Assistance Bureau

1101 Mail Service Center

Raleigh, NC 27699-1101

Phone: 919-707-2876 or 1-800-625-2267

____________________

Additional sources of information are listed on the inside back cover of this guide.

____________________

Table of Contents

Foreword and Overview	6

How to use this Guide	6

Section 1— Standards Requiring Safety and Health Programs and Plans	7

Section 2—Environmental, Health and Safety Management	11

Safety and Health Program for Employers with 1.5 or Higher EMR—NCAC 7A .0600	11

  - Management Commitment	11

  - Safety and Health Responsibilities	12

  - Employee Participation	12

  - Recordkeeping and Reporting	13

  - Accident/Incident Investigation	15

  - Safety and Health Inspection Procedures	16

  - Hazard Prevention and Control	16

  - Disciplinary Policy	17

  - Alcohol and Drug Use Policy	17

Section 3—Environmental, Health and Safety Programs and Plans	19

Asbestos—Inspection Program—29 CFR 1926.1101	20

Bloodborne Pathogens—Exposure Control Plan—NCAC 7F .0207	22

Commercial Diving—Safe Practices Manual—29 CFR 1926.1080	27

Communication Towers—RF Safety Program—NCAC 7F .0600.	29

Communication Towers—Fall Protection Plan (See Fall Protection Plan)

Compliance Program—Subpart Z (See Toxic and Hazardous Substances)

Confined Spaces—Permit Space Program—29 CFR 1926.1204	31

Cranes—Mobile Auxiliary Plan—29 CFR 1926.1437	38

Cranes—Multiple Crane/Derrick Operation Plan—29 CFR 1926.1432	44

Electrical—Assured Equipment Grounding Conductor Program—29 CFR 1926.404	51

Emergency (Action) Plan—29 CFR 1926.35, 29 CFR 1926 Subpart Z, 29 CFR 1910.38	52

Employer-Funded Compensation Program—29 CFR 1926.60, 29 CFR 1926.62, 29 CFR 1926.1124,

29 CFR 1926.1124, 29 CFR 1926.1148, 29 CFR 1926.1152	57

Employee Exposure (Monitoring) Program—29 CFR 1926 Subpart Z (See Toxic and Hazardous Substances)

Ergonomics Program—*No OSHA Standard; NCGS 95-129(1)	63

Extermination Plan—29 CFR 1926.51 (See Sanitation)

Fall Protection Plan—NCAC 7F .0600, 29 CFR 1926.501	68

Fire Prevention (Protection) Plan—29 CFR 1926.24, 29 CFR 1926.150, 29 CFR 1910.39	79

Hazard Communication Program—29 CFR 1926.59, 29 CFR 1910.1200	86

HAZWOPER—Safety and Health Program—29 CFR 1926.65	90

HAZWOPER—Emergency Response Plan—29 CFR 1926.65(a)-(o)	101

HAZWOPER—Emergency Response Plan—29 CFR 1926.65(p)	108

HAZWOPER—Emergency Response Plan—29 CFR 1926.65(q)	112

Hearing Conservation Program—29 CFR 1926.52	119

Housekeeping (Inspection, Maintenance) Program—29 CFR 1926.60, 29 CFR 1926.1118, 29 CFR 1926.1148	124

Inspection System and Corrective Action Program (See Housekeeping Program)	124

Lead—Work Practice Program—29 CFR 1926.62	129

Noise—29 CFR 1926.52  (See Hearing Conservation Program)

Respiratory Protection Program—29 CFR 1926.103, 29 CFR 1910.134	131

Sanitation—Extermination (and Sanitation) Program—29 CFR 1926.51	143

Steel Erection—Site-Specific Steel Erection Plan—29 CFR 1926.752	145

Toxic and Hazardous Substances—Compliance Program (Exposure Control Plan)—29 CFR

1926 Subpart Z, 29 CFR 1926.60, 29 CFR 1926.62	149

Toxic and Hazardous Substances—Medical Surveillance Program—29 CFR 1926 Subpart Z, 29 CFR 1926.60, 29 CFR 1926.62	157

Tuberculosis Program—*No OSHA Standard; NCGS 95-129(1)	163

Unregulated Hazardous Substances Program—No OSHA Standard; NCGS 95-129(1)	167

Vinyl Chloride—Emergency Operational Plan—29 CFR 1926.1117	170

Workplace Violence Prevention Program*—No OSHA Standard; NCGS 95-129(1)	172

*Note: If there is no OSHA standard and a hazard exists, the General Duty Clause may be used—North Carolina General Statute (NCGS) NCGS 95-129(1).

Section 4—Environmental, Health and Safety Procedures, Practices and Controls	178

Recordkeeping—Employee Involvement—29 CFR 1904.35	178

Asbestos—Work Practices and Engineering Controls—29 CFR 1926.1101	180

Blasting and Explosives—Loading Procedures—29 CFR 1926.905	185

Concrete and Masonry—Lift Slab Protective Measures and Procedures—29 CFR 1926.705	187

Crane and Derrick—Procedures—29 CFR 1926 Subpart CC	189

Electrical—Safety-Related Work Procedures and Practices—29 CFR 1926 Subpart V	203

Electric Power Transmission and Distribution—Procedures—29 CFR 1926 Subpart V	210

First Aid—Procedures and Protective Measures—29 CFR 1926.21	220

Lockout/Tagout—Procedures and Practices—29 CFR 1926.64, 29 CFR 1926.417, 29 CFR 1926.702	222

PSM—Work Practices and Procedures—29 CFR 1926.64	226

Stairway and Ladder—Procedures—29 CFR 1926.1060	231

Underground Construction—Procedures—29 CFR 1926 Subpart S	234

Ventilation—Operational Procedures and First Aid Procedures—29 CFR 1926.57	240

Section 5—Environmental, Health and Safety Training	242

Standards Requiring Training—29 CFR 1926	242

Training and Indoctrination Program—29 CFR Part 1926, CFR 29 CFR 1926.20, 	252

Section 6—Forms	255

Accident Investigation Forms—NCAC 7A .0600	255

Bloodborne Pathogens-Hepatitis B Declination Form—NCAC 7F .0207, 29 CFR 1910.1030	260

Confined Space Permits—29 CFR 1926.1204	261

Electrical—Assured Equipment Grounding Conductor Test Record—29 CFR 1926.404	263

Electrical Safety-Related Work Practices Self Audit—29 CFR 1926 Subpart V	264

Fire Prevention Checklist—29 CFR 1926.24, 29 CFR 1926.150, 29 CFR 1926.151, 29 CFR 1910.39	265

Hearing Conservation—Notification of Quiet Period—29 CFR 1926.52	266

Hot Work Permit—29 CFR 1926.1206	267

Lockout/Tagout Types/Location Form—29 CFR 1926.64, 29 CFR 1926.417, 29 CFR 1926.702	268

Lockout/Tagout Inspection Certification—29 CFR 1926.64, 29 CFR 1926.417, 29 CFR 1926.702	269

PSM Management of Change—29 CFR 1926.64	270

Respiratory Protection, Appendix C—Medical Evaluation Questionnaire—29 CFR 1926.103,

29 CFR 1910.134	271

Respiratory Protection, Appendix D—Information for Employees—29 CFR 1926.103,

29 CFR 1910.134	277

Training—Employee Orientation Checklist—29 CFR 1926.21, 29 CFR 1926	278

Training—Matrices—29 CFR 1926.21, 29 CFR 1926	280

Training—Employee Roster and Certificate of Training—29 CFR 1926.21, 29 CFR 1926	283

Workplace Violence—Incident Form—NCGS 95-129(1)	284

Section 7—Inspections	285

Standards Requiring Inspections—29 CFR 1926	285

Climbing Frame Inspection Checklist—29 CFR 1926 Subpart CC	293

Luffing Tower Crane Pre-shift Inspection Checklist: For Crane Operators—29 CFR 1926 Subpart CC	294

Mobile Crane Monthly Inspection—29 CFR 1926 Subpart CC	295

Safety Inspections (System and Corrective Action Report)—29 CFR 1926.20	296

Steel Erection Crane Inspection—29 CFR 1926 Subpart CC	300

Tower Crane Pre-Shift Inspection Checklist: For Crane Operators—29 CFR 1926 Subpart CC	302

Tower Crane Weekly/Monthly Inspection Checklist—29 CFR 1926 Subpart CC	303

Construction Comprehensive Self-Inspection	304

Foreword

In North Carolina, the N.C. Department of Labor (NCDOL) enforces the federal Occupational Safety and Health Act through a state plan approved by the U.S. Department of Labor. NCDOL offers many educational programs to the public and produces publications to help inform people about their rights and responsibilities regarding occupational safety and health.

When reading this guide, please remember the mission of the N.C. Department of Labor is greater than just regulatory enforcement. An equally important goal is to help citizens find ways to create safe workplaces. Everyone profits when managers and employees work together for safety. This booklet, like the other educational materials produced by the N.C. Department of Labor, can help.

Commissioner of Labor

Overview

This industry guide is designed to assist employers in the construction industry in developing a comprehensive environmental, health and safety program to be tailored to your own operation. We encourage you to customize the information in this industry guide as necessary to accomplish this goal. You may also copy any of the material in this guide to be used in your safety and health efforts.

This guide is provided as a best practice and compliance aid. It does not constitute a legal interpretation of OSHA standards, nor does it replace the need to be familiar with and follow the actual OSHA standards (including any North Carolina-specific changes.)  Though the programs, plans, procedures and practices  contained in this document are intended to be consistent with OSHA standards, if an area is considered by the reader to be inconsistent, the OSHA standard should be followed.

The NCDOL Occupational Safety and Health Division’s Consultative Services Bureau can be contacted for assistance in helping you set up your individual safety and health management program and with on-site surveys. Feel free to contact them at 1-800-NC-LABOR (1-800-625-2267) or 919-707-7846. You may also want to visit their website at https://www.labor.nc.gov/ safety-and-health/occupational-safety-and-health/safety-and-health-consultation-program.

For training events, publications, PowerPoint presentations and standard interpretations, please contact the Education, Training and Technical Assistance Bureau at 919-707-7876 or access the ETTA website at https://www.labor.nc.gov/safety-and-health/ training

How to use this Guide

The Scope and Application is provided before each standard to aid the user in identifying whether the standard applies to them. The standard requirements for programs, plans, procedures, practices, training, inspections, documentation and recordkeeping are listed for further compliance guidance followed by example documents that can be modified to be site-specific to the organization.

SECTION 1—STANDARDS REQUIRING SAFETY AND HEALTH PROGRAMS AND PLANS

| 29 CFR PART 1926—CONSTRUCTION |  |
| --- | --- |
| STANDARD | SAFETY AND HEALTH PROGRAM/PLAN |
| 29 CFR 1926.20—General Safety and Health Provisions | Accident Responsibilities Program (Environmental, Health and Safety Program) Inspection Program Training Program |
| 29 CFR 1926.21—Safety Training and Education | Safety and Health Training Programs |
| 29 CFR 1926.24—Fire Protection and Prevention | Fire Protection and Prevention Plan |
| 29 CFR 1926.35—Employee Emergency Action Plans | Emergency Action Plan |
| 29 CFR 1926.51—Sanitation | Extermination Program |
| 29 CFR 1926.52—Occupational Noise Exposure | Hearing Conservation Program |
| 29 CFR 1926.55—Gases, Vapors, Fumes, Dusts, and Mists | Respirator Program (29 CFR 1926.103) |
| 29 CFR 1926.57—Ventilation | Respirator Program (29 CFR 1926.103) |
| 29 CFR 1926.59—Hazard Communication (References 29 CFR 1910.1200) | Hazard Communication Program |
| 29 CFR 1926.60—Methylenedianiline | Compliance Program Employer-Funded Compensation Program Employee Exposure Program Housekeeping Program Medical Surveillance Program Training program Emergency Action Plan (29 CFR 1910.38) Fire Prevention Plan (29 CFR 1910.39) Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.62—Lead | Compliance Program Employer-Funded Compensation Program Medical Surveillance Program Training Program Work Practice Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals | Emergency Action Plan (29 CFR 1926.35) HAZWOPER (29 CFR 1926.65) |
| 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER) | Safety and Health Program - Training Program - Site-Specific Safety and Health Plan - Site Control Program - Personal Protective Equipment Program - Informational Program - Spill Containment Program - Emergency Response Plan - Air Monitoring Program - New Technology Program - Decontamination Program - Material Handling Program Medical Surveillance Program Emergency Action Plan (29 CFR 1926.35) Respirator Program (29 CFR 1926.103) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.103—Respiratory Protection (References 29 CFR 1910.134) | Respirator Program |
| 29 CFR 1926.150—Fire Protection | Fire Protection Program |
| 29 CFR 1926.404—Wiring Design and Protection | Assured Equipment Grounding Conductor Program |
| 29 CFR 1926.501—Duty to Have Fall Protection | Fall Protection Plan, Training Program |
| 29 CFR 1926.551—Helicopters | Training Program |
| 29 CFR 1926.752—Site Layout, Site-Specific Erection Plan and Construction Sequence | Site-Specific Erection Plan |
| 29 CFR 1926.761—Training (Steel Erection) | Training Program |
| 29 CFR 1926.1053—Ladders | Training Program |
| 29 CFR 1926.1080—Safe Practices Manual (Commercial Diving Operations) (References 29 CFR 1910.420) | Safe Practices Manual |
| 29 CFR 1926.1101—Asbestos | Asbestos Awareness Training Program Inspection Program (29 CFR 1926.20) Medical Surveillance Program Self-Help Smoking Cessation Program (NIOSH Materials) Training Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1103—13 Carcinogens (References 29 CFR 1910.1003) 4—Nitrobiphenyl, alpha—Naphthylamine, methyl chloromethyl ether, 3,3’—Dichlorobenzidine (and its salts), bis—Chloromethyl ether, beta—Naphthylamine, Benzidine, 4—Aminodiphenyl, Ethyleneimine, beta—Propiolactone, 2—Acetylaminofluorene, 4—Dimethylaminoazo—benzene, and N—Nitrosodimethylamine | Medical Surveillance Program Training and Indoctrination Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1117—Vinyl Chloride (Reference 29 CFR 1910.1017) | Exposure Monitoring Program Medical Surveillance Program Training and Indoctrination Program Emergency Operational Plan Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1118—Inorganic Arsenic (References 29 CFR 1910.1018) | Compliance Program Medical Surveillance Program Training Program Housekeeping and Maintenance Plan Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1124—Beryliium | Exposure Control Plan (Compliance Plan) Employer-Funded Compensation Program Medical Surveillance Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1126—Chromium (VI) | Medical Surveillance Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1127—Cadmium | Compliance Program Emergency Plan Medical Surveillance Program Training Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1128—Benzene (References 29 CFR 1910.1028) | Compliance Program Employer-Funded Compensation Program Medical Surveillance Program Training Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1144—1,2-dibromo-3-chloropropane (References 29 CFR 1910.1044) | Compliance Program Medical Surveillance Program Training Program Emergency Action Plan (29 CFR 1910.38) Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1145—Acrylonitrile (References 29 CFR 1910.1045) | Compliance Program Emergency Plan Medical Surveillance Program Training Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1147—Ethylene Oxide (References 29 CFR 1910.1047) | Compliance Program Medical Surveillance Program Training Program Emergency Action Plan (29 CFR 1910.38) Fire Prevention Plan (29 CFR 1910.39) Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1148—Formaldehyde (References 29 CFR 1910.1048) | Employer-Funded Compensation Program Housekeeping Program Medical Surveillance Program Training Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1152—Methylene Chloride (References 29 CFR 1910.1052) | Employee Exposure Program Employer-Funded Compensation Program Medical Surveillance Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1153—Respirable Crystalline Silica | Exposure Control Plan Medical Surveillance Program Respirator Program (29 CFR 1910.134) Hazard Communication Program (29 CFR 1910.1200) |
| 29 CFR 1926.1204—Permit-Required Confined Space Program | Permit Space Program |
| 29 CFR 1926.1432—Multiple Crane/Derrick Lifts-Supplemental Requirements | Multiple Crane/Derrick Operation Plan |
| 29 CFR 1926.1437—Floating Cranes/Derricks and Land Cranes/Derricks on Barges | Mobile Auxiliary Crane Plan |

| 13 NORTH CAROLINA ADMINISTRATIVE CODE CHAPTER 7—OFFICE OF OCCUPATIONAL SAFETY AND HEALTH |  |
| --- | --- |
| SUBCHAPTER 7A—GENERAL RULES AND OPERATIONAL PROCEDURES |  |
| STANDARD | SAFETY AND HEALTH PROGRAM/PLAN |
| 7A .0600—Safety and Health Programs and Committees | Safety and Health Program for Employers with 1.5 or Higher ERM |

| 13 NORTH CAROLINA ADMINISTRATIVE CODE CHAPTER 7—OFFICE OF OCCUPATIONAL SAFETY AND HEALTH |  |
| --- | --- |
| SUBCHAPTER 7F—CONSTRUCTION INDUSTRY STANDARDS |  |
| STANDARD | SAFETY AND HEALTH PROGRAM/PLAN |
| 7F .0207—Toxic and Hazardous Substances | Exposure Control Plan (Bloodborne Pathogens Program) (29 CFR 1910.1030) Training Program Biosafety Manual |
| 7F .0600—Communication Tower Standards | Fall Protection Program RF Safety Program |

Note: This document is intended to be consistent with existing OSHA standards; therefore, if an area is considered by the reader to be inconsistent with a standard, then the OSHA standard should be followed.

SECTION 2—ENVIRONMENTAL, HEALTH AND SAFETY MANAGEMENT

13 NCAC 7A .0600—Safety & Health Programs & Committees

Scope/Application: The N.C. state-specific standard 13 NCAC 7A .0600—Safety & Health Programs & Committees requirements apply to employers with worker’s compensation experience rate modifiers of 1.5 or higher.  Reference N.C. General Statute 95-150—Safety & Health Programs & Committees.

The following Parts are referenced in 13 NCAC 7A .0600—Safety & Health Programs & Committees.

- 29 CFR Part 1910—General Industry Standards

- 29 CFR Part 1926—Construction Standards

Standard Requirements for 13 NCAC 7A .0600—Safety & Health Programs & Committees:

- Programs/Plans: Safety and Health Program (Includes inspections, accident investigations, training, audits, and committees); OSHA programs applicable to the worksite

- Procedures/Practices: Accident investigations, training systems (Include in your Safety and Health Program

- Training: Initially; initially, annually, refresher (dependent on required OSHA programs)

- Inspections:  Quarterly, annually; other (dependent on required OSHA programs)

- Recordkeeping: Programs, training, inspections, audits, accident investigations, other

- Safety and Health Committees: Quarterly inspections, quarterly meetings, committee procedures, review program, review incidents

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 13 NCAC 7A .0600—Safety & Health Programs & Committees to ensure that all the standard requirements are being met. If the employer is not required to comply with 13 NCAC 7A .0600—Safety & Health Programs & Committees, they should consider implementing it as a “best practice”. Note: This example program contains many best practices that can help the employer lower their worker’s compensation costs.

Safety and Health Management Program

Management Commitment

Safety and Health Policy

We place a high value on the safety and health of our employees. We are committed to providing a safe workplace for all employees and have developed this program for injury prevention to involve management, supervisors and employees in identifying and eliminating hazards that may develop during our work process.

It is the basic safety and health policy of this company that no task is so important that an employee must violate a safety and health rule or take a risk of injury or illness to get the job done.

Employees are required to comply with all company safety and health rules and are encouraged to actively participate in identifying ways to make our company a safer place to work.

Supervisors are responsible for the safety and health of their employees and, as a part of their daily duties, must check the workplace for unsafe conditions, watch employees for unsafe actions and take prompt action to eliminate any hazards.

Management will do its part by devoting the resources necessary to form a safety and health committee composed of management and elected employees. We will develop a system for identifying and correcting hazards. We will plan for foreseeable emergencies. We will provide initial and ongoing training for employees and supervisors and we will establish a disciplinary policy to ensure that company safety and health policies are followed.

Safety and Health Responsibilities

Manager Responsibilities

- Ensure that sufficient employee time, supervisor support and funds are budgeted for equipment, training and carrying out the safety and health program.

- Evaluate supervisors each year to make sure they carry out their responsibilities as described in this program.

- Ensure that incidents are fully investigated and corrective action is taken to prevent the hazardous conditions or behaviors from happening again.

- Ensure that a record of injuries and illnesses is maintained and posted as described in this program.

- Set a good example by following established safety and health rules and attending required training.

- Report unsafe practices or conditions to the supervisor of the area where the hazard was observed.

Supervisor Responsibilities

- Ensure that each employee has received initial orientation before beginning work.

- Ensure that each employee is competent or has received training on safe operation of equipment or tasks before starting work.

- Ensure that each employee receives required personal protective equipment (PPE) before starting work on a project requiring PPE.

- Perform a daily safety check of the work area. Promptly correct any hazards you find.

- Observe the employees you supervise while they are working. Promptly correct any unsafe behavior. Provide additional training and take corrective action as necessary.

- Document employee evaluations.

- Set a good example for employees by following the safety and health rules and attending required training.

- Investigate all incidents in your area and report findings to management.

- Talk to management about changes to work practices or equipment that will improve employee safety and health.

Employee Responsibilities

- Follow the safety and health rules established by your company. Report unsafe conditions or actions to your supervisor or safety and health committee representative promptly.

- Report all work-related injuries and illnesses to your supervisor promptly, regardless of how minor they may seem.

- Report all near miss incidents to your supervisor promptly.

- Always use personal protective equipment that is in good working condition when it is required.

- Do not remove or bypass any safety device or safeguard provided for your protection.

- Encourage your co-workers to use safe work practices on the job.

- Make suggestions to your supervisor, safety and health committee representative, or management about changes that will improve employee safety and health.

Employee Participation

Safety and Health Committees and Meetings

Employers can form safety and health committees to help employees and management work together to identify safety and health problems, develop solutions, review incident reports, and evaluate the effectiveness of the safety and health program. The committee should be made up of management-designated representatives and employee-elected representatives from all areas within the company.

Employees from each operational unit, division or area may volunteer or be nominated from among themselves to be a representative on the committee. If there is only one volunteer or nomination, the employees may approve the person by voice vote at a short meeting called for that purpose. If there is more than one volunteer or nomination, a secret paper ballot may be used to elect the representative.

Elected representatives will serve for _______________year(s) before being re-elected or replaced. If there is a vacancy then an election will be held before the next scheduled meeting to fill the balance of the term. (It is recommended that members serve two years, with half of the members replaced after the first year when the initial committee is formed, so that there are carry-over members on the committee at all times).

In addition to the employee-elected representatives, management should designate no more than three representatives but a minimum of one who will serve until replaced by management. Management representation should not outnumber employee representation. If the company employs a medical professional on staff, it is recommended that this individual serve on the safety and health committee as well but at least an individual who manages the workers’ compensation, injury and illness, and first aid logs, such as the company safety and health manager.

A chairperson should be selected by a majority vote by the committee members each year. If there is a vacancy, the same method should be used to select a replacement. The duties of safety and health committee members include:

- Conducting a monthly self-inspection of the area they represent.

- Communicating with the employees they represent on safety and health issues.

- Encouraging safe work practices among co-workers.

- Reviewing the injury, illness and first aid logs for trends and conducting a separate investigation of any incident (if determined appropriate).

- Providing any recommendations to management for consideration.

The safety and health committee should meet at least __________________________.Each area committee member should bring information from the monthly inspections of their areas and any concerns from the employees in the area they represent. Using this information, the committee can help identify safety and health problems, develop solutions, review incident reports, provide training, and evaluate the effectiveness of the safety and health program.

A committee member will be designated to keep minutes. A copy of the minutes will be posted in a place where all affected employees have access to them. The company should archive meeting minutes for a specified period of time such as one year for follow-up/review purposes. (The company may choose to post minutes on employee bulletin boards, on an intranet, etc. Additionally, the company may choose to archive such records electronically.)

General Employee Safety Meetings

All employees are required to attend a monthly safety and health meeting. This meeting will help identify safety and health problems, develop solutions, provide training, and evaluate the effectiveness of the safety and health program.

An employee will be designated each month to keep the minutes. A copy of the minutes will be posted in a place where all affected employees have access to them. The company should archive meeting minutes for a specified period of time such as one year for follow-up/review purposes. (The company may choose to post minutes on employee bulletin boards, on an intranet, etc. Additionally, the company may choose to archive such records electronically).

Recordkeeping and Reporting

29 CFR Part 1904—Recordkeeping  provides the recordkeeping requirements for recording and reporting injuries and illnesses. 29 CFR 1926.33—Access to Employee Exposure and Medical Records provides the recordkeeping requirements for employee exposure and medical records referenced in many health standards. The North Carolina Industrial Commission (NCIC) administers the Worker’s Compensation Act; website http://www.ic.nc.gov/—Worker’s Compensation

Injuries and Illnesses Reporting

Employees are required to report any injury or work-related illness to their immediate supervisor regardless of how serious. Minor injuries such as cuts and scrapes will be entered on the first aid log. The employee will use an “Employee’s Incident Report” form (or Workers’ Compensation Form 18) to report more serious/compensable injuries.

The supervisor will:

- Investigate all injuries and illnesses in their work area, including serious first-aid cases and near miss incidents. Complete an “Incident Investigation Report” form and Supervisor’s Incident Investigation” form immediately following the incident.

- Provide all incident investigation report forms to the safety and health manager/company medical professional or HR/personnel office within three days of the incident.

The safety and health manager/company medical professional/HR or personnel manager will:

- Determine from the Employee’s Incident Report form, Incident Investigation Report form and any claim form associated with the incident whether it must be recorded on the OSHA 300 Injury and Illness Log and Summary according to the instructions for that form. (The N.C. Industrial Commission Form 19 may be used in lieu of OSHA Form 301.)

- Enter any recordable incident within seven calendar days after becoming aware of the injury/illness/fatality.

- If the injury is not recorded on the OSHA log, add it to the first aid log, which is used to record non-OSHA recordable injuries and near misses.

- The employer may need to fill out and file a Workers’ Compensation Form 19, “Employer’s Report of Employee’s Injury,” with the Industrial Commission within five days of learning of an injury or allegation. If a Form 19 is filed with the Industrial Commission, the employer must provide a copy of the Form 19 to the employee, together with a blank Form 18, “Notice of Accident to Employer and Claim of Employee,” for use by the employee. (http://www.ic.nc.gov/)

A signed copy of the OSHA log summary (OSHA Form 300A) for the previous year must be posted on the safety bulletin board from February 1 through April 30. The log must be kept on file for at least five years. Any employee can view an OSHA log upon request at any time during the year.

Employee Access to Medical and Exposure Records

Medical Records—Whenever an employee or designated representative requests access to a record, we must ensure that access is provided in a reasonable time, place, and manner. If we cannot reasonably provide access to the record within 15 working days, we will apprise the employee or designated representative requesting the record of the reason for the delay and the earliest date when the record can be made available.

The medical record for each employee will be preserved and maintained for at least the duration of employment plus 30 years.

First aid records (not including medical histories) of one-time treatment and subsequent observation of minor scratches, cuts, burns, splinters, and the like that do not involve medical treatment, loss of consciousness, restriction of work or motion, or transfer to another job, if made on-site by a non-physician and if maintained separately from the employer's medical program and its records and the medical records of employees who have worked for less than one year for the employer need not be retained beyond the term of employment if they are provided to the employee upon the termination of employment.

Exposure Records—Background data to environmental (workplace) monitoring or measuring, such as laboratory reports and worksheets, need only be retained for one year so long as the sampling results, the collection methodology (sampling plan), a description of the analytical and mathematical methods used, and a summary of other background data relevant to interpretation of the results obtained are retained for at least 30 years.

Safety data sheets and records concerning the identity of a substance or agent need not be retained for any specified period as long as some record of the identity (chemical name if known) of the substance or agent, where it was used, and when it was used is retained for at least 30 years.

Biological monitoring results designated as exposure records by specific occupational safety and health standards must be preserved and maintained as required by the specific standard.

Analyses using exposure or medical records must be preserved and maintained for at least 30 years as required by 29 CFR 1926.33—Employee Access to Medical and Exposure Records.

Training Records

Some standards require training records to be maintained for three years and some do not require training records. Records of employees who have worked for less than one year need not be retained after employment, but we are required to provide these records to the employee upon termination of employment. Our policy is to maintain training records for ______________________.

Accident/Incident Investigation

Accident/Incident Investigation Procedures

If an employee dies while working or within 30 days of the initial accident/incident causing an injury or illness, the company must contact the N.C. Department of Labor’s OSH Division within eight hours of becoming aware of the accident/incident. The toll-free notification number is 1-800-NC-LABOR (1-800-625-2267). If an employee is hospitalized, has an amputation or loses an eye, the company must report the incident to the OSH Division within 24 hours of becoming aware of the incident.

Whenever there is an incident that results in death or serious injuries or illnesses, a preliminary investigation will be conducted by an accident investigation team made up of the immediate supervisor of the injured person(s), a person designated by management, an employee representative of the safety and health committee, and any others whose expertise would help in the investigation.

The accident investigation team will take written statements from witnesses and photograph the incident scene and equipment involved. The team will also document, as soon as possible after the incident, the condition of equipment and any anything else in the work area that may be relevant. The team will complete a written incident investigation report. The report will include a sequence of events leading up to the incident, conclusions about the incident and any recommendations to prevent a similar incident in the future. This report will be given to _______________________ for corrective action. The report will be reviewed by the safety and health committee at its next regularly scheduled meeting.

When a supervisor becomes aware of an employee injury where the injury was not serious enough to warrant a team investigation as described above, the supervisor will write an incident investigation report to accompany the employee’s report and forward them to___________________________________.

In addition, whenever there is an incident that did not result in an injury to an employee (a near miss), the supervisor will investigate the incident. The incident investigation report form will be filled out to investigate the near miss and to establish any corrective action as applicable. The form will be clearly marked to indicate that it was a near miss and that no actual injury occurred. The report will be forwarded to ___________________________________to record on the incident log and for further action.

Safety and Health Inspection Procedures

We are committed to aggressively identifying hazardous conditions and practices that are likely to result in injury or illness to employees. We will take prompt action to eliminate any hazards we find. In addition to reviewing injury records and investigating incidents for their causes, management and the safety committee will regularly check the workplace for hazards as described below.

- Annual Site Survey—Once a year, an inspection team made up of members of the safety and health committee will conduct a wall-to-wall walk-through inspection of the entire worksite. They will write down any safety hazards or potential hazards they find. The results of this inspection will be used to eliminate or control obvious hazards, target specific work areas for more intensive investigation, assist in revising the checklists used during regular monthly safety inspections, and as part of the annual review of the effectiveness of the accident prevention program.

- Periodic Change Survey—A supervisor or a team will be assigned to look at any changes we make to identify safety issues. Changes include new equipment, changes to production processes or changes to the building structure. The team will be made up of maintenance, production and safety committee representatives. It will examine the changed conditions and makes recommendations to eliminate or control any hazards that were or may be created as a result of the change.

- Monthly Safety Inspection—Each month, the safety and health committee representatives will inspect their areas for hazards using the standard safety and health inspection checklist.  They will talk to co-workers about their safety and health concerns. The committee representatives will report any hazards or concerns to the safety and health committee at the next scheduled meeting for consideration. The results of the area inspection and any action taken will be posted in the affected area. Safety and health committee representatives should inspect each other’s area.

Hazard Prevention and Control

Eliminating Workplace Hazards

We are committed to eliminating or controlling workplace hazards that could cause injury or illness to our employees. We will meet the requirements of OSHA standards where there are specific rules about a hazard or potential hazard in our workplace. Whenever possible, we will design our facilities and equipment to eliminate employee exposure to hazards. Where these engineering controls are not possible, we will write work practices (administrative controls) that effectively prevent employee exposure to the hazard. When the above methods of control are not possible or are not fully effective, we will require employees to use personal protective equipment (PPE) such as safety glasses, hearing protection and foot protection.

Basic Safety and Health Rules

Note:  The company should establish a set of basic safety and health rules; however, the company should not address requirements for specific standards in this section. They should be addressed as part of/with the specific written program requirements of the standard.

The following basic safety and health rules have been established to help make the company a safe, healthy and efficient place to work. These rules are in addition to safety and health practices that must be followed when doing particular jobs or operating certain equipment. Those rules are listed in the safety hazard work practices and health hazard work practices sections of this manual. Failure to comply with any safety or health rules may result in disciplinary action.

The following are examples of basic safety and health rules. The company should base these rules on the hazards in its work environment.

- Never do anything that is unsafe in order to get the job done. If a job is unsafe, report it to your supervisor or safety committee representative. We will find a safer way to do that job.

- Do not remove or disable any safety device!  Keep guards in place at all times on operating machinery.

- Never operate a piece of equipment unless you have been trained and are authorized.

- Use your personal protective equipment whenever it is required.

- Obey all safety warning signs.

- Loose clothing, jewelry and hair longer than shoulder length will not be worn around moving machinery.

- Working under the influence of alcohol or illegal drugs and using them at work are prohibited.

- Smoking is not permitted on company grounds (including in personal vehicles in company-owned parking lots OR if smoking is permitted, it is only permitted outside the building away from any entry or ventilation intake, except that smoking is not permitted in any areas where flammable or combustible liquid are dispensed, mixed, used or stored).

- Horseplay, running and fighting are prohibited.

- Report spills immediately so that they can be cleaned up promptly by appropriately trained employees.

- Replace all tools and supplies after use.

- Do not allow materials (especially combustible materials) to accumulate where they will become a tripping or fire hazard. Keep lids on trashcans at all times.

- Do not block any fire extinguisher, fire exit or exit pathway with materials or equipment.

## Disciplinary Policy

Example Policy: The following example policy may be modified to be site-specific to the organization.

The company has established a progressive disciplinary program for those acts or practices not considered immediately dangerous to life or health. Unsafe acts will not be tolerated.  Each employee has an individual responsibility to work safely. We have established a progressive disciplinary program for those acts or practices not considered immediately dangerous to life or health.

| First Instance | Warning, notation in employee file and instruction on proper actions. |
| --- | --- |
| Second Instance | Written reprimand and instruction on proper actions. |
| Third Instance | One- to five-day suspension, written reprimand, and instruction on proper actions. |
| Fourth Instance | Termination of employment. |

An employee may be subject to immediate termination when a safety or health violation places the employee or co-workers at risk of permanent disability or death. These include but are not limited to:

  - Failure to follow fall protection requirements.

  - Failure to wear required respiratory protection.

  - Failure to follow the substance abuse policy.

  - Failure to wear a protective vest when working on or near a city street.

  - Possession of firearms, explosives or dangerous weapons.

  - Violation of project security rules or procedures.

  - Fighting, horseplay, practical joking or gambling.

  - Entering a confined space without following procedures.

  - Unsafe or reckless operation of motorized vehicles or equipment.

  - Failure to follow lockout/tagout procedures.

  - Failure to follow hot work permit procedures.

Alcohol and Drug Use Policy

Example Policy: The following example policy may be modified to be site-specific to the organization. Please reference NCGS Chapter 90, Article 5—North Carolina Controlled Substances Act for more information.

We have a vital interest in maintaining safe, healthy and efficient working conditions for our employees. Therefore, the use of substances that impair an employee’s ability to perform the job safely is not allowed. The use of these substances (except legally prescribed drugs reported to the supervisor/employer) during duty hours is prohibited, and their use may result in disciplinary action. Duty hours consist of all working hours, including break periods and on-call periods, whether on or off company premises.

The consumption of alcohol or illegal drugs while performing company business or while in a company facility or vehicle is prohibited and will result in disciplinary action up to and including termination of employment. Additionally, employees must report to their supervisor the use of legally prescribed drugs (such as narcotics) that may affect their ability to perform any part of their job safely so that alternate assignments/duties may be considered when necessary. Failure to report this type of drug use may also result in disciplinary action under certain circumstances.

Drug testing will be performed after all accidents that occur on company time or property or in or on a company owned vehicle or other equipment. Additionally, random drug testing may be performed if employees are suspected of being under the influence of alcohol or any illegal drug and when they appear to be impaired by any substance, including unreported use of legally prescribed medications, while at work. Refusal to submit to a drug test after an accident/incident may result in termination of employment.

The Controlled Substance Examination Act sets procedural standards that employers must follow when conducting drug testing of applicants and employees. The act does not protect employees from adverse actions taken by employers as a result of test results. A packet containing the rules, forms and frequently asked questions may be downloaded at http://www.nclabor.com/wh/Controlled_Substance_Examination_Regulation_Act_Packet.pdf.

SECTION 3—ENVIRONMENTAL, HEALTH AND SAFETY

PROGRAMS AND PLANS

Note: The following pages contain example environmental, health and safety programs and plans that may be applicable to your company. It is the responsibility of the employer to determine whether these programs are mandatory in your work environment based on the scope and application of the referenced standard. Every effort has been made to include the content required by the NCDOL OSH Division standards.Many programs may contain best practices in addition to required practices, procedures, and other standards’ requirements. Please add or delete content to these programs as deemed necessary.

While most standards do not require a program administrator or coordinator, it is a best practice to have an employee assigned who is knowledgeable and appropriately trained to administer and review these programs and plans on a continuing basis to ensure their effectiveness in the workplace. Individuals such as safety managers, industrial hygienists, competent persons, human resource professionals, risk managers, and medical professionals are the most appropriate personnel to administer these programs. Additionally, safety and health committees and other suitably trained and experienced employees may also help administer and review these programs.

29 CFR 1926.1101—Asbestos

Scope/Application: This standard applies to a company when employees have occupational exposure to asbestos.

The following standards are referenced in 29 CFR 1926.1101—Asbestos:

- 29 CFR 1926.20—General Safety and Health Provisions

- 29 CFR 1910.141—Sanitation

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.1101—Asbestos requires the inspections be routine and regular as provided in 29 CFR 1926.20—General Safety and Health Provisions. When respirators are used, the requirements of 29 CFR 1910.134—Respiratory Protection are to be followed. 29 CFR 1926.1101—Asbestos states that the requirements for showers found in 29 CFR 1910.141—Sanitation are to be met. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. 29 CFR  1926.1101—Asbestos also requires that asbestos be included in the Hazard Communication Program as provided in 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.1101—Asbestos:

- Programs/Plans: Asbestos Awareness Training Program, Inspection Program, Medical Surveillance Program, Self-Help Smoking Cessation Program

- Procedures/Practices: Work practices, engineering controls

- Training: Initially, annually

- Inspections: Initially, regularly, frequently, each shift

- Recordkeeping: Programs, medical records, exposure records, objective data, training records

Note: Asbestos Awareness Training Program, Inspection Program, Medical Surveillance Program, and Self-Help Smoking Cessation Program (NIOSH Materials) can be incorporated into one program.

Example Plan: The following example program may be modified to be site-specific to the organization. Although the standard does not require it to be in writing, it has been put into writing as a “best practice”. Please reference 29 CFR 1926.1101—Asbestos to ensure that all requirements are being met.

Asbestos—Inspection Program

Inspection Work Practices

Before beginning work within the enclosure and at the beginning of each shift, the negative pressure enclosure (NPE) will be inspected for breaches and smoke-tested for leaks, and any leaks sealed.

Electrical circuits in the enclosure will be deactivated, unless equipped with ground-fault circuit interrupters.

Glove bag systems may be used to remove PACM and/or ACM from straight runs of piping and elbows and other connections with the following specifications and work practices:

Before use, the mini-enclosure will be inspected for leaks and smoke-tested to detect breaches, and breaches sealed.

Before reuse, the interior will be completely washed with amended water and HEPA-vacuumed. During use, air movement will be directed away from the employee's breathing zone within the mini-enclosure.

Before work begins and as needed during the job, a competent person who is capable of identifying asbestos hazards in the workplace and selecting the appropriate control strategy for asbestos exposure, and who has the authority to take prompt corrective measures to eliminate such hazards, will conduct an inspection of the worksite and determine that the roofing material is intact and will likely remain intact.

Required Inspections by the Competent Person

1926.20(b)(2)—General Safety and Health Provisions, Accident Prevention Responsibilities, requires health and safety prevention programs to provide for frequent and regular inspections of the job sites, materials, and equipment to be made by competent persons, is incorporated.

Inspection of Protective Clothing. The competent person will examine worksuits worn by employees at least once per workshift for rips or tears that may occur during performance of work.

When rips or tears are detected while an employee is working, rips and tears will be immediately mended, or the worksuit shall be immediately replaced.

Additional Inspections. In addition, the competent person shall make frequent and regular inspections of the job sites, in order to perform their duties. For Class I jobs, on-site inspections will be made at least once during each work shift, and at any time at employee request. For Class II, III, and IV jobs, on-site inspections will be made at intervals sufficient to assess whether conditions have changed, and at any reasonable time at employee request.

On all worksites where employees are engaged in Class I or II asbestos work, the competent person will perform or supervise the following duties, as applicable:

- Set up the regulated area, enclosure, or other containment

- Ensure (by on-site inspection) the integrity of the enclosure or containment

- Set up procedures to control entry to and exit from the enclosure and/or area

- Supervise all employee exposure monitoring required by this section and ensure that it is conducted

- Ensure that employees working within the enclosure and/or using glove bags wear respirators and protective clothing

- Ensure through on-site supervision, that employees set up, use and remove engineering controls, use work practices and personal protective equipment in compliance with all requirements

- Ensure that employees use the hygiene facilities and observe the decontamination procedures (Refer to Asbestos Work Practices)

- Ensure that through on-site inspection, engineering controls are functioning properly and employees are using proper work practices

- Ensure that notification requirements are met

NCAC 7F .0207—Bloodborne Pathogens

Scope/Application: This standard applies to a company when employees have occupational exposure to blood or other potentially infectious materials resulting from the performance of their duties (e.g. have you assigned an employee to be a designated first aid provider). Note: North Carolina Administrative Code  (NCAC) 7F .0207 incorporates 29 CFR 1910.1030—Bloodborne Pathogens into the Construction Standards at 29 CFR 1926.1130.

The following standards are referenced in 29 CFR 1910.1030—Bloodborne Pathogens:

- 29 CFR 1904.8—Recording Criteria for Needlestick and Sharp Injuries

- 29 CFR 1904.29—Forms

- 29 CFR 1904.33—Recordkeeping—Retention and Updating

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

Note: 29 CFR 1904.8—Recording Criteria for Needlestick and Sharp Injuries, 29 CFR 1904.29—Forms, and 29 CFR 1904.33—Recordkeeping—Retention and Updating, all relate to recording of needlesticks and sharps injuries on a sharps injury log. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years.

Standard Requirements for 29 CFR 1910.1030—Bloodborne Pathogens:

- Programs/Plans: Exposure Control Plan, Training Program

- Procedures/Practices: Work practice controls, gloving policy, cleaning schedule (Include in your Exposure Control Program)

- Training: Initially, annually

- Inspections: Routinely

- Recordkeeping: Plan, program, medical records, exposure records, hepatitis B vaccination declination

Note: The Exposure Control Plan and Training Program required by 29 CFR 1910.1030— Bloodborne Pathogens can be incorporated into one program.

Example Plan: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1910.1030—Bloodborne Pathogens to ensure that all requirements are being met.

Bloodborne Pathogens—Exposure Control Plan

Exposure Determination

The Bloodborne Pathogens standard requires a listing of job classifications in which employees have occupational exposure. Since not all the employees in these categories would be expected to incur exposure to blood or other potential infectious material (OPIM), tasks or procedures that would cause these employees to have occupational exposure must also be listed to understand clearly which employees in these categories are considered to have occupational exposure. The job classifications and associated tasks for these categories are as follows:

| Job Classification | Task/Procedure |
| --- | --- |
| _____________________________________ | _____________________________________ |
| _____________________________________ | _____________________________________ |
| _____________________________________ | _____________________________________ |
| _____________________________________ | _____________________________________ |

Implementation Schedule and Methodology

OSHA requires that this plan include a schedule and method of implementation for the various requirements of the standard. The following complies with this requirement.

Compliance Methods

Universal precautions will be observed to prevent contact with blood or OPIM. All blood or OPIM will be considered infectious, regardless of the perceived status of the source individual. Engineering and work practice controls will be utilized to eliminate or minimize exposure to employees at this facility. Where occupational exposure remains after institution of these controls, personal protective equipment will also be utilized.

Handwashing facilities will be made available to employees who incur exposure to blood or OPIM. When handwashing facilities are not feasible, either an antiseptic cleanser in conjunction with clean cloth/paper towels or antiseptic towelettes will be provided. When using these alternatives, the employees must wash their hands with soap and running water as soon as feasible.

Personal Protective Equipment (PPE)

___________________________is responsible for ensuring that the following provisions are met.

All PPE used will be provided without cost to the employee. PPE will be chosen based on the anticipated exposure to blood or OPIM. The PPE will be considered appropriate only if it does not permit blood or OPIM to pass through or reach the employee’s clothing, skin, eyes, mouth or other mucous membranes under normal conditions of use and for the duration of time while the protective equipment will be used.

PPE Cleaning, Laundering and Disposal

All PPE will be cleaned, laundered or disposed of by the company at no cost to employees. All repairs and replacements will be provided by the company at no cost to employees.

Gloves

Gloves will be worn where it is reasonably anticipated that employees will have hand contact with blood, OPIM, non-intact skin and mucous membranes; when performing vascular access procedures; and when handling or touching contaminated items or surfaces.

Disposable gloves are not to be washed or decontaminated for reuse and are to be replaced as soon as practical when they become contaminated or if they are torn, punctured or their ability to function as a barrier is compromised. Utility gloves may be decontaminated for reuse, provided that the integrity of the glove is not compromised. Utility gloves will be discarded if they are cracked, peeling, torn, punctured or show other signs of deterioration or when their ability to function as a barrier is compromised.

Eye and Face Protection

Masks, in combination with eye protection devices such as goggles or glasses with solid side shields, or chin length side face shields must be worn whenever splashes, spray, splatter or droplets of blood or OPIM may be generated and eye, nose or mouth contamination can be reasonably anticipated. The following situations require such protection:

____________________________________________________________________________________________

____________________________________________________________________________________________

____________________________________________________________________________________________

Housekeeping

Note: A cleaning and decontamination schedule must be developed based on the type of contamination and the surfaces to be decontaminated. This schedule should include the frequency with which decontamination must be accomplished, such as immediately after a blood or body fluid release, once per shift, or after each procedure causing contamination of materials or surfaces.

We will follow the cleaning and decontamination schedule below:

____________________________________________________________________________________________

____________________________________________________________________________________________

Blood or OPIM release or spills must be reported to the supervisor or appropriately trained cleaning staff and surfaces must be decontaminated immediately or per the pre-established cleaning schedule. Decontamination may be accomplished by using sodium hypochlorite mixed with water in a 1:10 to 1:100 concentration. This must be mixed daily or immediately prior to use. Additionally other appropriate disinfectants may be used in accordance with the manufacturer’s instructions as follows:

____________________________________________________________________________________________

____________________________________________________________________________________________

Sharps and Other Regulated Waste

Regulated waste, including sharps, must be placed in containers that are closeable and constructed to contain all contents and prevent leakage. Sharps containers must be stored upright during use and may not be opened by employees.

All sharps and regulated waste containers must be labeled or color-coded and closed prior to removal to prevent spillage or protrusion of contents during handling, storage, transport or shipping.

Note: Disposal of all regulated waste must be in accordance with all applicable federal, state and local regulations.

Laundry Procedures

Laundry contaminated with blood or OPIM will be handled as little as possible. Such laundry will be placed in appropriately marked bags (biohazard labeled or color-coded red) at the location where it was used. The laundry will not be sorted or rinsed in the area of use.

Note: If the facility ships contaminated laundry offsite to a laundry that does not utilize universal precautions in the handling of all laundry, the contaminated laundry must be placed in bags or containers that are labeled or color-coded.

Hepatitis B Vaccine and Post-Exposure Evaluation and Follow-up

We make available the hepatitis B vaccine and vaccination series to all employees who have occupational exposure and post-exposure follow-up to employees who have had an exposure incident.

______________________________will ensure that all medical evaluations and procedures including the hepatitis B vaccine and vaccination series and post-exposure follow-up including prophylaxis are:

- Made available at no cost to the employee.

- Made available at a reasonable time and place.

- Performed by, or under the supervision of, a licensed physician or other licensed healthcare professional (PLHCP).

- Provided according to the recommendations of the U.S. Public Health Service.

Hepatitis B vaccination will be made available after the employee has received training in occupational exposure and within 10 working days of initial assignment to all employees who have occupational exposure unless:  the employee has previously received the complete hepatitis B vaccination series; antibody testing has revealed that the employee is immune; or the vaccine is contraindicated for medical reasons.

For employees who complete the hepatitis B vaccination series, antibody testing will be made available at no cost to the employee one to two months after completion of the series, as recommended by the U.S. Public Health Service.

Employees who decline the hepatitis B vaccination will sign the OSHA required declination form indicating their refusal (Refer to hepatitis B declination at the end of program). Any employee who initially declines hepatitis B vaccination, but later decides to accept vaccination while still covered by the standard, will be provided the vaccination series as described above.

If at a future date the U.S. Public Health Service recommends a routine booster dose of hepatitis B vaccine, such booster doses will be made available at no cost to the employee.

Post-Exposure Evaluation and Follow-up

All exposure incidents will be reported, investigated, and documented. When an employee incurs an exposure incident, it will be reported to ____________________________. Following a report of an exposure incident, the exposed employee will immediately receive a confidential medical evaluation and follow-up, including at least the following elements:

- Documentation of the route of exposure, and the circumstances under which the exposure incident occurred. If the incident involves percutaneous injury from a contaminated sharp, appropriate information should be entered in the sharps injury log.

- Identification and documentation of the source individual, unless it can be established that identification is infeasible or prohibited by state or local law. The source individual’s blood will be tested as soon as feasible, and after consent is obtained, to determine HBV and HIV infectivity. If consent is not obtained, ____________________________________will establish that legally required consent cannot be obtained. When the source individual’s consent is not required by law, the blood (if available) will be tested and the results documented.

- Results of the source individual’s testing will be made available to the exposed employee, and the employee will be informed of applicable laws and regulations concerning disclosure of the identity and infectious status of the source individual.

Collection and testing of blood for hepatitis B virus (HBV) and human immunodeficiency virus (HIV) serological status will comply with the following:

- The exposed employee’s blood will be collected as soon as feasible and tested after consent is obtained.

- The employee will be offered the option of having his or her blood collected for testing of the employee’s HIV serological status. The blood sample will be preserved for up to 90 days to allow the employee to decide if the blood should be tested for HIV status.

Any employee who incurs an exposure incident will be offered post-exposure evaluation and follow-up in accordance with the OSHA standard. All post-exposure follow-up will be provided by the following healthcare provider:_______________________________________________________.

Information Provided to the Health Care Professional

________________________________________will ensure that the health care professional (HCP) responsible for the employee’s hepatitis B vaccination is provided with a copy of the OSHA Bloodborne Pathogens Standard (29 CFR 1910.1030).

____________________________________will ensure that the HCP who evaluates an employee following an exposure incident is provided with the following:

- A copy of the OSHA Bloodborne Pathogens Standard.

- A description of the exposed employee’s duties as they relate to the exposure incident.

- Documentation of the route(s) of exposure and circumstances under which exposure occurred.

- Results of the source individual’s blood testing.

- All medical records relevant to the appropriate treatment of the employee, including vaccination status.

Health Care Professional’s Written Opinion

____________________________________will obtain and provide the employee with a copy of the evaluating HCP’s written opinion within 15 days of completion of the evaluation. For hepatitis B vaccination, the HCP’s written opinion will be limited to whether the vaccination is indicated for an employee and whether the employee has received such vaccination.

For post-exposure follow-up, the HCP’s written opinion will be limited to the following:

- A statement that the employee has been informed of the results of the evaluation.

- A statement that the employee has been told about any medical conditions resulting from exposure to blood or OPIM which may require further evaluation or treatment.

Note: The doctor must be informed that all other findings or diagnoses unrelated to the bloodborne pathogens exposure incident must remain confidential and must not be included in the written report from the doctor to the company.

Labels and Signs

____________________________________will ensure that biohazard labels are affixed to containers of regulated waste, refrigerators and freezers containing blood or OPIM and other containers used to store, transport or ship blood or OPIM. The universal biohazard symbol will be used. Labels will be fluorescent orange or orange-red and will be affixed as close as feasible to the container by string, wire, adhesive, or other method that prevents loss or unintentional removal. Red bags or containers may be substituted for labels.

Information and Training

____________________________________will ensure that training is provided at the time of initial assignment to tasks where occupational exposure may occur, and that training is repeated within 12 months of the previous training. Training will be tailored to the education and language level of the employee, and offered during the normal work shift.

Recordkeeping

Medical Records:____________________________________is responsible for maintaining medical records as indicated below. These records are confidential and must be maintained for the duration of employment plus 30 years.

Training Records:____________________________________ is responsible for maintaining BBP training records. These records will be maintained for three years from the date of training.

Declination Form

If an employee initially declines the hepatitis B vaccination but at a later date, while still covered under the standard, decides to accept the vaccination, we will make available hepatitis B vaccination at that time.

If an employee declines the hepatitis B vaccination, the  employee must sign the mandatory declination form.

Note: The Declination Form located in Section 6—Forms must include this exact wording with no additions or deletions. However, the information may be put on company letterhead.

29 CFR 1926, Subpart Y—Commercial Diving Operations

Scope/Application: This standard is required if employees are engaged commercial diving operations. Note: Part 1926, Subpart Y—Commercial Diving Operations, 29 CFR 1926.1071—Scope and Application through 29 CFR 1926.1091—Recordkeeping refer to 29 CFR 1910, Subpart T—Commercial Diving Operations as they are identical for construction.

The following standard is referenced in 29 CFR 1910.410-420—Commercial Diving Operations standard:

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

Note: 29 CFR 1910.440—Recordkeeping Requirements establishes the recordkeeping guidelines for commercial diving operations and references maintaining medical and exposure records within the criteria set forth in 29 CFR 1910.1020—Access to Employee Exposure and Medical Records.

Standard Requirements for 29 CFR 1910.410-440—Commercial Diving Operations:

- Programs/Plans: Safe Practices Manual

- Procedures/Practices: Reporting procedures, investigation procedures, evaluation procedures, tagging or logging system (Include in your Safe Practices Manual)

- Training: Initially, refresher

- Inspections: Before dive,  regularly, annually, semi-annually

- Documentation: Manual, inspections, emergency list, investigations

Example Manual: The following example manual may be modified to be site-specific to your organization. Please reference 29 CFR 1910.410-420—Commercial Diving Operations to ensure that all the standard requirements are being met.

Commercial Diving—Safe Practices Manual

The manual will be available at the dive location to each dive team member.

Safety Procedures

The following safety procedures will be followed for our diving operations:

# ______________________________________________________________________________________________________________________________________________________________________________________________________

# ______________________________________________________________________________________________________________________________________________________________________________________________________

Assignments and Responsibilities

Each dive team member will be assigned tasks in accordance with the employee's experience or training. Limited additional tasks may be assigned to an employee undergoing training provided that these tasks are performed under the direct supervision of an experienced dive team member.

# Primary Diver—A qualified diver performing initial underwater activities relating to the dive request.

# ______________________________________________________________________________________________________________________________________________________________________________________________________

Dive Team Leader—An appropriately qualified diver will be designated by the dive team as the dive team leader for each dive or series of dives. The dive team leader should be responsible for the diving operation. Level of experience and training in dealing with the task at hand will supersede rank/classification in selecting a dive team leader. The dive team leader should be at the dive location during the diving operation.

# ______________________________________________________________________________________________________________________________________________________________________________________________________

Standby Diver—An appropriately qualified diver, who is part of the dive team, should have the level of experience and training in dealing with the task at hand. The standby diver should be fully dressed and ready to assist the primary diver.

# ______________________________________________________________________________________________________________________________________________________________________________________________________

Tender—A surface support person responsible for handling a single diver’s umbilical and for maintaining voice and/or standard line signal communications will be part of the dive team.

# ______________________________________________________________________________________________________________________________________________________________________________________________________

# Emergency Procedures

The following emergency and first aid equipment will be provided, maintained and readily available at the physical dive area:

- A first aid kit appropriate for the diving operation;

- An emergency oxygen cylinder; and

- A stokes litter or backboard, with attached flotation device.

# ______________________________________________________________________________________________________________________________________________________________________________________________________

The following are emergency procedures for fire:

# ______________________________________________________________________________________________________________________________________________________________________________________________________

The following are emergency procedures for equipment failure:

# ______________________________________________________________________________________________________________________________________________________________________________________________________

The following are emergency procedures for adverse environmental conditions:

# ______________________________________________________________________________________________________________________________________________________________________________________________________

The following are emergency procedures for medical illness and injury:

# ______________________________________________________________________________________________________________________________________________________________________________________________________

Equipment Procedures

The following equipment procedures will be followed:

# _________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Equipment Checklists

The following equipment will be checked on the following schedule:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

13 NCAC 7F .0600—Communication Tower

Scope/Application: This state-specific standard applies if employees work on communication towers during construction, alteration, repair, operation, inspection, and maintenance activities.

The following standards are referenced in 13 NCAC 7F .0600—Communication Tower:

- 29 CFR 1910.1200—Hazard Communication

Note: 13 NCAC 7F .0600—Communication Tower requires training on 29 CFR 1910.1200—Hazard Communication when employees handle flammable liquids.

Standard Requirements for 13 NCAC 7F .0600—Communication Tower:

- Programs/Plans: RF Safety Program, Fall Protection Plan, Training Program

- Procedures/Practices: Emergency procedures, work procedures (Include in your Fall Protection Plan and/or RF Program)

- Training: Initially, refresher

- Inspections: Initially, daily, annually, changes

- Documentation: Programs, plan, training, inspections, medical records, exposure records

Note: The RF Safety Program and Fall Protection Plan required by 13 NCAC 7F .0600—Communication Tower are generally standalone programs/plan.  Each one requires the incorporation of a Training Program.

Example Plan: The following example plan should be modified to be site-specific to your organization. Please reference 13 NCAC 7F .0600—Communication Tower to ensure that all the standard requirements are being met. Refer to the Table of Contents for an example Fall Protection Program.

Communication Tower—RF Safety Program

Engineering Controls

The following engineering controls will be followed:

- Site Configuration

- Physical Barriers

- RF Controls

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Work Practice Controls

The following work practice controls will be followed:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Administrative Controls

We will utilize the following administrative controls:

- Personal or Area Monitors

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment

The following personal protective equipment will be used:

- RF Suits

- Gloves

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Warning Signs

Signs will be posted around the perimeter and outside the buildings. We will also post sign in the following areas:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Lockout/Tagout Procedures

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training Program

All employees will receive initial training on the following topics and will be provided refresher training when there are deficiencies in the employee’s knowledge.

- RF Safety Awareness

- Personal protective equipment

- Safe work practices

- Reporting exposure incidents

- Lockout-tagout

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Exposure Monitoring

We will conduct initial and routine exposure measurements. Our schedule is as follows:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

29 CFR PART 1926, Subpart AA—Confined Spaces in Construction

Scope/Application: This standard applies when employees enter confined spaces that have hazards such as engulfment, hazardous atmosphere, entrapment, or other serious safety or health hazard.

The following standard is referenced in 29 CFR 1926, Subpart AA—Confined Spaces in Construction:

- 29 CFR 1926.103—Respiratory Protection

- 29 CFR 1926.59—Hazard Communication

Note: 29 CFR 1926, Subpart AA—Confined Spaces in Construction references the 29 CFR 1926.103—Respiratory Protection requirement for respiratory protection for employee rescue when employees are working in hazardous atmospheres. It also states that for air contaminants for which OSHA has not determined a dose or permissible exposure limit, other sources of information, such as Safety Data Sheets that comply with 29 CFR 1926.59—Hazard Communication standard can provide guidance in establishing acceptable atmospheric conditions.

Standard Requirements for 29 CFR 1926, Subpart AA—Confined Spaces in Construction:

- Programs/Plans: Permit Space Program

- Procedures/Practices: Work procedures, monitoring procedures, permit system (Include in your Permit Space Program)

- Training: Initially, annually (rescue)

- Inspections: Initially

- Recordkeeping: Program, training records, entry permits, hot work permits, safety data sheets, first aid certificates, monitoring data

Example Program: The following example program may be modified to be site-specific to the organization. Please reference 29 CFR 1926, Subpart AA—Confined Spaces in Construction to ensure that all requirements are being met.

Confined Spaces—Permit Space Program

Purpose

To protect employees from the hazards associated with entry into permit-required confined spaces and to develop procedures by which employees will enter such spaces.

Policy

All spaces owned or operated by the company that meet the definition of permit-required confined spaces (PRCS) will be identified and appropriately marked. The company must control access to these spaces.

Employees are prohibited from entering any space meeting the definition of a PRCS unless the following conditions are met:

- The company determines that employees must enter permit-required confined spaces to perform assigned duties. The employees are trained to safely perform these duties in a PRCS.

The confined space is rendered safe for entry:

- By issuance and compliance with the conditions of a permit.

- When the space is reclassified as a non-permit space without making entry into the space. (This does not apply to a PRCS with an actual or potential hazardous atmosphere.)

- Alternate entry procedures are performed.

Permits issued under the procedures in this policy will be limited to the duration of the job but no longer than one work shift. A new permit is required if work continues on a second shift or another day.

Definitions

Confined Space—a space that meets all three of the following conditions:

- Is large enough and so configure that an employee can bodily enter and perform assigned work.

- Has limited or restricted means for entry or exit (for example, tanks, vessels, silos, storage binds, hoppers, vaults and pit are spaces that have limited mean of entry).

- Is not designed for continuous human occupancy.

Permit-Required Confined Space (Permit Space)—a confined space that has one or more of the following characteristics:

- Contains or has the potential to contain a hazardous atmosphere.

- Contains a material that has the potential for engulfing an entrant.

- Has an internal configuration such that the entrant  could be trap or asphyxiated by inwardly converging walls or a floor that slopes downward and tapers to a smaller cross-section.

- Contains any other recognized serious safety and/or health hazard.

Competent Person—Means one who is capable of identifying existing and predictable hazards in the surroundings or working conditions which are unsanitary, hazardous, or dangerous to employees, and who has the authorization to take prompt corrective measures to eliminate them.

Duties and Responsibilities

Competent Person—The competent person will be responsible for:

- Identifying all confined spaces in which one or more of the employees it directs may work, and identifies each space that is a permit space, through consideration and evaluation of the elements of that space, including testing as necessary.

- When there are changes in the use or configuration of a non-permit confined space that might increase the hazards to entrants, or some indication that the initial evaluation of the space may not have been adequate, a competent person will reevaluate that space and, if necessary, reclassify it as a permit required confined space.

- Identify the early-warning system to be used to alert authorized entrants and attendants that an engulfment hazard may be developing. This includes alarms activated by remote sensors; and lookouts with equipment for immediately communicating with the authorized entrants and attendants.

- Identify the monitoring process to be used for each confined space.

Authorized Attendant—The trained individual stationed outside the permit space to monitor the authorized entrants and to perform all attendant duties. The attendant will:

- Remain outside the permit space during entry operations unless relieved by another authorized attendant.

- Perform non-entry rescues when specified by the company’s rescue procedure.

- Know existing and potential hazards, including information on the mode of exposure, signs or symptoms, consequences, and physiological effects.

- Maintain communication with, and keep an accurate account of, those workers entering the permit space.

- Order evacuation of the permit space when a prohibited condition exists; when a worker shows signs of physiological effects of hazard exposure; when an emergency outside the confined space exists; or when the attendant cannot effectively and safely perform required duties.

- Summon rescue and other services during an emergency.

- Ensure that unauthorized people stay away from permit spaces or exit immediately if they have entered the permit space.

- Inform authorized entrants and the entry supervisor if any unauthorized person enters the permit space.

- Perform no other duties that interfere with the attendant’s primary duties.

- Inform authorized entrants of the early warning system to be used.

- Perform monitoring of space.

The following personnel have been trained and are authorized attendants:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Authorized Entrant—The trained individual who enters the permit space. The entrant is required to:

- Know space hazards, including information on the means of exposure such as inhalation or dermal absorption, signs and symptoms, and consequences of the exposure.

- Use appropriate personal protective equipment properly.

- Maintain communication with attendants as necessary to enable them to monitor the entrant’s status and alert the entrant to evacuate when necessary.

- Exit from the permit space as soon as possible when ordered by the attendant; when he or she recognizes the warning signs or symptoms of exposure; when a prohibited condition exists; or when an automatic alarm is activated.

- Alert the attendant when a prohibited condition exists or when warning signs or symptoms of exposure exist.

- Know and adhere to the early warning system to be used.

The following personnel have been trained and are authorized entrants:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Entry Supervisor—The trained individual with the responsibility to ensure that acceptable entry conditions are present within a permit space under his or her jurisdiction; issuing a permit authorizing entry; overseeing entry operations; and terminating the entry and permit.

For each entry into a PRCS, the designated entry supervisor will:

- Perform the pre-entry duties of the entry supervisor on the permit space to be entered.

- Prepare an entry permit, reclassify the space as a non-permit space, or authorize alternate entry procedures, in compliance with the relevant procedures of this section.

- Perform the post-entry duties of the entry supervisor.

- Collect the permit from the attendant at the end of entry or prepare the documentation for reclassification or alternate entry.

- Terminate entry permit when entry operations have been completed, or a condition arises that creates new hazards in the space.

For the duration of each entry into a permit space, the entrants and attendants will perform the duties outlined in these procedures, and will return the permit or documentation to (insert job title of responsible person) upon termination of entry.

The following personnel have been trained and are authorized entry supervisors:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Entry Employer—Only employees designated by the entry employer will be allowed in a permit space and will follow the procedures set forth in the program and by the competent person.

Host Employer—The employer that owns or manages the property where the construction work is taking place.

Note. If the owner of the property on which the construction activity occurs has contracted with an entity for the general management of that property, and has transferred to that entity the specified information, they will be considered the host employer for as long as that entity manages the property.

Contractors—The company must ensure that every contract for work within an identified permit space or work within a non-permit space that will introduce a reclassifying hazard will:

- Notify the contractor that the space is a permit-required confined space and of the hazards within the space.

- Require the contractor to control entry into the space by a permit system meeting the requirements of 29 CFR 1926 Subpart AA—Confined Spaces in Construction.

- Require the contractor to eliminate any temporary hazards created by the work or notify the supervisor responsible for the space of any permanent hazards created by the work.

Controlling Contractor—Before entry operations begin, the controlling contractor must:

- Obtain host employer’s information about the permit space hazards and previous entry operations; and

- Provide the following information to each entity entering a permit space and any other entity at the worksite whose activities could foreseeably result in a hazard in the permit space:

- Information received from the host employer;

- Any additional information the controlling contractor has about the subjects listed in paragraph (h)(1) of this section; and

- The precautions that the host employer, controlling contractor, or other entry employers implemented for the protection of employees in the permit spaces.

Entry Employer—Before entry operations begin, the entry employer must:

- Obtain all of the controlling contractor’s information regarding permit space hazards and entry operations; and

- Inform the controlling contractor of the permit space program that the entry employer will follow, including any hazards likely to be confronted or created in each permit space.

Field Staff—Managers of field staff authorized to enter permit spaces will:

- Procure the equipment necessary for entry testing and develop procedures to provide entry supervisors with the equipment as necessary.

- Designate and train entry supervisors, attendants and entrants.

Rescue Service Personnel/Entry Rescue—The company has identified emergency responders (either on- or off-site) that are capable of responding to an emergency in a timely manner. The responders will have appropriate rescue equipment, including respirators, and be trained how to use all equipment.

Rescue service personnel must receive the authorized entrants training and be trained to perform assigned rescue duties. The following personnel have been trained as rescue service personnel:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The standard also requires that all rescuers be trained in first aid and CPR. At a minimum, one rescue team member must be currently certified in first aid and CPR. Employers must ensure that practice rescue exercises are performed yearly and that rescue services are provided access to permit spaces so they can practice rescue operations. Rescuers also must be informed of the hazards of the permit space. This includes off-site rescue teams such as local fire and rescue companies.

Note: If the company is relying on off-site rescue services, the company must notify the off-site rescue of the permit-required confined space entry and ensure that the rescue service is on standby during entry.

Entry Permit System

All entries into a permit space will have an entry permit. The permit must be signed by the entry supervisor and will be posted at all entrances or otherwise made available to entrants before they enter a permit space.

The permit will verify that pre-entry preparations have been completed. The duration of entry permits must not exceed the time required to complete an assignment.

All entry permits must include:

- Name of permit space to be entered, authorized entrant(s), eligible attendants and individuals authorized to be entry supervisors;

- Test results;

- Tester's initials or signature;

- Name and signature of supervisor who authorizes entry;

- Purpose of entry and known space hazards;

- Measures to be taken to isolate permit spaces and to eliminate or control space hazards;

- Name and telephone numbers of rescue and emergency services and means to be used to contact them;

- Date and authorized duration of entry;

- Acceptable entry conditions;

- Communication procedures and equipment to maintain contact during entry;

- Additional permits, such as for hot work, that have been issued authorizing work in the permit space;

- Special equipment and procedures (lockout/tagout) for entering and exiting space, including personal protective equipment and alarm systems; and

- Any other information needed to ensure employee safety.

Hot Work Permits—Entries involving hot work require a hot work permit.

Cancelled Entry Permits—The entry supervisor must cancel entry permits when an assignment is completed or when new conditions exist. New conditions must be noted on the canceled permit and used in revising the permit space program.

Monitoring System

Monitor or monitoring is the process used to identify and evaluate the hazards after an authorized entrant enters the space. This process checks for changes that is performed in a periodic or continuous manner after the completion of the initial testing or evaluation of that space. The competent person will identify the process to be used for each space.

The following procedures will be followed before and during entry:

- Perform pre-entry testing to the extent feasible before entry is authorized.

- If entry is authorized, continuously monitor entry conditions in the areas where authorized entrants are working.

- Provide an early-warning system that continuously monitors for non-isolated engulfment hazards. The system must alert authorized entrants and attendants in sufficient time for the authorized entrants to safely exit the space.

- Continuously monitor atmospheric hazards or ensure that periodic monitoring is conducted at sufficient frequency to ensure that the atmospheric hazard is being controlled at safe levels. If continuous monitoring is not used, periodic monitoring is required with sufficient frequency to ensure that acceptable entry conditions are being maintained during the course of entry operations.

- When testing for atmospheric hazards, test first for oxygen, then for combustible gases and vapors, and then for toxic gases and vapors;

Retention of Permit and Other Records

Canceled permits and other documentation will be retained not less than one year following the date of entry. Permits will then be retained as an employee exposure record if applicable.

These records are kept at______________________.

Harnesses and Retrieval Lines

Authorized entrants who enter a permit space must wear a chest or full body harness with a retrieval line attached to the center of their backs near shoulder level or above their heads. Wristlets may be used if the company can demonstrate that the use of a chest or full body harness is not feasible or creates a greater hazard.

The other end of the retrieval line must be attached to a mechanical device or a fixed point outside the permit space. A mechanical device must be available to retrieve someone from vertical type permit spaces more than 5 feet deep.

Safety Data Sheets

If an injured entrant is exposed to a substance for which a safety data sheet (SDS) or other similar written information is required to be kept at the worksite, that SDS or other written information must be made available to the medical facility personnel treating the exposed entrant.

Training

All Employees—The respective supervisor will ensure that each employee receives awareness training on:

- The characteristics of a confined space.

- The characteristics of a permit-required confined space.

- Whether they are allowed to enter permit-required confined spaces.

- Required actions when working around or near a permit space entry.

- The authority of authorized attendants and entry supervisors.

Training will be required:

- During orientation.

- Prior to entry into a permit-required confined space.

- Whenever the supervisor becomes aware that the employee has failed to follow the instructions provided in the training.

The supervisor will provide verification of training to: (insert job title of responsible person).

Entry Supervisors, Attendants and Entrants—The supervisor will ensure that employees designated as entry supervisors, attendants and entrants receive training in:

- The requirements of this policy and procedures.

- The duties, authority and responsibilities of entry supervisors, attendants, lead entrants and entrants.

- The types of hazards expected to be encountered in permit spaces.

- The calibration, use, care and cleaning of equipment expected to be used during entry operations

- The performance of pre-entry actions expected to be required in permit spaces.

Training will be provided:

- Prior to assignment or authorization of duties within permit spaces.

- Within one month of revisions to this policy or procedures. Assignment or authorization for permit space entry will be suspended until training is completed.

- Whenever the supervisor becomes aware that an employee is deviating from the procedures of this policy. Assignment or authorization for permit space entry will be suspended until training is completed.

- Annually.

The company will certify that each affected employee has successfully completed training. The certification must include at least the following:

- Employee name

- Name, signature or initials of the trainer

- Dates of training

Additionally, the certification may include a synopsis of the topics covered, copies of materials used during training such as handouts and presentations, and copies of tests (if used) to determine trainee understanding and proficiency, and other documentation deemed appropriate by the company. The certification must be maintained by the company and a copy may be provided to the employee. Refer to the Training Program section for certification sheets.

Program Review

We will review the effectiveness of the program annually, using the canceled permits and other documentation from the preceding 12 months, entry supervisor comments, and other available information. If no entries were made during the preceding 12 months, no annual review is required.

The entry supervisor, authorized attendant or entrant may make recommendations to management at any time to make changes in procedures to address and correct weaknesses in the procedures.

The entry supervisor or unit manager may notify the company at any time of potential weaknesses in policy or procedures. The company will view and initiate whatever changes necessary to address confirmed weaknesses.

Note: Example confined space evaluations and hot work permits are located in Section 6—Forms.

29 CFR PART 1926.1437—Floating Cranes/Derricks and Land

Cranes/Derricks on Barges

Scope/Application: This standard applies when more than one crane/derrick will be supporting the load.

Standard Requirements for 29 CFR 1926, Subpart CC—Cranes & Derricks in Construction:

- Programs/Plans: Multiple Crane/Derrick Operation Plan; Mobile Auxiliary Crane Plan

- Procedures/Practices: Work procedures (Include in your Plan)

- Training: Initially

- Inspections: Initially, each shift, monthly, annually

- Recordkeeping: Plan, inspections, certifications

Example Program: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1926.1437—Floating Cranes/Derricks and Land Cranes/Derricks on Barges and Subpart CC—Cranes & Derricks in Construction to ensure that all requirements are being met.

Cranes/Derricks—Mobile Auxiliary Crane Plan and Procedures

Plan Development Procedures

- A marine engineer or registered professional engineer familiar with floating crane/derrick design will develop and sign a written plan for the use of the mobile auxiliary crane.

- The plan will be designed so that the applicable requirements are met despite the position, travel, operation, and lack of physical attachment (or corralling, use of rails or cable system) of the mobile auxiliary crane.

- The plan will specify the areas of the deck where the mobile auxiliary crane is permitted to be positioned, travel, and operate, and the parameters and limitations of such movements and operation.

- The deck will be marked to identify the permitted areas for positioning, travel, and operation.

- The plan will specify the dynamic and environmental conditions will be present for use of the plan.

- If the dynamic and environmental conditions are exceeded, the mobile auxiliary crane is attached physically or corralled in accordance with option 1, 2 or 4 below:

  - Physical attachment. The crane/derrick is physically attached to the barge, pontoons, vessel or other means of flotation. Methods of physical attachment include crossed-cable systems attached to the crane/derrick and vessel/flotation device, bolting or welding the crane/derrick to the vessel/flotation device, strapping the crane/derrick to the vessel/flotation device with chains, or other methods of physical attachment.

  - Corralling. The crane/derrick is prevented from shifting by installing barricade restraints (i.e., a corralling system). Employers must ensure that corralling systems do not allow the equipment to shift by any amount of shifting in any direction.

  - Rails. The crane/derrick must be prevented from shifting by being mounted on a rail system. Employers must ensure that rail clamps and rail stops are used unless the system is designed to prevent movement during operation by other means

  - Centerline cable system. The crane/derrick is prevented from shifting by being mounted to a wire rope system. We will ensure that the wire rope system meets the following requirements:

- The wire rope and attachments are of sufficient size and strength to support the side load of crane/derrick.

- The wire rope is attached physically to the vessel/flotation device.

- The wire rope is attached to the crane/derrick by appropriate attachment methods (such as shackles or sheaves) on the undercarriage, and that the method used will allow the crew to secure the crane/derrick from movement during operation and to move the crane/derrick longitudinally along the vessel/flotation device for repositioning.

- Means are installed to prevent the crane/derrick from passing the forward or aft end of the wire rope attachments.

- The crane/derrick is secured from movement during operation.

- The systems/means used to comply with option 1-4 are designed by a marine engineer, registered professional engineer familiar with floating crane/derrick design, or qualified person familiar with floating crane/derrick design.

Inspection Procedures

Modified equipment—Equipment that has had modifications or additions which affect the safe operation of the equipment (such as modifications or additions involving a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) or capacity will be inspected by a qualified person after such modifications/additions have been completed, prior to initial use.

The inspection will meet all of the following requirements:

- Inspection will assure that the modifications or additions have been done with the approval of the manufacturer or registered professional engineer (RPE).

- Inspection will include functional testing of the equipment.

- Equipment will not be used until an inspection has been approved by the manufacturer or an RPE.

Repaired/adjusted equipment—Equipment that has had a repair or adjustment that relates to safe operation (such as: A repair or adjustment to a safety device or operator aid, or to a critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism), will be inspected by a qualified person after such a repair or adjustment has been completed, prior to initial use.

The inspection will meet all of the following requirements:

- The qualified person will determine if the repair/adjustment meets manufacturer equipment criteria (where applicable and available).

- Where manufacturer equipment criteria are unavailable or inapplicable, the qualified person will:

  - Determine if an RPE is needed to develop criteria for the repair/adjustment. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

  - Determine if the repair/adjustment can be developed by a qualified person or an RPE is required.

- Inspection will include functional testing of the repaired/adjusted parts and other components that may be affected by the repair/adjustment.

- Equipment will not be used until an inspection demonstrates that the repair/adjustment meets manufacturer requirements and approval.

Post-assembly—Upon completion of assembly, the equipment will be inspected by a qualified person to assure that it is configured in accordance with manufacturer equipment criteria.

Where manufacturer equipment criteria are unavailable, a qualified person will:

- Determine if an familiar with the type of equipment involved is needed to develop criteria for the equipment configuration. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

- Determine if the equipment meets the criteria of needing an RPE.

- Equipment will not be used until an inspection demonstrates that the equipment is configured in accordance with the applicable criteria.

Each shift—A competent person will begin a visual inspection prior to each shift the equipment will be used, which must be completed before or during that shift. It includes:

- The inspection will consist of observation for apparent deficiencies.

- Taking apart equipment components and booming down is not required as part of this inspection unless the results of the visual inspection or trial operation indicate that further investigation necessitating taking apart equipment components or booming down is needed.

- Determinations made in conducting the inspection will be reassessed in light of observations made during operation.

At a minimum, the inspection will include all of the following:

- Control mechanisms for maladjustments interfering with proper operation.

- Control and drive mechanisms for apparent excessive wear of components and contamination by lubricants, water or other foreign matter.

- Air, hydraulic, and other pressurized lines for deterioration or leakage, particularly those which flex in normal operation.

- Hydraulic system for proper fluid level.

- Hooks and latches for deformation, cracks, excessive wear, or damage such as from chemicals or heat.

- Wire rope reeving for compliance with the manufacturer's specifications.

- Wire rope.

- Electrical apparatus for malfunctioning, signs of apparent excessive deterioration, dirt or moisture accumulation.

- Tires (when in use) for proper inflation and condition.

- Ground conditions around the equipment for proper support, including ground settling under and around outriggers/stabilizers and supporting foundations, ground water accumulation, or similar conditions. The equipment for level position within the tolerances specified by the equipment manufacturer's recommendations, both before each shift and after each move and setup.

- Operator cab windows for significant cracks, breaks, or other deficiencies that would hamper the operator's view.

- Rails, rail stops, rail clamps and supporting surfaces when the equipment has rail traveling.

- Safety devices and operational aids for proper operation.

Deficiencies—If any deficiency or any additional inspection items required to be checked for specific types of equipment is identified, an immediate determination will be made by the competent person as to whether the deficiency constitutes a safety hazard. If the deficiency is determined to constitute a safety hazard, the equipment will be taken out of service until it has been corrected.

If any deficiency is identified for safety devices/operational aids, operations will not begin until they are in working order.

Monthly—Each month the equipment is in service, it will be inspected each shift. Equipment will not be used until an inspection demonstrates that no corrective action is required.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual/comprehensive—At least every 12 months, the equipment will be inspected by a qualified person. If needed, disassembly may be required to complete the inspection.

The equipment will be inspected for all of the following:

- Equipment structure (including the boom and, if equipped, the jib):

- Structural members: Deformed, cracked, or significantly corroded.

- Bolts, rivets and other fasteners: loose, failed or significantly corroded.

- Welds for cracks.

- Sheaves and drums for cracks or significant wear.

- Parts such as pins, bearings, shafts, gears, rollers and locking devices for distortion, cracks or significant wear.

- Brake and clutch system parts, linings, pawls and ratchets for excessive wear.

- Safety devices and operational aids for proper operation (including significant inaccuracies).

- Gasoline, diesel, electric, or other power plants for safety-related problems (such as leaking exhaust and emergency shut-down feature) and conditions, and proper operation.

- Chains and chain drive sprockets for excessive wear of sprockets and excessive chain stretch.

- Travel steering, brakes, and locking devices, for proper operation.

- Tires for damage or excessive wear.

Hydraulic, pneumatic and other pressurized hoses, fittings and tubing, will be inspected as follows:

- Flexible hose or its junction with the fittings for indications of leaks.

- Threaded or clamped joints for leaks.

- Outer covering of the hose for blistering, abnormal deformation or other signs of failure/impending failure.

- Outer surface of a hose, rigid tube, or fitting for indications of excessive abrasion or scrubbing.

- Hydraulic and pneumatic pumps and motors, as follows:

- Performance indicators: Unusual noises or vibration, low operating speed, excessive heating of the fluid, low pressure.

- Loose bolts or fasteners.

- Shaft seals and joints between pump sections for leaks.

Hydraulic and pneumatic valves, will be inspected as follows:

- Spools: Sticking, improper return to neutral, and leaks.

- Leaks.

- Valve housing cracks.

- Relief valves: Failure to reach correct pressure (if there is a manufacturer procedure for checking pressure, it must be followed).

Hydraulic and pneumatic cylinders, will be inspected as follows:

- Drifting caused by fluid leaking across the piston.

- Rod seals and welded joints for leaks.

- Cylinder rods for scores, nicks, or dents.

- Case (barrel) for significant dents.

- Rod eyes and connecting joints: Loose or deformed.

- Outrigger or stabilizer pads/floats for excessive wear or cracks.

- Slider pads for excessive wear or cracks.

- Electrical components and wiring for cracked or split insulation and loose or corroded terminations.

- Warning labels and decals originally supplied with the equipment by the manufacturer or otherwise required: Missing or unreadable.

- Originally equipped operator seat (or equivalent): Missing.

- Operator seat: Unserviceable.

- Originally equipped steps, ladders, handrails, guards: Missing.

- Steps, ladders, handrails, guards: In unusable/unsafe condition.

This inspection will include functional testing to determine that the equipment as configured in the inspection is functioning properly.

- If any deficiency is identified, an immediate determination will be made by the qualified person as to whether the deficiency constitutes a safety hazard or, though not yet a safety hazard, needs to be monitored in the monthly inspections.

- If the qualified person determines that a deficiency is a safety hazard, the equipment will be taken out of service until it has been corrected, except when temporary alternative measures are implemented.

- If the qualified person determines that, though not presently a safety hazard, the deficiency needs to be monitored, the employer will ensure that the deficiency is checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Severe service—Where the severity of use/conditions is such that there is a reasonable probability of damage or excessive wear (such as loading that may have exceeded rated capacity, shock loading that may have exceeded rated capacity, prolonged exposure to a corrosive atmosphere), we will stop using the equipment and a qualified person will:

- Inspect the equipment for structural damage to determine if the equipment can continue to be used safely.

- In light of the use/conditions determine whether any items/conditions need to be inspected; if so, the qualified person will inspect those items/conditions.

- If a deficiency is found, the qualified person will determine if it constitutes a safety hazard and take appropriate corrective action.

Equipment not in regular use—Equipment that has been idle for 3 months or more will be inspected by a qualified person before initial use.

Manufacturer procedures—Any part of a manufacturer's procedures regarding inspections that relate to safe operation (such as to a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) that is more comprehensive or has a more frequent schedule of inspection than the above requirements will be followed.

Barge, pontoons, vessel or other means of flotation used to support a floating crane/derrick or land crane/derrick

Shift inspections—The following will be inspected during each shift inspection:

- The means used to secure/attach the equipment to the vessel/flotation device is in proper condition, including wear, corrosion, loose or missing fasteners, defective welds, and (when applicable) insufficient tension.

Monthly inspections—The following will be inspected during each monthly inspection:

- The means used to secure/attach the equipment to the vessel/flotation device is in proper condition, including inspection for wear, corrosion, and, when applicable, insufficient tension.

- The vessel/flotation device is not taking on water.

- The deckload is properly secured.

- The vessel/flotation device is watertight based on the condition of the chain lockers, storage, fuel compartments, and hatches

- The firefighting and lifesaving equipment is in place and functional.

- The shift and monthly inspections are conducted by a competent person, and:

  - If any deficiency is identified, an immediate determination is made by a qualified person whether the deficiency constitutes a hazard.

  - If the deficiency is determined to constitute a hazard, the vessel/flotation device is removed from service until the deficiency has been corrected.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual: external vessel/flotation device inspection—For each annual inspection:

- The external portion of the barge, pontoons, vessel or other means of flotation used will be inspected annually by a qualified person who has expertise with respect to vessels/flotation devices and that the inspection includes the following items:

  - The items listed in shift and monthly Inspections above.

  - Cleats, bitts, chocks, fenders, capstans, ladders, and stanchions, for significant corrosion, wear, deterioration, or deformation that could impair the function of these items.

  - External evidence of leaks and structural damage; evidence of leaks and damage below the waterline may be determined through internal inspection of the vessel/flotation device.

  - Four-corner draft readings.

  - Firefighting equipment for serviceability.

  - Rescue skiffs, lifelines, work vests, life preservers and ring buoys are inspected for proper condition.

- If any deficiency is identified, an immediate determination is made by the qualified person whether the deficiency constitutes a hazard or, though not yet a hazard, needs to be monitored in the monthly inspections.

- If the qualified person determines that the deficiency constitutes a hazard, the vessel/flotation device is removed from service until it has been corrected.

- If the qualified person determines that, though not presently a hazard, the deficiency needs to be monitored, the deficiency will be checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Four-year: internal vessel/flotation device inspection. For each four-year inspection:

- A marine engineer, marine architect, licensed surveyor, or other qualified person who has expertise with respect to vessels/flotation devices surveys the internal portion of the barge, pontoons, vessel, or other means of flotation will conduct the inspection.

- If the surveyor identifies a deficiency, an immediate determination is made by the surveyor as to whether the deficiency constitutes a hazard or, though not yet a hazard, needs to be monitored in the monthly or annual inspections, as appropriate.

- If the surveyor determines that the deficiency constitutes a hazard, the vessel/flotation device will be removed from service until it has been corrected.

- If the surveyor determines that, though not presently a hazard, the deficiency needs to be monitored, the deficiency is checked in the monthly or annual inspections, as appropriate.

Documentation of four year inspection. The following information will be documented, maintained, and retained for a minimum of 4 years:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Training

Initially. All employees will be trained initially on the procedures in the plan.

Competent persons and qualified persons. Each competent person and qualified person will be trained on the requirements of Cranes and Derricks Standard applicable to their respective roles.

Refresher training. We will evaluate each employee’s training to confirm that the employee understands the information provided in the training.

Refresher training will be provided in relevant topics for each employee when, based on the conduct of the employee or an evaluation of the employee's knowledge, there is an indication that retraining is necessary.

29 CFR PART 1926.1432—Multiple Crane/Derrick Lifts-Supplemental Requirement

Scope/Application: This standard applies when more than one crane/derrick will be supporting the load.

Standard Requirements for 29 CFR 1926, Subpart CC—Cranes & Derricks in Construction:

- Programs/Plans: Multiple Crane/Derrick Operation Plan; Mobile Auxiliary Crane Plan

- Procedures/Practices: Work procedures (Include in your Plan)

- Training: Initially

- Inspections: Initially, each shift, monthly, annually

- Recordkeeping: Plan, inspections, certifications

Example Program: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1926.1432—Multiple Crane/Derrick Lifts-Supplemental Requirement and Subpart CC—Cranes & Derricks in Construction to ensure that all requirements are being met.

Cranes/Derricks—Multiple Crane/Derrick Operation Plan and Procedures

Plan Development Procedures

Before beginning a crane/derrick operation in which more than one crane/derrick will be supporting the load, the operation will be planned.

- Each plan will be developed by a qualified person.

- The plan will be designed to ensure that the requirements of Subpart CC—Cranes & Derricks in Construction are met.

- Whenever the qualified person determines that engineering expertise is needed for the planning, it will be provided.

Plan Implementation Procedures

The multiple-crane/derrick lift will be directed by a person who meets the criteria for both a competent person and a qualified person, or by a competent person who is assisted by one or more qualified persons (lift director).

The lift director will review the plan in a meeting with all workers who will be involved with the operation.

Inspection Procedures

Modified equipment—Equipment that has had modifications or additions which affect the safe operation of the equipment (such as modifications or additions involving a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) or capacity will be inspected by a qualified person after such modifications/additions have been completed, prior to initial use.

The inspection will meet all of the following requirements:

- Inspection will assure that the modifications or additions have been done with the approval of the manufacturer or registered professional engineer (RPE).

- Inspection will include functional testing of the equipment.

- Equipment will not be used until an inspection has been approved by the manufacturer or an RPE.

Repaired/adjusted equipment—Equipment that has had a repair or adjustment that relates to safe operation (such as: A repair or adjustment to a safety device or operator aid, or to a critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism), will be inspected by a qualified person after such a repair or adjustment has been completed, prior to initial use.

The inspection will meet all of the following requirements:

- The qualified person will determine if the repair/adjustment meets manufacturer equipment criteria (where applicable and available).

- Where manufacturer equipment criteria are unavailable or inapplicable, the qualified person will:

  - Determine if an RPE is needed to develop criteria for the repair/adjustment. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

  - Determine if the repair/adjustment can be developed by a qualified person or an RPE is required.

- Inspection will include functional testing of the repaired/adjusted parts and other components that may be affected by the repair/adjustment.

- Equipment will not be used until an inspection demonstrates that the repair/adjustment meets manufacturer requirements and approval.

Post-assembly—Upon completion of assembly, the equipment will be inspected by a qualified person to assure that it is configured in accordance with manufacturer equipment criteria.

Where manufacturer equipment criteria are unavailable, a qualified person will:

- Determine if an familiar with the type of equipment involved is needed to develop criteria for the equipment configuration. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

- Determine if the equipment meets the criteria of needing an RPE.

- Equipment will not be used until an inspection demonstrates that the equipment is configured in accordance with the applicable criteria.

Each shift—A competent person will begin a visual inspection prior to each shift the equipment will be used, which must be completed before or during that shift.

- The inspection will consist of observation for apparent deficiencies.

- Taking apart equipment components and booming down is not required as part of this inspection unless the results of the visual inspection or trial operation indicate that further investigation necessitating taking apart equipment components or booming down is needed.

- Determinations made in conducting the inspection will be reassessed in light of observations made during operation.

At a minimum, the inspection will include all of the following:

- Control mechanisms for maladjustments interfering with proper operation.

- Control and drive mechanisms for apparent excessive wear of components and contamination by lubricants, water or other foreign matter.

- Air, hydraulic, and other pressurized lines for deterioration or leakage, particularly those which flex in normal operation.

- Hydraulic system for proper fluid level.

- Hooks and latches for deformation, cracks, excessive wear, or damage such as from chemicals or heat.

- Wire rope reeving for compliance with the manufacturer's specifications.

- Wire rope.

- Electrical apparatus for malfunctioning, signs of apparent excessive deterioration, dirt or moisture accumulation.

- Tires (when in use) for proper inflation and condition.

- Ground conditions around the equipment for proper support, including ground settling under and around outriggers/stabilizers and supporting foundations, ground water accumulation, or similar conditions. The equipment for level position within the tolerances specified by the equipment manufacturer's recommendations, both before each shift and after each move and setup.

- Operator cab windows for significant cracks, breaks, or other deficiencies that would hamper the operator's view.

- Rails, rail stops, rail clamps and supporting surfaces when the equipment has rail traveling.

- Safety devices and operational aids for proper operation.

Deficiencies—If any deficiency or any additional inspection items required to be checked for specific types of equipment is identified, an immediate determination will be made by the competent person as to whether the deficiency constitutes a safety hazard. If the deficiency is determined to constitute a safety hazard, the equipment will be taken out of service until it has been corrected.

If any deficiency is identified for safety devices/operational aids, operations will not begin until they are in working order.

Monthly—Each month the equipment is in service, it will be inspected each shift. Equipment will not be used until an inspection demonstrates that no corrective action is required.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual/comprehensive—At least every 12 months, the equipment will be inspected by a qualified person. If needed, disassembly may be required to complete the inspection.

The equipment will be inspected for all of the following:

- Equipment structure (including the boom and, if equipped, the jib)

- Structural members: Deformed, cracked, or significantly corroded

- Bolts, rivets and other fasteners: loose, failed or significantly corroded

- Welds for cracks

- Sheaves and drums for cracks or significant wear

- Parts such as pins, bearings, shafts, gears, rollers and locking devices for distortion, cracks or significant wear

- Brake and clutch system parts, linings, pawls and ratchets for excessive wear

- Safety devices and operational aids for proper operation (including significant inaccuracies)

- Gasoline, diesel, electric, or other power plants for safety-related problems (such as leaking exhaust and emergency shut-down feature) and conditions, and proper operation

- Chains and chain drive sprockets for excessive wear of sprockets and excessive chain stretch

- Travel steering, brakes, and locking devices, for proper operation

- Tires for damage or excessive wear

Hydraulic, pneumatic and other pressurized hoses, fittings and tubing, will be inspected as follows:

- Flexible hose or its junction with the fittings for indications of leaks

- Threaded or clamped joints for leaks

- Outer covering of the hose for blistering, abnormal deformation or other signs of failure/impending failure

- Outer surface of a hose, rigid tube, or fitting for indications of excessive abrasion or scrubbing

- Hydraulic and pneumatic pumps and motors, as follows:

  - Performance indicators: Unusual noises or vibration, low operating speed, excessive heating of the fluid, low pressure

  - Loose bolts or fasteners

  - Shaft seals and joints between pump sections for leaks

Hydraulic and pneumatic valves, will be inspected as follows:

- Spools: Sticking, improper return to neutral, and leaks

- Leaks

- Valve housing cracks

- Relief valves: Failure to reach correct pressure (if there is a manufacturer procedure for checking pressure, it must be followed)

Hydraulic and pneumatic cylinders, will be inspected as follows:

- Drifting caused by fluid leaking across the piston

- Rod seals and welded joints for leaks

- Cylinder rods for scores, nicks, or dents

- Case (barrel) for significant dents

- Rod eyes and connecting joints: Loose or deformed

- Outrigger or stabilizer pads/floats for excessive wear or cracks

- Slider pads for excessive wear or cracks

- Electrical components and wiring for cracked or split insulation and loose or corroded terminations

- Warning labels and decals originally supplied with the equipment by the manufacturer or otherwise required: Missing or unreadable

- Originally equipped operator seat (or equivalent): Missing

- Operator seat: Unserviceable

- Originally equipped steps, ladders, handrails, guards: Missing

- Steps, ladders, handrails, guards: In unusable/unsafe condition

This inspection will include functional testing to determine that the equipment as configured in the inspection is functioning properly.

- If any deficiency is identified, an immediate determination will be made by the qualified person as to whether the deficiency constitutes a safety hazard or, though not yet a safety hazard, needs to be monitored in the monthly inspections.

- If the qualified person determines that a deficiency is a safety hazard, the equipment will be taken out of service until it has been corrected, except when temporary alternative measures are implemented.

- If the qualified person determines that, though not presently a safety hazard, the deficiency needs to be monitored, we will ensure that the deficiency is checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Severe service—Where the severity of use/conditions is such that there is a reasonable probability of damage or excessive wear (such as loading that may have exceeded rated capacity, shock loading that may have exceeded rated capacity, prolonged exposure to a corrosive atmosphere), we will stop using the equipment and a qualified person will:

- Inspect the equipment for structural damage to determine if the equipment can continue to be used safely.

- In light of the use/conditions determine whether any items/conditions need to be inspected; if so, the qualified person will inspect those items/conditions.

- If a deficiency is found, the qualified person will determine if it constitutes a safety hazard and take appropriate corrective action.

Equipment not in regular use—Equipment that has been idle for 3 months or more will be inspected by a qualified person before initial use.

Manufacturer procedures—Any part of a manufacturer's procedures regarding inspections that relate to safe operation (such as to a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) that is more comprehensive or has a more frequent schedule of inspection than the above requirements will be followed.

Hazard Assessments

Before beginning equipment operations, we will follow these procedures:

- Identify the work zone by either demarcating boundaries (such as with flags, or a device such as a range limit device or range control warning device) and prohibiting the operator from operating the equipment past those boundaries, or  defining the work zone as the area 360 degrees around the equipment, up to the equipment's maximum working radius.

- Determine if any part of the equipment, load line or load (including rigging and lifting accessories), if operated up to the equipment's maximum working radius in the work zone, could get closer than 20 feet to a power line.

- Determine if any part of the equipment, load line or load (including rigging and lifting accessories), if operated up to the equipment's maximum working radius in the work zone, could get closer than 20 feet to a power line. If so, we will do one of the following options:

  - Deenergize and ground. Confirm from the utility owner/operator that the power line has been deenergized and visibly grounded at the worksite.

  - 20 foot clearance. Ensure that no part of the equipment, load line, or load (including rigging and lifting accessories), gets closer than 20 feet to the power line.

  - Table A clearance. Determine the line's voltage and the minimum approach distance permitted by Table A below:

TABLE A—MINIMUM CLEARANCE DISTANCES

| Voltage (nominal, kV, alternating current) | Minimum clearance distance (feet) |
| --- | --- |
| up to 50 over 50 to 200 over 200 to 350 over 350 to 500 over 500 to 750 over 750 to 1,000 over 1,000 | 10 15 20 25 35 45 (As established by the utility owner/operator or registered professional engineer who is a qualified person with respect to electrical power transmission and distribution). |

Note: The value that follows "to" is up to and includes that value. For example, over 50 to 200 means up to and including 200kV.

- Determine if any part of the equipment, load line or load (including rigging and lifting accessories), while operating up to the equipment's maximum working radius in the work zone, could get closer than the minimum approach distance of the power line permitted under Table A. If so, then we will ensure that no part of the equipment, load line, or load (including rigging and lifting accessories), gets closer to the line than the minimum approach distance.

Preventing encroachment/electrocution. Where encroachment precautions are required, we will do the following:

- Conduct a planning meeting with the operator and the other workers who will be in the area of the equipment or load to review the location of the power line(s), and the steps that will be implemented to prevent encroachment/electrocution.

- If tag lines are used, they will be non-conductive.

- Erect and maintain an elevated warning line, barricade, or line of signs, in view of the operator, equipped with flags or similar high-visibility markings, at 20 feet from the power line  or at the minimum approach distance under Table A. If the operator is unable to see the elevated warning line, a dedicated spotter will be used in addition to implementing one of the following measures:

  - A proximity alarm set to give the operator sufficient warning to prevent encroachment.

  - A dedicated spotter who is in continuous contact with the operator. Where this measure is selected, the dedicated spotter will:

    - Be equipped with a visual aid to assist in identifying the minimum clearance distance. Examples of a visual aid include, but are not limited to: A clearly visible line painted on the ground; a clearly visible line of stanchions; a set of clearly visible line-of-sight landmarks (such as a fence post behind the dedicated spotter and a building corner ahead of the dedicated spotter).

    - Be positioned to effectively gauge the clearance distance.

    - Where necessary, use equipment that enables the dedicated spotter to communicate directly with the operator.

    - Give timely information to the operator so that the required clearance distance can be maintained.

    - A device that automatically warns the operator when to stop movement, such as a range control warning device. Such a device will be set to give the operator sufficient warning to prevent encroachment.

    - A device that automatically limits range of movement, set to prevent encroachment.

    - An insulating link/device, will be installed at a point between the end of the load line (or below) and the load.

Voltage information. When Table A is used, the utility owner/operator of the power lines will be asked to provide the requested voltage information within two working days of the employer's request.

Operations below power lines.

- No part of the equipment, load line, or load (including rigging and lifting accessories) is allowed below a power line unless we have confirmed that the utility owner/operator has deenergized and (at the worksite) visibly grounded the power line

  - Exceptions. Not applicable when we can demonstrates that one of the following applies:

    - The work is covered by Subpart V—Electric Power Transmission and Distribution.

    - For equipment with non-extensible booms: The uppermost part of the equipment, with the boom at true vertical, would be more than 20 feet below the plane of the power line or more than the Table A of this section minimum clearance distance below the plane of the power line.

    - For equipment with articulating or extensible booms: The uppermost part of the equipment, with the boom in the fully extended position, at true vertical, would be more than 20 feet below the plane of the power line or more than the Table A of this section minimum clearance distance below the plane of the power line.

    - Demonstrates that compliance is infeasible and meets the following: The power line owner/operator or registered professional engineer who is a qualified person with respect to electrical power transmission and distribution determines the minimum clearance distance that must be maintained to prevent electrical contact in light of the on-site conditions. The factors that must be considered in making this determination include, but are not limited to: Conditions affecting atmospheric conductivity; time necessary to bring the equipment, load line, and load (including rigging and lifting accessories) to a complete stop; wind conditions; degree of sway in the power line; lighting conditions, and other conditions affecting the ability to prevent electrical contact.

Power lines presumed energized. We will assume that all power lines are energized unless the utility owner/operator confirms that the power line has been and continues to be deenergized and visibly grounded at the worksite.

When working near transmitter/communication towers where the equipment is close enough for an electrical charge to be induced in the equipment or materials being handled, the transmitter will be deenergized or the following precautions taken:

- The equipment will be provided with an electrical ground.

- If tag lines are used, they will be non-conductive.

Training

Overhead powerlines. Training will include:

- The procedures to be followed in the event of electrical contact with a power line.

- Information regarding the danger of electrocution from the operator simultaneously touching the equipment and the ground.

- The importance to the operator's safety of remaining inside the cab except where there is an imminent danger of fire, explosion, or other emergency that necessitates leaving the cab.

- The safest means of evacuating from equipment that may be energized.

- The danger of the potentially energized zone around the equipment (step potential).

- The need for crew in the area to avoid approaching or touching the equipment and the load.

- Safe clearance distance from power lines.

- Power lines are presumed to be energized unless the utility owner/operator confirms that the power line has been and continues to be deenergized and visibly grounded at the worksite.

- Power lines are presumed to be uninsulated unless the utility owner/operator or a registered engineer who is a qualified person with respect to electrical power transmission and distribution confirms that a line is insulated.

- The limitations of an insulating link/device, proximity alarm, and range control (and similar) device, if used.

- The procedures to be followed to properly ground equipment and the limitations of grounding.

- Employees working as dedicated spotters will also be trained to enable them to effectively perform their task.

Signal persons. Each employee who will be assigned to work as a signal persons will receive training and meet qualification requirements:

- Know and understand the type of signals used. If hand signals are used, the signal person must know and understand the Standard Method for hand signals.

- Be competent in the application of the type of signals used.

- Have a basic understanding of equipment operation and limitations, including the crane dynamics involved in swinging and stopping loads and boom deflection from hoisting loads.

- Know and understand the relevant requirements of the work to which they are assigned.

- Demonstrate knowledge through an oral or written test, and through a practical test.

Operators-in-Training for equipment where certification or qualification is required. Each employee who will be assigned to operate a piece of equipment will be trained on:

- The controls and operational/performance characteristics.

- Use of, and the ability to calculate (manually or with a calculator), load/capacity information on a variety of configurations of the equipment.

- Procedures for preventing and responding to power line contact.

- Tagout procedures.

- Crush/pinch points and other related hazards.

- Technical knowledge applicable to the specific type of equipment the individual will operate including:

  - The suitability of the supporting ground and surface to handle expected loads.

  - Site hazards.

  - Site access.

  - Cranes and derricks standard.

- Be able to read and locate relevant information in the equipment manual and other materials containing information necessary for the safe operation of the equipment.

- Demonstrate knowledge through a practical test that the individual has the skills necessary for safe operation of the equipment, including the following:

  - Ability to recognize, from visual and auditory observation, and conducting shift inspections.

  - Operational and maneuvering skills.

  - Application of load chart information.

  - Application of safe shut-down and securing procedures.

Competent persons and qualified persons. Each competent person and qualified person will be trained on the requirements of Cranes and Derricks Standard applicable to their respective roles.

Refresher training. We will evaluate each employee’s training to confirm that the employee understands the information provided in the training.

Refresher training will be provided in relevant topics for each employee when, based on the conduct of the employee or an evaluation of the employee's knowledge, there is an indication that retraining is necessary.

29 CFR 1926.404—Wiring Design and Protection

Scope/Application: This standard applies if employees will not be protected by ground fault circuit interrupters during temporary wiring installations used during construction—like activities.

Standard Requirements for 29 CFR 1926.404—Wiring Design and Protection:

- Programs/Plans: Assured Equipment Grounding Conductor Program

- Procedures/Practices: Work procedures (Include in your Assured Equipment Grounding Conductor Program)

- Training: Initially (Reference 29 CFR 1926.21)

- Inspections: Visual before use, daily

- Documentation: Program

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1926.404—Wiring Design and Protection to ensure that all the standard requirements are being met.

Electrical—Assured Equipment Grounding Conductor Program

Whenever an Assured Equipment Grounding Conductor Program (AEGCP) is used in place of ground-fault circuit interrupters (GFCI) for ground-fault protection, the following requirements will be followed:

Written description of the program at the jobsite.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following specific procedures will be used for the required equipment inspections, tests, and test schedule. These will be made available to OSHA and to affected persons upon demand.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following designated competent person(s) will implement the program.  OSHA defines a competent person as someone who is a) qualified to identify hazards, and b) authorized to take prompt corrective measures.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

All cord sets, attachment caps, plugs and receptacles, and any equipment connected by cord and plug, will be visually inspected before use each day. If any external damage is seen, such as deformed or missing pins, damaged insulation, etc., or discover internal damage, the equipment is to be taken out of use until it is repaired.

Two OSHA-required tests will be performed on all electrical equipment: a continuity test, and a terminal connection test. These tests are required:

- Before first use.

- After any repairs, and before placing back in service.

- After suspected damage, and before returning to use.

- Every 3 months.

We will maintain a written record of the required tests, identifying all equipment that passed the test and the last date it was tested (or the testing interval). The most current record will be maintained. These records will be readily available to OSHA and affected persons upon demand.

Note: An example assured equipment grounding conductor test record is located in Section 6—Forms.

29 CFR 1926.35—Employee Emergency Action Plans

29 CFR 1910.38—Emergency Action Plans

Scope/Application: These standards apply when another OSHA standard requires an emergency action plan or when fire extinguishers are provided at the worksite but they are not intended for employee use.

The following standards reference emergency action plans or an emergency response plan:

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals

- 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER)

- 29 CFR 1926.1127—Cadmium

- 29 CFR 1926.1144—1,2-dibromo-3-chloropropane

- 29 CFR 1926.1145—Acrylonitrile

- 29 CFR 1926.1147—Ethylene Oxide

Note: 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals and 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER) require an Emergency Action Plan that meets the requirements of 29 CFR 1926.35. 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.1144—1,2-dibromo-3-chloropropane, and 29 CFR 1926.1147—Ethylene Oxide require an Emergency Action Plan that meets the requirements of 29 CFR 1910.38. Other standards that require an emergency plan but do not specifically reference 29 CFR 1926.35 or 29 CFR 1910.38 include 29 CFR 1926.1127—Cadmium and 29 CFR 1926.1145—Acrylonitrile. 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER) also requires an emergency response plan in addition to an emergency action plan.

The following standard is referenced in 29 CFR 1926.35—Employee Emergency Action Plans:

- 29 CFR 1926.159—Employer Alarm Systems

Note: 29 CFR 1926.35—Employee Emergency Action Plans requires that an employee alarm system be established that complies with 29 CFR 1926.159—Employer Alarm Systems.

The following standard is referenced in 29 CFR 1910.38—Emergency Action Plans:

- 29 CFR 1910.165—Employer Alarm Systems

Note: 29 CFR 1910.38—Emergency Action Plans requires that an employee alarm system be established that complies with 29 CFR 1910.165—Employer Alarm Systems

Standard Requirements for 29 CFR 1926.35—Employee Emergency Action Plans and 29 CFR 1910.38—Emergency Action Plans:

- Programs/Plans: Emergency Action Plan

- Procedures/Practices: Emergency procedures  (Include in your Emergency Action Plan)

- Training: Initially, refresher

- Inspections: Not stated

- Recordkeeping: Plan

Example Plan: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1926.35—Employee Emergency Action Plans and/or 29 CFR 1910.38—Emergency Action Plan to ensure that all requirements are being met.

Emergency Action Plan

Employees assigned specific duties under this plan will be provided the necessary training and equipment to ensure their safety. This plan applies to emergencies that could be reasonably expected at the worksite such as _____________________________________________(e.g.; fire/smoke, tornadoes, bomb threats or chemical spills.)

Emergency Plan Coordinators

| Name/Title | Phone # |
| --- | --- |

Coordinators are responsible for the proper inventory and maintenance of equipment. They may be contacted by employees for further information on this plan.

Means of Reporting Emergencies

All fires and emergencies will be reported by one or more of the following means as appropriate:

- Verbally to the coordinator during normal working hours.

- By telephone if after hours/weekends.

- By the building alarm system.

The following numbers will be posted throughout the facility:

- Fire

- Police

- Ambulance

- Hazmat

- Poison Control

Alarm System Requirements

Alarm system requirements for notifying employees during an emergency will be as follows:

- Provides warning for safe escape.

- Can be perceived by all employees.

- Alarm is distinctive and recognizable.

- Employees have been trained on the alarm system.

- Emergency phone numbers are posted.

- Emergency alarms have priority over all other communications.

- Alarm system is properly maintained.

Sounding the Alarm

The alarm signals for this worksite are below:

- For fire:

- For chemical release:

- For hazardous weather:

- Other:

Emergency Escape Procedures

During a_______________________ emergency, we will follow these procedures:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

During a_______________________ emergency, we will follow these procedures:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

During a_______________________ emergency, we will follow these procedures:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training

Employee training is provided initially for all new employees. Employees will also receive refresher training when employees’ responsibilities change, and when the plan changes. Subjects to be covered include:

- Emergency escape procedures/routes

- Fire extinguisher locations and proper use (when the use is required by the company)

- Procedures for accounting for employees and visitors

- Major facility fire hazards

- Fire prevention practices

- Means of reporting fires/emergencies (use and types of alarm systems)

- Names/titles of emergency coordinators

- Availability of the plan to employees

- Hazardous weather procedures

- Special duties as assigned to coordinators and those listed above.

Written records will be maintained for all training and provided to______________________________.

The personnel listed below have been trained specifically to assist in the safe and orderly emergency evacuation of employees.

| Task | Building/Department | Name/Title/Phone# |
| --- | --- | --- |
| Evacuation Assistance |  |  |
| Evacuation Assistance |  |  |
| Evacuation Assistance |  |  |
| Emergency Shutdown |  |  |
| Emergency Shutdown |  |  |
| Emergency Shutdown |  |  |

Fire Extinguisher Educational Program 

Fire Triangle

To understand how fire extinguishers work, you need to understand a little about fire. Fire is a very rapid chemical reaction between oxygen and a combustible material, which results in the release of heat, light, flames, and smoke. 

For fire to exist, the following four elements must be present at the same time:

- Enough oxygen to sustain combustion,

- Enough heat to raise the material to its ignition temperature,

- Some sort of fuel or combustible material, and

- The chemical reaction that is fire.

How a Fire Extinguisher Works 

Portable fire extinguishers apply an extinguishing agent that will either cool burning fuel, displace or remove oxygen, or stop the chemical reaction so a fire cannot continue to burn. When the handle of an extinguisher is compressed, agent is expelled out the nozzle. A fire extinguisher works much like a can of hair spray. 

All portable fire extinguishers must be approved by a nationally recognized testing laboratory to verify compliance with applicable

Different types of fire extinguishers are designed to fight different types of fire. The three most common types of fire extinguishers are: air pressurized water, CO2 (carbon dioxide), and dry chemical. The following table provides information regarding the type of fire and which fire extinguisher should be used.

Types of Fire Extinguishers

Ordinary Combustibles—Fires in paper, cloth, wood, rubber, and many plastics require a water type extinguisher labeled A.

Flammable Liquids—Fires in oils, gasoline, some paints, lacquers, grease, solvents, and other flammable liquids require an extinguisher labeled B.

Ordinary Combustibles, Flammable Liquids, or Electrical Equipment—Multi-purpose dry chemical is suitable for use on class A, B, and C.

Metals—Fires involving powders, flakes or shavings of combustible metals such as magnesium, titanium, potassium, and sodium require special extinguishers labeled D.

Fire Extinguishers Provided for Employee Use

When fire extinguishers are available for employee use, the employer must educate employees on the principles and practices of using a fire extinguisher and the hazards associated with fighting small or developing fires. This education must be provided annually and when a new employee is first hired.

Employees who have been designated to use fire extinguishers as part of the emergency action plan, must be trained on how to use the fire extinguishers appropriately in the workplace. This training is a specialized form of education that focuses on developing or improving skills. Training will be provided when employees are first assigned these duties and annually.

The following steps should be followed when responding to incipient stage fire:

- Sound the fire alarm and call the fire department, if appropriate.

- Identify a safe evacuation path before approaching the fire. Do not allow the fire, heat, or smoke to come between you and your evacuation path.

- Select the appropriate type of fire extinguisher.

- Discharge the extinguisher within its effective range using the PASS technique (pull, aim, squeeze, sweep).

- Back away from an extinguished fire in case it flames up again.

- Evacuate immediately if the extinguisher is empty and the fire is not out.

- Evacuate immediately if the fire progresses beyond the incipient stage.

Most fire extinguishers operate using the following P.A.S.S. technique:

- PULL... Pull the pin. This will also break the tamper seal.

- AIM... Aim low, pointing the extinguisher nozzle (or its horn or hose) at the base of the fire. 
Note: Do not touch the plastic discharge horn on CO2 extinguishers, it gets very cold and may damage skin.

- SQUEEZE... Squeeze the handle to release the extinguishing agent.

- SWEEP... Sweep from side to side at the base of the fire until it appears to be out. Watch the area. If the fire re-ignites, repeat steps 2 - 4.

Responsible Personnel for Critical Plant Operations

| Type | Building | Control | Extinguisher Location | Responsible Personnel |
| --- | --- | --- | --- | --- |

Fire Extinguisher Location

| Type | Building | Extinguisher Location |
| --- | --- | --- |

Employee Accounting Procedures

We will account for employees using the following method: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Rescue and Medical Duties

The following employees have been trained to perform rescue and medical duties:

| Name/Title | Phone # |
| --- | --- |

29 CFR 1926.60—Methylenedianiline

29 CFR 1926.62—Lead

29 CFR 1926.1124—Beryllium

29 CFR 1926.1128—Benzene

29 CFR 1910.1028—Benzene

29 CFR 1926.1148—Formaldehyde

29 CFR 1910.1048—Formaldehyde

29 CFR 1926.1152—Methylene Chloride

29 CFR 1910.1052—Methylene Chloride

Scope/Application: Under these health standards, an Employer-Funded  Compensation Program is required if employees are exposed to the applicable chemical where medical removal is involved.  Note: 29 CFR 1926.1128—Benzene refers to 29 CFR 1910.1028—Benzene as the standards that apply to construction are identical. 29 CFR 1926.1148—Formaldehyde refers to 29 CFR 1910.1048—Formaldehyde as the standards that apply to construction are identical. 29 CFR 1926.1152—Methylene Chloride refers to 29 CFR 1910.1052—Methylene Chloride as the standards that apply to construction are identical.

The following standards are referenced in 29 CFR 1926.60—Methylenedianiline:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1910.38—Emergency Action Plan

- 29 CFR 1910.39—Fire Protection Plan

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.141—Sanitation

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records references 29 CFR 1910.1020—Access to Employee Exposure and Medical Records as they are identical to construction. It states that medical records and exposure records need to maintained in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records. The standard references having an Emergency Action Plan and Fire Prevention Plan that meets the requirements of 29 CFR 1910.38—Emergency Action Plan and 29 CFR 1910.39—Fire Protection Plan. 29 CFR 1926.60—Methylenedianiline requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. The standard also requires that the employer comply with the requirements of 29 CFR 1910.141—Sanitation for change and shower areas.  29 CFR 1926.60—Methylenedianiline also requires compliance with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.60—Methylenedianiline:

- Programs/Plans: Compliance Program,  Medical Surveillance Program, Training Program, Housekeeping Program, Employer-Funded Compensation Program, Employee Exposure Program

- Procedures/Practices: Exposure monitoring procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Routine, regular

- Documentation: Programs, medical records, exposure records, training records

Note: The Compliance Program, Medical Surveillance Program, Training Program, Inspection Program, and Housekeeping Program required by 29 CFR 1926.60—Methylenedianiline can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.60—Methylenedianiline to ensure that all requirements are begin met.

The following standards are referenced in 29 CFR 1926.62—Lead:

- 29 CFR 1926.51—Sanitation

- 29 CFR 1910.133—Eye and Face Protection

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.62—Lead  requires that the employer comply with the requirements of 29 CFR 1926.51—Sanitation for change and shower areas. It also requires medical records and exposure records to be maintained in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records. requires eye and face protection to meet the requirements of 29 CFR 1910.133—Eye and Face Protection. The standard requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1926.62—Lead also requires compliance with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.62—Lead:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program, and Work Practice Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: None

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program, and Work Practice Program required by 29 CFR 1926.62—Lead can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.62—Lead to ensure that all requirements are begin met.

The following standards are referenced in 29 CFR 1926.1124—Beryllium:

- 29 CFR 1926.51—Sanitation

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1028—Beryllium requires that change rooms and eating and drinking areas meet the requirements of 29 CFR 1926.51—Sanitation. The standard also requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.1124—Beryllium

- Programs/Plans: Exposure Control Plan (Compliance Program), Medical Surveillance Program, Employer-Funded Compensation Program

- Procedures/Practices: Work practice controls, engineering controls, safety and health procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly

- Documentation: Plan, medical records, training records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Employer-Funded Compensation Program required by 29 CFR 1926.1124—Beryllium can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1124—Beryllium to ensure that all requirements are begin met.

The following standards are referenced in 29 CFR 1926.1128—Benzene (Refers to 29 CFR 1910.1028—Benzene):

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1028—Benzene requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1910.1028—Benzene:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Employer-Funded  Compensation Program and Training Program required by 29 CFR 1910.1028—Benzene can be incorporated into one program. Please reference 29 CFR 1910.1028—Benzene to ensure that all the standard requirements are being met.

The following standards are referenced in 29 CFR 1926.1148—Formaldehyde (Refers to 29 CFR 1910.1048—Formaldehyde):

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.151—Sanitation

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1048—Formaldehyde requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. It also requires that change rooms meet the requirements of 29 CFR 1910.151—Sanitation. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1910.1048—Formaldehyde:

- Programs/Plans: Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, and Employer-Funded  Compensation Program required by 29 CFR 1910.1048—Formaldehyde may be incorporated into one comprehensive program.

The following standards are referenced in 29 CFR 1926.1152—Methylene Chloride (Refers to 29 CFR 1910.1052—Methylene Chloride):

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1052—Methylene Chloride requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1910.1052—Methylene Chloride

- Programs/Plans: Employee Exposure Program, Employer-Funded  Compensation Program, Medical Surveillance Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures, leak detection procedures

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: medical records, exposure records, training information

Note: The Employee Exposure Program, Employer-Funded  Compensation Program, and Medical Surveillance Program can be incorporated into one program. Please reference 29 CFR 1910.1052—Methylene Chloride to ensure that all requirements are being met.

Example Program: The following example program should be modified to be site-specific to your organization. Please reference the applicable health standard to ensure that all the standard requirements are being met.

Employer-Funded Compensation Program

We will follow this program to meet the requirements under the _______________ standard related to having a compensation program for employees exposed to _________________________. Our obligation to provide earnings, seniority and other benefits to a removed employee may be reduced to the extent that the employee receives compensation for earnings lost during the period of removal either from a publicly or employer-funded compensation program or from employment with another employer made possible by virtue of the employee’s removal.

Medical Removal

If an employee reports significant irritation _______________________________________ attributed to workplace ___________________________________ exposure, this program will apply. Medical removal provisions in this program do not apply in the case _______________________________________ when the product suspected of causing the dermal condition contains less than _________percent ___________________.

An employee’s report of signs or symptoms of possible overexposure to ________________________ will be evaluated by _________________________ (physician). If they determine that a medical examination is not necessary there will be a _______-week evaluation and remediation period to permit the employer to ascertain whether the signs or symptoms subside untreated or with the use of _____________________________(e.g.; creams, gloves, first aid treatment or personal protective equipment). Industrial hygiene measures that limit the employee’s exposure to _____________________ may also be implemented during this period.

The employee will be referred immediately to a physician prior to expiration of the two-week period if the signs or symptoms worsen. Earnings, seniority and benefits will not be altered during the two-week period by virtue of the report.

If the signs or symptoms have not subsided or been remedied by the end of the ___-week period, or earlier if signs or symptoms warrant, the employee will be examined by the following healthcare provider__________________. They will presume, absent contrary evidence, that observed _________________________________(e.g.; dermal irritation or dermal sensitization) are not attributable to _____________________________ when products to which the affected employee is exposed contain less than _____percent _________________.

If the physician finds that ____________________________________________________________(e.g.: significant irritation of the mucosa of the eyes or of the upper airways, respiratory sensitization, dermal irritation, or dermal sensitization) result from workplace _________________ exposure and recommends restrictions or removal, we will comply with the restrictions or recommendation of removal.

In the event of a recommendation of removal, we will remove the affected employee from the current _________________ exposure and if possible, transfer the employee to work having no or significantly less exposure to ____________________________. The employee will be transferred to comparable work for which the employee is qualified or can be trained in a short period (up to 6 months), where the ___________________ exposures are as low as possible, but not higher than the action level.

Under this program, we will maintain the employee’s current earnings, seniority, and other benefits. If there is no such work available, we will  maintain the employee’s current earnings, seniority and other benefits until such work becomes available, until the employee is determined to be unable to return to workplace ____________________ exposure, until the employee is determined to be able to return to the original job status, or for _____ months, whichever comes first.

We will also arrange for a follow-up medical examination to take place within ____ months after the employee is removed from work. This examination will determine if the employee can return to the original job status, or if the removal is to be permanent. The physician will make a decision within ____ months of the date the employee was removed as to whether the employee can be returned to the original job status, or if the removal is to be permanent.

Multiple Physician Review

It is our prerogative to designate a second physician to review any findings, determinations or recommendations of the initial physician and to conduct such examinations, consultations, and laboratory tests as the second physician deems necessary and appropriate to evaluate the effects of ______________ exposure and to facilitate this review.

We will promptly notify an employee of the right to seek a second medical opinion after each occasion that an initial physician conducts a medical examination or consultation for the purpose of medical removal or restriction.

We may condition our participation in, and payment for, the multiple physician review mechanism upon the employee doing the following within fifteen (15) days after receipt of the notification of the right to seek a second medical opinion, or receipt of the initial physician’s written opinion, whichever is later:

- The employee must inform us of the intention to seek a second medical opinion, and they initiate steps to make an appointment with a second physician.

If the findings, determinations or recommendations of the second physician differ from those of the initial physician, then we will work with the employee to assure that efforts are made for the two physicians to resolve the disagreement. If the two physicians are unable to quickly resolve their disagreement, then we will jointly, through our respective physicians, designate a third physician who will be a specialist in the field at issue. They will:

- Review the findings, determinations or recommendations of the prior physicians; and

- Conduct such examinations, consultations, laboratory tests and discussions with the prior physicians as the third physician deems necessary to resolve the disagreement of the prior physicians.

We will act consistent with the findings, determinations and recommendations of the third physician, unless we jointly reach an agreement which is otherwise consistent with the recommendations of at least one of the three physicians.

Medical Examinations

In an emergency exposure, we will make medical examinations available as soon as possible to all employees who have been exposed to _______________________.

The examination will include a medical and work history with emphasis on any evidence of ____________________________________________________________________________(e.g.; upper or lower respiratory problems, allergic conditions, skin reaction or hypersensitivity, and any evidence of eye, nose, or throat irritation). Other examinations will consist of those elements considered appropriate by the examining physician.

Training Program

We will train all employees exposed to ________________________________ initially before exposure and annually thereafter. Our training program will consist of the following:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Housekeeping Program

We have implemented the following housekeeping procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Preventive Maintenance Program

We have implemented the following maintenance procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

NCGS 95-129(1)—General Duty Clause—Ergonomics

Scope/Application: The General Duty Clause is used only where there is no standard that applies to the particular hazard. Employers can be cited for violation of the General Duty Clause if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

The following elements are necessary to prove a violation of the NCGS 95-129(1)—General Duty Clause:

- The employer failed to keep the workplace free of a hazard to which employees of that employer were exposed;

- The hazard was recognized;

- The hazard was causing or was likely to cause death or serious physical harm; and

- There was a feasible and useful method to correct the hazard.

Example Program: The following example program should be modified to be site-specific to your organization.   There is currently no standard for ergonomics so there is no requirement for a written program. It has been put into writing as a “best practice”.

Ergonomics Program

The number and severity of injuries resulting from physical demands can be substantially reduced by providing an alternative to manual lifting and is the primary goal of the ergonomics process in our company.

We will evaluate the effectiveness of our ergonomics efforts and follow-up on unresolved problems. Evaluation helps sustain the effort to reduce injuries and illnesses, track whether or not ergonomic solutions are working, identify new problems, and show areas where further improvement is needed. Evaluation and follow-up are central to continuous improvement and long-term success.

As solutions are introduced, we will ensure they are effective. Various indicators (e.g., OSHA 300 and 301 logs and workers’ compensation reports) can provide useful empirical data at this stage, as can other techniques such as employee interviews. The purpose of the interviews is to provide a mechanism for ensuring that the solution is not only in place, but is being used properly. The same methods that are used to identify problems in many cases can also be used for evaluation.

Assessing the potential for work to injure employees is complex because the typical operations involve the repeated lifting, carrying and repositioning of materials. Material lifting and repositioning tasks can be variable, dynamic, and unpredictable in nature. As a result, specific techniques are used for assessing material lifting and repositioning tasks that are not appropriate for assessing the potential for injury associated with other nursing home activities.

An analysis of any material lifting and repositioning task involves conducting an assessment of the materials and the equipment to be used. This assessment allows employees to account for material characteristics while determining the safest methods for performing the task.

We have established routine maintenance schedules to ensure that the equipment is in good working order. Refer to ________________________ for information regarding our equipment preventive maintenance schedules.

Employees will be trained initially before they lift or reposition materials, or perform other work that may involve risk of injury. Training will cover:

- Policies and procedures that should be followed to avoid injury, including proper work practices and use of equipment

- How to recognize musculoskeltetal disorders (MSDs) and their early indications

- Advantages of addressing early indications of MSDs before serious injury has developed

- Procedures for reporting work-related injuries and illnesses as required by OSHA’s injury and illness recording and reporting regulation, 29 CFR 1904—Recordkeeping

Cumulative Trauma Disorders

Each stressful situation results in microtraumas to the specific region of the body, such as a muscle or tendon. Without adequate recovery, the accumulation of microtraumas results in pain, discomfort, numbness, reduced strength and/or inhibited dexterity. Symptoms of cumulative trauma typically cannot be associated with one specific event in time. Below, some common terms and conditions are explained. Some common terms and conditions are explained below.

Musculoskeletal System

- Bones—Provide structure, support, and protection

- Muscles—Expand and contract to move bones

- Tendons—Connect muscle to bone

- Ligaments—Connect bone to bone

Musculoskeletal System

- Cartilage—Provides cushioning and lubrication

- Bursa—Fluid-filled sac that lubricates and cushions between points of friction

- Vertebrae—bones that make up the spine

- Discs—shock absorbers for the spine

Other Important Components

Arteries and veins—Transport blood

- Deliver oxygen

- Remove waste

Nerves

- Provide tactility, sensation

- Provide feedback on pain and discomfort

- Determine which muscles to used

- Coordinate activities

Musculoskeletal Disorders (MSDs)

- Damage or weakening of the musculoskeletal system

- MSDs occur as an acute trauma or a cumulative trauma

- Most common occupational problems include back strain and tendon disorders

Definitions

Strain—an injury to a muscle or tendon

- Tendon connects muscle to bone (Example: back strain)

Sprain—an injury to a ligament

- Ligament connects bone to bone (Example: knee sprain)

Common Cumulative Trauma Disorders in the Workplace

Tendinitis—is an inflammation of a tendon usually associated with overuse of that tendon or rubbing of the tendon against bone.

Epicondylitis—is an inflammation of the tendon attachments on the inside of the elbow. Medial epicondylitis (often called golfer’s elbow) is associated with repetitive flexion of the wrist while exerting a grip force (manual screwdriver action). Lateral epicondylitis (often called tennis elbow) is associated with repetitive gripping exertions with an extended wrist.

Carpal Tunnel Syndrome—is a group of signs and symptoms associated with swelling within the carpal tunnel. The carpal region stretches from the lower palm to the tender portion of the wrist. A bundle of tendons and the median nerve are located within the carpal tunnel, which is about the size of a dime. Exposure to stressors can cause swelling within the tunnel. This can also cause the tendons to enlarge and impinge the median nerve resulting in pain and numbness.

Tenosynovitis—is an inflammation of the synovial sheath that covers the tendon.

De Quervain’s Syndrome—is a common tenosynovitis of the thumb tendons resulting from the repetitive motions of the thumb.

Trigger Finger—is a common term for tendinitis or tenosynovitis that causes locking of the finger(s) while bending or flexing.

Raynaud’s or Vibration Syndrome—is a circulatory disorder that is also called the “white finger syndrome.” Symptoms such as pain and whitening of hands and fingers are exacerbated by cold and vibration.

Thoracic Outlet Syndrome—can be caused by several different problems. The thoracic outlet is the route utilized by nerves and blood vessels to pass from the upper body into the arms. Nerves and blood supply passing through the thoracic outlet may be pinched, which then causes pain and/or numbness down the arm and to the fingers. Repetitive reaching above the head or behind the body are thought to stress this region.

Low back pain—the cumulative origin is thought to be a result of natural, gradual changes in the passive tissues of the spine (disks, ligaments and vertebrae) with age, but it is thought to be accelerated due to work activities involving repetitive lifting, awkward postures and forceful exertions.

Ergonomic-related Acute Trauma

Strained muscles—can occur when a muscle is overloaded resulting in the partial tearing of fibers. Scar tissue may form, which can cause chronic tension and make the muscle susceptible to re-injury. Common muscle strains occur in the shoulders, upper arms, forearms and low back.

Low back pain—of acute origin is generally attributed to muscle strains of the lumbar region. Poor lifting postures, heavy loads and/or repetitive exertions are often cited as activities that preceded the acute injury. In many cases the specific cause of acute low back pain is unknown.

Studies show that workers with jobs requiring frequent hand exertion may develop cumulative trauma disorders. Cumulative trauma disorders are injuries that develop gradually from repeated stress to a particular body part. Such disorders are also called “overuse” or “wear-and-tear” repetitive strain disorders.

They occur primarily in the upper extremity and include soft tissue injuries such as muscle strain, tendinitis, neuritis and carpal tunnel syndrome. A number of things contribute to cumulative trauma disorders. Standing in one position for long periods of time can cause discomfort or strain to muscles of the back and legs, because the muscles remain in a position of contraction without allowing for periods of relaxation or movement. Similarly, the height of a work area may contribute to muscle strain for a very short or very tall individual because he or she may be forced to reach beyond a comfortable point. Often work requires the active use of the hand or arm, making the upper extremity vulnerable to trauma. The upper extremity includes the shoulder, upper arm, elbow, forearm, wrist, hand and fingers. The arm and hand move through actions of the joints, muscles and tendons. Upper extremity movement can range from large, sweeping motion to fine, precise manipulation. Hands and arms work best in a neutral or natural position.

The joints of the upper extremity include the shoulder, elbow, wrist and fingers. Joints are formed where ligaments connect the end of one bone to another. When joints are twisted beyond their normal range of motion, an injury called a sprain occurs. Muscles are fiber bundles that contract to produce movement. Aching and swelling can result from small strains to muscles. Other injuries may result from the tearing of muscle fibers or from a blow or crush that causes blood to seep out into a large area of the muscle.

Preventative Measures

Early recognition of problems and treatment of complaints have been very effective in reducing and preventing cumulative trauma disorders. Work methods should be examined and corrections made where practical and appropriate. Workplaces may need to be redesigned to better accommodate the area to the worker (ergonomic necessities). Workplace redesign may necessitate adjustable foot rests and stand/sit props to help relieve muscle strain and back pressure for workers in fixed, standing positions. Cushioned floor mats or shoes with cushioned soles will also be more comfortable for workers standing in one position. Frequent walk-around periods also help relieve muscle strain.

Stackable or adjustable work stands can raise shorter workers to a more comfortable work position. However, care must be taken to see that such stands do not create a fall or trip hazard. Conveyors should be designed so that the maximum reach for workers is no greater than 13”–18”. Upward reaches should be no higher than shoulder level (preferably even lower); the higher the upward reach, the shorter should be the forward reach. The important factors in deciding the proper dimensions of a work station are the kind of work being done, the height at which the work will take place, and the size of the worker.

An effective occupational safety and health program to address ergonomic hazards in the meatpacking industry includes the following four major program elements: worksite analysis, hazard prevention and control, medical management, and training and education.

Worksite Analysis—Worksite analysis identifies existing hazards and conditions, operations that create hazards and areas where hazards may develop. This also includes close scrutiny and tracking of injury and illness records to identify patterns of traumas or strains that may indicate the development of cumulative trauma disorders.

Hazard Prevention and Control—Once ergonomic hazards are identified through the systematic worksite analysis discussed above, the next step is to design measures to prevent or control these hazards. Thus, a system for hazard prevention and control is the second major program element for an effective ergonomics program. Ergonomic hazards are prevented primarily by effective design of the workstation, tools and job. To be effective, an employer’s program needs to use controls to correct or control ergonomic hazards including the following:

- Engineering controls

- Personal protective equipment (PPE)

- Work practice controls

- Administrative controls

Medical Management—Implementation of a medical management system is the third major element in the employer’s ergonomics program. Proper medical management is necessary both to eliminate or materially reduce the risk of development of cumulative trauma disorders through early identification and treatment of signs and symptoms and to prevent future problems through development of information sources.

Training and Education—The fourth major program element for an effective ergonomics program is training and education. The purpose of training and education is to ensure that employees are sufficiently informed about the ergonomic hazards to which they may be exposed, so that they are able to participate actively in their own protection. Employees must be adequately trained about the employer’s entire ergonomics program.

Ergonomic Stressors

Factors that increase risk for musculoskeletal disorder development are called ergonomic stressors. The ergonomic stressors that poultry processing workers may face include the following:

- Force

- Static postures

- Environmental factors

- Repetition

- Vibration

- Awkward postures

- Contact stress

Force—Physical effort required to lift, push, pull, grasp and pinch items in the work environment. Heavy lifting places high forces on the back. Other jobs that require high force exertions from the hand, wrist and shoulder. Force is often required to handle and control equipment, tools, raw materials and finished products.

Repetition—Performing the same motion or series of motions continually or frequently.

Awkward Postures—Body postures that deviate from normal resting or neutral positions place unnecessary stress on muscles, tendons and bones. Examples of awkward postures include reaching above shoulder height, kneeling, leaning over an assembly or sanding table, bending the wrist during spray operations, and twisting the body while lifting. See appendix B for visual presentations of neutral and awkward postures.

Static Postures—Assuming and holding any posture for a long period of time can place stress on the body, particularly if the posture is not neutral. Static postures can accelerate the development of fatigue and discomfort.

Vibration—Vibration is the physical exposure to rapidly oscillating tools or machinery. Powered hand tools or anywhere an operator comes in contact with a vibration source, such as a tow motor operator, are places to look for this stressor.

Contact Stress—Physical contact between the body and sharp edges of tools, equipment and products. Pressing the body against a hard, sharp edge, such as the edge of a work table, is an example of this stressor.

Environmental Factors—Cold, heat, lighting and noise are factors in the work environment that can directly influence worker comfort and can indirectly influence risk of injury through interaction with the above-mentioned physical stressors. Other environmental factors such as slick work surfaces that are found in many poultry processing plants can directly increase the risk of injury.

Many jobs combine multiple stressors in a single job. For example, a single job might combine awkward shoulder and back postures in reaching across the work table, force in lifting, exposure to vibration, repetitive wrist motions, and contact stress with a sharp work table edge. The combination of multiple stressors within a job or work task can create an increased risk of injury.

29 CFR 1926 Subpart M—Fall Protection

Scope/Application: Subpart M—Fall Protection sets forth the requirements and criteria for fall protection in construction workplaces.

The following standards are referenced in Subpart M—Fall Protection:

- 29 CFR 1926.21—Safety Training and Education

- 29 CFR 1926.105—Safety Nets

- 29 CFR 1926 Subpart L—Scaffolds

- 29 CFR 1926 Subpart R—Steel Erection

- 29 CFR 1926 Subpart S—Underground Construction, Caissons, Cofferdams, and Compressed Air

- 29 CFR 1926 Subpart V—Electric Power Transmission and Distribution

- 29 CFR 1926 Subpart X—Stairways and Ladders

- 29 CFR 1926 Subpart CC—Cranes Derricks in Construction

Note: 29 CFR 1926, Subpart M—Fall Protection requires that the training provisions supplement the requirements of 29 CFR 1926.21—Safety Training and Education. Subpart M—Fall Protection states that the requirements relating to fall protection for employees engaged in the erection of tanks and communication and broadcast towers are provided in 29 CFR 1926.105, requirements relating to fall protection for employees working on scaffolds are provided in Subpart L—Scaffolds, requirements relating to fall protection for employees working on cranes and derricks are provided in Subpart CC—Cranes and Derricks in Construction, fall protection requirements for employees performing steel erection work (except for towers and tanks) are provided in Subpart R—Steel Erection, requirements relating to fall protection for employees working on certain types of equipment used in tunneling operations are provided in Subpart S—Subpart Underground Construction, Caissons, Cofferdams, and Compressed Air, Subpart V—Electric Power Transmission and Distribution provides requirements relating to fall protection for employees working from aerial lifts or on poles, towers, or similar structures while engaged in the construction of electric transmission or distribution lines or equipment and that the requirements relating to fall protection for employees working on stairways and ladders are provided in Subpart X—Stairways and Ladders.

Standard Requirements for 29 CFR 1926, Subpart M—Fall Protection:

- Programs/Plans: Fall Protection Plan

- Procedures/Practices: Equipment procedures, fall protection systems (Include in your Fall Protection Plan)

- Training: Initially

- Inspections: Before use

- Recordkeeping: Plan, training record certification

13 NCAC 7F .0600—Communication Tower

Scope/Application: This state-specific standard applies if employees work on communication towers during construction, alteration, repair, operation, inspection, and maintenance activities.

The following standards are referenced in 13 NCAC 7F .0600—Communication Tower:

- 29 CFR 1910.1200—Hazard Communication

Note: 13 NCAC 7F .0600—Communication Tower requires training on 29 CFR 1910.1200—Hazard Communication when employees handle flammable liquids.

Standard Requirements for 13 NCAC 7F .0600—Communication Tower:

- Programs/Plans: RF Safety Program, Fall Protection Plan, Training Program

- Procedures/Practices: Emergency procedures, work procedures (Include in your Fall Protection Plan and/or RF Program)

- Training: Initially, refresher

- Inspections: Initially, daily, annually, changes

- Documentation: Programs, plan, training, inspections, medical records, exposure records

Example Plan: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1926, Subpart M—Fall Protection or 13 NCAC 7F .0600—Communication Tower to ensure that all requirements are being met.

Fall Protection Plan (Basic)

We will assess the worksite to determine if the walking - working surface on which employees are to work have the strength and structural integrity to safely support workers. Employees are not permitted to work on those surfaces until it has been determined that the surfaces have the requisite strength and structural integrity to support the workers.

Safe Work Practices

- Employees are to use 100 percent fall protection at all times.

- Each employee in a hoist area will be protected from falling 6 feet or more by guardrail systems or personal fall arrest systems. If guardrail systems (or chain gate or guardrail) or portions thereof must be removed to facilitate hoisting operations, as during the landing of materials, and a worker must lean through the access opening or out over the edge of the access opening to receive or guide equipment and materials, that employee will be protected by a personal fall arrest system.

- Covers or guardrail systems will be erected around holes (including skylights) that are more than 6 feet (1.8 m) above lower levels unless personal fall arrest systems are used by all exposed employees.

- Each employee at the edge of an excavation 6 feet deep (1.8 m) or more will be protected from falling by guardrail systems, fences, barricades or covers.

- Where walkways are provided to permit employees to cross over excavations, guardrails are required on the walkway if it is 6 feet (1.8 m) or more above the excavation.

- Each employee using ramps, runways and other walkways will be protected from falling 6 feet (1.2 m) or more by guardrail systems.

- Each employee performing overhand bricklaying and related work 6 feet (1.8 m) or more above lower levels will be protected by guardrail systems, safety net systems or personal fall arrest systems or will work in a controlled access zone.

- All employees reaching more than 10 inches (25.4 cm) below the level of a walking/working surface on which they are working will be protected by a guardrail system, safety net system or personal fall arrest.

- On low-slope roofs 50 feet (15.2 m) or less in width, the use of a safety monitoring system without a warning line system is permitted.

- Each employee on a steep roof with unprotected sides and edges 6 feet (1.8 m) or more above lower levels will be protected by guardrail systems with toeboards, safety net systems or personal fall arrest systems.

- Fall protection is not needed if an employee or employees are on a low slope roof (less than 4/12 pitch) for inspection/observation only.

Please note: Fall protection is required whenever an employee is above 6 feet on construction sites (except 10 feet on scaffolding and 15 feet during steel erection).

Types of Fall Protection Systems

- Articulating manlifts provided with a restraint system and full body harness to an anchor point below the waist (preferably at the floor level).

- Guardrails with toeboards.

- Personal fall arrest systems:

- Anchor points (rated at 5,000 pounds).

- Full body harness.

- Restraint line or lanyard.

- Shock absorbing lanyard.

- Retractable lanyard.

- Rope grabs.

- Connectors (self-locking snap hooks).

- Engineered lifelines.

- Warning lines.

- Safety nets.

- Safety monitoring systems.

Fall Protection Guidelines

Engineering Controls. Engineering controls will be the first option for selection whenever possible (i.e., light bulb changing, telescoping arm, changing valve, relocate at ground level) or utilizing a contractor in extremely hazardous areas.

Guardrails. On all projects, only guardrails made from steel, wood or wire rope will be acceptable. All guardrail systems will comply with OSHA standards (i.e., withstand 200 pounds of force, 42 inches high, midrail, and toe board). These guardrails will be placed in the following areas if necessary or feasible based on job location or requirements:

- On all open sided floors.

- Around all open excavations or pits.

- On leading edges of roofs or mezzanines.

Wall Openings. Wall openings from which there is a drop of more than 6 feet (1.8 m) and the bottom of the opening is less than 39 inches (1 m) above the working surface will be guarded. 

Falling Objects. Employees will wear a hard hat when there are overhead hazards. Whenever possible, toeboards, screens, guardrail systems or a barricade will be placed in the area to keep objects from falling onto employees below.

Personal Fall Arrest Systems (PFAS). All employees on any project that will be required to wear a personal fall arrest or restraint system will follow these guidelines:

- A full body harness will be used at all times.

- All personal fall arrest systems will be inspected before each use by the employee. Any deteriorated, bent, damaged or impacted, and components of harnesses showing excessive wear will be removed from service.

- Connectors will be inspected to ensure they are drop forged, pressed or formed steel or are made of equivalent materials and that they have a corrosion-resistant finish as well as that all surfaces and edges are smooth to prevent damage to interfacing parts of the system.

- Verify that D rings and snap hooks have a minimum tensile strength of 5,000 pounds and that the D rings and snap hooks are proof tested to a minimum tensile load of 3,600 pounds without cracking, breaking or taking permanent deformation.

- Only shock absorbing lanyards or retractable lanyards are to be used so as to keep impact forces at a minimum on the body (fall arrest systems).

- Only nylon rope or nylon straps with locking snap hooks are to be used for restraints.

- All lanyards will have self-locking snap hooks.

Verify that unintentional disengagement of snap hooks is prevented by either of the following means:

- Snap hooks are a compatible size for the member to which they are connected.

- Locking type snap hooks are used.

Verify that unless the snap hook is a locking type and is designed for the following connections, snap hooks are not engaged in the following manners:

- Directly to webbing, rope or wire rope.

- To each other.

- To a D ring to which another snap hook or other connector is attached to a horizontal lifeline.

- To any object that is incompatibly shaped or dimensioned in relation to the snap hook such that unintentional disengagement could occur by the connected object being able to depress the snap hook keeper and release itself.

The following factors can affect total fall distance:

- Length of connecting means (i.e., lanyard length, use of carabineers, snap hooks).

- Position and height of anchorage relative to work platform/area (always keep above head whenever possible).

- Position of attachment and D-ring slide on the full body harness.

- Deployment of shock absorber (max 42 inches).

- Movement in lifeline.

- Initial position of worker before free fall occurs (i.e., sitting, standing).

Calculating Total Fall Distance. It is the total length of shock absorbing lanyard plus the height of the person plus the location distance of the D ring from the work surface or platform. Always allow a minimum of 6 feet of clearance above the ground, equipment, etc., at the end of the fall from the fall arrest point.

Engineered Lifeline. Lifeline systems must be designed and approved by an engineer or qualified person. Lifeline systems must be engineered to have appropriate anchorages, strength of line designed to hold X number of individuals connected to it, line strength to aid in the arrest of a fall, and durability to hold fallen employee(s) suspended until rescue can occur.

Warning Line System. All greater than 50 feet wide flat roof (i.e., roof with less than 4 in 12 slope) work that is performed 6 feet or further back from the edge of the roof can be completed by installing a warning line and using a safety monitor. If the roof is flat and less than 50 feet wide, a competent person safety monitor may be used.

Warning lines will consist of the following:

- Be erected 6 feet from the edge of the roof.

- Be constructed of stationary posts made of wood or metal.

- Wire or nylon rope and “Caution” tape will be strung from post to post and must be able to withstand 16 pounds of force.

- The entire perimeter of the roof where work is being performed will be guarded by the warning line.

If an employee must access an area within 6 feet of the roof for reasons other than exiting the roof via a ladder or fixed industrial ladder, another employee must monitor that individual and warn him or her of any dangers. If another employee is not available to act as a safety monitor, the employee must don a full body harness and attach a fall restraint lanyard to an anchor point to prevent reaching the edge of the roof.

Inspection of Fall Protection Systems

The following criteria will be utilized to maintain all equipment in good working condition.

Full Body Harness. Inspect before each use:

- Closely examine all of the nylon webbing to ensure there are no burn marks, which could weaken the material.

- Verify there are no torn, frayed, broken fibers, pulled stitches or frayed edges anywhere on the harness.

- Examine D ring for excessive wear, pits, deterioration or cracks.

- Verify that buckles are not deformed or cracked and will operate correctly.

- Check to see that all grommets (if present) are secure and not deformed from abuse or a fall.

- Harness should never have additional punched holes.

- All rivets should be tight, not deformed.

- Check tongue/straps for excessive wear from repeated buckling.

A competent person will conduct an annual inspection of all harnesses. The documentation will be provided to _________________________and maintained for _________________________.

Storage will consist of hanging in an enclosed cabinet to protect from damage.

All harnesses that are involved in a fall will be removed from/tagged out of service immediately.

Lanyards/Shock Absorbing Lanyard

Before each use, the employee must:

- Check lanyard material for cuts, burns, abrasions, kinks, knots, broken stitches and excessive wear.

- Inspect the snap hooks for hook, locks and eye distortion.

- Check carabineer for excessive wear, distortion and lock operation.

- Ensure that all locking mechanisms seat and lock properly.

- Once locked, locking mechanism should prevent hook from opening.

- Visually inspect shock absorber for any signs of damage, paying close attention to where the shock absorber attaches to the lanyard.

- Verify that points where the lanyard attaches to the snap hooks are free of detects.

A competent person will conduct an annual inspection of all lanyards. The inspection documentation will be provided to _________________________and maintained for _________________________.

Storage will consist of hanging in an enclosed cabinet to protect from damage.

All lanyards that are involved in a fall will be destroyed.

Snap Hooks. Before each use, the employee will:

- Inspect snap hook for any hook and eye distortions.

- Verify there are no cracks, pitted surfaces and eye distortions.

- The keeper latch should not be bent, distorted or obstructed.

- Verify that the keeper latch seats into the nose without binding.

- Verify that the keeper spring securely closes the keeper latch.

- Test the locking mechanism to verify that the keeper latch locks properly.

A competent person will conduct an annual inspection of all snaphooks. The inspection documentation will be provided to _________________________and maintained for _________________________.

All snap hooks involved in a fall will be removed from/tagged out of service.

Self-Retracting Lanyards. Before each use, the employee will:

- Visually inspect the body to ensure there is no physical damage.

- Make sure all back nuts or rivets are tight.

- Make sure the entire length of the nylon strap is free of any cuts, burns, abrasions, kinks, knots, broken stitches, and excessive wear and retracts freely.

- Test the unit by pulling sharply on the lanyard to verify that the locking mechanism is operating correctly.

- If manufacturer requires, make certain the retractable lanyard is returned to the manufacturer for scheduled annual inspections.

A competent person will conduct a monthly inspection of all self-retracting lanyards. The inspection documentation will be provided to _________________________and maintained for _________________________. Additionally, the lanyard will be inspected for proper function after every fall.

Tie-off Adaptors/Anchorages. We will:

- Inspect for integrity and attachment to solid surface.

- Annual inspection of all tie-offs and anchorages by a competent person with documentation.

- All tie-offs and anchorages will be destroyed and replaced after a fall.

Articulating Manlift. We will:

- Inspect before each use.

- Inspect/service per manufacturer’s guidelines. Forklifts, scissors lifts and safety nets will be inspected at the beginning of each shift in use. Structural integrity or forklift basket will be checked per same schedule.

- Annual inspection of forklift basket will be completed by a competent person with documentation maintained.

Horizontal Lifelines. We will:

- Inspect before each use for structural integrity of line and anchors.

- Annual inspection by a competent person.

Guardrails.  We will:

- Temporary systems—Daily visual inspection will be completed by a competent person.

- Temporary systems—Weekly, a complete structural inspection will be completed by a competent person.

- Permanent Systems—Annual structural inspection will be completed by a competent person with future frequency of inspection defined based on conditions/controls present.

Storage and Maintenance of Fall Protection Equipment (Best Practice)

- Never store the personal fall arrest equipment in the bottom of a toolbox, on the ground or outside exposed to the elements (i.e., sun, rain, snow).

- Hang equipment in a cool dry location in a manner that retains its shape.

- Always follow manufacturer’s recommendations for inspection.

- Clean with a mild, nonabrasive soap and hang to dry.

- Never force dry or use strong detergents in cleaning.

- Never store equipment near excessive heat, chemicals, moisture or sunlight.

- Never store in an area with exposures to fumes or corrosives elements.

- Avoid dirt and build-up on equipment.

- Never use this equipment for any purpose other than personal fall arrest.

- Once exposed to a fall, remove equipment from service immediately.

Training

The company will provide a fall prevention training program for each employee who might be exposed to fall hazards. The training program will include recognition of the hazards of falling and procedures to follow to minimize these hazards. Training materials will be reviewed to verify that each employee has been trained, as necessary, by a competent person qualified in the following areas:

- Nature of fall hazards in the work area.

- Correct procedures for erecting, maintaining, disassembling and inspecting the fall protection systems to be used.

- Use and operation of guardrail systems, personal fall arrest systems, safety net systems, warning line systems, safety monitoring systems, controlled access zones (CAZs) and other protection to be used.

- Role of each employee in the safety monitoring system when this system is used.

- The limitations on the use of mechanical equipment during the performance of roofing work on low-sloped roofs.

- Correct procedures for the handling and storage of equipment and materials and the erection of overhead protection.

- Role of employees in fall protection plans.

- Requirements contained in 29 CFR 1926, Subpart M.

- Understanding and following all components of this fall protection program.

The company will maintain a written certification record for employee training. The record must contain the following information:

- Name or other identity of the employee trained.

- Date(s) of the training.

- Signature of the person who conducted the training or the signature of a company official.

When the supervisor has reason to believe that any affected employee who has already been trained does not have the understanding and skill required, the supervisor will retrain that employee. Retraining is required at least in the following circumstances:

- Changes in the workplace render previous training obsolete.

- Changes in the types of fall protection systems or equipment to be used render previous training obsolete.

- Inadequacies in an affected employee’s knowledge or use of fall protection systems or equipment indicate that the employee has not retained the requisite understanding or skill.

Enforcement (Best Practice)

- Subject to discipline.

- Documentation of any violations will be kept in the staff member’s personnel file.

- Any employee not following the fall protection program or a portion of this procedure will be subject to disciplinary action.

Rescue Procedures

In the event of a fall, the following people will be notified as soon as possible to initiate rescue:

- Rescue personnel on-site.

- Supervisor/management.

- Fire department or emergency medical services if necessary.

At the beginning of any work activity where fall protection is required, rescue plans will be identified and discussed with all employees in case of a fall. The supervisor will develop the rescue plans.

All employees involved in a fall arrest or fall will be sent for a medical evaluation to determine extent of injuries, if any.

Program Evaluation

This fall protection program will be evaluated periodically to determine effectiveness. The following criteria will be used to evaluate its performance:

- Accident reports, number of accidents.

- Management/staff compliance with program components.

- Periodic on-site audits.

- Staff feedback, interviews.

Contractors

All outside contractors working in or on the premises will be required to follow the guidelines set forth in this fall protection program when the contractor and employees are exposed to fall hazards. Contractors in the pre-job meeting will be informed of these requirements as well as the on-site construction rules that apply.

Fall Protection Plan (Specific)

Location/Job Site:____________________________________________________________________

Date Plan Prepared or Modified:_________________________________________________________

Plan Prepared By:_____________________________________________________________________

Plan Approved By:____________________________________________________________________

Plan Supervised By:___________________________________________________________________

A Fall Protection Plan will be developed and evaluated on a site by site basis.

Company Policy Statement

____________________________________ is dedicated to the protection of its employees from on-the-job injuries. All employees have the responsibility to work safely on the job. The purpose of the plan is to supplement our existing safety and health program and to ensure that every employee who works for __________________________. We recognize workplace fall hazards and takes the appropriate measures to address those hazards.

This Fall Protection Plan addresses the use of conventional fall protection at a number of areas on the project, as well as identifies specific activities that require non-conventional means of fall protection.

Sometimes it is infeasible or it creates a greater hazard to use conventional fall protection systems at specific areas or for specific tasks. The areas or tasks may include, but are not limited to:

____________________________________________________________________________________________________________________________________________________________________________________

In these cases, conventional fall protection systems may not be the safest choice. This plan is designed to enable us to recognize the fall hazards associated with this job and to establish the safest procedures that are to be followed in order to prevent falls to lower levels or through holes and openings in walking-working surfaces.

Each employee will be trained in these procedures and will strictly adhere to them except when doing so would expose the employee to a greater hazard. If, in the employee's opinion, this is the case, the employee is to notify the competent person of their concern and have the concern addressed before proceeding.

It is the responsibility of the competent person, ___________________, to implement this Fall Protection Plan. Continual observational safety checks of work operations and the enforcement of the safety policy and procedures shall be regularly enforced. The supervisor or foreman, ____________________, is responsible for correcting any unsafe practices or conditions immediately.

It is the responsibility of the employer to ensure that all employees understand and adhere to the procedures of this plan and to follow the instructions of the supervisor. It is also the responsibility of the employee to bring to management's attention any unsafe or hazardous conditions or practices that may cause injury to either themselves or any other employees. Any changes to the Fall Protection Plan must be approved by ____________________________________.

Fall Protection Systems to be Used on This Job

Installation of __________________________________________________________ activities will be conducted by employees who are specifically trained to do this type of work and are trained to recognize the fall hazards. The nature of such work normally exposes the employee to the fall hazard for a short period of time. This Plan details how ______________________________ will minimize these hazards.

During __________________________, conventional fall protection may present a greater hazard to workers. On this job, safety nets, guardrails and personal fall arrest systems will not provide adequate fall protection because of the following reasons: __________________________________________________________________________________________________________________________________________________________________________________

___________________________________________ shall take the following steps to protect workers who are exposed to fall hazards while working on____________________________________________.

Only the following trained workers will be allowed to work on:_________________________________.

__________________________________________________________________________________________________________________________________________________________________________________

___________________________________________________________________________________ shall take the following steps to protect workers who are exposed to fall hazards while ____________________________________________________________.

Only the following trained workers will be allowed to work on_________________________________:

__________________________________________________________________________________________________________________________________________________________________________________

Controlled Access Zones

When using the Plan to implement the fall protection options available, workers must be protected through limited access to high hazard locations. Before any non-conventional fall protection systems are used as part of the work plan, a controlled access zone (CAZ) shall be clearly defined by the competent person, _________________________________, as an area where a recognized hazard exists. The demarcation of the CAZ shall be communicated by the competent person in a recognized manner, either through signs, wires, tapes, ropes or chains.

Control zone systems will comply with the following provisions:

- When used to control access to areas where leading edge and other operations are taking place the controlled access zone shall be defined by a control line or by any other means that restricts access.

- When control lines are used, they shall be erected not less than 6 feet (l.8 m) nor more than 60 feet (18 m) or half the length of the member being erected, whichever is less, from the leading edge.

- The control line shall extend along the entire length of the unprotected or leading edge and shall be approximately parallel to the unprotected or leading edge.

- The control line shall be connected on each side to a guardrail system or wall.

- Control lines shall consist of ropes, wires, tapes, or equivalent materials, and supporting stanchions as follows:

  - Each line shall be flagged or otherwise clearly marked at not more than 6-foot (1.8 m) intervals with high-visibility material.

  - Each line shall be rigged and supported in such a way that its lowest point (including sag) is not less than 39 inches (1 m) from the walking/working surface and its highest point is not more than 45 inches (1.3 m) from the walking/working surface.

  - Each line shall have a minimum breaking strength of 200 pounds

____________________________________ shall take the following steps to ensure that the CAZ is clearly marked or controlled by the competent person:

- All access to the CAZ must be restricted to authorized entrants;

- All workers who are permitted in the CAZ shall be listed in the appropriate sections of the Plan (or be visibly identifiable by the competent person) prior to implementation;

- The competent person shall ensure that all protective elements of the CAZ be implemented prior to the beginning of work.

When wet weather (rain, snow, or sleet) are present, _______________________________ operations shall be suspended unless safe footing can be assured for those workers doing______________________.

When strong winds (above 40 miles per hour) are present, ____________________ operations are to be suspended unless wind breakers are erected.

Safety Monitoring System

A safety monitoring system will be used for the following work:________________________________. The competent person, _____________________, will be responsible for recognizing and warning employees of fall hazards. The safety monitor assigned to this work is:_________________________________________. The duties of the safety monitor are to:

- Warn by voice when approaching the open edge in an unsafe manner.

- Warn by voice if there is a dangerous situation developing which cannot be seen by another person involved with product placement, such as a member getting out of control.

- Make the designated erectors aware they are in a dangerous area.

- Be competent in recognizing fall hazards.

- Warn employees when they appear to be unaware of a fall hazard or are acting in an unsafe manner.

- Be on the same walking/working surface as the monitored employees and within visual sighting distance of the monitored employees.

- Be close enough to communicate orally with the employees.

- Not allow other responsibilities to encumber monitoring.

If the safety monitor becomes too encumbered with other responsibilities, the monitor shall (1) stop the erection process; and (2) turn over other responsibilities to _________________________; or (3) turn over the safety monitoring function to _______________________________, another designated, competent person.

The safety monitoring system shall not be used when the wind is strong enough to cause loads with large surface areas to swing out of radius, or result in loss of control of the load, or when weather conditions cause the walking-working surfaces to become icy or slippery.

Enforcement

Constant awareness of and respect for fall hazards, and compliance with all safety rules are considered conditions of employment. The supervisor or foreman, as well as individuals in the Safety and Personnel Department, reserve the right to issue disciplinary warnings to employees, up to and including termination, for failure to follow the guidelines of this program.

Accident Investigations

All accidents that result in injury to workers, regardless of their nature, shall be investigated and reported. It is an integral part of any safety program that documentation take place as soon as possible so that the cause and means of prevention can be identified to prevent a reoccurrence.

In the event that an employee falls or there is some other related, serious incident occurring, this plan shall be reviewed to determine if additional practices, procedures, or training need to be implemented to prevent similar types of falls or incidents from occurring.

Changes to Plan

Any changes to the plan will be approved by _____________________________. This plan shall be reviewed by a qualified person as the job progresses to determine if additional practices, procedures or training needs to be implemented by the competent person to improve or provide additional fall protection. Workers shall be notified and trained, if necessary, in the new procedures. A copy of this plan and all approved changes shall be maintained at the jobsite/worksite.

29 CFR 1926.24—Fire Protection and Prevention

29 CFR 1926.150—Fire Protection

29 CFR 1910.39—Fire Prevention Plan

Scope/Application: These standards require that the employer develop of a fire protection program to be followed throughout all phases of the construction and demolition work, and they shall provide for the firefighting equipment.

The following Subpart is referenced in 29 CFR 1926.24—Fire Protection and Prevention

- 29 CFR 1926, Subpart F—Fire Protection and Prevention

Note: 29 CFR 1926.24—Fire Protection and Prevention references having an effective fire protection and prevention program throughout all phases of construction and ensuring that equipment comply with Subpart F—Fire Protection and Prevention.

The following standards reference having a fire prevention plan:

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.1147—Ethylene Oxide

Note: 29 CFR 1926.60—Methylenedianiline and 29 CFR 1926.1147—Ethylene Oxide reference having a fire prevention plan meeting the requirements of 29 CFR 1910.39—Fire Prevention Plan.

Standard Requirements for 29 CFR 1926.150—Fire Protection:

- Programs/Plans:  Fire Prevention Plan

- Procedures/Practices: Emergency procedures (Include in your Fire Prevention Plan)

- Training: Initially, refresher

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Recordkeeping: Plan

Standard Requirements for 29 CFR 1910.39—Fire Prevention Plan:

- Programs/Plans:  Fire Prevention Plan

- Procedures/Practices: Emergency procedures (Include in your Fire Prevention Plan)

- Training: Initially, refresher

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Recordkeeping: Plan

Example Plan: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1926.150—Fire Protection and/or 29 CFR 1910.39—Fire Prevention Plan to ensure that all requirements are being met.

Fire Prevention Plan

The primary goal of this fire prevention plan is to reduce or eliminate fires in the workplace by heightening the fire safety awareness of all employees. Another goal of this plan is to provide all employees with the information necessary to recognize hazardous conditions and take appropriate action before such conditions result in a fire emergency.

This plan details the basic steps necessary to minimize the potential for fire occurring in the workplace. Prevention of fires in the workplace is the responsibility of everyone employed by the company, but must be monitored by each supervisor overseeing any work activity that involves a major fire hazard. Every effort will be made by the company to identify those hazards that might cause fires and establish a means for controlling them.

The fire prevention plan will be administered by ___________________________who will compile a list of all major workplace fire hazards, the names or job titles of personnel responsible for fire control and prevention equipment maintenance, names or job titles of personnel responsible for control of fuel source hazards, and locations of all fire extinguishers in the workplace. The plan administrator or safety and health officer must also be familiar with the behavior of employees that may create fire hazards as well as periods of the day, month and year in which the workplace could be more vulnerable to fire.

This fire prevention plan will be reviewed periodically and updated as needed to maintain compliance with applicable regulations and standards and remain state of the art in fire protection. Workplace inspection reports and fire incident reports will be maintained and used to provide corrections and improvements to the plan. This plan will be available for employee review at any time during all normal working hours.

Classification

Fires are classified into four groups according to sources of fuel: Class A, B, C and D based on the type of fuel source. Table 1 below describes the classifications of fire that can be used in making a hazard assessment.

TABLE 1

| Class A | Ordinary combustible materials such as paper, wood, cloth, and some rubber and plastic materials. |
| --- | --- |
| Class B | Flammable liquids, flammable gases, greases and similar materials, and some rubber and plastic materials. |
| Class C | Energized electrical equipment and power supply circuits and related materials. |
| Class D | Combustible metals such as magnesium, titanium, zirconium, sodium, lithium and potassium. |

Determining Fire Hazards

This section consists of two steps:  first, identifying the existing fire hazards in the workplace and second, taking action to resolve them. The inspection checklist (located at end of program) provides a guide for precise fire-safe practices that must be followed. The location of these major fire hazards are denoted in the table found at the end of this program. Also found is a listing of the personnel responsible for the maintenance of the equipment and systems installed to prevent or control fires.

Material hazards will be identified, as evident on the specific safety data sheets, and labeled on containers as soon as they arrive in the workplace. The identification system will also be incorporated into the company’s Hazard Communication Program.

Storage and Handling Procedures

The storage of material will be arranged such that adequate clearance is maintained away from heating surfaces, air ducts, heaters, flue pipes and lighting fixtures. All storage containers or areas will prominently display signs to identify the material stored within. Storage of chemicals will be separated from other materials in storage, from handling operations and from incompatible materials. All individual containers will be identified as to their contents.

Only containers designed, constructed and tested in accordance with the U.S. Department of Transportation specifications and regulations are used for storage of compressed or liquefied gases. Compressed gas storage rooms will be areas reserved exclusively for that purpose with good ventilation and at least one hour fire resistance rating. The gas cylinders will be secured in place and stored away from any heat or ignition source. Pressurized gas cylinders will never be used without pressure regulators.

Ordinary Combustibles

- Wooden pallets will not be stacked over 6 feet tall. If feasible, extra pallets will be stored outside or in separate buildings to reduce the risk of fire hazards.

- Piles of combustible materials will be stored away from buildings and located apart from each other sufficiently to allow fire-fighting efforts to control an existing fire.

Flammable Materials

- Flammable liquids must be stored and used in accordance with 29 CFR 1926.152—Flammable Liquids or the most current NFPA 30—Flammable and Combustible Liquids Code.

Potential Ignition Sources

- Ensure that utility lights always have some type of wire guard over them.

- Never install a fuse rated higher than specified for the circuit.

- Investigate any appliance or equipment that smells strange. Space heaters, microwave ovens, hot plates, coffee makers and other small appliances will be rigidly regulated and closely monitored.

- The use of extension cords to connect heating devices to electric outlets will be prohibited.

- If a hot or under-inflated tire is discovered, it should be moved well away from the vehicle. As an alternative, the driver should remain with the vehicle until the tire is cool to the touch and then make repairs. If a vehicle is left with a hot tire, the tire might burst into flames and destroy the vehicle and load.

Welding and Cutting

Welding and cutting are not permitted unless authorized by management. If practical, welding and cutting operations will be conducted in well-ventilated rooms with a fire-resistant floor. If this practice is not feasible, contact __________________________________to ensure that the work areas have been surveyed for fire hazards, the necessary precautions taken to prevent fires, and issue a hot work permit. This hot work permit will only encompass the area, item and time that are specified on it.

If welding is to be performed over wooden or other combustible type floors, the floors will be swept clean, wetted down, and covered with either fire-retardant blankets, metal or other noncombustible coverings.

Welding will not be permitted in or near areas containing flammable or combustible materials (liquids, vapors or dusts). Welding will not be permitted in or near closed tanks that contain or have contained flammable liquids unless they have been thoroughly drained, purged, and tested free from flammable gases or vapors and the company’s permit required confined spaces (PRCS) program is being followed. Welding will not begin until all combustible materials have been removed at least 35 feet from the affected areas, or if unable to relocate, covered with a fire-retardant covering. Openings in walls, floors or ducts will be covered if located within 35 feet of the intended work area. Welding will not be permitted on any closed containers.

Fire extinguishers will be provided at each welding or cutting operation. A trained watcher will be stationed at all times during the operation and for at least 30 minutes following the completion of the operation. This person will ensure that no stray sparks cause a fire and will immediately extinguish fires that do start.

Open Flames

No open flames will be permitted in or near spray booths or spray rooms. If indoor spray painting work may be performed outside of standard spray-painting booths, adequate ventilation will be provided. All potential ignition sources will also be eliminated.

Gasoline or alcohol torches will be placed so that the flames are at least 18 inches away from wood surfaces. They will not be used in the presence of dusts, vapors, flammable liquids, paper or similar materials. Torches will never be left unattended while they are burning.

The company has a specific policy regarding cigarette/cigar/pipe smoking in the workplace. Smoking and no smoking areas will be clearly delineated with conspicuous signs. Rigid enforcement will be maintained at all times. The plan administrator will enforce observance of permissible and prohibited smoking areas for employees and outside visitors to the workplace. Fire safe metal containers will be provided where smoking is permitted. No smoking areas will be checked periodically for evidence of discarded smoking materials.

Static Electricity

The company recognizes that it is impossible to prevent the generation of static electricity in every situation, but the company realizes that the hazard of static sparks can be avoided by preventing the buildup of static charges. One or more of the following preventive methods will be used: grounding, bonding, maintaining a specific humidity level (usually 60–70 percent), and ionizing the atmosphere.

Where a static accumulating piece of equipment is unnecessarily located in a hazardous area, the equipment will be relocated to a safe location rather than attempt to prevent static accumulation.

Hot Work Permits

By OSHA’s definition, “Hot work permit” means the employer’s written authorization to perform operations (for example, riveting, welding, cutting, burning, and heating) capable of providing a source of ignition. These operations create heat, sparks and hot slag that have the potential to ignite flammable and combustible materials in the area surrounding hot work activities. To ensure employee safety during hot work operations in a permit space, hot work permits will need to be issued to authorize work before work is performed.

_______________________________is responsible for issuing hot work permits and will inspect hot worksites prior to the start of such operations.

When required, an employee will be designated to serve as a fire watch. The fire watch will monitor the safety of hot work operations and watch for fires. Fire watches are posted during hot work and for at least 30 minutes after work has been completed.

Prior to beginning work, a hot work permit will be filled out and will be posted in the area where hot work is to be performed.

Note: An example hot work permit and fire prevention checklist are located in Section 6—Forms.

Retention of Records

Canceled permits and other documentation will be retained by the company not less than one year following the date of entry. Permits will then be retained as an employee exposure record if applicable.

Housekeeping and Fire Prevention Techniques

The following are housekeeping techniques and procedures to prevent occurrences of fire:

- Keep storage and working areas free of trash.

- Place oily rags in covered containers and dispose of daily.

- Do not use gasoline or other flammable solvent or finish to clean floors.

- Use noncombustible oil-absorptive materials for sweeping floors.

- Dispose of materials in noncombustible containers that are emptied daily.

- Remove accumulation of combustible dust.

- Don’t refuel gasoline powered equipment in a confined space, especially in the presence of equipment such as furnaces or water heaters.

- Don’t refuel gasoline powered equipment while it is hot.

- Don’t refuel plastic gasoline containers in the back of a truckbed.

- Follow proper storage and handling procedures.

- Ensure combustible materials in areas are present only in quantities required for the work operation.

- Clean up any spill of flammable liquids immediately.

- Ensure that if a worker’s clothing becomes contaminated with flammable liquids, the individual changes clothes before continuing to work.

- Post “No Smoking” caution signs near the storage areas.

- Report any hazardous condition such as old wiring, worn insulation and broken electrical equipment to the supervisor.

- Keep motors clean and in good working order.

- Don’t overload electrical outlets.

- Ensure equipment is turned off at the end of the workday.

- Maintain the right type of fire extinguisher available for use.

- Use the safest cleaning solvents (nonflammable and nontoxic) when cleaning electrical equipment.

- Ensure that all passageways and fire doors are unobstructed. Stairwell doors must never be propped open, and materials must not be stored in stairwells.

- Periodically remove over-spray residue from walls, floors and ceilings of spray booths and ventilation ducts.

- Remove contaminated spray booth filters from the building as soon as replaced or keep immersed in water until disposed.

- Don’t allow material to block automatic sprinkler systems or to be piled around fire extinguisher locations. To obtain the proper distribution of water, a minimum of 18 inches of clear space must be maintained below sprinkler deflectors. If there are no sprinklers, a 3-foot clearance between piled material and the ceiling must be maintained to permit use of hose streams. These distances must be doubled when stock is piled higher than 15 feet.

- Check daily for any discarded lumber, broken pallets or pieces of material stored on site and remove properly.

- Repile immediately any pile of material that falls into an aisle or clear space.

- Use weed killers that are not toxic and do not pose a fire hazard.

Fire Protection Equipment

Every building will be equipped with an electrically managed, manually operated fire alarm system. When activated, the system will sound alarms that can be heard above the ambient noise levels throughout the workplace. The fire alarm will also be automatically transmitted to the fire department. Any fire suppression or fire detection system will automatically actuate the building alarm system.

The automatic sprinkler system, if applicable, will adhere to NFPA 13— Standard for the Installation of Sprinkler Systems. The sprinkler system and components will be electrically supervised to ensure reliable operation. This includes gate valve tamper switches with a local alarm at a constantly attended site when the valve is closed. If a single water supply is provided by a connection to the city water supply, a low pressure monitor will be included. If pressure tanks are the primary source of water, air pressure, water level and temperature will be supervised. If fire pumps are provided to boost system pressure, supervision will monitor loss of pump power, pump running indication, low system pressure and low pump suction pressure.

Portable fire extinguishers will be kept fully charged and in their designated places. The extinguishers must not be obstructed or obscured from view. The fire extinguishers must be inspected at least monthly to make sure that they are in their designated places, have not been tampered with or actuated, and are not corroded or otherwise impaired. The attached inspection tags on fire extinguishers will be initialed and dated each month.

The location of all hydrants, hose houses, portable fire extinguishers or other fire protective equipment will be properly marked with arrows and signs painted on the pavement. Painted arrows and signs will be repainted as necessary to ensure readability.

Training

All employees will be instructed initially on the locations and proper use of fire extinguishers in their work areas. Employees will also be instructed as to how to operate the building’s fire alarm system, and be familiar with evacuation routes. The training of all employees will include the locations and types of materials and processes that pose potential fire hazards. Ongoing training will include regularly scheduled fire drills. The training program will also emphasize the following:

- Use and disposal of smoking materials.

- The importance of electrical safety.

- Proper use of electrical appliances and equipment.

- Unplugging heat-producing equipment and appliances at the end of each workday.

- Correct storage of combustible and flammable materials.

- Safe handling of compressed gases and flammable liquids (where appropriate).

- Emergency procedures

Only employees that have been designated to use fire extinguishers to put out fires will use them. All others will evacuate the building. Designated employees will receive initial and annual training on their use.

How a Fire Extinguisher Works 

Portable fire extinguishers apply an extinguishing agent that will either cool burning fuel, displace or remove oxygen, or stop the chemical reaction so a fire cannot continue to burn. When the handle of an extinguisher is compressed, agent is expelled out the nozzle. A fire extinguisher works much like a can of hair spray. 

All portable fire extinguishers must be approved by a nationally recognized testing laboratory to verify compliance with applicable

Different types of fire extinguishers are designed to fight different types of fire. The three most common types of fire extinguishers are: air pressurized water, CO2 (carbon dioxide), and dry chemical. The following table provides information regarding the type of fire and which fire extinguisher should be used.

Types of Fire Extinguishers

Ordinary Combustibles—Fires in paper, cloth, wood, rubber, and many plastics require a water type extinguisher labeled A.

Flammable Liquids—Fires in oils, gasoline, some paints, lacquers, grease, solvents, and other flammable liquids require an extinguisher labeled B.

Ordinary Combustibles, Flammable Liquids, or Electrical Equipment—Multi-purpose dry chemical is suitable for use on class A, B, and C.

Metals—Fires involving powders, flakes or shavings of combustible metals such as magnesium, titanium, potassium, and sodium require special extinguishers labeled D.

Emergency Procedures

Employees who have been designated to use fire extinguishers as part of the emergency action plan, must be trained on how to use the fire extinguishers appropriately in the workplace. This training is a specialized form of education that focuses on developing or improving skills. Training will be provided when employees are first assigned these duties and annually.

The following steps will be followed when responding to incipient stage fire:

- Sound the fire alarm and call the fire department, if appropriate.

- Identify a safe evacuation path before approaching the fire. Do not allow the fire, heat, or smoke to come between you and your evacuation path.

- Select the appropriate type of fire extinguisher.

- Discharge the extinguisher within its effective range using the PASS technique (pull, aim, squeeze, sweep).

- Back away from an extinguished fire in case it flames up again.

- Evacuate immediately if the extinguisher is empty and the fire is not out.

- Evacuate immediately if the fire progresses beyond the incipient stage.

Most fire extinguishers operate using the following P.A.S.S. technique:

- PULL... Pull the pin. This will also break the tamper seal.

- AIM... Aim low, pointing the extinguisher nozzle (or its horn or hose) at the base of the fire. 
Note: Do not touch the plastic discharge horn on CO2 extinguishers, it gets very cold and may damage skin.

- SQUEEZE... Squeeze the handle to release the extinguishing agent.

- SWEEP... Sweep from side to side at the base of the fire until it appears to be out. Watch the area. If the fire re-ignites, repeat steps 2 – 4.

Identified Fire Hazards and Responsible Personnel

Hazard Identification

| Type | Building | Control | Extinguisher Location | Responsible Personnel |
| --- | --- | --- | --- | --- |

Fire Extinguisher Location

| Type | Building | Extinguisher Location |
| --- | --- | --- |

29 CFR 1926.59—Hazard Communication

29 CFR 1910.1200—Hazard Communication

Scope/Application: This standard applies when employees may be exposed to any chemical present in the workplace under normal conditions of use or in a foreseeable emergency. Note: 29 CFR 1926.59—Hazard Communication refers to 29 CFR 1910.1200—Hazard Communication as they are identical for construction.

The following standards reference the Hazard Communication Standard and/or having a Hazard Communication Program:

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.62— Lead

- 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER)

- 29 CFR 1926.1101—Asbestos

- 29 CFR 1926.1103—13 Carcinogens

- 29 CFR 1926.1117—Vinyl Chloride

- 29 CFR 1926.1118—Inorganic Arsenic

- 29 CFR 1926.1124—Beryllium

- 29 CFR 1926.1126—Chromium (IV)

- 29 CFR 1926.1127—Cadmium

- 29 CFR 1926.1128—Benzene

- 29 CFR 1926.1144—1,3—dibromo—3—chloropropane

- 29 CFR 1926.1145—Acrynitrile

- 29 CFR 1926.1147—Ethylene Oxide

- 29 CFR 1926.1148—Formaldehyde

- 29 CFR 1926.1152—Methylene Chloride

- 29 CFR 1926.1153—Respirable Crystalline Silica

Note: 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response (HAZWOPER) requires that a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200 be a part of the HAZWOPER Safety and Health Program. 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62— Lead, 29 CFR 1926.1101—Asbestos, 29 CFR 1926.1103—13 Carcinogens, 29 CFR 1926.1117—Vinyl Chloride, 29 CFR 1926.1118—Inorganic Arsenic, 29 CFR 1926.1124—Beryllium, 29 CFR 1926.1126—Chromium (IV), 29 CFR 1926.1127—Cadmium, 29 CFR 1926.1128—Benzene, 29 CFR 1926.1144—1,3—dibromo—3—chloropropane, 29 CFR 1926.1145—Acrynitrile, 29 CFR 1926.1147—Ethylene Oxide, 29 CFR 1926.1148—Formaldehyde, 29 CFR 1926.1152—Methylene Chloride and 29 CFR 1926.1153—Respirable Crystalline Silica require that the respective chemical be included in the Hazard Communication Program.

The following standard is referenced in 29 CFR 1910.1200—Hazard Communication:

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

Note: 29 CFR 1910.1200—Hazard Communication requires that the Hazard Communication Program and safety data sheets be retained per the requirements of 29 CFR 1910.1020—Access to Employee Exposure and Medical Records.

Standard Requirements for 29 CFR 1910.1200—Hazard Communication:

- Programs/Plans: Hazard Communication Program

- Procedures/Practices: Operating procedures, SDS preparation (Include in your HazCom Program)

- Training: Initially, refresher

- Inspections: Not stated

- Documentation: Program, medical records, exposure records, safety data sheets, chemical inventory

Example Program: The following example program may be modified to be site-specific to the organization. Please reference 29 CFR 1910.1200—Hazard Communication to ensure that all requirements are being met.

Hazard Communication Program

This program will describe how to protect the safety and health of employees who are exposed to hazardous chemicals in the workplace, and to comply with the provisions of the Hazard Communication Standard.

Responsibilities

______________________________________has been assigned the title of hazard communication program coordinator and is responsible for monitoring all related activities to ensure compliance with both the intent and specifics of this program.

Each supervisor will be held responsible for strict adherence to these policies and will closely monitor all activities involving hazardous chemicals.

Each employee will carefully follow established work practices and promptly report observed or potential problems to supervision.

No job is so vital or urgent as to justify the risk of employee overexposure to a hazardous chemical. Ask when in doubt. Proceed with a job only after being satisfied that it is safe to do so.

Chemical Inventory

A list of all hazardous chemicals for each workplace has been made and is readily available upon request to any employee working on any shift. It is located at _____________________________________.

Safety Data Sheets

A safety data sheet (SDS) for each hazardous chemical on the list referenced above is on file at _____________________________________.

The SDSs are accessible during each work shift for any employee to review. If you have further questions about the SDS procedure, contact your supervisor.

_____________________________________is responsible to ensure that the list of hazardous chemicals is kept current and that a current SDS is on hand for each hazardous chemical used. A chemical that is not shown on the current list will not be ordered without prior coordination with _____________________________________.

Labels

All containers of hazardous chemicals in each workplace will be conspicuously labeled with the identity of the chemical (same as on the applicable SDS) and the appropriate hazard warnings. If the chemical is a known or suspected cancer causing agent (carcinogen) or if it is known to affect a specific organ of the body, this information will also be placed on the container label. The person having supervisory responsibility for the storage or use of each hazardous chemical will ensure that such labels are not defaced and that they remain legible at all times.

_____________________________________will ensure that an adequate supply of labels is kept on hand and made available to the responsible supervisors.

Non-Routine Tasks

_____________________________________is responsible for anticipating, as much as possible, the hazards that would be present for non-routine tasks, such as a chemical spill or container rupture. Cleanup procedures and proper personal protective equipment will be considered and adequate training for such tasks will be addressed.

Contractors

When an outside contractor will be used, it will be the responsibility of _____________________________________ to advise the contractor of any hazardous chemicals to which its employees may be exposed and the appropriate protective measures to be taken. Conversely, it will be the same person’s responsibility to determine if the contractor will be using any hazardous chemicals during this work that would expose employees.

Training and Information

Appropriate training and protective measures must be taken in order to protect employees. Prior to any work being performed by an outside contractor involving hazardous chemicals, _____________________________________is to be advised.

All employees exposed to any hazardous chemicals will complete an information and training program that includes at least the subjects listed below. New employees must complete similar instruction before initial exposure to any hazardous chemical in the workplace.

Adequate training of all employees exposed to hazardous chemicals will be given by _____________________________________assisted as needed by the hazard communication program coordinator.

Employee information for this program will include:

- The purpose and need for such a program, including the basic concept that gives every employee the right to know about hazardous chemicals with which they work.

- The location and availability of the written hazard communication program, plus the list of hazardous chemicals and their corresponding SDSs.

- The identity, upon request, of any chemical to which the employee is exposed. In the case of a trade secret chemical, the name shown on the SDS will be provided.

Employee training will include at least the following:

- Methods and observations used to detect the presence or release of a hazardous chemical in the work area, such as monitoring devices, appearance or odor.

- The physical and health hazards associated with each chemical, as specified in the SDS.

- Action that employees can take to protect their own safety and health, including specific procedures that have been established for normal work practices, emergency procedures and policies on the use of personal protective equipment.

- Details of the hazard communication program, including an explanation of the labeling system used on in-house containers of hazardous chemicals. Also details of how employees can obtain and use information contained in the SDS.

It is the intent of management to protect the safety and health of each employee. By following correct procedures, no employee should experience any harmful effects from working with chemicals in the workplace.

Records

Employee exposure record contains any of the following kinds of information:

- Environmental (workplace) monitoring or measuring of a toxic substance or harmful physical agent, including personal, area, grab, wipe, or other form of sampling, as well as related collection and analytical methodologies, calculations, and other background data relevant to interpretation of the results obtained;

- Biological monitoring results which directly assess the absorption of a toxic substance or harmful physical agent by body systems (e.g., the level of a chemical in the blood, urine, breath, hair, fingernails, etc.) but not including results which assess the biological effect of a substance or agent or which assess an employee’s use of alcohol or drugs;

- Safety data sheets indicating that the material may pose a hazard to human health; or

- In the absence of the above, a chemical inventory or any other record which reveals where and when used and the identity (e.g., chemical, common, or trade name) of a toxic substance or harmful physical agent.

Safety data sheets or chemical inventory or any other record which reveals where and when used and the identity (e.g., chemical, common, or trade name) of a toxic substance or harmful physical agent) records concerning the identity of a substance or agent need not be retained for any specified period as long as some record of the identity (chemical name if known) of the substance or agent, where it was used, and when it was used is retained for at least thirty (30) years(1); and biological monitoring results designated as exposure records by specific occupational safety and health standards shall be preserved and maintained as required by the specific standard.

Each analysis using exposure or medical records shall be preserved and maintained for at least thirty (30) years.

29 CFR 1926.65—HAZWOPER

Scope/Application: This standard requires an Emergency Response Plan if employees are involved in cleanup operations involving hazardous substances; operations at a treatment, storage and disposal facility, or have employees involved in emergency response.

The following standards are referenced in 29 CFR 1926.65—HAZWOPER:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1926.35—Emergency Action Plan

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.159—Employee Alarm Systems

- 29 CFR 1910.141—Sanitation

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. 29 CFR 1926.65—HAZWOPER requires that an Emergency Action Plan be implemented that meets the requirements of 29 CFR 1926.35—Emergency Action Plan if employees are to evacuate only. 29 CFR 1926.65—HAZWOPER requires training that meets the requirements of 29 CFR 1926.59—Hazard Communication be implemented. It also references 29 CFR 1926.103—Respiratory Protection for employees that wear respirators. It requires that an employee alarm system must meet the requirements of 29 CFR 1926.159—Employee Alarm Systems. 29 CFR 1926.65—HAZWOPER requires that showers and change rooms meet the criteria found in 29 CFR 1910.141—Sanitation.

Standard Requirements for 29 CFR 1926.65—HAZWOPER:

- Programs/Plans: HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Air Monitoring Program, Decontamination Program, Material Handling Program, Medical Surveillance Program, Training Program, Spill Containment Program, Personal protective Equipment Program, Informational Program, Site Control Program, Site-Specific Safety and Health Plan

- Procedures/Practices: Work practice controls, exposure monitoring procedures, inspection procedures (Include in your HAZWOPER Program); material handling procedures (Include in your Materials Handling Program)); new technology (Include in your New Technology Program)); decontamination procedures (Include in your Decontamination Program), site control procedures (Include in your Site Control Program), PPE procedures (Include in your PPE Program)

- Training: Initially, annually

- Inspections:  Prior to handling, regularly

- Documentation: Programs, plans, training, medical surveillance

Note: The HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Air Monitoring Program, Decontamination Program, Material Handling Program, Medical Surveillance Program, Training Program, Spill Containment Program, Personal protective Equipment Program, Informational Program, Site Control Program, and Site-Specific Safety and Health Plan required by 29 CFR 1926.65—HAZWOPER may be incorporated into one program.

Example Program: The following example program should be modified to be site-specific to your organization. The HAZWOPER Safety and Health Program incorporates all the required programs into one comprehensive program except the Emergency Response Plan and can be used as a template for paragraph (p).  However, each program can also be a standalone program.  Please reference 29 CFR 1926.65—HAZWOPER to ensure that all the standard requirements are being met.

HAZWOPER Safety and Health Program

Organizational Structure

The organizational structure establishes our specific chain of command and specifies the overall responsibilities of supervisors and employees. It will be reviewed and updated as necessary to reflect current status of site operations.

The supervisor who has the responsibility and authority to direct all hazardous waste operations for our location is:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The site safety and health supervisor who has the responsibility and authority to develop and implement the site safety and health plan and verify compliance is:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personnel needed for hazardous waste site operations and emergency response and their general functions and responsibilities is below:

Employee Name					Function/Responsibility

Lines of authority, responsibility, and communication are listed below:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Employee Name			Authority/Responsibility			Communication

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Workplan

The following clean-up activities are anticipated at this worksite:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following operating procedures are expected at this worksite:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following work tasks and objectives will be accomplished using the identified methods:

Work Task/Objective			Method of Accomplishment

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following personnel are responsible for the implementation of this workplan:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training

All employees working on site exposed to hazardous substances, health hazards, or safety hazards and their supervisors and management responsible for the site will receive initial training before they are permitted to engage in hazardous waste operations that could expose them to hazardous substances, safety, or health hazards, and refresher training.

The positions that will receive this training include (such as but not limited to equipment operators, general laborers and others):

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

General site workers engaged in hazardous substance removal or other activities which expose or potentially expose workers to hazardous substances and health hazards will receive a minimum of 40 hours of instruction off the site, and a minimum of three days actual field experience under the direct supervision of a trained experienced supervisor.

The positions that will receive this training include (such as but not limited to equipment operators, general laborers and supervisory personnel):

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Workers on site only occasionally for a specific limited and who are unlikely to be exposed over permissible exposure limits and published exposure limits will receive a minimum of 24 hours of instruction off the site, and the minimum of one day actual field experience under the direct supervision of a trained, experienced supervisor.

The positions that will receive this training include (such as, but not limited to, ground water monitoring, land surveying, or geophysical surveying):

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Workers regularly on site who work in areas which have been monitored and fully characterized indicating that exposures are under permissible exposure limits and published exposure limits where respirators are not necessary, and the characterization indicates that there are no health hazards or the possibility of an emergency developing, will receive a minimum of 24 hours of instruction off the site, and the minimum of one day actual field experience under the direct supervision of a trained, experienced supervisor.

The positions that will receive this training include:

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

On-site management and supervisors directly responsible for, or who supervise employees engaged in, hazardous waste operations will receive 40 hours initial training, and three days of supervised field experience.

The positions that will receive this training include:

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Employees and supervisors that have received and successfully completed the training and field experience will be certified by the instructor or the head instructor and trained supervisor as having completed the necessary training. A written certificate will be given to each person so certified.

Each of the above groups of employees will receive 8 hours of annual refresher training.

Informational Program

We will inform all employees, contractors, and subcontractors (or their representative) engaged in hazardous waste operations of the nature, level and degree of exposure likely as a result of participation in such hazardous waste operations before work is performed.

Any information concerning the chemical, physical, and toxicologic properties of each substance known or expected to be present on site that is available and relevant to the duties an employee is expected to perform will be made available to the affected employees prior to the commencement of their work activities.

New Technology Program

We will develop and implement procedures for the introduction of effective new technologies and equipment for the improved protection of employees working with hazardous waste clean-up operations, and the same shall be implemented as part of the site safety and health program to assure that employee protection is being maintained.

New technologies, equipment or control measures available to the industry, such as the use of foams, absorbents, adsorbents, neutralizers, or other means to suppress the level of air contaminates while excavating the site or for spill control, will be evaluated by employers or their representatives. Such an evaluation will be done to determine the effectiveness of the new methods, materials, or equipment before implementing their use on a large scale for enhancing employee protection. Information and data from manufacturers or suppliers may be used as part of the employer’s evaluation effort.

Personal Protective Equipment

Personal protective equipment (PPE) will be selected and used which will protect employees from the hazards and potential hazards they are likely to encounter as identified during the site characterization and analysis.

Personal protective equipment selection will be based on an evaluation of the performance characteristics of the PPE relative to the requirements and limitations of the site, the task-specific conditions and duration, and the hazards and potential hazards identified at the site.

Positive pressure self-contained breathing apparatus, or positive pressure air-line respirators equipped with an escape air supply will be used when chemical exposure levels present will create a substantial possibility of immediate death, immediate serious illness or injury, or impair the ability to escape.

Totally-encapsulating chemical protective suits (protection equivalent to Level A protection) will be used in conditions where skin absorption of a hazardous substance may result in a substantial possibility of immediate death, immediate serious illness or injury, or impair the ability to escape. Totally-encapsulating suits will be selected to protect employees from the particular hazards which are identified during site characterization and analysis. Totally-encapsulating suits will be capable of maintaining positive air pressure. Totally-encapsulating suits will be capable of preventing inward test gas leakage of more than 0.5 percent.

The level of protection provided by PPE selection will be increased when additional information or site conditions show that increased protection is necessary to reduce employee exposures below permissible exposure limits and published exposure levels for hazardous substances and health hazards

Protective clothing and equipment will be decontaminated, cleaned, laundered, maintained or replaced as needed to maintain their effectiveness.

Air Monitoring Program

Monitoring will be performed where there may be a question of employee exposure to hazardous concentrations of hazardous substances in order to assure proper selection of engineering controls, work practices and personal protective equipment so that employees are not exposed to levels which exceed permissible exposure limits, or published exposure levels if there are no permissible exposure limits, for hazardous substances.

Air monitoring will be used to identify and quantify airborne levels of hazardous substances and safety and health hazards in order to determine the appropriate level of employee protection needed on site.

Upon initial entry, representative air monitoring will be conducted to identify any IDLH condition, exposure over permissible exposure limits or published exposure levels, exposure over a radioactive material’s dose limits or other dangerous condition such as the presence of flammable atmospheres, oxygen-deficient environments.

Periodic monitoring will be conducted when the possibility of an IDLH condition or flammable atmosphere has developed or when there is indication that exposures may have risen over permissible exposure limits or published exposure levels since prior monitoring.

Situations where it will be considered whether the possibility that exposures have risen are as follows:

- When work begins on a different portion of the site.

- When contaminants other than those previously identified are being handled.

- When a different type of operation is initiated (e.g., drum opening as opposed to exploratory well drilling.)

- When employees are handling leaking drums or containers or working in areas with obvious liquid contamination (e.g., a spill or lagoon.)

After the actual clean-up phase of any hazardous waste operation commences; for example, when soil, surface water or containers are moved or disturbed; we will monitor those employees likely to have the highest exposures to those hazardous substances and health hazards likely to be present above permissible exposure limits or published exposure levels by using personal sampling frequently enough to characterize employee exposures.

Ionizing Radiation Monitoring. The following monitoring will be conducted during initial site entry when the site evaluation produces information which shows the potential for ionizing radiation or IDLH conditions, or when the site information is not sufficient reasonably to eliminate these possible conditions:

- Monitoring with direct reading instruments for hazardous levels of ionizing radiation.

- Monitoring the air with appropriate direct reading test equipment for (i.e., combustible gas meters, detector tubes) for IDLH and other conditions that may cause death or serious harm (combustible or explosive atmospheres, oxygen deficiency, toxic substances.)

- Visually observing for signs of actual or potential IDLH or other dangerous conditions.

- An ongoing air monitoring program will be implemented after site characterization has determined the site is safe for the start-up of operations.

Risk identification. Once the presence and concentrations of specific hazardous substances and health hazards have been established, the risks associated with these substances will be identified. Employees who will be working on the site will be informed of any risks that have been identified.

Risks to consider include, but are not limited to:

- Exposures exceeding the permissible exposure limits and published exposure levels.

- IDLH concentrations.

- Potential skin absorption and irritation sources.

- Potential eye irritation sources.

- Explosion sensitivity and flammability ranges.

- Oxygen deficiency.

Confined Space Entry

Refer to the Permit-required Confined Space Program.

Decontamination Program

A specific decontamination procedure will be developed, communicated to employees and implemented before any employees or equipment may enter areas on site where potential for exposure to hazardous substances exists. The person responsible for detailing the procedures is:________________________.

The following standard operating procedures have been developed to minimize employee contact with hazardous substances or with equipment that has contacted hazardous substances.

All employees leaving a contaminated area will be appropriately decontaminated; all contaminated clothing and equipment leaving a contaminated area will be appropriately disposed of or decontaminated. Our procedures for this include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Decontamination procedures will be monitored by the site safety and health supervisor to determine their effectiveness. If procedures are found to be ineffective, appropriate steps will be taken to correct any deficiencies.

Decontamination will be performed in geographical areas that will minimize the exposure of uncontaminated employees or equipment to contaminated employees or equipment. All equipment and solvents used for decontamination will be decontaminated or disposed of properly.

Protective clothing and equipment will be decontaminated, cleaned, laundered, maintained or replaced as needed to maintain their effectiveness.

Change Rooms, Showers and Laundry Procedures

Employees whose non-impermeable clothing becomes wetted with hazardous substances will immediately remove that clothing and proceed to shower. The clothing will be disposed of or decontaminated before it is removed from the work zone. The following procedure will be followed:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Unauthorized employees will not remove protective clothing or equipment from change rooms.

Commercial laundries or cleaning establishments that decontaminate protective clothing or equipment will be informed of the potentially harmful effects of exposures to hazardous substances. We use:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Where the decontamination procedure indicates a need for regular showers and change rooms outside of a contaminated area, we will:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

If temperature conditions prevent the effective use of water, then other effective means for cleansing will be provided and used.

Emergency Response Plan

Refer to the Emergency Response Plan.

Medical Surveillance Program

The following groups of employees are covered under the medical surveillance program:

- All employees who are or may be exposed to hazardous substances or health hazards at or above the established permissible exposure limit, above the published exposure levels for these substances, without regard to the use of respirators, for 30 days or more a year.

- All employees who wear a respirator for 30 days or more a year.

- All employees who are injured, become ill or develop signs or symptoms due to possible overexposure involving hazardous substances or health hazards from an emergency response or hazardous waste operation.

- Members of HAZMAT teams.

Medical examinations and consults will be conducted on the following schedule:

- Prior to assignment.

- At least once every twelve months for each employee covered unless the attending physician believes a longer interval (not greater than biennially) is appropriate.

- At termination of employment or reassignment to an area where the employee would not be covered if the employee has not had an examination within the last six months.

- As soon as possible upon notification by an employee that the employee has developed signs or symptoms indicating possible overexposure to hazardous substances or health hazards, or that the employee has been injured or exposed above the permissible exposure limits or published exposure levels in an emergency situation;

- At more frequent times, if the examining physician determines that an increased frequency of examination is medically necessary.

- For employees who may have been injured, received a health impairment, developed signs or symptoms which may have resulted from exposure to hazardous substances resulting from an emergency incident, or exposed during an emergency incident to hazardous substances at concentrations above the permissible exposure limits or the published exposure levels without the necessary personal protective equipment being used.

- As soon as possible following the emergency incident or development of signs or symptoms.

- At additional times, if the examining physician determines that follow-up examinations or consultations are medically necessary.

The content of medical examinations or consultations will be determined by the attending physician. All medical examinations and procedures will be performed by or under the supervision of a licensed physician, preferably one knowledgeable in occupational medicine, and will be provided without cost to the employee, without loss of pay, and at a reasonable time and place.

The physician will provide a written opinion as to whether the employee has any detected medical conditions which would place the employee at increased risk of material impairment of the employee’s health from work in hazardous waste operations or emergency response, or from respirator use. It will include their recommended limitations upon the employee’s assigned work, the results of the medical examination and tests if requested by the employee, a statement that the employee has been informed by the physician of the results of the medical examination and any medical conditions which require further examination or treatment.

Standard Operating Procedures

We will implement the following safety work practices and standard operating procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Spill Containment Program

If there is a possibility of a major spill during transfers of a hazardous substance, we will implement the following

procedures to contain and isolate the entire volume:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Pre-Entry Briefings

Pre-entry briefings will held prior to initiating any site activity, and at times as necessary to ensure that employees are apprised of the site safety and health plan and that this plan is being followed. The information and data obtained from site characterization and analysis work will be used to prepare and update the site safety and health plan. The person responsible for this will be:____________________.

Site Characterization and Analysis

Hazardous waste sites will be evaluated to identify specific site hazards and to determine the appropriate safety and health control procedures needed to protect employees from the identified hazards.

A preliminary evaluation of a site’s characteristics will be performed prior to site entry by a qualified person in order to aid in the selection of appropriate employee protection methods prior to site entry. Immediately after initial site entry, a more detailed evaluation of the site’s specific characteristics will be performed by a qualified person in order to further identify existing site hazards and to further aid in the selection of the appropriate engineering controls and personal protective equipment for the tasks to be performed.

This will be conducted by:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Hazard identification—All suspected conditions that may pose inhalation or skin absorption hazards that are immediately dangerous to life or health (IDLH) or other conditions that may cause death or serious harm will be identified during the preliminary survey and evaluated during the detailed survey.

Examples of such hazards include, but are not limited to, confined space entry, potentially explosive or flammable situations, visible vapor clouds, or areas where biological indicators such as dead animals or vegetation are located.

Before entering a site, the following information will be gathered:

- Location and approximate size of the site.

- Description of the response activity and/or the job task to be performed.

- Duration of the planned employee activity.

- Site topography and accessibility by air and roads.

- Safety and health hazards expected at the site.

- Pathways for hazardous substance dispersion.

- Present status and capabilities of emergency response teams that would provide assistance to on-site employees at the time of an emergency.

- Hazardous substances and health hazards involved or expected at the site and their chemical and physical properties.

Personal protective equipment (PPE) will be provided and used during initial site entry based on the results of the preliminary site evaluation. The PPE selected and used will provide protection to a level of exposure below permissible exposure limits and published exposure levels for known or suspected hazardous substances and health hazards and which will provide protection against other known and suspected hazards identified during the preliminary site evaluation.

If positive-pressure self-contained breathing apparatus is not used as part of the entry ensemble, and if respiratory protection is warranted by the potential hazards identified during the preliminary site evaluation, an escape self-contained breathing apparatus of at least five minute’s duration will be carried by employees during initial site entry.

If the preliminary site evaluation does not produce sufficient information to identify the hazards or suspected hazards of the site an ensemble providing equivalent to Level B PPE will be provided as minimum protection, and direct reading instruments will be used as appropriate for identifying IDLH conditions.

Site Control Program

During the planning stages of any hazardous waste clean-up operation, we will implement a site control program that will be modified as necessary as new information becomes available. The person responsible for overseeing  this is:__________________________________________________________________.

The site control program will include:

- A site map

- Site work zones

- “Buddy system”

- Site communications including alerting means for emergencies; the standard operating procedures or safe work practices; and, identification of the nearest medical assistance.

- Site control procedures

Site Excavation

Site excavations created during initial site preparation or during hazardous waste operations shall be shored or sloped as appropriate to prevent accidental collapse in accordance with Subpart P—Excavations of 29 CFR Part 1926—Construction.

Material Handling Program

Site operations will be organized to minimize the amount of drum or container movement. Material handling equipment used to transfer drums and containers will be selected, positioned and operated to minimize sources of ignition related to the equipment from igniting vapors released from ruptured drums or containers.

Work Procedures

When practical, drums and containers will be inspected and their integrity will be assured prior to being moved. Drums or containers that cannot be inspected before being moved because of storage conditions (i.e., buried beneath the earth, stacked behind other drums, stacked several tiers high in a pile, etc.) will be moved to an accessible location and inspected prior to further handling.

Drums and containers used during the clean-up will meet the appropriate DOT, OSHA, and EPA regulations for the wastes that they contain.

Unlabeled drums and containers will be considered to contain hazardous substances and handled accordingly until the contents are positively identified and labeled.

Prior to movement of drums or containers, all employees exposed to the transfer operation will be warned of the potential hazards associated with the contents of the drums or containers.

Suitable quantities of proper absorbent will be kept available and used in areas where spills, leaks, or ruptures may occur.

Drums and containers that cannot be moved without rupture, leakage, or spillage will be emptied into a sound container using a device classified for the material being transferred.

Soil or covering material will be removed with caution to prevent drum or container rupture.

Fire extinguishing equipment will be kept on hand and ready for use to control incipient fires.

Detection System

A ground-penetrating system or other type of detection system or device is used to estimate the location and depth of buried drums or containers. We use: __________________________________________.

Opening Drums and Containers

The following procedures will be followed in areas where drums or containers are being opened:

- Where an airline respirator system is used, connections to the source of air supply will be protected from contamination and the entire system shall be protected from physical damage.

- Employees not actually involved in opening drums or containers will be kept a safe distance from the drums or containers being opened.

- If employees must work near or adjacent to drums or containers being opened, a suitable shield that does not interfere with the work operation will be placed between the employee and the drums or containers being opened to protect the employee in case of accidental explosion.

- Controls for drum or container opening equipment, monitoring equipment, and fire suppression equipment will be located behind the explosion-resistant barrier.

- When there is a reasonable possibility of flammable atmospheres being present, material handling equipment and hand tools will be of the type to prevent sources of ignition.

- Drums and containers will be opened in such a manner that excess interior pressure will be safely relieved. If pressure cannot be relieved from a remote location, appropriate shielding will be placed between the employee and the drums or containers to reduce the risk of employee injury.

- Employees will not stand upon or work from drums or containers.

Radioactive Wastes

Drums and containers containing radioactive wastes will not be handled until such time as their hazard to employees is properly assessed.

Shock Sensitive Wastes

The following special precautions will be taken when drums and containers containing or suspected of containing shock-sensitive wastes are handled:

- All non-essential employees will be evacuated from the area of transfer.

- Material handling equipment will be provided with explosive containment devices or protective shields to protect equipment operators from exploding containers.

- An employee alarm system capable of being perceived above surrounding light and noise conditions will be used to signal the commencement and completion of explosive waste handling activities.

- Continuous communications (i.e., portable radios, hand signals, telephones, as appropriate) will be maintained between the employee-in-charge of the immediate handling area and both the site safety and health supervisor and the command post until such time as the handling operation is completed. Communication equipment or methods that could cause shock sensitive materials to explode will not be used.

- Drums and containers under pressure, as evidenced by bulging or swelling, will not be moved until such time as the cause for excess pressure is determined and appropriate containment procedures have been implemented to protect employees from explosive relief of the drum.

- Drums and containers containing packaged laboratory wastes will be considered to contain shock-sensitive or explosive materials until they have been characterized.

Laboratory Waste Packs

The following precautions will be taken in handling laboratory waste packs (lab packs):

- Lab packs will be opened only when necessary and then only by an individual knowledgeable in the inspection, classification, and segregation of the containers within the pack according to the hazards of the wastes.

- If crystalline material is noted on any container, the contents will be handled as a shock-sensitive waste until the contents are identified.

Sampling of Drum and Container Contents

Sampling of containers and drums will be done in accordance with a sampling procedure which is part of the site safety and health plan developed for and available to employees and others at the specific worksite.

Shipping and Transport

Drums and containers will be identified and classified prior to packaging for shipment.

Drum or container staging areas will be kept to the minimum number necessary to safely identify and classify materials and prepare them for transport.

Staging areas will be provided with adequate access and egress routes.

Bulking of hazardous wastes will be permitted only after a thorough characterization of the materials has been completed.

Contractors and Sub-Contractors

When we retain contractor or sub-contractor services for work in hazardous waste operations, we will inform those contractors, sub-contractors, or their representatives of the site emergency response procedures and any potential fire, explosion, health, safety or other hazards of the hazardous waste operation that have been identified by our program.

29 CFR 1926.65(a)-(o)—HAZWOPER

Scope/Application: This standard requires an Emergency Response Plan if employees are involved in cleanup operations involving hazardous substances; operations at a treatment, storage and disposal facility, or have employees involved in emergency response.

The following standards are referenced in 29 CFR 1926.65(a)-(o)—HAZWOPER:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1926.35—Emergency Action Plan

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.159—Employee Alarm Systems

- 29 CFR 1910.141—Sanitation

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. 29 CFR 1926.65—HAZWOPER requires that an Emergency Action Plan be implemented that meets the requirements of 29 CFR 1926.35—Emergency Action Plan if employees are to evacuate only. 29 CFR 1926.65—HAZWOPER requires training that meets the requirements of 29 CFR 1926.59—Hazard Communication be implemented. It also references 29 CFR 1926.103—Respiratory Protection for employees that wear respirators. It requires that an employee alarm system must meet the requirements of 29 CFR 1926.159—Employee Alarm Systems. 29 CFR 1926.65—HAZWOPER requires that showers and change rooms meet the criteria found in 29 CFR 1910.141—Sanitation.

Standard Requirements for 29 CFR 1926.65(a)-(o)—HAZWOPER:

- Programs/Plans: HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Air Monitoring Program, Decontamination Program, Material Handling Program, Medical Surveillance Program, Training Program, Spill Containment Program, Personal protective Equipment Program, Informational Program, Site Control Program, Site-Specific Safety and Health Plan

- Procedures/Practices: Work practice controls, exposure monitoring procedures, inspection procedures (Include in your HAZWOPER Program); material handling procedures (Include in your Materials Handling Program)); new technology (Include in your New Technology Program)); decontamination procedures (Include in your Decontamination Program), site control procedures (Include in your Site Control Program), PPE procedures (Include in your PPE Program)

- Training: Initially, annually

- Inspections:  Prior to handling, regularly

- Documentation: Programs, plans, training, medical surveillance

Note: The HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Air Monitoring Program, Decontamination Program, Material Handling Program, Medical Surveillance Program, Training Program, Spill Containment Program, Personal protective Equipment Program, Informational Program, Site Control Program, and Site-Specific Safety and Health Plan required by 29 CFR 1926.65—HAZWOPER may be incorporated into one program.

Example Plan: The following example plan should be modified to be site-specific to your organization. It may be incorporated into the HAZWOPER Safety and Health Program or remain a standalone program. Please reference 29 CFR 1926.65(a)-(o)—HAZWOPER to ensure that all the standard requirements are being met.

HAZWOPER—Emergency Response Plan

This emergency response plan will be used in all emergency situations that may occur in this facility. It will cover emergencies such as fires, medical emergencies, accidents, catastrophes, toxic releases and other emergency situations requiring the orderly evacuation of this facility and/or activation of our plant HAZMAT team. This plan does not apply to small leaks and mishaps that can be successfully covered under the written hazard communication program or other applicable program.

Note: The key points of a hazard communication response are that partial or total facility evacuation is not necessary and employees in the immediate work area of the spill or mishap can safely handle the situation. The written hazard communication program and employee training must be very clear to allow all employees to recognize when a spill or mishap requires emergency response versus local response under the hazard communication program.

This plan will be reviewed annually and updated as necessary. A full evacuation drill covering all facility employees will be held every  ____________ months.

Note: In many worksites, drill frequencies at 3 or 6 month intervals is sufficient. If you have frequent employee turnover, you should do it more frequently.

The ____________________ is responsible for the update, implementation, and drill/incident critique of this plan. All new employees will be trained on this plan before they begin their initial work assignments and told where the plan will be kept. An up-to-date copy of the plan is located _______________________ where it is easily accessible to all employees.

Hazard Evaluation

The chemical(s) used in the plant which pose significant workplace or environmental hazard are as follows:

Chemical				Location				Hazard

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Description and Detection Level

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PEL				LEL			STEL			Action Level

Chemical				Location				Hazard

Description and Detection Level

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PEL				LEL			STEL			Action Level

Other potential emergency situations which may arise in the workplace are: fires, natural or man-made disasters, bomb threats, workplace violence and medical emergencies.

Emergency Action

Gas Alarm—When the gas alarm sounds, _____________________________(describe alarm such as an intermittent bell ring accompanied by a yellow strobe or revolving light) all employees except the HAZMAT team must evacuate the building. HAZMAT team will enact the emergency response plan.

Instructions:

- S-Sound the alarm: Either sound it yourself or call out to someone else to sound it. This allows the fire department to be on its way while other activities are being performed.

- A-Alert others: Quickly tell others in the area of the fire. Do this in a calm, firm manner. Do not cause a panic. Secure the area for the fire department. Call ______________________ to give them verification and location of the gas.

- E-Evacuate the area: Whenever the gas alarm sounds, everyone except the HAZMAT team will evacuate by designated routes to predetermined assembly areas. Upon the “all clear” signal, you may return to your work stations unless you are given different instructions from your supervisor or manager. Once an evacuation is begun it will be carried to completion even if it is known to be a false alarm. Reentry will not be permitted until the “all clear” signal is sounded.

Fire Alarm—When the building fire alarm sounds, ________________________________ all building employees, without exception, shall evacuate the building. All non-gas hazards which require building evacuation will result in alerting by fire alarm.

Instructions:

- S-Sound the alarm: Either sound it yourself or call out to someone else to sound it. This allows the fire department to be on its way while other activities are being performed.

- A-Alert others: Quickly tell others in the area of the fire. Do this in a calm, firm manner. Do not cause a panic. Secure the area for the fire department. Close all doors and windows to prevent the spread of smoke and flames. Call ______________________ to give them verification and location of the fire.

- F-Fight the fire: Do this only in the case of a manageable fire, one that you have the training and experience to fight, for example, a fire in a wastebasket. If possible, two employees should fight the fire together using two fire extinguishers. If you have any doubt about your ability to fight the fire, then do not attempt to combat it. If you have not been trained on fire extinguisher use, evacuate the building.

- E-Evacuate the area: Whenever the fire alarm sounds, everyone except the HAZMAT team will evacuate by designated routes to predetermined assembly areas. Upon the “all clear” signal, you may return to your work stations unless you are given different instructions from your supervisor or manager. Once an evacuation is begun it will be carried to completion even if it is known to be a false alarm. Reentry will not be permitted until the “all clear” signal is sounded.

Medical Emergencies—Whenever an employee or visitor is injured or develops a medical emergency condition on building property, follow the protocol below and notify your immediate supervisor as soon as possible.

Instructions:

- Dial _________ to inform them of the emergency and its location. Note: this can be a plant nurse or other first aid/CPR designee, and 911.

- Unless you have been designated by management to be a first aid responder, do not provide first aid. Make the victim as comfortable as possible until medical help arrives.

- Inform management and safety coordinator of the nature and location of the medical emergency.

Plant Evacuation—Whenever the fire or gas alarm sounds, the entire plant will evacuate by designated routes to predetermined assembly areas.

Note: In many medium and large industrial facilities, partial evacuation may be acceptable in certain circumstances as addressed in the site emergency action plan.

Emergency Escape Procedures and Emergency Route Assignments

Illustrations of the building (plant layout), emergency escape routes for each of the departments and the designated meeting locations for each of the departments are posted in each work area.

In the event of an emergency, employees shall activate fire pull stations without exposing themselves to serious hazards and leave the affected work area as soon as practical via the emergency route assignments posted in your immediate work area.

Employees shall normally leave their work areas through the primary route assignments unless the route is blocked by the emergency and not safely passable. An alternative route remote from the emergency incident shall be designated by the manager or supervisor and shall be used for emergency egress.

All primary emergency escape routes and designated meeting locations shall be provided to each employee by departmental managers as part of the emergency planning process. These primary route and designated meeting locations must be approved by the plant manager.

An orderly evacuation shall be supervised by departmental managers, line supervisors, and designated personnel who will check all rooms/enclosed spaces and report any problems via telephone or radio.

They shall also insure that all fire doors are closed on their way out, and report to their designated meeting locations.

Each manager or supervisor shall provide for the specialized evacuation of any handicapped employees.

Critical Plant and Process Operations

If there are any critical plant or process operations that need to be shut down or inactivated before total evacuation is completed, department managers must designate such processes and the employees to accomplish the shut down in advance.

Note: Only process operators who are appropriately trained in 29 CFR 1910.120 may re-enter any area where the release is above the PEL, or unknown in concentration. This training must be at the HAZMAT technician or specialist level.

Emergency shutdown procedures will be conspicuously posted on each machine or at each process where appropriate.

If a critical operation or process cannot be shut down or requires a substantial time delay, then the manager/HAZMAT incident commander must be so notified as soon as possible with the full particulars of the situation.

Plant Processes to be Shut Down					Responsible Party

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Accountability of All People Post Evacuation

Once everyone has evacuated the facility and arrived at their designated meeting places, a head count must be taken as soon as possible.

- Each manager or supervisor is responsible to perform the head count and to account for any missing people.

A daily shift sign-in log shall be maintained for each operating unit of the organization. All persons entering the unit must sign in and note the time beside their name. All persons leaving the unit must sign out and note the time beside their name. These logs are located at:__________________________________.

- The manager, supervisor, or designee shall take the sign in/out log with them to the designated meeting location.

- After the evacuation alarm is sounded, ten minutes will be allowed for critical unit operators to shut down their equipment and reach the designated meeting location before attendance will be reported.

- The names and known or suspected facility locations for all unaccounted for people will be sent to the manager/HAZMAT incident commander.

- The arrival and condition of stragglers will be sent to the manager/HAZMAT incident commander immediately.

- The condition and location of any injured people will be sent to the manager/HAZMAT incident commander immediately.

Rescue and Medical Duties

No employee is expected to perform rescue or medical/first aid duties unless they are a designated first aid/CPR provider with current training.

If anyone is trapped and/or injured in the emergency or during the evacuation, then the  situation and location shall be noted and communicated to the manager/HAZMAT incident commander as soon as possible.

Rescue, first aid, and remaining behind with a trapped or injured person by employees is voluntary and is governed by the rules of common sense.

Preferred Means of Reporting Fires and Emergencies

Pull the fire or gas alarm box levers as appropriate, then call ________________ at ________ and communicate the particulars of the incident as soon as possible.

Call 1-911 and give the particulars of the emergency to the Emergency Communication Center dispatcher.

Persons to Contact for Information on this Emergency Response Plan

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training

All employees will be trained on the emergency response plan initially; refresher training will also be provided on an as needed basis or whenever there are changes to the plan.

Employees assigned to the HAZMAT team will be trained and certified at the appropriate emergency responder levels before assignment to HAZMAT duties. Training will be provided annually thereafter.

Hazmat Team

Name				Level			Contact		Team Duties

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Hazmat Team Communications

Radio—Channel __ has been designated as the radio frequency for personnel on the HAZMAT team. All other onsite communication will use channels ___________. The HAZMAT team must remain in constant radio or voice communication and within sight of their buddy or team leader. Any failure of radio or voice communication requires an evaluation of whether personnel should leave the hazardous area (Exclusion Zone).

Telephone—Telephone communication will be established as soon as possible to the Fire Department to keep them abreast of what is happening onsite as soon as is practicable into the emergency.

Exclusion Zone

A system will be set up prior to entry into the Exclusion Zone to signal when an immediate evacuation of the Exclusion Zone is required.

Alternate Evacuation Routes—Alternate evacuation routes will be designated for those situations where egress from the contaminated or involved area cannot occur safely.

Reentry—In all situations, where an outside emergency results in evacuation of the Exclusion Zone, personnel shall not reenter until:

- The condition resulting in the emergency has been corrected.

- The hazards have been reassessed and are manageable.

- The site safety plan has been reviewed and revised if necessary.

- HAZMAT personnel have been fully briefed on any changes.

Hazmat Emergency Procedures

Chemical:_______________

Decontamination Procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Chemical:_______________

Decontamination Procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Chemical:_______________

Decontamination Procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Hazmat Team Personal Protective Equipment

The HAZMAT team will be provided with appropriate personal protective equipment to include chemical protective clothing, gas monitoring equipment, self-contained breathing apparatuses, and other equipment deemed appropriate for their assigned duties.

Levels of Protection

Chemical					PPE

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment (PPE) Failure—If any team member experiences a failure or alteration of PPE that adversely affects personal protection, they and their shall immediately leave the Exclusion Zone. Reentry shall not be permitted until the PPE has been repaired or replaced. If there is body contamination or known or suspected over exposure, then a medical evaluation of the team member must be made. In such cases, medical clearance is necessary before reentry to the Exclusion Zone is permitted.

Other Equipment Failure—If any other equipment or apparatus fails to operate properly then the team leader and incident commander must be notified. They will determine the effect of this failure on continuing operations onsite. If the failure affects the safety of personnel or prevents completion of the work, then all affected personnel shall leave the contaminated area until the situation is evaluated and appropriate actions taken.

Maintenance and Certification of all Personal Protective and Emergency Equipment and Apparatus—All equipment must be maintained to ensure serviceability at all times. Complete records of PPE fit testing (if necessary), maintenance and certification for emergency equipment; and fire-fighting equipment shall be maintained by _________________________________.

Medical Surveillance

The HAZMAT team will receive a baseline physical examination before being assigned duties to ensure fitness. Any employee that exhibits signs or symptoms resulting from an exposure to hazardous substances at the workplace will be provided with medical consultation at no cost to them.

29 CFR 1926.65(p)—HAZWOPER

Scope/Applications: 29 CFR 1926.65(p)—HAZWOPER requires an Emergency Response Plan for employees that conduct operations at treatment, storage and disposal facilities.

The following standards are referenced in 29 CFR 1926.65(p)—HAZWOPER:

- 29 CFR 1926.35—Employee Emergency Action Plans

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.159—Employee Alarm Systems

Note: 29 CFR 1926.65(p)—HAZWOPER requires an Emergency Action Plan that meets the requirements of 29 CFR 1926.35—Employee Emergency Action Plans if employees are to evacuate only. 29 CFR 1926.65(p)—HAZWOPER requires training that meets the requirements of 29 CFR 1926.59—Hazard Communication be implemented. It also requires that an employee alarm system must meet the requirements of 29 CFR 1926.159—Employee Alarm Systems.

Standard Requirements for 29 CFR 1926.65(p)—HAZWOPER:

- Programs/Plans: HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Decontamination Program, Material Handling Program, Medical Surveillance Program, Training Program

- Procedures/Practices: Work practice controls, material handling procedures (Include in your Materials Handling Program); new technology (Include in your New Technology Program); decontamination procedures (Include in your Decontamination Program); emergency procedures (Include in your Emergency Response Plan)

- Training: Initially, annually

- Inspections:  Not stated

- Documentation: Programs, plans, training, medical surveillance

Note: The HAZWOPER Safety and Health Program, Emergency Response Plan, New Technology Program, Decontamination Program, Materials Handling Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.65(p)—HAZWOPER may be incorporated into one program.

Example Program: The following example program should be modified to be site-specific to your organization. It may be incorporated into the HAZWOPER Safety and Health Program or remain a standalone program. Please reference 29 CFR 1926.65(p)—HAZWOPER to ensure that all the standard requirements are being met.

HAZWOPER—Emergency Response Plan

This emergency response plan will be used for emergency situations involving our employees that conduct activities at treatment, storage and disposal (TSD) facilities.

Note: Such plans need not duplicate any of the subjects fully addressed in the employer’s contingency planning required by permits.

Pre-Emergency Planning and Coordination with Outside Parties

The following pre-emergency planning and coordination procedures will be followed:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personnel Roles and Lines of Authority

The following personnel have the following roles and lines of authority.

Personnel Roles		Lines of Authority

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Communications

Radio—Channel __has been designated as the radio frequency for personnel on the HAZMAT team. All other onsite communication will use channels ___________. The HAZMAT team must remain in constant radio or voice communication and within sight of their buddy or team leader. Any failure of radio or voice communication requires an evaluation of whether personnel should leave the hazardous area (Exclusion Zone).

Telephone—Telephone communication will be established as soon as possible to the Fire Department to keep them abreast of what is happening onsite as soon as is practicable into the emergency.

Emergency Recognition and Prevention

The following procedures will be followed for emergency recognition and prevention:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Safe Distances and Places of Refuge

The following procedures will be followed for identifying safe distances and places of refuge: _____________________________________________________________________________________________

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Site Security and Control

The following procedures will be followed for maintaining site security and control: _____________________________________________________________________________________________

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Evacuation Routes and Procedures

The following procedures will be followed for identifying evacuation routes:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Emergency Alerting and Response Procedures

The following procedures will be followed for emergency alerting and response:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Critique of Response and Follow-Up

All emergency responses will be critiqued and corrective actions identified.

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Decontamination Procedures

We will follow the following decontamination procedures:

PPE and Emergency Equipment

The HAZMAT team will be provided with appropriate personal protective equipment to include chemical protective clothing, gas monitoring equipment, self-contained breathing apparatuses, and other equipment deemed appropriate for their assigned duties.

Levels of Protection

Chemical					PPE

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment (PPE) Failure: If any team member experiences a failure or alteration of PPE that adversely affects personal protection, they and their shall immediately leave the Exclusion Zone. Reentry shall not be permitted until the PPE has been repaired or replaced. If there is body contamination or known or suspected over exposure, then a medical evaluation of the team member must be made. In such cases, medical clearance is necessary before reentry to the Exclusion Zone is permitted.

Other Equipment Failure: If any other equipment or apparatus fails to operate properly then the team leader and incident commander must be notified. They will determine the effect of this failure on continuing operations onsite. If the failure affects the safety of personnel or prevents completion of the work, then all affected personnel shall leave the contaminated area until the situation is evaluated and appropriate actions taken.

Maintenance and Certification of all Personal Protective and Emergency Equipment and Apparatus:

All equipment must be maintained to ensure serviceability at all times. Complete records of PPE fit testing (if necessary), maintenance and certification for emergency equipment; and fire-fighting equipment shall be maintained by _______________.

Emergency Medical Treatment and First Aid

The following procedures will be followed for medical treatment and first aid:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Medical Surveillance

The HAZMAT team will receive a baseline physical examination before being assigned duties to ensure fitness. Any employee that exhibits signs or symptoms resulting from an exposure to hazardous substances at the workplace will be provided with medical consultation at no cost to them.

Training

Training for emergency response employees will be completed before they are called upon to perform in real emergencies. Such training will include the elements of the emergency response plan, standard operating procedures for the job, the personal protective equipment to be worn and procedures for handling emergency incidents.

The TSD facility emergency response organizations will be trained to a level of competence in the recognition of health and safety hazards to protect themselves and other employees. This will include training in the methods used to minimize the risk from safety and health hazards; in the safe use of control equipment; in the selection and use of appropriate personal protective equipment; in the safe operating procedures to be used at the incident scene; in the techniques of coordination with other employees to minimize risks; in the appropriate response to over exposure from health hazards or injury to themselves and other employees; and in the recognition of subsequent symptoms which may result from over exposures.

Training will be certified to ensure that each employee has attended and successfully completed the training.  This training record will be maintained.

Procedures for Handling Emergency Incidents

The following procedures will address site topography, layout, and prevailing weather conditions before conducting operations:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

We will use the following procedures for reporting incidents to local, state, and federal governmental agencies:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Our procedures will be compatible and integrated with the disaster, fire and/or emergency response plans of local, state, and federal agencies.

Program Review

The site emergency response plan will be reviewed periodically and, as necessary, be amended to keep it current with new or changing site conditions or information.

Employee Alarm System

The employee alarm system will notify employees of an emergency situation, to stop work activities if necessary, to lower background noise in order to speed communication; and to begin emergency procedures.

Incident Evaluation

Based upon the information available at time of the emergency, we will evaluate the incident and the site response capabilities and proceed with the appropriate steps to implement the site emergency response plan. This responsibility has been given to____________________________.

29 CFR 1926.65(q)—HAZWOPER

Scope/Applications: 29 CFR 1926.65(q)—HAZWOPER requires an Emergency Response Plan for employees that are engaged in emergency response no matter where it occurs.

The following standards are referenced in 29 CFR 1926.65(q)—HAZWOPER:

- 29 CFR 1926.35—Employee Emergency Action Plans

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.103—Respiratory Protection

Note: 29 CFR 1926.65(q)—HAZWOPER requires an Emergency Action Plan that meets the requirements of 29 CFR 1926.35—Employee Emergency Action Plans if employees are to evacuate only. It also requires training that meets the requirements of 29 CFR 1926.59—Hazard Communication be implemented. 29 CFR 1926.65(q)—HAZWOPER states that if respirators are being used, then the requirements of 29 CFR 1926.103—Respiratory Protection must be followed.

Standard Requirements for 29 CFR 1926.65(q)—HAZWOPER:

- Programs/Plans: Emergency Response Plan

- Procedures/Practices: Emergency procedures, operating procedures, termination procedures, decontamination procedures (Include in your Emergency Response Plan)

- Training: Initially, annually

- Inspections:  Not stated

- Documentation: Plans, training, medical surveillance, certification

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1926.65(q)—HAZWOPER to ensure that all the standard requirements are being met.

HAZWOPER—Emergency Response Plan

This emergency response plan will be used for emergency situations involving our employees. It will cover emergencies such as fires, medical emergencies, accidents, catastrophes, toxic releases and other emergency situations. This plan does not apply to small leaks and mishaps that can be successfully covered under the written hazard communication program or other applicable program.

Note: The key points of a hazard communication response are that partial or total facility evacuation is not necessary and employees in the immediate work area of the spill or mishap can safely handle the situation. The written hazard communication program and employee training must be very clear to allow all employees to recognize when a spill or mishap requires emergency response versus local response under the hazard communication program.

This plan will be reviewed annually and updated as necessary. Emergency response organizations may use the local emergency response plan or the state emergency response plan or both, as part of their emergency response plan to avoid duplication. Those items of the emergency response plan that are being properly addressed by the SARA Title III plans may be substituted into their emergency plan or otherwise kept together for the employer and employee’s use.

Pre-Emergency Planning and Coordination with Outside Parties

The following pre-emergency planning and coordination procedures will be followed:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training Levels

Training will be based on the duties and function to be performed by each responder of an emergency response organization.

First responder awareness level—First responders at the awareness level are individuals who are likely to witness or discover a hazardous substance release and who have been trained to initiate an emergency response sequence by notifying the proper authorities of the release. First responders at the awareness level will have sufficient training or have had sufficient experience to objectively demonstrate competency in the following areas:

- An understanding of what hazardous substances are, and the risks associated with them in an incident.

- An understanding of the potential outcomes associated with an emergency created when hazardous substances are present.

- The ability to recognize the presence of hazardous substances in an emergency.

- The ability to identify the hazardous substances, if possible.

- An understanding of the role of the first responder awareness individual in the employer’s emergency response plan including site security and control and the U.S. Department of Transportation’s Emergency Response Guidebook.

- The ability to realize the need for additional resources, and to make appropriate notifications to the communication center.

First responder operations level—First responders at the operations level are individuals who respond to releases or potential releases of hazardous substances as part of the initial response to the site for the purpose of protecting nearby persons, property, or the environment from the effects of the release. They are trained to respond in a defensive fashion without actually trying to stop the release. Their function is to contain the release from a safe distance, keep it from spreading, and prevent exposures. First responders at the operational level will have received at least eight hours of training or have had sufficient experience to objectively demonstrate competency in the following areas in addition to those listed for the awareness level and the employer shall so certify:

- Knowledge of the basic hazard and risk assessment techniques.

- Know how to select and use proper personal protective equipment provided to the first responder operational level.

- An understanding of basic hazardous materials terms.

- Know how to perform basic control, containment and/or confinement operations within the capabilities of the resources and personal protective equipment available with their unit.

- Know how to implement basic decontamination procedures.

- An understanding of the relevant standard operating procedures and termination procedures.

Hazardous materials technician—Hazardous materials technicians are individuals who respond to releases or potential releases for the purpose of stopping the release. They assume a more aggressive role than a first responder at the operations level in that they will approach the point of release in order to plug, patch or otherwise stop the release of a hazardous substance. Hazardous materials technicians will have received at least 24 hours of training equal to the first responder operations level and in addition have competency in the following areas and the employer shall so certify:

- Know how to implement the employer’s emergency response plan.

- Know the classification, identification and verification of known and unknown materials by using field survey instruments and equipment.

- Be able to function within an assigned role in the Incident Command System.

- Know how to select and use proper specialized chemical personal protective equipment provided to the hazardous materials technician.

- Understand hazard and risk assessment techniques.

- Be able to perform advance control, containment, and/or confinement operations within the capabilities of the resources and personal protective equipment available with the unit.

- Understand and implement decontamination procedures.

- Understand termination procedures.

- Understand basic chemical and toxicological terminology and behavior.

Hazardous materials specialist—Hazardous materials specialists are individuals who respond with and provide support to hazardous materials technicians. Their duties parallel those of the hazardous materials technician, however, those duties require a more directed or specific knowledge of the various substances they may be called upon to contain. The hazardous materials specialist would also act as the site liaison with Federal, state, local and other government authorities in regards to site activities. Hazardous materials specialists shall have received at least 24 hours of training equal to the technician level and in addition have competency in the following areas and the employer shall so certify:

- Know how to implement the local emergency response plan.

- Understand classification, identification and verification of known and unknown materials by using advanced survey instruments and equipment.

- Know the state emergency response plan.

- Be able to select and use proper specialized chemical personal protective equipment provided to the hazardous materials specialist.

- Understand in-depth hazard and risk techniques.

- Be able to perform specialized control, containment, and/or confinement operations within the capabilities of the resources and personal protective equipment available.

- Be able to determine and implement decontamination procedures.

- Have the ability to develop a site safety and control plan.

- Understand chemical, radiological and toxicological terminology and behavior.

On scene incident commander—Incident commanders, who will assume control of the incident scene beyond the first responder awareness level, will receive at least 24 hours of training equal to the first responder operations level and in addition have competency in the following areas and the employer shall so certify:

- Know and be able to implement the employer’s incident command system.

- Know how to implement the employer’s emergency response plan.

- Know and understand the hazards and risks associated with employees working in chemical protective clothing.

- Know how to implement the local emergency response plan.

- Know of the state emergency response plan and of the Federal Regional Response Team.

- Know and understand the importance of decontamination procedures.

Specialist employees—Employees who, in the course of their regular job duties, work with and are trained in the hazards of specific hazardous substances, and who will be called upon to provide technical advice or assistance at a hazardous substance release incident to the individual in charge, will receive training or demonstrate competency in the area of their specialization annually.

Skilled support personnel—Personnel, not necessarily the department’s employees, who are skilled in the operation of certain equipment, such as mechanized earth moving or digging equipment or crane and hoisting equipment, and who are needed temporarily to perform immediate emergency support work that cannot reasonably be performed in a timely fashion by the department’s employees, and who will be or may be exposed to the hazards at an emergency response scene, will be given an initial briefing at the site prior to their participation in any emergency response. The initial briefing will include instruction in the wearing of appropriate personal protective equipment, what chemical hazards are involved, and what duties are to be performed. All other appropriate safety and health precautions provided to the employer’s own employees will be used to assure the safety and health of these personnel.

Trainers—Trainers who teach any of the above training subjects shall have satisfactorily completed a training course for teaching the subjects they are expected to teach, such as the courses offered by the U.S. National Fire Academy, or they shall have the training and/or academic credentials and instructional experience necessary to demonstrate competent instructional skills and a good command of the subject matter of the courses they are to teach.

Refresher training—Employees will receive annual refresher training of sufficient content and duration to maintain their competencies, or will demonstrate competency in those areas at least yearly.

A statement will be made of the training or competency,  and a record of the methodology used to demonstrate competency will be maintained.

Personnel Roles and Lines of Authority

The following personnel have the following roles and lines of authority.

Personnel Roles		Lines of Authority

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Communications

Radio—Channel __has been designated as the radio frequency for personnel on the HAZMAT team. All other onsite communication will use channels ___________. The HAZMAT team must remain in constant radio or voice communication and within sight of their buddy or team leader. Any failure of radio or voice communication requires an evaluation of whether personnel should leave the hazardous area (Exclusion Zone).

Telephone—Telephone communication will be established as soon as possible to the Fire Department to keep them abreast of what is happening onsite as soon as is practicable into the emergency.

Emergency Response Procedures

The senior emergency response official responding to an emergency will become the individual in charge of a site-specific Incident Command System (ICS). All emergency responders and their communications will be coordinated and controlled through the individual in charge of the ICS assisted by the senior official present for each employer. 

Note: The “senior official” at an emergency response is the most senior official on the site who has the responsibility for controlling the operations at the site. Initially it is the senior officer on the first-due piece of responding emergency apparatus to arrive on the incident scene. As more senior officers arrive (i.e. , battalion chief, fire chief, state law enforcement official, site coordinator, etc.) the position is passed up the line of authority which has been previously established.

The individual in charge of the ICS will identify, to the extent possible, all hazardous substances or conditions present and shall address as appropriate site analysis, use of engineering controls, maximum exposure limits, hazardous substance handling procedures, and use of any new technologies.

Based on the hazardous substances and/or conditions present, the individual in charge of the ICS will implement appropriate emergency operations, and assure that the personal protective equipment worn is appropriate for the hazards to be encountered. The personal protective equipment will be appropriate for fire fighting operations beyond the incipient stage for any incident.

Employees engaged in emergency response and exposed to hazardous substances presenting an inhalation hazard or potential inhalation hazard shall wear positive pressure self-contained breathing apparatus while engaged in emergency response, until such time that the individual in charge of the ICS determines through the use of air monitoring that a decreased level of respiratory protection will not result in hazardous exposures to employees.

The individual in charge of the ICS will  limit the number of emergency response personnel at the emergency site, in those areas of potential or actual exposure to incident or site hazards, to those who are actively performing emergency operations. However, operations in hazardous areas shall be performed using the buddy system in groups of two or more.

Back-up personnel will be standing by with equipment ready to provide assistance or rescue. Qualified basic life support personnel, as a minimum, shall also be standing by with medical equipment and transportation capability.

The individual in charge of the ICS shall designate a safety officer, who is knowledgeable in the operations being implemented at the emergency response site, with specific responsibility to identify and evaluate hazards and to provide direction with respect to the safety of operations for the emergency at hand.

When activities are judged by the safety officer to be an IDLH and/or to involve an imminent danger condition, the safety officer shall have the authority to alter, suspend, or terminate those activities. The safety official shall immediately inform the individual in charge of the ICS of any actions needed to be taken to correct these hazards at the emergency scene.

After emergency operations have terminated, the individual in charge of the ICS shall implement appropriate decontamination procedures.

When deemed necessary for meeting the tasks at hand, approved self-contained compressed air breathing apparatus may be used with approved cylinders from other approved self-contained compressed air breathing apparatus provided that such cylinders are of the same capacity and pressure rating. All compressed air cylinders used with self-contained breathing apparatus shall meet U.S. Department of Transportation and National Institute for Occupational Safety and Health criteria.

Emergency Recognition and Prevention

The following procedures will be followed for emergency recognition and prevention:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Safe Distances and Places of Refuge

The following procedures will be followed for identifying safe distances and places of refuge:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________

Site Security and Control

The following procedures will be followed for maintaining site security and control: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________________________________________________________________________________

Evacuation Routes and Procedures

The following procedures will be followed for identifying evacuation routes:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Emergency Alerting and Response Procedures

The following procedures will be followed for emergency alerting and response:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Critique of Response and Follow-Up

All emergency responses will be critiqued and corrective actions identified.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Exclusion Zone

A system will be set up prior to entry into the Exclusion Zone to signal when an immediate evacuation of the Exclusion Zone is required.

Alternate Evacuation Routes—Alternate evacuation routes will be designated for those situations where egress from the contaminated or involved area cannot occur safely.

Reentry—In all situations, where an outside emergency results in evacuation of the Exclusion Zone, personnel shall not reenter until:

- The condition resulting in the emergency has been corrected.

- The hazards have been reassessed and are manageable.

- The site safety plan has been reviewed and revised if necessary.

- HAZMAT personnel have been fully briefed on any changes.

Decontamination Procedures

We will follow the following decontamination procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

PPE and Emergency Equipment

The HAZMAT team will be provided with appropriate personal protective equipment to include chemical protective clothing, gas monitoring equipment, self-contained breathing apparatuses, and other equipment deemed appropriate for their assigned duties.

Levels of Protection

Chemical					PPE

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment (PPE) Failure: If any team member experiences a failure or alteration of PPE that adversely affects personal protection, they and their shall immediately leave the Exclusion Zone. Reentry shall not be permitted until the PPE has been repaired or replaced. If there is body contamination or known or suspected over exposure, then a medical evaluation of the team member must be made. In such cases, medical clearance is necessary before reentry to the Exclusion Zone is permitted.

Other Equipment Failure: If any other equipment or apparatus fails to operate properly then the team leader and incident commander must be notified. They will determine the effect of this failure on continuing operations onsite. If the failure affects the safety of personnel or prevents completion of the work, then all affected personnel shall leave the contaminated area until the situation is evaluated and appropriate actions taken.

Maintenance and Certification of all Personal Protective and Emergency Equipment and Apparatus:

All equipment must be maintained to ensure serviceability at all times. Complete records of PPE fit testing (if necessary), maintenance and certification for emergency equipment; and fire-fighting equipment shall be maintained by _______________.

Emergency Medical Treatment and First Aid

The following procedures will be followed for medical treatment and first aid:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Medical Surveillance

The HAZMAT team will receive a baseline physical examination before being assigned duties to ensure fitness. Any employee that exhibits signs or symptoms resulting from an exposure to hazardous substances at the workplace will be provided with medical consultation at no cost to them. (Refer to the example Medical Surveillance Program for an expanded program.)

29 CFR 1926.52—Occupational Noise Exposure

Scope/Application: This standard applies when employees are exposed to high noise levels.

Standard Requirements for 29 CFR 1926.52—Occupational Noise Exposure:

- Programs/Plans: Hearing Conservation Program

- Procedures/Practices: Administrative controls, engineering controls (Include in your Hearing Conservation Program)

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: None stated

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1926.52—Occupational Noise Exposure to ensure that all requirements are being met. The standard does not require a written Hearing Conservation Program. It has been put into writing as a best practice.

Hearing Conservation Program

All employees who are exposed at or above 85 decibels on the A scale (dBA) as an 8-hour time-weighted average (TWA) will be included in a hearing conservation program. Monitoring will be repeated whenever a change in production, process, equipment or control increases noise exposure to the extent that:

- Additional employees may be exposed at or above the action level.

- The attenuation provided by the hearing protectors being used by the employees may be rendered inadequate. A complete sound survey will be conducted every ________________.

For noise levels exceeding 90 dBA, mandatory hearing protection and engineering and administrative control measures will be utilized to reduce employee exposures.

Under the current OSHA standard, all workers exposed to 85 dBA as an 8-hour TWA are to be included in a hearing conservation program. It is important to note that for work shifts in excess of eight hours, the 85 dBA TWA is reduced. For example, exposures in excess of 83.4 dBA for a 10-hour work shift and exposures in excess of 82.1 dBA for a 12-hour work shift necessitate inclusion in a hearing conservation program.

Exposure Monitoring

An ongoing noise exposure evaluation program will be implemented when  information indicates that any employee’s exposure may equal or exceed an 8-hour time-weighted average of 85 dBA. Monitoring will be repeated whenever a change in production, process, equipment or control increases noise exposure to the extent that:

- Additional employees may be exposed at or above the action level.

- The attenuation provided by the hearing protectors being used by the employees may be rendered inadequate. A complete sound survey of the company is recommended at least every two years.

If it is determined through noise monitoring that employee are exposed at or above 85 dBA as an 8-hour time-weighted-average, then the employees must be provided with:

- Annual hearing tests.

- Annual hearing conservation training.

- Hearing protection (optional or mandatory).

- Notification of the results of the sound survey.

If the noise level exceeds 90 dBA, the standard requires that engineering and administrative control measures must be investigated, evaluated and, where feasible, utilized to reduce employee exposures. It is important that any measure investigated, utilized or evaluated to reduce the noise levels be documented. Hearing protection is mandatory for employees exposed at or above 90 dBA as an 8-hour TWA.

Engineering Controls to Reduce Noise

- Contact the equipment manufacturer for noise abatement suggestions.

- Purchase quieter equipment and perform routine maintenance to reduce noise levels.

- Reduction of noise levels at the source:

  - Substitution of materials (i.e., plastic for metal).

  - Dampening or reducing surface vibration.

  - Increasing the distance between the employee and the noise source.

  - Enclosures or sound insulation material.

  - Relocation of job tasks that may be completed out of high noise areas.

Administrative Controls to Reduce Noise

When engineering measures alone cannot reduce the noise below 90 dBA, administrative controls may be used to minimize employee exposure such as worker rotation from high noise levels to quiet areas or limiting the length of time an employee can work when rotation is not possible.

Hearing Conservation Training

Hearing conservation training will be conducted initially for all employees with noise exposures of 85 dBA TWA or greater. The goal of the training is to teach the employees about the hearing conservation program and the requirements of the standard.

The following topics will be included in the employee training of the hearing conservation program:

- The effects of noise on hearing:

- It can take many years to occur and the employee may not realize the gradual hearing loss. The loss occurs without any pain and cannot be corrected by any known medical or surgical treatment. A good rule of thumb to remember is that if you have to raise your voice at a distance of 3 feet, you are in an area with a possible hazardous noise level. Repeated unprotected noise exposure will cause a permanent hearing loss. The hearing conservation program has been established to ensure that if you ever have a standard threshold shift, your noise exposure can be lessened by using engineering or administrative controls or more effective hearing protection. Thus the problem can be controlled.

- The purpose of the hearing test and an explanation of the test procedures:

- The purpose of the annual hearing test is to monitor your hearing. Periodic audiometric testing provides an “early warning” of hearing disability. Factors such as noisy hobbies, ear infections, diseases of the ear, as well as general illness may also cause hearing loss. All employees’ hearing will be checked upon employment and once a year thereafter. You will be notified of any changes in your hearing. You cannot “fail” the test and you will not lose your job due to the results of the test.

- The purpose of hearing protectors, instructions on selection, advantages, disadvantages, fitting use and care:

- The proper use of hearing protection will prevent many types of hearing loss. You must wear the required hearing protection properly and regularly to reap the benefits of the protection. You should have already been fitted by ________________________________ for your size and type of earplug. If you have any problems with the fit of your hearing protectors, contact ____________________________________.

Hearing Tests

All employees who are exposed to a noise level of 85 dBA or above will be in the hearing conservation program and have their hearing checked ________________. All hearing test results and other required documentation will be maintained for _________________________________________.

It is the responsibility of _________________to ensure that contractors providing hearing tests to employees meet OSHA requirements. It will be the responsibility of___________________ to obtain and file the following documentation annually from the contractor providing the hearing tests:  current audiometer calibration check records, last audiometer check, both background noise level records and current audiometer technician certification. If a mobile van used for testing cannot provide these records, then another testing center will be used.

_______________will provide a file for the audiograms that is separate from other medical or personnel files. These files will be kept confidential.

Hearing Protection

The proper use of hearing protection will prevent many types of hearing loss. The employee must wear the required hearing protection properly and regularly to reap the benefits of the protection. If you have any problems with the fit of your hearing protectors, contact ______________________________.

How to Properly Wear Hearing Protectors

We will ensure the proper initial fitting and provide training in the use and care of all hearing provided to employees.

Employee hearing protection training will be provided:

- Initially

- ______________________(Annually during hearing conservation training).

- Each time an employee shows a standard threshold shift change in hearing.

To prevent a hearing loss, hearing protectors must be worn correctly and taken care of. Keep your ear plugs clean by washing them in warm soapy water and make sure they are completely dry before inserting them in your ears. Inspect your hearing protection regularly. If they become damaged, hard or worn out, replace them with a new pair.

Due to the fact that everyone has different size ear canals, each person will be fitted by ________________ to ensure they receive the right size. Each employee will be instructed on how to put their personal hearing protectors in and also be given the chance to practice in front of the hearing conservationist. Two different types of hearing protectors will be provided to employees. If there is a problem with the fit comfort of your hearing protectors, see________________ and you will be given a different type of protection.

Hearing Protection Life Span

The life of the hearing protector is dependent upon the care it is given. A sponge type hearing protector is disposable. But, as long as it is clean, it may be used until it no longer expands. How long the hearing protection lasts is unique to each employee depending on the chemical make-up of their body, as follows:

- Sponge plugs—one or two days

- Custom plugs—18-24 months

- Insert plugs—four- six months

- Muffs—replace when worn out

Recordkeeping

Records are an important part of any effective hearing conservation program. The information contained in these records reflects the quality and effectiveness of the company hearing conservation program.

A number of documents are required to be maintained under the OSHA hearing conservation standard once the action level has been initiated. Some of these records must be retained for specified periods as shown in the following records and documentation. It is also required that these records be provided, upon request, to employees, former employees, representatives designated by the individual employee, and the assistant secretary of labor.

The following records/documentation must be maintained:

- Sound survey (retain at least two years).

- Employee notification on the results of the sound survey.

- Posted OSHA hearing conservation standard.

Hearing testing (retain for at least the duration of employment)

- Annual

- Baseline

Audiogram Evaluation Requirements

- Standard threshold shift requirements

- Physician review

Audiometer

- Acoustic calibration check

- Exhaustive calibration check

- Biological calibration check

- Self-listening check

Booth (if testing is done on site)

- Background noise

Employee Notification of the Results of the Sound Survey

Employees will be notified of the results of the sound survey. Whether written or verbal notification is used, documentation must be maintained. It is recommended that the results of the survey be posted in a central location. Records will be kept for ____ years.

Hearing Testing

The two types of hearing tests are annual hearing tests and baseline hearing tests. The annual hearing testing is required for employees with 85 dBA TWA or higher noise exposures. Testing can be done any time during the day. Baseline hearing testing is done when an employee is initially hired. The baseline is extremely important because it is the reference against which future audiograms are compared to determine the extent to which an employee’s hearing is deteriorating. The standard requires that a baseline must be done within six months of hire.

If a mobile van is used, the baseline is required within one year of an employee’s first exposure at or above the action level. However, the employee must wear protection for any period exceeding six months until the baseline is obtained. (North Carolina Workers’ Compensation Law has a 90 working day grace period. If a company gives the baseline before the grace period is up then the company may be liable only for subsequent hearing loss.) It is required that the baseline audiogram be preceded by at least 14 hours without exposure to workplace noise. Time that hearing protection is worn may be included as part of the 14 hours without exposure to noise.

All employees will be notified that they need to avoid non-occupational noise exposure during the 14 hours prior the audiometric test. If it is not possible to avoid high noise levels prior to testing, the employee should wear hearing protection prior to the test to minimize the possibility of a temporary threshold.

A retest audiogram can be conducted to verify or confirm a standard threshold result. Times when a retest may be needed:

- The company may obtain a retest within 30 days of the original test and use the results to determine whether a persistent threshold shift has occurred.

- The audiologist or physician requests a retest to confirm test results.

- The test administrator requests a new test due to errors in the original test.

Audiometer

We will verify that the following checks are made:

- The functional operation of the audiometer must be checked before each day’s use by a person with stable hearing thresholds.

- Acoustic calibration check annually per the requirements of 29 CFR 1910.95, Appendix E—Acoustic Calibration of Audiometers of the standard.

- Exhaustive calibration checks at least every two years per ANSI S3.6—2004 American National Standard Specification for Audiometers.

Pulsed-tone and self-recording audiometers must meet the requirements of 29 CFR 1910.95, Appendix C—Audiometric Measuring Instruments of the standard.

Booth

The following must be done:

- Noise levels inside the booth must be checked with the ventilation fan on and off each time the booth location or environment changes.

- With no change in the environment or location, it is recommended that the background noise levels be checked every three years.

Recording Hearing Loss on the OSHA 300 Log

Hearing loss meeting the criteria in 29 CFR 1904.10—Recording Criteria for Cases Involving Occupational Hearing Loss must be recorded on the “Occupational Illness or Injury Form” in the hearing loss column.

Standard Threshold Shift

A standard threshold shift (STS) is a change in hearing threshold relative to the baseline audiogram of an average of 10 or more dBA at 2,000, 3,000 and 4,000 Hz. If a standard threshold shift has occurred, the employee must be informed in writing within 21 days of the determination. Employees must be trained in using hearing protectors and in care of the hearing protectors. If the employee is already using hearing protectors, they must be retrained and refitted. If necessary, hearing protectors can be changed to a different type.

Note: An example non-mandatory “Notification of “Quiet Period” Prior to Baseline Hearing Test” is located in Section 6—Forms.

29 CFR 1926.60—Methylenedianiline

29 CFR 1926.1118—Inorganic Arsenic

29 CFR 1910.1018—Inorganic Arsenic

29 CFR 1926.1148—Formaldehyde

29 CFR 1910.1048—Formaldehyde

Scope/Application: Under these health standards, a Housekeeping (Maintenance, Inspection) Program is required if employees are exposed to the applicable chemical. Note: 29 CFR 1926.1118—Inorganic Arsenic references 29 CFR 1910.1018—Inorganic Arsenic as they are identical for construction work. 29 CFR 1926.1148 references 29 CFR 1910.1048—Formaldehyde as they are identical for construction work.

The following standards are referenced in 29 CFR 1926.60—Methylenedianiline:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1910.38—Emergency Action Plan

- 29 CFR 1910.39—Fire Protection Plan

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records references 29 CFR 1910.1020—Access to Employee Exposure and Medical Records as they are identical to construction. It states that medical records and exposure records need to maintained in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records. The standard references having an Emergency Action Plan and Fire Prevention Plan that meets the requirements of 29 CFR 1910.38—Emergency Action Plan and 29 CFR 1910.39—Fire Protection Plan. 29 CFR 1926.60—Methylenedianiline requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.60—Methylenedianiline:

- Programs/Plans: Compliance Program,  Medical Surveillance Program, Training Program, Housekeeping Program, Employer-Funded Compensation Program, Employee Exposure Program

- Procedures/Practices: Exposure monitoring procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Routine, regular

- Documentation: Programs, medical records, exposure records, training records

The following standards are referenced in 29 CFR 1910.1018—Inorganic Arsenic:

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1018—Inorganic Arsenic requires that a Respirator Program be developed that meets the requirements of 29 CFR 1910.134—Respiratory Protection when employees are required to use a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also required that a Hazard Communication Program be developed that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1910.1018—Inorganic Arsenic:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, and Training Program required by 29 CFR 1910.1018—Inorganic Arsenic can be incorporated into one program.

The following standards are referenced in 29 CFR 1910.1048—Formaldehyde:

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1048—Formaldehyde requires that a respiratory protection program that meets the requirements of 29 CFR 1910.134—Respiratory Protection. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. 29 CFR 1910.1048—Formaldehyde requires a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication be implemented.

Standard Requirements for 29 CFR 1910.1048—Formaldehyde:

- Programs/Plans: Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, Employer-Funded  Compensation Program

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, and Employer-Funded  Compensation Program required 29 CFR 1910.1048—Formaldehyde can be incorporated into one program. Reference the example Compliance Program.

Example Program: The following example program should be modified to be site-specific to your organization. Based on the specific health hazard exposure, please reference 29 CFR 1926.60—Methylenedianiline, or 29 CFR 1910.1048—Formaldehyde to ensure that all requirements are being met.

Housekeeping (Inspection, Maintenance) Program

Housekeeping Procedures

The following housekeeping safety procedures apply to_____________________________:

- All surfaces will be maintained as free as practicable of accumulations of ___________________.

- Floors and other accessible surfaces contaminated with ___________________ may be cleaned using the following procedures:

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Housekeeping Schedule

Housekeeping will be conducted at the following locations and subsequent frequency:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Cleaning of Dust Collection and Ventilation Equipment

Cleaning of equipment will be conducted at the following locations and subsequent frequency:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The last cleaning and inspection will be annotated on each piece of equipment.

Maintenance of Dust Collection Ventilation Equipment

Maintenance of equipment will be conducted at the following locations and subsequent frequency:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Inspection Procedures

All areas will be inspected for housekeeping and cleaning on the following schedule:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Corrective Action

When an inspection identifies hazards, the following procedures will be followed to ensure corrective action is initiated:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Housekeeping Practices

The following housekeeping practices will be followed:

- All sweepings, solid or liquid wastes, refuse, and garbage shall be removed in such a manner as to avoid creating a menace to health and as often as necessary or appropriate to maintain the place of employment in a sanitary condition.

- Keep work areas and storage facilities clean, neat and orderly.

- Keep all aisles, stairways, passageways, exits and access ways to buildings free from obstructions at all times. Remove all grease and water spills from traffic areas immediately.

- It is everyone’s responsibility to pick up and clean up.

- Do not place supplies on top of lockers, hampers, boxes or other moveable containers at a height where they are not visible from the floor.

- When piling materials for storage, make sure the base is firm and level. Cross tie each layer. Keep piles level and do not stack piles too high. Keep aisles clear and maintain adequate space to work in them.

- When storing materials suspended from racks or hooks, secure them from falling and route walkways a safe distance from the surface beneath.

- When storing materials overhead on balconies or mezzanines, provide adequate toeboards to keep objects from rolling over the edge.

- Do not let materials and supplies that are no longer needed accumulate. If it is not needed, get rid of it.

- Tools, equipment, machinery and work areas are to be maintained in a clean and safe manner. Defects and unsafe conditions must be reported to your supervisor.

- Return tools and equipment to their proper place when not in use.

- Lay out extension cords, air hoses, water hoses, ladders, pipes, tools, etc., in such a way as to minimize tripping hazards or obstructions to traffic.

- Clean up spills immediately to avoid hazards. In the event the removal cannot be done immediately, the area must be appropriately guarded, signed or roped off.

- Nail points, ends of loop or tie wires, etc., must not be left exposed when packing and unpacking boxes, crates, barrels, etc. Nails are to be removed as soon as lumber is disassembled.

- Store sharp or pointed articles to keep co-workers from coming in contact with the sharp edges or points.

- Dispose of all packing materials properly to reduce the chance of fires.

- Empty wastebaskets daily into approved containers.

- Put oily and greasy rags in a metal container for that purpose and dispose of properly and frequently.

- Maintain adequate lighting in obscure areas for the protection of both employees and the public. Keep landscaping well-manicured to minimize hiding places.

- Employees are not to handle food, tobacco, etc., with residue from any lead-based product (such as leaded gasoline) on their hands. Consumption of food and beverages is prohibited in areas where hazardous substances are stored or used.

- Employees whose hands are cut or scratched are not to handle any lead-based products.

- All switches or drives on machinery must be shut down and locked out before cleaning, greasing, oiling, or making adjustments or repairs.

- Circuit breaker boxes and fuse boxes should be kept closed at all times. It is a requirement to maintain a minimum clearance of 36 inches in front of them.

- Flammables (kerosene, gasoline) and combustible materials (coats, rags, cleaning supplies) should not be stored in mechanical rooms or around electrical boxes.

- Extension cords should not be run across aisles or through oil or water. Inspect cords for kinks, worn insulation and exposed strands of wire before use.

- When fuses blow continually, it is an indication of an overload or short. Report this condition to your safety coordinator immediately.

- Keep electrical equipment properly maintained and free of grease and dirt.

- To prevent static sparks, keep drive belts dressed. Also check belts for proper tension to prevent overloading motors.

- Maintain fire inspections and other fire prevention measures.

29 CFR 1926.62—Lead

Scope/Application: This standard applies when employees are exposed to lead.

The following standards are referenced in 29 CFR 1926.62—Lead:

- 29 CFR 1926.51—Sanitation

- 29 CFR 1910.133—Eye and Face Protection

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.62—Lead  requires that the employer comply with the requirements of 29 CFR 1926.51—Sanitation for change and shower areas. It also requires medical records and exposure records to be maintained in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records. requires eye and face protection to meet the requirements of 29 CFR 1910.133—Eye and Face Protection. The standard requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1926.62—Lead also requires compliance with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.62—Lead:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program, and Work Practice Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program, and Work Practice Program required by 29 CFR 1926.62—Lead can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.62—Lead to ensure that all requirements are begin met.

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1926.62—Lead to ensure that all the standard requirements are being met.

Lead—Work Practice Program

Protective Work Clothing and Equipment Procedures 

If you are exposed to lead above the PEL as an 8-hour TWA, without regard to your use of a respirator, or if you are exposed to lead compounds such as lead arsenate or lead azide which can cause skin and eye irritation, we will provide you with protective work clothing and equipment appropriate for the hazard.

Appropriate protective work clothing and equipment may include coveralls or similar full-body work clothing, gloves, hats, shoes or disposable shoe coverlets, and face shields or vented goggles.

With respect to protective clothing and equipment, where appropriate, the following procedures should be observed prior to beginning work:

- Change into work clothing and shoe covers in the clean section of the designated changing areas.

- Use work garments of appropriate protective gear, including respirators before entering the work area.

- Store any clothing not worn under protective clothing in the designated changing area.

Employees will follow these procedures upon leaving the work area:

- HEPA vacuum heavily contaminated protective work clothing while it is still being worn. At no time may lead be removed from protective clothing by any means which result in uncontrolled dispersal of lead into the air.

- Remove shoe covers and leave them in the work area.

- Remove protective clothing and gear in the dirty area of the designated changing area. Remove protective coveralls by carefully rolling down the garment to reduce exposure to dust.

- Remove respirators last.

- Wash hands and face.

Employees will follow these procedures upon finishing work for the day (in addition to procedures described above):

- Where applicable, place disposal coveralls and shoe covers with the abatement waste.

- Contaminated clothing which is to be cleaned, laundered or disposed of must be placed in closed containers in the change room.

- Clean protective gear, including respirators, according to standard procedures.

- Wash hands and face again. If showers are available, take a shower and wash hair. If shower facilities are not available at the work site, shower immediately at home and wash hair.

Housekeeping Procedures

All surfaces are to maintain as free as practicable of accumulations of lead dust. Vacuuming is the preferred method, and the use of compressed air to clean floors and other surfaces is generally prohibited unless removal with compressed air is done in conjunction with ventilation systems designed to contain dispersal of the lead dust.

Dry or wet sweeping, shoveling, or brushing may not be used except where vacuuming or other equally effective methods have been tried and do not work. Vacuums must be equipped with a high-efficiency particulate air (HEPA) filter and emptied in a manner which minimizes the reentry of lead into the workplace.

These procedures will be conducted on the following schedule:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Hygiene Practices and Procedures

Hand washing facilities are provided where occupational exposure to lead occurs. In addition, change areas, showers (where feasible), and lunchrooms or eating areas are made available to employees exposed to lead above the PEL. To minimize exposure to lead, employees are only allowed to eat, drink, smoke and apply cosmetics in the following areas:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Change rooms are equipped with separate storage facilities for your protective clothing and equipment and street clothes to avoid cross-contamination. After showering, no required protective clothing or equipment worn during the shift may be worn home.

It is important that contaminated clothing or equipment be removed in change areas and not be worn home or you will extend your exposure and expose your family since lead from your clothing can accumulate in your house, car, etc. 

Lunchrooms or eating areas may not be entered with protective clothing or equipment unless surface dust has been removed by vacuuming, downdraft booth, or other cleaning method. Employeees exposed above the PEL must wash both their hands and faces prior to eating, drinking, smoking or applying cosmetics. 

All of the facilities and hygiene practices just discussed are essential to minimize additional sources of lead absorption from inhalation or ingestion of lead that may accumulate on you, your clothes, or your possessions. Strict compliance with these provisions can virtually eliminate several sources of lead exposure which significantly contribute to excessive lead absorption.

29 CFR 1926.103—Respiratory Protection

29 CFR 1910.134—Respiratory Protection

Scope/Application: This standard applies when employees are exposed to contaminated breathing air such as dusts, fogs, fumes, mists, gases, smokes, sprays, or vapors. Note: 29 CFR 1926.103—Respiratory Protection references 29 CFR 1910.134—Respiratory Protection as they are identical for construction.

The following standard is referenced in 29 CFR 1910.134—Respiratory Protection:

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

Note: 29 CFR 1910.134—Respiratory Protection requires records to be maintained per 29 CFR 1910.1020—Access to Employee Exposure and Medical Records.

The following construction standards reference the respiratory protection standard (29 CFR 1926.103 or 29 CFR 1910.134) and/or require a respirator program.

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.62—Lead

- 29 CFR 1926.65—HAZWOPER

- 29 CFR 1926.1101—Asbestos

- 29 CFR 1926.1103—13 Carcinogens

- 29 CFR 1926.1117—Vinyl Chloride

- 29 CFR 1926.1118—Inorganic Arsenic

- 29 CFR 1926.1124—Beryllium

- 29 CFR 1926.1126—Chromium (VI)

- 29 CFR 1926.1127—Cadmium

- 29 CFR 1926.1128—Benzene

- 29 CFR 1926.1144—1,2—dibromo—3—chloropropane

- 29 CFR 1926.1145—Acrylonitrile

- 29 CFR 1926.1147—Ethylene Oxide

- 29 CFR 1926.1148—Formaldehyde

- 29 CFR 1926.1152—Methylene Chloride

- 29 CFR 1926.1153—Respirable Crystalline Silica

Note: 29 CFR 1926.65—HAZWOPER references meeting the requirements of 29 CFR 1910.134—Respiratory Protection whenever respirators are being used. 29 CFR 1910.134—Respiratory Protection requires that records be kept per the requirements of 29 CFR 1910.1020—Access to Employee Exposure and Medical Records (Identical to 29 CFR 1926.33). Most health standards listed in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances along with  29 CFR 1926.60—Methylenedianiline and 29 CFR 1926.62—Lead requires a Respirator Program when there is employee exposure to the health hazard.

Standard Requirements for 29 CFR 1910.134—Respiratory Protection:

- Programs/Plans: Respiratory Protection Program

- Procedures/Practices: Work controls, monitoring procedures (Include in your Respirator Program)

- Training: Initially, annually, changes

- Inspections: Initially, after changes

- Documentation: Program, inspections, fit tests, medical records

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1910.134—Respiratory Protection to ensure that all the standard requirements are being met.

Respiratory Protection Program—Respirator Program

General

In the control of those occupational diseases caused by breathing air contaminated with harmful dusts, fogs, fumes, mists, gases, smokes, sprays or vapors, the primary objective will be to prevent atmospheric contamination. This will be accomplished as far as feasible by accepted engineering control measures (for example, enclosure or confinement of the operation, general and local ventilation, and substitution of less toxic materials). When effective engineering controls are not feasible, or while they are being instituted, appropriate respirators will be used.

Responsibilities

All employees must follow the requirements of the respiratory protection program.

- Management

- Implement the requirements of this program.

- Provide a selection of respirators as required.

- Enforce all provisions of this program.

- Appoint an individual to administer the respiratory protection program.

Program Administrator

- Review sanitation/storage procedures.

- Ensure respirators are properly stored, inspected and maintained.

- Monitor compliance for this program.

- Provide training for affected employees.

- Review compliance and ensure monthly inspection of all respirators.

- Provide respirator fit testing.

Designated Occupational Health Care Provider (HCP)

- Conduct medical aspects of program.

Program Administrator

______________________________will be designated as the program administrator who is qualified by appropriate training or experience that is commensurate with the complexity of the program to administer or oversee the respiratory protection program and conduct the required evaluations of program effectiveness.

Voluntary Use of Respirators

An employer may provide respirators at the request of employees or permit employees to use their own respirators, if the employer determines that such respirator use will not in itself create a hazard. If the employer determines that any voluntary respirator use is permissible, they shall provide the respirator users with the information contained in Appendix D—Information for Employees Using Respirators When Not Required Under the Standard. The employer will also ensure that any employee using a respirator voluntarily is medically able to use that respirator, and that the respirator is cleaned, stored, and maintained so that its use does not present a health hazard to the user.

Exception: Employers are not required to include in a written respiratory protection program those employees whose only use of respirators involves the voluntary use of filtering facepieces (dust masks).

Program Evaluation

Evaluations of the workplace are necessary to ensure that the written respiratory protection program is being properly implemented. This includes consulting with employees to ensure that they are using the respirators properly. Evaluations will be conducted as necessary to ensure that the provisions of the current written program are being effectively implemented and that it continues to be effective.

Program evaluation will include discussions with employees required to use respirators to assess the employees’ views on program effectiveness and to identify any problems. Any problems that are identified during this assessment will be corrected. Factors to be assessed include, but are not limited to:

- Respirator fit (including the ability to use the respirator without interfering with effective workplace performance);

- Appropriate respirator selection for the hazards to which the employee is exposed;

- Proper respirator use under the workplace conditions the employee encounters; and

- Proper respirator maintenance.

Recordkeeping

The company will retain written information regarding medical evaluations, fit testing, and the respirator program. This information will facilitate employee involvement in the respirator program, assist the company in auditing the adequacy of the program, and provide a record for compliance determinations by OSHA.

Training and Information

Effective training for employees who are required to use respirators is essential. The training must be comprehensive, understandable, and recur annually, and more often if necessary. Training will be provided prior to requiring the employee to use a respirator in the workplace. The training will ensure that each employee can demonstrate knowledge of at least the following:

- Why the respirator is necessary and how improper fit, usage, or maintenance can compromise the protective effect of the respirator.

- Limitations and capabilities of the respirator.

- How to use the respirator effectively in emergency situations, including situations in which the respirator malfunctions.

- How to inspect, put on and remove, use, and check the seals of the respirator.

- What the procedures are for maintenance and storage of the respirator.

- How to recognize medical signs and symptoms that may limit or prevent the effective use of respirators.

- The general requirements of this program.

Retraining will be conducted annually and when:

- Changes in the workplace or the type of respirator render previous training obsolete.

- Inadequacies in the employee’s knowledge or use of the respirator indicate that the employee has not retained the requisite understanding or skill.

- Other situation arises in which retraining appears necessary to ensure safe respirator use.

Training will be conducted by instructors who have adequate knowledge of OSHA training requirements. Training is divided into the following sections:

Classroom Instruction

- Overview of the company respiratory protection program and OSHA Standard.

- Respiratory protection safety procedures.

- Respirator selection.

- Respirator operation and use.

- Why the respirator is necessary.

- How improper fit, usage or maintenance can compromise the protective effect.

- Limitations and capabilities of the respirator.

- How to use the respirator effectively in emergency situations, including respirator malfunctions.

- How to inspect, put on and remove, use, and check the seals of the respirator.

- What the procedures are for maintenance and storage of the respirator.

- How to recognize medical signs and symptoms that may limit or prevent the effective use of respirators.

- Change out schedule and procedure for air-purifying respirators (APR).

Fit Testing

- For each type and model of respirator used.

Hands-on Respirator Training

- Respirator inspection.

- Respirator cleaning and sanitizing.

- Recordkeeping.

- Respirator storage.

- Respirator fit check.

- Emergencies.

Basic Respiratory Protection Safety Procedures

- Only authorized and trained employees may use respirators. Those employees may use only the respirator that they have been trained on and properly fitted to use.

- Only physically qualified employees may be trained and authorized to use respirators. A preauthorization and annual certification by a qualified physician will be required and maintained. Any changes in an employee’s health or physical characteristics will be reported to the program administrator and will be evaluated by a qualified physician.

- Only the proper prescribed respirator or SCBA may be used for the job or work environment. Air-purifying respirators may be worn in work environments when oxygen levels are 19.5 percent to 23.5 percent and when the appropriate cartridge (as determined by the manufacturer and approved by NIOSH) for the known hazardous substance is used. SCBAs will be worn in oxygen deficient and oxygen rich environments (below 19.5 percent or above 23.5 percent oxygen).

- Employees working in environments where a sudden release of a hazardous substance is likely will wear an appropriate respirator for that hazardous substance. (Example: Employees working in an ammonia compressor room will have an ammonia APR respirator on their person.)

- Only SCBAs will be used in oxygen deficient environments, environments with an unknown hazardous substance or unknown quantity of a known hazardous substance, or any environment that is determined “immediately dangerous to life or health” (IDLH).

- Employees with respirators loaned on permanent checkout will be responsible for the sanitation, proper storage and security. Respirators damaged by normal wear will be repaired or replaced by the company when returned.

- The last employee using a respirator or SCBA that is available for general use will be responsible for proper storage and sanitation. Monthly and after each use, all respirators will be inspected with documentation to ensure its availability for use.

- All respirators will be located in a clean, convenient and sanitary location.

- In the event that employees must enter a confined space; work in environments with hazardous substances that would be dangerous to life or health should an RPE (respiratory protection equipment) fail (a SCBA is required in this environment); and/or conduct a HazMat entry, a “buddy system” detail will be used with a “safety watchman” with constant voice, visual or signal line communication. Employees will follow the established emergency response program and/or confined space entry program when applicable.

- Management will establish and maintain surveillance of jobs and work place conditions and degree of employee exposure or stress to maintain the proper procedures and to provide the necessary RPE.

- Management will establish and maintain safe operation procedures for the safe use of RPE with strict enforcement and disciplinary action for failure to follow all general and specific safety rules. Standard operation procedures for general RPE use will be maintained as an attachment to the respiratory protection program and standard operation procedures for RPE use under emergency response situations will be maintained as an attachment to the emergency response program.

Selection of Respirators

We have evaluated the respiratory hazards in each workplace, has identified relevant workplace and user factors, and has based respirator selection on these factors. Also included are estimates of employee exposures to respiratory hazards and an identification of the contaminant’s chemical state and physical form. This selection has included appropriate protective respirators for use in IDLH atmospheres and has limited the selection and use of air-purifying respirators. All selected respirators are NIOSH certified.

Filter Classifications—These classifications are marked on the filter or filter package

N-Series: Not Oil Resistant

- Approved for non-oil particulate contaminants.

- Examples: dust, fumes, mists not containing oil.

Used with the following air contaminants:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

R-Series: Oil Resistant

- Approved for all particulate contaminants, including those containing oil.

- Examples: dusts, mists, fumes.

- Time restriction of 8 hours when oils are present.

Used with the following air contaminants:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

P-Series: Oil Proof

- Approved for all particulate contaminants including those containing oil.

- Examples: dust, fumes, mists.

- See manufacturer’s time use restrictions on packaging.

Used with the following air contaminants:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Respirators for IDLH Atmospheres

The following respirators will be used in IDLH atmospheres:

- A full facepiece pressure demand SCBA certified by NIOSH for a minimum service life of 30 minutes, or

- A combination full facepiece pressure demand supplied-air respirator (SAR) with auxiliary self-contained air supply.

- Respirators provided only for escape from IDLH atmospheres shall be NIOSH-certified for escape from the atmosphere in which they will be used.

Respirators for Atmospheres That Are Not IDLH

- The respirators selected must be adequate to protect the health of the employee and ensure compliance with all other OSHA statutory and regulatory requirements under routine and reasonably foreseeable emergency situations. The respirator selected must be appropriate for the chemical state and physical form of the contaminant.

Filters, Canisters and Cartridges

Identification of Filters and Cartridges—All filters and cartridges will be labeled and color-coded with the NIOSH approval label. The user will ensure that the label is not removed and remains legible. A change out schedule for filters and cartridge has been developed to ensure these elements of the respirators remain effective.

Respirator Filter and Canister Replacement—An important part of the respiratory protection program includes identifying the useful life of cartridges and filters used on air-purifying respirators. Each filter and cartridge must be equipped with an end-of-service-life indicator (ESLI) certified by NIOSH for the contaminant.

If there is no ESLI appropriate for the conditions, a change schedule for canisters and cartridges based on objective information or data that will ensure that canisters and cartridges are changed before the end of their service life will be implemented.

Filter and Cartridge Change Schedule—Stock of spare filers and cartridges will be maintained to allow immediate change when required or desired by the employee.

Cartridges will be changed based on the most limiting factor below:

- Prior to expiration date.

- Manufactures recommendations for the specific use and environment.

- After each use.

- When requested by employee.

- When contaminant odor is detected.

- When restriction to air flow has occurred as evidenced by increase effort by user to breathe normally.

Cartridges will remain in their original sealed packages until needed for immediate use.

Filters will be changed on the most limiting factor below:

- Prior to expiration date.

- Manufacturer’s recommendations for the specific use and environment.

- When requested by employee.

- When contaminant odor is detected.

- When restriction to air flow has occurred as evidenced by increase effort by user to breathe normally.

- When discoloring of the filter media is evident.

Filters will remain in their original sealed package until needed for immediate use.

Respiratory Protection Schedule

The company maintains a respiratory protection schedule by job and working condition. This schedule is provided to each authorized and trained employee. The schedule provides the following information:

- Job/working conditions

- Work location

- Hazards present

- Type of respirator or SCBA required

- Type of filter/canister required

- Location of respirator or SCBA

- Filter/cartridge change out schedule

The schedule will be reviewed and updated at least annually and whenever any changes are made in the work environments, machinery, equipment or processes or if respirator different respirator models are introduced or existing models are removed.

Permanent respirator schedule assignments are:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Physical and Medical Qualifications

Records of medical evaluations must be retained and made available in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records.

Medical Evaluation Required—Using a respirator may place a physiological burden on employees that varies with the type of respirator worn, the job and workplace conditions in which the respirator is used, and the medical status of the employee. The company provides a medical evaluation through an HCP to determine the employee’s ability to use a respirator, before the employee is fit tested or required to use the respirator in the workplace.

Medical Evaluation Procedures—The employee will be provided a medical questionnaire (Refer to Section 6—Forms), which is sent confidentially to the designated HCP for review, and when determined by the HCP, will receive a medical examination.

Follow-Up Medical Examination—The company will ensure that a follow-up medical examination is provided for an employee who gives a positive response to any question among questions in Part B of the questionnaire or whose initial medical examination demonstrates the need for a follow-up medical examination. The follow-up medical examination will include any medical tests, consultations or diagnostic procedures that the physician deems necessary to make a final determination.

Administration of the Medical Questionnaire and Examinations—The medical questionnaire and examinations will be administered confidentially during the employee’s normal working hours or at a time and place convenient to the employee. The medical questionnaire will be administered in a manner that ensures that the employee understands its content. The company will provide the employee with an opportunity to discuss the questionnaire and examination results with the physician.

Supplemental Information for the Physician—The following information must be provided to the physician before the physician makes a recommendation concerning an employee’s ability to use a respirator.

- The type and weight of the respirator to be used by the employee.

- The duration and frequency of respirator use (including use for rescue and escape).

- The expected physical work effort.

- Additional protective clothing and equipment to be worn.

- Temperature and humidity extremes that may be encountered.

- Any supplemental information provided previously to the physician regarding an employee need not be provided for a subsequent medical evaluation if the information and the physician remain the same.

The company has provided the physician with a copy of the written respiratory protection program and a copy of the Respiratory Protection Standard—29 CFR 1910.134 or 29 CFR 1926.103.

Medical Determination—In determining the employee’s ability to use a respirator, the company will obtain a written recommendation regarding the employee’s ability to use the respirator from the physician. The recommendation will provide only the following information:

- Any limitations on respirator use related to the medical condition of the employee, or relating to the workplace conditions in which the respirator will be used, including whether or not the employee is medically able to use the respirator.

- The need, if any, for follow-up medical evaluations.

- A statement that the physician has provided the employee with a copy of the physician’s written recommendation.

- If the respirator is a negative pressure respirator and the physician finds a medical condition that may place the employee’s health at increased risk if the respirator is used, the company will provide an APR if the physician’s medical evaluation finds that the employee can use such a respirator. If a subsequent medical evaluation finds that the employee is medically able to use a negative pressure respirator, then the company is no longer required to provide an APR.

Additional Medical Evaluations—At a minimum, the company will provide additional medical evaluations that comply with the requirements of this section if:

- An employee reports medical signs or symptoms that are related to ability to use a respirator.

- A physician, supervisor or the respirator program administrator informs the company that an employee may be re-evaluated.

- Information from the respiratory protection program, including observations made during fit testing and program evaluation, indicates a need for employee reevaluation.

- A change occurs in workplace conditions (physical work effort, protective clothing, temperature, etc.) that may result in a substantial increase in the physiological burden placed on an employee.

Respirator Fit Testing

Before an employee is required to use any respirator with a negative or positive pressure tight-fitting facepiece, the employee must be fit tested with the same make, model, style and size of respirator that will be used. The company will ensure that an employee using a tight-fitting facepiece respirator is fit tested prior to initial use of the respirator, whenever a different respirator facepiece (size, style, model or make) is used, and at least annually thereafter.

The company has established a record of the qualitative and quantitative fit tests administered to employees including:

- The name or identification of the employee tested.

- Type of fit test performed.

- Specific make, model, style and size of respirator tested.

- Date of test.

- The pass/fail results for QLFTs or the fit factor and strip chart recording or other recording of the test results for QNFTs.

Additional fit tests will be conducted whenever the employee reports or the company, physician, supervisor or program administrator makes visual observations of changes in the employee’s physical condition that could affect respirator fit. Such conditions include, but are not limited to, facial scarring, dental changes, cosmetic surgery or an obvious change in body weight.

If after passing a QLFT or QNFT, the employee notifies the company, program administrator, supervisor or physician that the fit of the respirator is unacceptable, the employee will be given a reasonable opportunity to select a different respirator facepiece and to be retested.

Types of Fit Tests—The fit test shall be administered using an OSHA-accepted QLFT or QNFT protocol. The OSHA-accepted QLFT and QNFT protocols and procedures are contained in Appendix A of the OSHA Respiratory Protection Standard, 29 CFR 1910.134.

- QLFT—may only be used to fit test negative pressure air-purifying respirators that must achieve a fit factor of 100 or less.

- If the fit factor, as determined through an OSHA-accepted QNFT protocol, is equal to or greater than 100 for tight-fitting half facepieces, or equal to or greater than 500 for tight-fitting full facepieces, the QNFT has been passed with that respirator.

- Fit testing of tight-fitting—atmosphere-supplying respirators and tight-fitting powered air-purifying respirators will be accomplished by performing quantitative or qualitative fit testing in the negative pressure mode, regardless of the mode of operation (negative or positive pressure) that is used for respiratory protection.

- Qualitative fit testing—of these respirators will be accomplished by temporarily converting the respirator user’s actual facepiece into a negative pressure respirator with appropriate filters or by using an identical negative pressure air-purifying respirator facepiece with the same sealing surfaces as a surrogate for the atmosphere-supplying or powered air-purifying respirator facepiece.

- Quantitative fit testing—of these respirators will be accomplished by modifying the facepiece to allow sampling inside the facepiece in the breathing zone of the user, midway between the nose and mouth. This requirement will be accomplished by installing a permanent sampling probe onto a surrogate facepiece or by using a sampling adapter designed to temporarily provide a means of sampling air from inside the facepiece.

- Any modifications to the respirator facepiece for fit testing will be completely removed and the facepiece restored to NIOSH approved configuration before that facepiece can be used in the workplace.

Fit test records will be retained for respirator users until the next fit test is administered. Written materials required to be retained will be made available upon request to affected employees.

Respirator Operation and Use

Respirators will only be used following the respiratory protection safety procedures established in this program. The operations and use manuals for each type of respirator will be maintained by the program administrator and be available to all qualified users.

Surveillance by the direct supervisor will be maintained of work area conditions and degree of employee exposure or stress. When there is a change in work area conditions or degree of employee exposure or stress that may affect respirator effectiveness, the company will re-evaluate the continued effectiveness of the respirator.

For continued protection of respirator users, the following general use rules apply:

- Users will not remove respirators while in a hazardous environment.

- Respirators are to be stored in sealed containers out of harmful atmospheres.

- Store respirators away from heat and moisture.

- Store respirators such that the sealing area does not become distorted or warped.

- Store respirator such that the facepiece is protected.

Facepiece Seal Protection—The company does not permit respirators with tight-fitting facepieces to be worn by employees who have:

- Facial hair that comes between the sealing surface of the facepiece and the face or that interferes with valve function.

- Any condition that interferes with the face-to-facepiece seal or valve function.

If an employee wears corrective glasses or goggles or other personal protective equipment, the company will ensure that such equipment is worn in a manner that does not interfere with the seal of the facepiece to the face of the user.

Continuing Effectiveness of Respirators—The company will ensure that employees leave the respirator use area:

- To wash their faces and respirator facepieces as necessary to prevent eye or skin irritation associated with respirator use.

- If they detect vapor or gas breakthrough, changes in breathing resistance, or leakage of the facepiece.

- To replace the respirator or the filter, cartridge or canister elements.

If the employee detects vapor or gas breakthrough, changes in breathing resistance or leakage of the facepiece, the company will replace or repair the respirator before allowing the employee to return to the work area.

Procedures for IDLH atmospheres

For all IDLH atmospheres, the company will ensure that:

- One employee or, when needed, more than one employee is located outside the IDLH atmosphere.

- Visual, voice or signal line communication is maintained between the employees in the IDLH atmosphere and the employees located outside the IDLH atmosphere.

- The employees located outside the IDLH atmosphere are trained and equipped to provide effective emergency rescue.

- The employer or designee is notified before the employees located outside the IDLH atmosphere enter the IDLH atmosphere to provide emergency rescue.

- The employer or designee authorized to do so by the company, once notified, provides necessary assistance appropriate to the situation.

Employees located outside the IDLH atmospheres will be equipped with:

- Pressure demand or other positive pressure SCBAs, or a pressure demand or other positive pressure supplied-air respirator with auxiliary SCBA; and either

- Appropriate retrieval equipment for removing the employees who enters these hazardous atmospheres where retrieval equipment would contribute to the rescue of the employees and would not increase the overall risk resulting from entry; or

- Equivalent means for rescue where retrieval equipment is not required.

Cleaning and Disinfecting

The company will provide each respirator user with a respirator that is clean, sanitary and in good working order. The company will ensure that respirators are cleaned and disinfected using the standard operating procedure for cleaning and disinfecting.

The respirators will be cleaned and disinfected when:

- Respirators issued for the exclusive use of an employee will be cleaned and disinfected as often as necessary to be maintained in a sanitary condition.

- Respirators issued to more than one employee will be cleaned and disinfected before being worn by different individuals.

- Respirators maintained for emergency use will be cleaned and disinfected after each use.

- Respirators used in fit testing and training will be cleaned and disinfected after each use.

Cleaning and storage of respirators assigned to specific employees is the responsibility of that employee.

Respirator Inspection

All respirators/SCBAs will be inspected. Should any defects be noted, the respirator/SCBA will be taken to the program administrator. Damaged respirators will be repaired or replaced. The inspection of respirators will be the responsibility of the employee.

Respirators will be inspected as follows:

- All respirators used in routine situations will be inspected before each use and during cleaning.

- All respirators maintained for use in emergency situations will be inspected at least monthly and in accordance with the manufacturer’s recommendations, and will be checked for proper function before and after each use.

- Emergency escape-only respirators will be inspected before being carried into the workplace for use.

Respirator inspections include the following:

- A check of respirator function, tightness of connections, and the condition of the various parts including, but not limited to, the facepiece, head straps, valves, connecting tube, and cartridges, canisters or filters.

- Check of elastomeric parts for pliability and signs of deterioration.

- Self-contained breathing apparatus will be inspected monthly. Air and oxygen cylinders will be maintained in a fully charged state and will be recharged when the pressure falls to 90 percent of the manufacturer’s recommended pressure level. The company will determine that the regulator and warning devices function properly

For emergency use respirators, the additional requirements apply:

- Certify the respirator by documenting the date the inspection was performed, the name (or signature) of the person who made the inspection, the findings, required remedial action, and a serial number or other means of identifying the inspected respirator.

- Provide this information on a tag or label that is attached to the storage compartment for the respirator, is kept with the respirator, or is included in inspection reports stored as paper or electronic files. This information will be maintained until replaced following a subsequent certification.

Respirator Storage

Respirators are to be stored as follows:

- All respirators will be stored to protect them from damage, contamination, dust, sunlight, extreme temperatures, excessive moisture and damaging chemicals, and they will be packed or stored to prevent deformation of the facepiece and exhalation valve.

- Emergency respirators will be:

  - Kept accessible to the work area.

  - Stored in compartments or in covers that are clearly marked as containing emergency respirators.

  - Stored in accordance with any applicable manufacturer’s instructions.

Repair of Respirators

Respirators that fail an inspection or are otherwise found to be defective will be removed from service to be discarded, repaired or adjusted in accordance with the following procedures:

- Repairs or adjustments to respirators are to be made only by persons appropriately trained to perform such operations and will use only the respirator manufacturer’s NIOSH-approved parts designed for the respirator.

- Repairs shall be made according to the manufacturer’s recommendations and specifications for the type and extent of repairs to be performed.

- Reducing and admission valves, regulators, and alarms will be adjusted or repaired only by the manufacturer or a technician trained by the manufacturer.

Breathing Air Quality and Use

The company will ensure that compressed air, compressed oxygen, liquid air and liquid oxygen used for respiration accords with the following specifications:

- Compressed and liquid oxygen must meet the United States Pharmacopoeia requirements for medical or breathing oxygen.

- Compressed breathing air must meet at least the requirements for Grade D breathing air described in ANSI/Compressed Gas Association Commodity Specification for Air, G-7.1-1989, to include:

  - Oxygen content (v/v) of 19.5–23.5 percent.

  - Hydrocarbon (condensed) content of 5 milligrams per cubic meter of air or less.

  - Carbon monoxide (CO) content of 10 ppm or less.

  - Carbon dioxide content of 1,000 ppm or less.

  - Lack of noticeable odor.

- Compressed oxygen will not be used in atmosphere-supplying respirators that have previously used compressed air.

- Oxygen concentrations greater than 23.5 percent are used only in equipment designed for oxygen service or distribution.

- Cylinders used to supply breathing air to respirators meet the following requirements:

  - Cylinders are tested and maintained as prescribed in the Shipping Container Specification Regulations of the Department of Transportation (49 CFR part 173 and part 178—Transportation).

  - Cylinders of purchased breathing air have a certificate of analysis from the supplier that the breathing air meets the requirements for Grade D breathing air.

  - Moisture content in breathing air cylinders does not exceed a dew point of −50 degrees F (−45.6 degrees C) at 1 atmosphere pressure.

  - Breathing air couplings are incompatible with outlets for nonrespirable worksite air or other gas systems. No asphyxiating substance will be introduced into breathing air lines.

  - Breathing gas containers will be marked in accordance with the NIOSH respirator certification standard, 42 CFR Part 84—Public Health.

Note: The mandatory Appendix C—Respirator Medical Evaluation Questionnaire and mandatory Appendix D— Information for Employees Using Respirators When Not Required Under the Standard are located in Section 6—Forms.

29 CFR 1926.51—Sanitation

29 CFR 1910.141—Sanitation

Scope/Application:  Under this standard, an Extermination Program is required if vermin presence has been detected.

The following standards and subpart references 29 CFR 1910.141—Sanitation:

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.62—Lead

- Subpart Z—Toxic and Hazardous Substances

Note: 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead and most health standards in 29 CFR 1926 Subpart Z reference complying with 29 CFR 1926.51—Sanitation or 29 CFR 1910.141—Sanitation as they provides the requirements for change rooms, lavatories, showers, and eating and drinking areas.

Standard Requirements for 29 CFR 1926.51—Sanitation and 29 CFR 1910.141—Sanitation:

- Programs/Plans: Extermination Program

- Training: Initially (Reference 29 CFR 1926.21)

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Not stated

Example Program: The following example program should be modified to be site-specific to your organization. Please reference 29 CFR 1926.51—Sanitation or 29 CFR 1910.141—Sanitation to ensure that all the standard requirements are being met. The standard does not require a written program. It has been put into writing as a “best practice”.

Sanitation—Extermination (and Sanitation) Program

Vermin Control

Every enclosed workplace will be so constructed, equipped, and maintained to prevent the entrance or harborage of rodents, insects, and other vermin. A continuing and effective extermination program will be instituted where their presence is detected.

Housekeeping

All sweepings, solid or liquid wastes, refuse, and garbage shall be removed in such a manner as to avoid creating a menace to health and as often as necessary or appropriate to maintain the place of employment in a sanitary condition.

Water Supply

Potable Water—Potable water will be provided in all places of employment, for drinking, washing of the person, cooking, washing of foods, washing of cooking or eating utensils, washing of food preparation or processing premises, and personal service rooms.

Portable drinking water dispensers will be designed, constructed, and serviced so that sanitary conditions are maintained, capable of being closed, and be equipped with a tap.

Open containers such as barrels, pails, or tanks for drinking water from which the water must be dipped or poured, whether or not they are fitted with a cover, are prohibited. A common drinking cup and other common utensils are prohibited.

Nonpotable Water—Outlets for nonpotable water, such as water for industrial or firefighting purposes, swill be posted or otherwise marked in a manner that will indicate clearly that the water is unsafe and is not to be used for drinking, washing of the person, cooking, washing of food, washing of cooking or eating utensils, washing of food preparation or processing premises, or personal service rooms, or for washing clothes.

Construction of nonpotable water systems or systems carrying any other nonpotable substance will be such as to prevent backflow or backsiphonage into a potable water system.

Nonpotable water will not be used for washing any portion of the person, cooking or eating utensils, or clothing. Nonpotable water may be used for cleaning work premises, other than food processing and preparation premises and personal service rooms: Provided, that this nonpotable water does not contain concentrations of chemicals, fecal coliform, or other substances which could create unsanitary conditions or be harmful to employees.

Washing and Toilet Facilities

Lavatories—Each lavatory will have hot and cold running water, or tepid running water. Soap and individual hand towels of cloth or paper, or air blowers will be provided convenient to the lavatories. Separate toilet facilities will be provided for each sex unless it is a single occupancy and can be locked from the inside.

Note: If showers are required by a particular standard, add the following.

Showers—Employees exposed to __________________ shall use the showers and change rooms to clean up after exposure. Showers will be provided with hot and cold water with body soap convenient to the showers. There will be separate showers for each sex and stocked with clean towels.

Change Rooms—Change rooms will be equipped with storage facilities for street clothes and containers for contaminated clothes and equipment.

Cleaning and Replacement—The facility will clean and launder protection clothing and equipment at least ____________(weekly or more frequently) and have it available for employee use.

Eating and Drinking Areas

No employee will consume food or beverages in a toilet room nor in any area exposed to a toxic material. No food or beverages will be stored in toilet rooms or in an area exposed to a toxic material. Employees will not enter lunchrooms with contaminated protective work clothing or equipment.

Waste Disposal Containers—Receptacles that are corrosion resistant, easily cleanable will be used for the disposal of waste food. The receptacles will be emptied after ________________ to prevent overfilling and be maintained in a clean and sanitary condition.

Food Handling—All employee food service facilities and operations will be carried out in accordance with sound hygienic principles. In all places of employment where all or part of the food service is provided. The food dispensed will be wholesome, free from spoilage, and shall be processed, prepared, handled, and stored in such a manner as to be protected against contamination.

29 CFR 1926.752—Site-Layout, Site-Specific Erection Plan and Construction Sequence

Scope/Application:  This standard requires a site-specific steel erection plan for steel erection activities.

Standard Requirements for 29 CFR 1926, Subpart R—Steel Erection:

- Programs/Plans: Site-Specific Steel Erection Plan, Training Program

- Training: Initially

- Inspections: Initially, pre-shift

- Documentation: Inspections, plan, manufacturer’s approval

Example Plan: The following example plan should be modified to be site-specific to your organization. Please reference 29 CFR 1926.752—Site-Layout, Site-Specific Erection Plan and Construction Sequence or 29 CFR 1926, Subpart R—Steel Erection to ensure that all the standard requirements are being met.

Steel Erection—Site-Specific Steel Erection Plan

Development of a Site-Specific Erection Plan

Preconstruction conference(s) and site inspection(s) will be held between the erector and the controlling contractor, and others such as the project engineer and fabricator before the start of steel erection. The purpose of such conference(s) is to develop and review the site-specific erection plan.

Sequence of Erection Activity

- The sequence of erection activity, developed in coordination with the controlling contractor, will include the following:

  - Material deliveries:

  - Material staging and storage; and

  - Coordination with other trades and construction activities.

Procedures for material deliveries are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Procedures for material staging and storage are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Procedures for the coordination with other trades and construction activities are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Crane and Derrick Selection and Placement Procedures

- A description of the crane and derrick selection and placement procedures, will include the following:

- Site preparation;

- Path for overhead loads; and

- Critical lifts, including rigging supplies and equipment.

Procedures for site preparation are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Procedures for the establishing a path for overhead loads are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Procedures for critical lifts, including rigging supplies and equipment are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Description of Steel Erection Activities and Procedures

- A description of steel erection activities and procedures will include the following:

  - Stability considerations requiring temporary bracing and guying;

  - Erection bridging terminus point;

  - Anchor rod (anchor bolt) notifications regarding repair, replacement and modifications;

  - Columns and beams (including joists and purlins);

  - Connections;

  - Decking;

  - Ornamental and miscellaneous iron.

Activities and procedures for stability considerations requiring temporary bracing and guying are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for erection bridging terminus point are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for anchor rod (anchor bolt) notifications regarding repair, replacement and modifications are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for columns and beams (including joists and purlins)are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for connections are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for decking are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Activities and procedures for ornamental and miscellaneous iron are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Fall Protection Plan

Refer to Fall Protection Plan.

Falling Object Protection Procedures

The procedures that will be used for falling object protection are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Procedures for Hazardous Non-Routine Tasks

The procedures that will be used for hazardous non-routine tasks are as follows:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training Program

All employees will be trained by a qualified person in steel erection. Employees will be trained prior to work on the following:

- Fall hazard training

- Hazardous non-routine tasks

- Falling object procedures

- Steel erection activities

When applicable to their job duties:

- Multiple lift rigging procedure

  - Nature of the hazards associated with multiple lifts

  - Proper procedures and equipment to perform multiple lifts

- Connector procedures

  - Nature of the hazards associated with connecting

  - Establishment, access, proper connecting techniques and work practices

- Controlled Decking Zone Procedures

  - Nature of the hazards associated with work within a controlled decking zone

  - Establishment, access, proper installation techniques and work

Qualified and Competent Persons

The following is a list of all qualified persons:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following is a list of all competent persons:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Rescue and Emergency Response Procedures

Our emergency response procedures are as follows:

____________________________________________________________________________________________________________________________________________________________________________________________

Project:_______________________________________________

Site Location:__________________________________________

________________________________________________________________________   __________________

Signature of the qualified person(s) responsible for plan preparation and modification		Date

29 CFR 1926.60—Methylenedianiline

29 CFR 1926.62—Lead

29 CFR 1926 Subpart Z—Toxic and Hazardous Substances

29 CFR 1910 Subpart Z—Toxic and Hazardous Substances

Scope/Application: Under 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and most of the health standards listed in Subpart Z—Toxic and Hazardous Substances, a Compliance Program (i.e. employee exposure program, exposure monitoring program) is required if employees have occupational exposure to the chemicals listed in the subpart. Note: Many of the health standards found in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances refer back to the applicable health standard in 29 CFR 1910 Subpart Z—Toxic and Hazardous Substances as being identical for construction work.

The following standards are referenced in 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and most of the health standards listed in Subpart Z—Toxic and Hazardous Substances:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1926.51—Sanitation

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.103—Respiratory Protection

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.141—Sanitation

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records (Refers to 29 CFR 1910.1020—Access to Employee Exposure and Medical Records) requires that medical and exposure records be maintained for specific periods of time. 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances also requires that showers and change rooms meet the criteria found in 29 CFR 1926.51—Sanitation  or 29 CFR 1910.141—Sanitation. 29 CFR 1926.59—Hazard Communication 29 CFR 1910.1200—Hazard Communication requirements apply when the applicable health hazard is used in the workplace. 29 CFR 1926.103 (Refers to 1910.134—Respiratory Protection) requirements apply when employees use respirators.

The following construction standards reference having a compliance program (i.e.;  employee exposure program, exposure monitoring program).

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.62—Lead

- 29 CFR 1926.1117—Vinyl Chloride

- 29 CFR 1926.1118—Inorganic Arsenic

- 29 CFR 1926.1124—Beryllium

- 29 CFR 1926.1127—Cadmium

- 29 CFR 1926.1128—Benzene

- 29 CFR 1926.1144—1,2—dibromo—3—chloropropane

- 29 CFR 1926.1145—Acrylonitrile

- 29 CFR 1926.1147—Ethylene Oxide

- 29 CFR 1926.1152—Methylene Chloride

Note: 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and most of the health standards listed in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances require a compliance program, employee exposure program and/or an exposure monitoring program.

Standard Requirements for 29 CFR 1926.60—Methylenedianiline:

- Programs/Plans: Compliance Program,  Medical Surveillance Program, Training Program, Housekeeping and Inspection Program, Employer-Funded  Compensation Program

- Procedures/Practices: Exposure monitoring procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Routine, regular

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program and Housekeeping and Inspection Program required by 29 CFR 1926.60—Methylenedianiline can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.60—Methylenedianiline to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.62—Lead:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Work Practice Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Employer-Funded  Compensation Program, Work Practice Program, and Training Program required by 29 CFR 1926.62—Lead can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.62—Lead to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1117—Vinyl Chloride (Same as 29 CFR 1910.1017):

- Programs/Plans: Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records, training records

Note: The Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program required by 29 CFR 1926.1117—Vinyl Chloride can be incorporated into one program.. The standard does not require a Compliance Program but as a best practice, the employer should consider implementing one. Please reference 29 CFR 1926.1117—Vinyl Chloride to ensure all requirements are being met.

Standard Requirements for 29 CFR 1926.1118—Inorganic Arsenic (Same as 29 CFR 1910.1018):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, and Training Program required by 29 CFR 1926.1118— Inorganic Arsenic can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1118— Inorganic Arsenic to ensure that all requirements are begin met.

The following standards are referenced in 29 CFR 1926.1124—Beryllium:

- 29 CFR 1926.51—Sanitation

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910.1028—Beryllium requires that change rooms and eating and drinking areas meet the requirements of 29 CFR 1926.51—Sanitation. The standard also requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1926.1124—Beryllium:

- Programs/Plans: Exposure Control Plan (Compliance Program), Medical Surveillance Program, Employer-Funded Compensation Program

- Procedures/Practices: Work practice controls, engineering controls, safety and health procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly

- Documentation: Plan, medical records, training records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Employer-Funded Compensation Program required by 29 CFR 1926.1124—Beryllium can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1124—Beryllium to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1127—Cadmium:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Emergency Plan, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program and Medical Surveillance Program required by 29 CFR 1926.1127—Cadmium can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1127—Cadmium to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1128—Benzene (Same as 29 CFR 1910.1028):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1128—Benzene can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1128—Benzene to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1144—1,2—dibromo—3—chloropropane (Same as 29 CFR 1910.1044):

- Programs/Plans:  Compliance Program, Medical Surveillance Program, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1144—1,2—dibromo—3—chloropropane can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1144—1,2—dibromo—3—chloropropane to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1145—Acrylonitrile (Same as 29 CFR 1910.1045):

- Programs/Plans:  Compliance Program, Medical Surveillance Program, Training Program, Emergency Plan

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Emergency Plan, and Training Program required by 29 CFR 1926.1145—Acrylonitrile can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1145—Acrylonitrile to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1147—Ethylene Oxide (Same as 29 CFR 1910.1047):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1147—Ethylene Oxide can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1147—Ethylene Oxide to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1152—Methylene Chloride (Same as 29 CFR 1910.1052:

- Programs/Plans: Employee Exposure Program, Employer-Funded  Compensation Program, Medical Surveillance Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures, leak detection procedures

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Medical records, exposure records, training information

Note: The Employee Exposure Program, Employer-Funded  Compensation Program, Medical Surveillance Program

required by 29 CFR 1926.1152—Methylene Chloride can be incorporated into one program.  Please reference 29 CFR 1926.1152—Methylene Chloride to ensure that all requirements are being met.

Standard Requirements for 29 CFR 1926.1153—Respirable Crystalline Silica:

- Programs/Plans: Exposure Control Plan (Compliance Program), Medical Surveillance Program

- Procedures/Practices: Work practice controls, engineering controls, exposure monitoring procedures, medical surveillance procedures, work entry procedures

- Training: Initially

- Inspections: Frequent, regularly

- Documentation: Medical records, exposure records, plan

Note: The Exposure Control Plan and Medical Surveillance Program required by 29 CFR 1926.1153—Respirable Crystalline Silica can be incorporated into one program.  Please reference 29 CFR 1926.1153—Respirable Crystalline Silica to ensure that all requirements are being met.

Example Program: The following example program may be modified to be site-specific to the organization and incorporates a Medical Surveillance Program, Exposure Monitoring Program and Training Program with the compliance program. Please reference the applicable health standard in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances, 29 CFR 1926.60—Methylenediianiline and 29 CFR 1926.62—Lead to ensure that all requirements are being met.

Toxic and Hazardous Substances—Compliance Program

______________ can cause harm (describe acute and chronic effects of the chemical) to:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

_____________________ is used (state where this chemical is used and what it is used for):

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Engineering Controls

The following engineering controls have been implemented:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Work Practices

The following work practices have been implemented:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Regulated Areas, Signs and Labels

We will regulate the work areas where _______________ is used. These regulated areas will be limited to authorized employees only and will be marked with signage. The signs will bear the following legend:

DANGER
__________________________

PROTECTIVE CLOTHING ARE REQUIRED IN
THIS AREA
AUTHORIZED PERSONNEL ONLY

All ____________________ containers and pipes have been labeled. The Safety Data Sheets will also be available in the work area (or other procedure).

Preventive Maintenance Program

Preventive maintenance will be conducted on the ventilation systems as recommended by the manufacturer.  This schedule is as follows:

______________________________________________________________________________________________________________________________________________________________________________________________________

Air filters will be replaced on the following schedule:

______________________________________________________________________________________________________________________________________________________________________________________________________

Other preventive maintenance recommended by the manufacturer will be conducted on the following equipment or machines:

______________________________________________________________________________________________________________________________________________________________________________________________________

This schedule is as follows:

______________________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment

Employees will be provided with appropriate personal protective equipment (PPE) which will include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

All employees will be required to wear the appropriate PPE in the regulated area. The PPE will be cleaned and inspected daily and before each use. Any equipment found to be defective will be turned in to the supervisor for repair or disposal and new equipment will be provided. All employees will be trained on the use of PPE.

Employees required to wear respirators will undergo medical evaluation to determine if they can wear a respirator. Employees who pass will be trained and fit-tested initially and annually per 29 CFR 1910.134—Respiratory Protection. Refer to the respirator program for specific requirements.

Signs and Symptoms of Overexposure

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

If you exhibit any of the above signs, please let your supervisor know immediately.

First Aid and Emergency Response

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Spills

- Call 911 and HazMat

- Immediately evacuate all personnel

- Secure and control entrance to facility

- Eliminate nearby ignition sources

Emergency Numbers

- Poison Control: 1-800-222-1222

- CHEMTREC: 1-800-424-9300

- National Response Center: 1-800-424-8802

- Company Emergency Contact:

Note: Some of the standards in Subpart Z may have additional or different emergency response requirements.

Exposure Monitoring Program

________________________ is a regulated chemical. To help ensure that our employees are not overexposed to__________________, we will conduct ________________(i.e.; initial, periodic) monitoring to determine employee exposure.

Note: Reference the applicable standard for the monitoring schedule and exposure levels to be followed.

The OSHA permissible exposure level (PEL) for _________________ is_________ and the action level is_______.

When exposure levels are at or above the (action level) of ________ (i.e.; parts per million, milligrams per cubic meter), periodic monitoring will be conducted on the following schedule (i.e.; quarterly, semi-annually, annually):

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Determination of employee exposure will be made from breathing zone air samples that are representative of the 8-hour TWA and 15-minute short-term exposures of each employee. Employees will be provided the monitoring results within 15 working days after receipt of results. If requested, employees will be allowed to observe exposure monitoring.

Medical Surveillance Program

If an employee is exposed to ______________ at or above the action level of  ______ (i.e.; parts per million, milligrams per cubic meter), they will be provided with medical examinations and consultations at no expense to the employee. The examinations will be provided prior to an assignment where exposure will occur and annually thereafter. If required by a physician, the examinations may occur more frequently.

We will provide the following information to the physician:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following tests will be conducted initially and annually:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The physician will provide a written opinion containing the results of the medical examination and any recommended limitations on the employee or on the use of PPE. No specific findings or diagnoses unrelated to _______________ exposure will be given in the written opinion.  The employee will be provided with a copy of the written opinion within 15 days of its receipt.

Note: An example standalone Medical Surveillance Program is provided with the example programs.

Housekeeping Program

We have implemented the following housekeeping procedures:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training Program

Employees will be trained at the time of their initial assignment and annually thereafter. Training will include:

- Operations where “chemical” is present

- Signs and symptoms of overexposure

- Safe work practices

- Established or recommended exposure levels

- Exposure monitoring

- Medical surveillance

- PPE

- Physical and health hazards

- Methods and observations

- Emergency procedures

- Hazard communication

Note: Some of the standards in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances and 29 CFR 1910 Subpart Z—Toxic and Hazardous Substances may have additional or different training requirements.

Recordkeeping

Medical and exposure records will be maintained per 29 CFR 1926.33 (1910.1020)—Access to Employee Exposure and Medical Records. Exposure records will be maintained for 30 years. Medical surveillance records will be maintained for the duration of employment plus 30 years. Employees will be provided these records upon request.

Note: Some of the standards in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances and 29 CFR 1910 Subpart Z—Toxic and Hazardous Substances may have different durations for maintaining records.

29 CFR 1926.60—Methylenedianiline

29 CFR 1926.62—Lead

29 CFR 1926 Subpart Z—Toxic and Hazardous Substances

29 CFR 1910 Subpart Z—Toxic and Hazardous Substances

Scope/Application:  Under 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and most of the health standards listed in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances, a Medical Surveillance Program is required if employees are exposed to specific health hazards listed in this subpart. Note: Many of the health standards found in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances refer back to the applicable health standard in 29 CFR 1910 Subpart Z—Toxic and Hazardous Substances as being identical for construction work.

The following standards are referenced in 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and most of the health standards listed in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances:

- 29 CFR 1926.33—Access to Employee Exposure and Medical Records

- 29 CFR 1926.51—Sanitation

- 29 CFR 1926.59—Hazard Communication

- 29 CFR 1926.103—Respiratory Protection

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.141—Sanitation

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1926.33—Access to Employee Exposure and Medical Records (Refers to 29 CFR 1910.1020—Access to Employee Exposure and Medical Records) requires that medical and exposure records be maintained for specific periods of time. 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances also requires that showers and change rooms meet the criteria found in 29 CFR 1926.51—Sanitation  or 29 CFR 1910.141—Sanitation. 29 CFR 1926.59—Hazard Communication 29 CFR 1910.1200—Hazard Communication requirements apply when the applicable health hazard is used in the workplace. 29 CFR 1926.103 (Refers to 1910.134—Respiratory Protection) requirements apply when employees use respirators.

The following standards in 29 CFR 1926 Subpart Z—Toxic and Hazardous Substances, 29 CFR 1926.60—Methylenedianiline, and 29 CFR 1926.62—Lead require a medical surveillance program:

- 29 CFR 1926.60—Methylenedianiline

- 29 CFR 1926.62—Lead

- 29 CFR 1926.1101—Asbestos

- 29 CFR 1926.1103—13 Carcinogens

- 29 CFR 1926.1117—Vinyl Chloride

- 29 CFR 1926.1118—Inorganic Arsenic

- 29 CFR 1926.1124—Beryllium

- 29 CFR 1926.1126—Chromium (VI)

- 29 CFR 1926.1127—Cadmium

- 29 CFR 1926.1128—Benzene

- 29 CFR 1926.1144—1,2—dibromo—3—chloropropane

- 29 CFR 1926.1145—Acrylonitrile

- 29 CFR 1926.1147—Ethylene Oxide

- 29 CFR 1926.1148—Formaldehyde

- 29 CFR 1926.1152—Methylene Chloride

- 29 CFR 1926.1153—Respirable Crystalline Silica

Standard Requirements for 29 CFR 1926.60—Methylenedianiline:

- Programs/Plans: Compliance Program,  Medical Surveillance Program, Training Program, Housekeeping and Inspection Program, Employer-Funded  Compensation Program

- Procedures/Practices: Exposure monitoring procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Routine, regular

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program and Housekeeping and Inspection Program required by 29 CFR 1926.60—Methylenedianiline can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.60—Methylenedianiline to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.62—Lead:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Work Practice Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Employer-Funded  Compensation Program, Work Practice Program, and Training Program required by 29 CFR 1926.62—Lead can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.62—Lead to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1101—Asbestos:

- Programs/Plans: Medical Surveillance Program, Training Program, Self-Help Smoking Cessation Program

- Procedures/Practices: Work practices, emergency procedures, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Before brake and clutch repair, initially (building)

- Documentation: Programs, medical records, exposure records

Note: The Medical Surveillance Program, Training Program, and Self-Help Smoking Cessation Program required by 29 CFR 1926.1101—Asbestos can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1101—Asbestos to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1103—13 Carcinogens (Same as 29 CFR 1910.1003—13 Carcinogens):

- Programs/Plans:  Medical Surveillance Program, Training and Indoctrination Program

- Procedures/Practices: Emergency procedures, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs; medical records; exposure records

Note: The Medical Surveillance Program, and Training and Indoctrination Program required by 29 CFR 1926.1103—13 Carcinogens can be incorporated into one program. The standard does not require a Compliance Program but as a best practice, the employer should consider implementing one. Please reference 29 CFR 1926.1103—13 Carcinogens to ensure all requirements are being met.

Standard Requirements for 29 CFR 1926.1117—Vinyl Chloride (Same as 29 CFR 1910.1017):

- Programs/Plans: Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records, training records

Note: The Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program required by 29 CFR 1926.1117—Vinyl Chloride can be incorporated into one program.. The standard does not require a Compliance Program but as a best practice, the employer should consider implementing one. Please reference 29 CFR 1926.1117—Vinyl Chloride to ensure all requirements are being met.

Standard Requirements for 29 CFR 1926.1118—Inorganic Arsenic (Same as 29 CFR 1910.1018):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Housekeeping and Maintenance Plan, and Training Program required by 29 CFR 1926.1118—Inorganic Arsenic can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1118—Inorganic Arsenic to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1124—Beryllium

- Programs/Plans: Exposure Control Plan (Compliance Program), Medical Surveillance Program, Employer-Funded Compensation Program

- Procedures/Practices: Work practice controls, engineering controls, safety and health procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly

- Documentation: Plan, medical records, training records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Employer-Funded Compensation Program required by 29 CFR 1926.1124—Beryllium can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1124—Beryllium to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1126—Chromium (VI)

- Programs/Plans: Medical Surveillance Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures, leak detection procedures

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Medical records, exposure records, training information

Note: 29 CFR 1926.1126—Chromium (VI) does not require a Compliance Program but as a best practice, the employer should consider implementing a Compliance Program that includes medical surveillance, exposure monitoring and training. Please reference 29 CFR 1926.1126—Chromium (VI) to ensure that all requirements are being met.

Standard Requirements for 29 CFR 1926.1127—Cadmium:

- Programs/Plans: Compliance Program, Medical Surveillance Program, Emergency Plan, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program and Medical Surveillance Program required by 29 CFR 1926.1127—Cadmium can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1127—Cadmium to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1128—Benzene (Same as 29 CFR 1910.1028):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1128—Benzene can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1128—Benzene to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1144—1,2—dibromo—3—chloropropane (Same as 29 CFR 1910.1044):

- Programs/Plans:  Compliance Program, Medical Surveillance Program, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1144—1,2—dibromo—3—chloropropane can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1144—1,2—dibromo—3—chloropropane to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1145—Acrylonitrile (Same as 29 CFR 1910.1045):

- Programs/Plans:  Compliance Program, Medical Surveillance Program, Training Program, Emergency Plan

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, Emergency Plan, and Training Program required by 29 CFR 1926.1145—Acrylonitrile can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1145—Acrylonitrile to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1147—Ethylene Oxide (Same as 29 CFR 1910.1047):

- Programs/Plans: Compliance Program, Medical Surveillance Program, Training Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Compliance Program, Medical Surveillance Program, and Training Program required by 29 CFR 1926.1147—Ethylene Oxide can be incorporated into one program. Reference the example Compliance Program and 29 CFR 1926.1147—Ethylene Oxide to ensure that all requirements are begin met.

Standard Requirements for 29 CFR 1926.1148—Formaldehyde (Same as 29 CFR 1910.1048):

- Programs/Plans: Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, Employer-Funded  Compensation Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures (Include in your Compliance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records

Note: The Medical Surveillance Program, Training Program, Housekeeping Program, Preventive Maintenance Program, and Employer-Funded  Compensation Program required by 29 CFR 1926.1148—Formaldehyde can be incorporated into one program. The standard does not require a Compliance Program but as a best practice, the employer should consider implementing one that includes all the above programs. Reference 29 CFR 1926.1148—Formaldehyde to ensure that all requirements are being met.

Standard Requirements for 29 CFR 1926.1152—Methylene Chloride (Same as 29 CFR 1910.1052:

- Programs/Plans: Employee Exposure Program, Employer-Funded  Compensation Program, Medical Surveillance Program

- Procedures/Practices: Work practice controls, exposure monitoring procedures, medical surveillance procedures, leak detection procedures

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: medical records, exposure records, training information

Note: The Employee Exposure Program, Employer-Funded  Compensation Program, Medical Surveillance Program

required by 29 CFR 1926.1152—Methylene Chloride can be incorporated into one program.  Please reference 29 CFR 1926.1152—Methylene Chloride to ensure that all requirements are being met.

Standard Requirements for 29 CFR 1926.1153—Respirable Crystalline Silica:

- Programs/Plans: Exposure Control Plan (Compliance Program), Medical Surveillance Program

- Procedures/Practices: Work practice controls, engineering controls, exposure monitoring procedures, medical surveillance procedures, work entry procedures

- Training: Initially

- Inspections: Frequent, regularly

- Documentation: Medical records, exposure records, plan

Note: The Exposure Control Plan and Medical Surveillance Program required by 29 CFR 1926.1153—Respirable Crystalline Silica can be incorporated into one program.  Please reference 29 CFR 1926.1153—Respirable Crystalline Silica to ensure that all requirements are being met.

Example Program: The following example program may be modified to be site-specific to the organization. Please reference the specific health standard in 29 CFR Subpart Z—Toxic and Hazardous Substances and/or 29 CFR 1926.65—Hazardous Waste Operations and Emergency Response to ensure that all the standard requirements are being met. The example Compliance Program and HAZWOPER Safety and Health Program also include a Medical Surveillance Program.

Medical Surveillance Program

The following groups of employees are covered under the medical surveillance program:

- All employees who are or may be exposed to hazardous substances or health hazards at or above the established permissible exposure limit, above the published exposure levels for these substances, without regard to the use of respirators, for 30 days or more a year.

- All employees who wear a respirator for 30 days or more a year.

- All employees who are injured, become ill or develop signs or symptoms due to possible overexposure involving hazardous substances or health hazards from an emergency response or hazardous waste operation.

- Members of HAZMAT teams.

Medical examinations and consults will be conducted on the following schedule:

- Prior to assignment.

- At least once every twelve months for each employee covered unless the attending physician believes a longer interval (not greater than biennially) is appropriate.

- At termination of employment or reassignment to an area where the employee would not be covered if the employee has not had an examination within the last six months.

- As soon as possible upon notification by an employee that the employee has developed signs or symptoms indicating possible overexposure to hazardous substances or health hazards, or that the employee has been injured or exposed above the permissible exposure limits or published exposure levels in an emergency situation;

- At more frequent times, if the examining physician determines that an increased frequency of examination is medically necessary.

- For employees who may have been injured, received a health impairment, developed signs or symptoms which may have resulted from exposure to hazardous substances resulting from an emergency incident, or exposed during an emergency incident to hazardous substances at concentrations above the permissible exposure limits or the published exposure levels without the necessary personal protective equipment being used.

- As soon as possible following the emergency incident or development of signs or symptoms.

- At additional times, if the examining physician determines that follow-up examinations or consultations are medically necessary.

We will provide the following information to the physician:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following tests will be conducted initially and annually:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The content of medical examinations or consultations will be determined by the attending physician. All medical examinations and procedures will be performed by or under the supervision of a licensed physician, preferably one knowledgeable in occupational medicine, and will be provided without cost to the employee, without loss of pay, and at a reasonable time and place.

The physician will provide a written opinion containing the results of the medical examination and any recommended limitations on the employee or on the use of PPE. No specific findings or diagnoses unrelated to “chemical” exposure will be given in the written opinion.  The employee will be provided with a copy of the written opinion within 15 days of its receipt.

The physician will provide a written opinion as to whether the employee has any detected medical conditions which would place the employee at increased risk of material impairment of the employee's health from work in hazardous waste operations or emergency response, or from respirator use. It will include their recommended limitations upon the employee’s assigned work, the results of the medical examination and tests if requested by the employee, a statement that the employee has been informed by the physician of the results of the medical examination and any medical conditions which require further examination or treatment.

NCGS 95-129(1)—General Duty Clause—Tuberculosis

Scope/Application: The General Duty Clause is used only where there is no standard that applies to the particular hazard. Employers can be cited for violation of the General Duty Clause if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

The following elements are necessary to prove a violation of the NCGS 95-129(1)—General Duty Clause:

- The employer failed to keep the workplace free of a hazard to which employees of that employer were exposed;

- The hazard was recognized;

- The hazard was causing or was likely to cause death or serious physical harm; and

- There was a feasible and useful method to correct the hazard.

Note: A Respiratory Protection Program meeting the requirements of 29 CFR 1926.103—Respiratory Protection (Refers to 29 CFR 1910.134—Respiratory Protection as they are identical for construction work) may be required if respirators are used in preventing tuberculosis exposures. Employers can be cited for violation of NCGS 95-129(1)—General Duty Clause if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

Example Plan: The following example plan is for managing and preventing employee exposures in the workplace and may be modified to be site-specific to the organization. There is currently no standard for tuberculosis so there is no requirement for a written program. It has been put into writing as a “best practice”.

Tuberculosis Infection Control Plan

Mycobacterium tuberculosis: Tuberculosis (TB) is caused by the bacteria Mycobacterium tuberculosis and is spread by airborne droplets generated when a person with TB disease coughs, speaks, sings, sneezes, etc. Infection occurs when a susceptible person inhales droplet nuclei containing the bacteria, which then become established in the body. 

An additional hazard is now present because of multidrug-resistant (MDR) TB. MDR organisms are resistant to the drugs that are normally used to treat TB, such as isoniazid and rifampin. The course of treatment when treating MDR TB increases from six months to 18–24 months, and the cure rate decreases from nearly 100 percent to less than 60 percent. Mortality among patients with MDR TB can be high.

Policies and Program Administration 

We maintain, review and update the infection control plan (ICP) at least annually, and whenever necessary to reflect new or modified tasks, procedures and engineering controls* that affect occupational exposure. The ICP is also updated to reflect new or revised employee positions with occupational exposure. 

This facility has had ________ cases of confirmed TB in the last 12 months.

(b) This facility is located in __________ County, which has reported cases of TB in the last 12-month reporting period. 

Employee Exposure Determination 

ALL employees in the following job classifications have or may have occupational exposure to TB:

Job Title

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Employees in the following job classifications have or may have exposure to TB when they are performing the listed tasks and procedures:

Job Title				Tasks/Procedures

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Employee Notification of TB Hazards

We use the following procedures to ensure that all employees with job tasks that offer potential for occupational exposure are informed of the hazard and take proper precautions against exposure to TB.

Procedures

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

_________________________ maintains contact with all outside contractors who provide temporary or contract employees who may incur occupational exposure. This allows the contractor to institute precautions to protect his or her employees. Theses contractors are informed of the TB hazard and the facility’s procedures for protecting themselves from exposure.

Procedures

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Employee exposure in AFB isolation rooms is minimized by combining tasks the amount of time an employee spends in an AFB isolation room is minimized by: ____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Procedures

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

________________________ uses the following procedures, minimizing the number of workers entering AFB isolation rooms: 
____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

___________________________ utilizes the following procedures to delay transport or relocation within the facility until the individual is considered noninfectious: 
____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Services are provided in the patient’s room whenever feasible such as portable X-ray and (list other services provided in the patient’s room to minimize exposure) 

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

This facility uses (list the type of engineering controls in use—properly fitted masks or valveless respirators for the patient to be masked or portable containment devices) on individuals with suspected or confirmed infectious TB when it is necessary to transport or relocate the individual:
____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

The following procedures ensure that the individual is returned to the AFB isolation room as soon as practical after completion of the procedure________________________.

Procedures

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Services that cannot be rendered in the patient’s room are provided in an area that meets the requirements for an AFB isolation room. This includes:

Services

____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Please note: Elective high-hazard procedures and surgery are delayed until the patient is noninfectious. 

High-Hazard Procedures

High-hazard procedures (where TB may be aerosolized) require precautions to prevent/minimize occupational exposure to infectious TB. The following high-hazard procedures are performed at this facility: ____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

___________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Engineering Controls Maintenance Schedules and Records 
___________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

The maintenance schedule for engineering controls is as follows: 
___________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Daily—Negative pressure areas are qualitatively demonstrated by using smoke trails. These areas include:

___________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Whenever HEPA filters are changed, the system is inspected and its performance monitored in accordance with current USPHS guidelines. HEPA filters are changed every ______ in this facility or whenever: 
____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Every six months—HEPA filters in contained air exhaust systems are inspected, maintained and performance monitored in accordance with current USPHS guidelines. These include:
___________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

Clinical and/or Research Laboratories 

The __________________________ ________ operates at biosafety level _________________. This is in accordance with CDC/NIOSH Biosafety in Microbiological and Biomedical Laboratories. 

The following controls are in operation in the laboratory at this facility (list controlled access, anterooms, sealed windows and other controls required in the standard and determined necessary by the laboratory director): 
____________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________

The procedures in this exposure control plan minimize the occupational exposure to TB. The procedures for isolating and managing care are used until the individual with suspected or confirmed infectious TB is determined to be noninfectious or until the diagnosis for TB is ruled out.

Recordkeeping

Any employee who has been occupationally exposed to anyone with a known case of active tuberculosis, and subsequently develops a tuberculosis infection, the case must be recorded on the 300 log. All records will be maintained in accordance with 29 CFR 1910.1020—Access to Employee Exposure and Medical Records.

NCGS 95-129(1)—General Duty Clause—Unregulated Hazardous Substances

Scope/Application: The General Duty Clause is used only where there is no standard that applies to the particular hazard. Employers can be cited for violation of the General Duty Clause (GDC) if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

The following elements are necessary to prove a violation of the NCGS 95-129(1)—General Duty Clause:

- The employer failed to keep the workplace free of a hazard to which employees of that employer were exposed;

- The hazard was recognized;

- The hazard was causing or was likely to cause death or serious physical harm; and

- There was a feasible and useful method to correct the hazard.

Example Program: The following example program is based on a Compliance Program required by many health standards including 29 CFR 1926.60—Methylenedianiline, 29 CFR 1926.62—Lead, and those found in 29 CFR 1926, Subpart Z—Toxic and Hazardous Substances, and may be modified to be site-specific to the organization. The example program has been put into writing as a “best practice”.

Unregulated Hazardous Substances Program

This program has been implemented to ensure employees are not overexposed to _________________. It will be reviewed annually and updated to reflect changes to the company’s procedures and policies.

______________________ can harm (describe acute and chronic effects of the chemical):

____________________________________________________________________________________________________________________________________________________________________________________________

______________________is used (state where this chemical is used and what it is used for):

____________________________________________________________________________________________________________________________________________________________________________________________

Engineering Controls

The following engineering controls have been implemented:

____________________________________________________________________________________________________________________________________________________________________________________________

Work Practice Controls

The following work practices have been implemented:

____________________________________________________________________________________________________________________________________________________________________________________________

Regulated Areas, Signs and Labels

We will regulate the work areas where “hazardous chemical” is used. These regulated areas will be limited to authorized employees only and will be marked with signage. The signs will bear the following legend:

DANGER
____________________________________

PROTECTIVE CLOTHING ARE REQUIRED IN
THIS AREA
AUTHORIZED PERSONNEL ONLY

All “hazardous chemical” containers and pipes will have labels. Safety Data Sheets will be available in the work area.

Preventive Maintenance Program

Preventive maintenance will be conducted on the ventilation systems as recommended by the manufacturer.  This schedule is as follows:

____________________________________________________________________________________________________________________________________________________________________________________________

Air filters will be replaced on the following schedule:

____________________________________________________________________________________________________________________________________________________________________________________________

Personal Protective Equipment

Employees will be provided with appropriate personal protective equipment (PPE) which will include:

____________________________________________________________________________________________________________________________________________________________________________________________

All employees will be required to wear the appropriate PPE in the regulated area. The PPE will be cleaned and inspected daily and before each use. Any equipment found to be defective will be turned in to the supervisor for repair or disposal and new equipment will be provided. All employees will be trained on the use of PPE.

Employees required to wear respirators will undergo medical evaluation to determine if they can wear a respirator. Employees who pass will be trained and fit-tested initially and annually per the respirator program (29 CFR 1910.134). Refer to the respirator program for specific requirements.

Signs and Symptoms of Overexposure

____________________________________________________________________________________________________________________________________________________________________________________________

If you exhibit any of the above signs, please let your supervisor know immediately.

First Aid and Emergency Response

____________________________________________________________________________________________________________________________________________________________________________________________

Spills

- Call 911 and HazMat

- Immediately evacuate all personnel

- Secure and control entrance to facility

- Eliminate nearby ignition sources

Emergency Numbers

Poison Control: 1-800-222-1222

CHEMTREC: 1-800-424-9300

National Response Center: 1-800-424-8802

Exposure Monitoring Program

________________________ is currently an unregulated chemical. However, to help ensure that our employees are not overexposed to “hazardous chemical”, we will conduct initial and periodic monitoring to determine employee exposure.

Since there is not an OSHA permissible exposure level (PEL) for ___________________________, we will use the following reference for exposure levels:

____________________________________________________________________________________________________________________________________________________________________________________________

When exposure levels are at or above ________ (parts per million, milligrams per cubic meter), periodic monitoring will be conducted on the following schedule (quarterly, semi-annually, annually):

____________________________________________________________________________________________________________________________________________________________________________________________

Determination of employee exposure will be made from breathing zone air samples that are representative of the 8-hour TWA and 15-minute short-term exposures of each employee. Employees will be provided the monitoring results within 15 working days after receipt of results. If requested, employees will be allowed to observe exposure monitoring.

Medical Surveillance Program

If an employee is exposed to ______________________ at or above ______ (parts per million, milligrams per cubic meter), they will be provided with medical examinations and consultations at no expense to the employee. The examinations will be provided prior to an assignment where exposure will occur and annually thereafter. If required by a physician, the examinations may occur more frequently.

The following tests will be conducted initially and annually:

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

The physician will provide a written opinion containing the results of the medical examination and any recommended limitations on the employee or on the use of PPE. No specific findings or diagnoses unrelated to “hazardous chemical” exposure will be given in the written opinion.  The employee will be provided with a copy of the written opinion within 15 days of its receipt.

Housekeeping Program

We have implemented the following housekeeping procedures:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training and Information Program

Employees will be trained at the time of their initial assignment and annually thereafter. Training will include:

- Operations where “hazardous chemical” is present

- Sign and symptoms of overexposure

- Safe work practices

- Established or recommended exposure levels

- Exposure monitoring

- Medical surveillance

- PPE

- Physical and health hazards

- Methods and observations

- Emergency procedures

- Hazard communication

Recordkeeping

Medical and exposure records will be maintained per 29 CFR 1910.1020—Access to Employee Exposure and Medical Records. Exposure records will be maintained for 30 years. Medical surveillance records will be maintained for the duration of employment plus 30 years. Employees will be provided these records upon request.

29 CFR 1926.1117—Vinyl Chloride

29 CFR 1910.1017—Vinyl Chloride

Scope/Applications: 29 CFR 1926.1117—Vinyl Chloride requires an exposure monitoring program to minimize or eliminate exposures to vinyl chloride. Note: 29 CFR 1926.1117—Vinyl Chloride references 29 CFR 1910.1017—Vinyl Chloride as they are identical for construction.

The following standards are referenced in 29 CFR 1910.1017—Vinyl Chloride:

- 29 CFR 1910.134—Respiratory Protection

- 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- 29 CFR 1910.1200—Hazard Communication

Note: 29 CFR 1910. 1017—Vinyl Chloride requires that a Respiratory Protection Program that meets the requirements of 29 CFR 1910.134—Respiratory Protection be implemented if employees are required to wear a respirator. 29 CFR 1910.1020—Access to Employee Exposure and Medical Records requires medical records to be retained for duration of employment plus 30 years and exposure records for 30 years. The standard also requires that the employer comply with the Hazard Communication Standard including the implementation of a Hazard Communication Program that meets the requirements of 29 CFR 1910.1200—Hazard Communication.

Standard Requirements for 29 CFR 1910.1017—Vinyl Chloride:

- Programs/Plans: Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program

- Procedures/Practices: Work practice controls (Include in your Training and Indoctrination Program), exposure monitoring procedures (Include in your Exposure Monitoring Program), medical surveillance procedures (Include in your Medical Surveillance Program)

- Training: Initially, annually

- Inspections: Frequent, regularly (Reference 1926.20—General Safety and Health Provisions)

- Documentation: Programs, medical records, exposure records, training records

Note: The Exposure Monitoring Program, Emergency Operational Plan, Medical Surveillance Program, Training and Indoctrination Program required by 29 CFR 1910.1017—Vinyl Chloride can be incorporated into one program. Reference the example Compliance Program.

Example Plan: The following example plan may be modified to be site-specific to the organization. Please reference 29 CFR 1910.1017—Vinyl Chloride to ensure that all requirements are being met.

Vinyl Chloride—Emergency Operational Plan

Work Practice Controls

We have implemented the following work practice controls:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

These work practice controls will be discussed during employee training and indoctrination.

Hazardous Operations

The following operations involving vinyl chloride are considered hazardous and will only be performed by employees properly trained and equipped with personal protective equipment:

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

The following employees have been properly trained to conduct hazardous operations:

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

The employees involved in hazardous operations will be equipped with the following PPE:

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

Emergency Operations

The following employees have been properly trained to conduct emergency operations:

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

The employees involved in emergency response will be equipped with the following PPE:

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

Evacuation

Emergency evacuation escape route plans are posted in key areas of the facility. In the event of a vinyl chloride release, all affected employees will be given evacuation instruction ___________________. Each supervisor will account for each assigned employee via head count. All supervisors will report their head count to _________________. Under no circumstances will employees leave the worksite unless instructed to so by management or other authority.

Once evacuated, no one will re-enter the building. Once the fire department or other responsible agency has notified ___________________________ that the building is safe to re-enter, personnel will return to their work areas. If building re-entry is not permissible, employees will be given further instruction as applicable by those in authority (supervisor, fire department).

NCGS 95-129(1)—General Duty Clause—Workplace Violence

Scope/Application: The General Duty Clause is used only where there is no standard that applies to the particular hazard. Employers can be cited for violation of the General Duty Clause if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

The following elements are necessary to prove a violation of the North Carolina General Statute (NCGS) 95-129(1)—General Duty Clause:

- The employer failed to keep the workplace free of a hazard to which employees of that employer were exposed;

- The hazard was recognized;

- The hazard was causing or was likely to cause death or serious physical harm; and

- There was a feasible and useful method to correct the hazard.

Note: NCGS 95-129(1)—General Duty Clause is used when there is no standard that applies to the particular hazard. Employers can be cited for violation of the General Duty Clause if a recognized serious hazard exists in their workplace and the employer does not take reasonable steps to prevent or abate the hazard.

Example Program: The following example program is for preventing workplace violence in the workplace and may be modified to be site-specific to the organization. There is currently no standard for workplace violence so there is no requirement for a written program. It has been put into writing as a “best practice”. Also reference NCGS Chapter 95, Article 23—Workplace Violence Prevention Act.

Workplace Violence Prevention Program

Policy Statement

We are committed to providing a safe work environment, free from aggressive acts and violent behavior.  However, excellent safety conditions do not occur by chance.  They are the result of diligent work and careful attention to all company policies by everyone.

Safety demands cooperation on everyone's part.  Thus, it is important that communication be kept open at all times between the management and employees.  Workers who notice potentially aggressive and/or violent behavior, or feel that they need additional training, must notify their supervisor.  Supervisors and management at all levels must address these concerns and take corrective action when warranted.

Everyone is obligated to know the appropriate procedures for their area or job, and just as important, to abide by them.  Supervisors must instill a positive attitude and safety awareness in their workers through personal adherence, personal contact and training.  It is the duty of all employees to perform their work with maximum regard for the safety of themselves and co-workers.

Our safety policies are based on past experience and current standards, and are also an integral part of the company's personnel rules.  This means that compliance with the policies is a condition of employment and must be taken seriously.  Failure to comply is sufficient grounds for disciplinary action or for termination of employment.

Safety and health are a top priority in this organization and are every bit as important as productivity and quality.  In fact, they go hand in hand.  Of course, the best reason for you to observe these policies is because it's in your own self-interest to do so.  Conscientiously following them can help you stay safe, healthy, and able to work, play, and enjoy life to its fullest.

_________________________________

Signature of Company Management

Workplace Violence Prevention Responsibilities

Our goal is to protect employees from assault or injury while working for our company.  This must receive top priority from everyone.

Duties and responsibilities of all personnel under our Workplace Violence Prevention Program are as follows:

Health and Safety Manager / Program Coordinator (Working Title)

      - Administers all aspects of the workplace violence prevention program.

      - Develops procedures and technical guidance to identify and remove potential risk factors of workplace violence.

      - Assists management and supervisors in the workplace violence prevention training of employees.

      - Conducts inspections to identify high risk positions or work practices.

      - Recommends programs and activities that will develop and maintain incentives for and motivation of employees.

      - Recommends disciplinary action for repeat violators of prescribed procedures.

      - Develops and maintains incident investigation reporting procedures.  Investigates serious or reportable incidents.

      - Maintains all records and reports of accidents/incidents that have taken place during division business operations.

      - Ensures that employer's Report of Employee’s Injury or Occupational Disease report is filed with the North Carolina Industrial Commission office within five days of employee's notification of an occupational injury or disease.

      - Processes all paperwork associated with accidents, on-site inspections and in-house audits.  Maintains permanent record for division and/or personnel files.

      - Maintains all medical records, evaluations and exposure monitoring records for the period of employment plus 30 years.

Program Committee (Working Titles)

- Develops procedures and technical guidance to identify and remove potential risk factors of workplace violence.

- Assists management and supervisors in the workplace violence prevention training of employees.

- Conducts inspections to identify high risk positions or work practices.

- Recommends programs and activities that will develop and maintain incentives for and motivation of employees.

- Recommends disciplinary action for repeat violators of prescribed procedures.

- Develops and maintains incident investigation and reporting procedures and systems.  Investigates serious or reportable incidents.

Managers and Supervisors

- Be familiar with high risk positions and appropriate procedures related to their area of responsibility.

- Directs, implements, and coordinates program procedures and activities within area of responsibility.

- Requires all employees supervised to use appropriate procedures for meeting the public.

- Ensures that engineering controls are available, maintained and used correctly.

- Ensures that all persons within area of responsibility receive workplace violence prevention training as required.

- Ensures that supervisors are aware of and comply with requirements for workplace violence prevention practices.

- Investigates all incidents within area of responsibility.  Reviews all accidents/incidents with supervisors and workers involved.  Insures that corrective action is taken immediately to eliminate the cause of the accident/incident.

- Ensures accident reports and Workers' Compensation forms are completed and submitted as appropriate.

- Conducts frequent and regular safety and health inspections of his/her work areas and ensures that no unsafe conditions exist in area of responsibility.

- Ensures that injuries are treated promptly and reported properly.

- Acts on reports of hazards or hazardous conditions reported to them by employees.

Training Officer

      - Maintains all training records for the duration of employment plus one year.

      - Coordinates the necessary training for new and existing employees.

      - Reviews incident investigation reports for further necessary training.

All Employees

      - Be familiar with and comply with all proper workplace violence prevention procedures.

      - Notify supervisor immediately of unsafe conditions, aggressive behavior or incidents.

      - Identify and assist or report "strangers" in your work area.

      - Treat all "customers" with respect and be polite.

Workplace Analysis and Controls

Hazard identification and elimination is not only an inherent responsibility of supervision in providing a safe workplace for employees, but also requires employee involvement.  As such, hazard evaluation and control shall be an on-going concern for all.  It is the responsibility of everyone (management, supervisors and all employees) to identify, report, and correct, all possible hazards.  Employees are particularly important in this process as they are in the best position to identify hazards in the workplace and day-to-day operations.  Reporting hazards is a protected activity and no action will be taken against anyone for identifying unsafe conditions.  Reports should be made to the __________________________for appropriate action.

Inspections

We have a procedure for conducting inspections of workplaces/jobsites for compliance with this program.  The purpose of the in-house inspection is to identify hazards and unsafe practices before they cause an accident or incident.  Formal inspections will be conducted under the guidance of the___________________, with the assistance of the _____________________________.  After completing jobsite or facility inspections, the person making the inspection will:

- Discuss findings with pertinent employees.  Invite their comments, suggestions and aid.

- Ensure recommended corrections/changes are transmitted to/discussed with the Program Coordinator (Working Title) for correction.

- Follow up on changes, corrections, and other actions necessary.

High Risk Positions

The following positions have been identified to have a high risk exposure to workplace violence:

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Engineering Controls

The following engineering controls shall be utilized when appropriate:

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Administrative and Work Practice Controls

The following administrative and work practice procedures shall be observed at all times:

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Training and Education

Training and education cannot be over-emphasized as a means of learning workplace violence prevention procedures.  Knowledge of the appropriate procedures and rules and how and when to function under these procedures is essential to personal safety.

      - Employees will attend all training sessions that they are scheduled for (no exceptions).

      - New employees will be provided orientation training and will be furnished information and literature covering the company's Workplace Violence Prevention Program.  This orientation training will be provided prior to the employee's exposure to a hostile work environment.

      - Appropriate individual job/task training will be provided to all employees.

      - On-going safety training sessions will be conducted when necessary and as available at the discretion of the ________________________________.

      - Training shall be documented and retained by the ____________________________for the duration of employment plus one year.

## Levels of Violence and Response

Potential or actual violent situations among employees usually escalate if not defused. Violence and the warning signs that typically occur can usually be identified at three levels. It should be noted that any one or combination of warning signs at the three levels may be indicative of a potentially violent situation. The following is an attempt to delineate warning signs and the appropriate response. There is no fail-safe way of presenting this information to employees. Employees will have to make a judgment call as to the appropriate action to take by discerning and evaluating the given situation.

### Level One (Early warning signs)

The person is:

- Intimidating/bullying.

- Discourteous/disrespectful.

- Uncooperative.

- Verbally abusive.

#### Response when early warning signs occur at level one:

- Observe the behavior in question.

- Report concerns to your supervisor to seek help in assessing/responding to the situation. If the offending employee is the reporting employee’s immediate supervisor, the employee should notify the next level of supervision. If the offending person is not an employee, the supervisor of the employee reporting the incident is still the appropriate individual to receive and provide initial response.

- Document the observed behavior in question.

- Supervisor should meet with the offending employee to discuss concerns. Follow these procedures:

- Schedule private time and place.

- Coordinate any necessary union participation.

- Get straight to the point.

- Ask the employee for his or her input.

- Ask the employee what should be done about the behavior.

- Ask how you can help.

- Identify the performance or conduct problems that are of concern.

- Identify the steps you would like to see to correct problems.

- Set limits on what is acceptable behavior and performance.

- Establish time frames to make changes and subsequent consequences for failing to correct behavior and performance.

### Level Two (Escalation of the situation)

The person:

- Argues with customers, vendors, co-workers or management.

- Refuses to obey agency policies and procedures.

- Sabotages equipment and steals property for revenge.

- Verbalizes wishes to hurt co-workers or management.

- Sends threatening notes to co-workers or management.

- Sees self as victimized by management (me against them).

#### Response when the situation has escalated to level two:

- If warranted, call 911 and other appropriate emergency contacts (such as federal protective service) for that particular facility, particularly if the situation requires immediate medical or law enforcement personnel.

- Immediately contact the supervisor and, if needed, the supervisor will contact other appropriate officials such as functional area experts to seek help in assessing and responding to the situation.

- If necessary, secure your own safety and the safety of others, including contacting people who are in danger (make sure emergency numbers for employees are kept up-to-date and accessible).

- Document the observed behavior in question.

- Supervisor should meet with the employee to discuss concerns and, if appropriate, begin or continue progressive discipline. The supervisor should follow these procedures:

- Call for assistance in assessing/responding, if needed.

- Avoid an audience when dealing with the employee.

- Remain calm, speaking slowly, softly and clearly.

- Ask the employee to sit down; see if he or she is able to follow directions.

- Ask questions relevant to the employee’s complaint such as:

  - What can you do to try to regain control of yourself?

  - What can I do to help you regain control?

  - What do you hope to gain by committing violence?

  - Why do you believe you need to be violent to achieve that?

- Try to direct the aggressive tendencies into another kind of behavior so that the employee sees he or she has choices about how to react.

### Level three (further escalation—usually resulting in an emergency response)

The person displays intense anger resulting in:

- Suicidal threats.

- Physical fights.

- Destruction of property.

- Display of extreme rage.

- Utilization of weapons to harm others.

#### Response when situation is a level three emergency:

Any individual observing violent or threatening behavior that poses an immediate danger to people or property is expected to:

- Call 911 and other appropriate emergency contacts (such as federal protective service) for that particular facility, particularly if the situation requires immediate medical or law enforcement personnel.

- Remain calm and contact supervisor.

- Secure your personal safety first.

- Leave the area if your safety is at risk.

- Cooperate with law enforcement personnel when they have responded to the situation.

Once law enforcement personnel are on the scene, they will assume control of the situation. Witnesses should be prepared to provide a description of the violent or threatening individual, details of what was observed, and the exact location of the incident.

- Document the observed behavior in question.

- Supervisor, where needed, will contact functional area experts and will follow the procedures described in the level two section.

### Domestic

Except when those involved in domestic violence are co-workers, most incidents are perpetrated by individuals outside the work setting. It is, therefore, unlikely that the levels of violence described above will be evident. There will, however, be early warning signs that this type of violence is escalating outside the workplace. The victim may show symptoms such as increased fear, emotional episodes or signs of physical injury. Victims, as well as perpetrators, also show signs of work performance deterioration. By intervening when the early warning signs occur, even though violence may not yet have been committed at work, a serious incident may be prevented.

#### Response involving domestic violence

In the event the perpetrator shows up at work with the intent of harming the employee and any others who happen to be in the way or involved, follow the procedures described in level three in responding to the immediate crisis.

If it is known that an employee is being affected by domestic violence, whether or not the perpetrator has shown up at work, it is important to provide support and assistance. Not only is the person at risk for more and usually escalated violence, but it has an impact on the safety and productivity of the entire workforce. Below are some tips for supervisors when helping an employee affected by domestic violence.

- Talk with the employee about your concern of the possibility of the violence extending into the workplace and recommend that the employee contact the employee assistance program or the company’s resource and referral service for assistance in dealing with the problem.

- Recommend that the employee call the National Domestic Violence Hotline (1-800-799-SAFE) for more information about domestic violence or to help find local resources.

- Contact the employee assistance program for more information and/or assistance, if needed.

- Recommend that a workplace safety plan be developed in case an incident occurs at the workplace. Think about the safety of the individual as well as everyone around. Don't be a hero if the perpetrator shows up at work. Follow the safety plan and go for help.

Note: An example Workplace Violence Incident Report Form is located in Section 6—Forms.

SECTION 4—ENVIRONMENTAL, HEALTH AND SAFETY POLICIES, PROCEDURES AND PRACTICES

29 CFR PART 1904—RECORDKEEPING

29 CFR Part 1904.35—Employee Involvement

Scope/Application: The purpose of this rule is to require employers to record and report work-related fatalities, injuries and illnesses.

Standard Requirements for 29 CFR Part 1904.35—Employee Involvement

- Procedures/Practices: Reporting accidents

- Training: Initially

- Documentation: Medical records, exposure records

Example Procedures: The following example procedures may be modified to be site-specific to your organization. Please reference 29 CFR Part 1904—Recordkeeping and 1904.35—Employee Involvement to ensure that all the standard requirements are being met.

Recordkeeping and Reporting Procedures

29 CFR Part 1904—Recordkeeping  provides the recordkeeping requirements for recording and reporting injuries and illnesses. 29 CFR 1926.33—Access to Employee Exposure and Medical Records (Refers to 29 CFR 1910.1020—Access to Employee Exposure and Medical Records) provides the recordkeeping requirements for employee exposure and medical records referenced in many health standards. The North Carolina Industrial Commission (NCIC) administers the Worker’s Compensation Act; website http://www.ic.nc.gov/—Worker’s Compensation

Injuries and Illnesses Reporting

Employees are required to report any injury or work-related illness to their immediate supervisor regardless of how serious. This procedure will be covered during employee orientation. Minor injuries such as cuts and scrapes will be entered on the first aid log. The employee will use an “Employee’s Incident Report” form (or Workers’ Compensation Form 18) to report more serious/compensable injuries.

The supervisor will:

- Investigate all injuries and illnesses in their work area, including serious first-aid cases and near miss incidents. Complete an “Incident Investigation Report” form and Supervisor’s Incident Investigation” form immediately following the incident.

- Provide all incident investigation report forms to the safety and health manager/company medical professional or HR/personnel office within three days of the incident.

The safety and health manager/company medical professional/HR or personnel manager will:

- Determine from the Employee’s Incident Report form, Incident Investigation Report form and any claim form associated with the incident whether it must be recorded on the OSHA 300 Injury and Illness Log and Summary according to the instructions for that form. (The NCIC Form 19 may be used in lieu of OSHA Form 301.)

- Enter any recordable incident within seven calendar days after becoming aware of the injury/illness/fatality.

- If the injury is not recorded on the OSHA log, add it to the first aid log, which is used to record non-OSHA recordable injuries and near misses.

- The employer may need to fill out and file a Workers’ Compensation Form 19, “Employer’s Report of Employee’s Injury,” with the Industrial Commission within five days of learning of an injury or allegation. If a Form 19 is filed with the Industrial Commission, the employer must provide a copy of the Form 19 to the employee, together with a blank Form 18, “Notice of Accident to Employer and Claim of Employee,” for use by the employee. (http://www.ic.nc.gov/)

A signed copy of the OSHA log summary (OSHA Form 300A) for the previous year must be posted on the safety bulletin board from February 1 through April 30. The log must be kept on file for at least five years. Any employee can view an OSHA log upon request at any time during the year.

29 CFR PART 1926—CONSTRUCTION

29 CFR 1926.1101—Asbestos

Scope/Application: This standard applies to a company when employees have occupational exposure to asbestos.

Standard Requirements for 29 CFR 1926.1101—Asbestos:

- Procedures/Practices: Work practices, engineering controls

- Training: Initially, annually

- Inspections: Initially, regularly, frequently, each shift

- Recordkeeping: Programs, medical records, exposure records, objective data, training records

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.1101—Asbestos to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

Asbestos—Work Practices and Engineering Controls

These practices cover the general provisions to be followed in all asbestos jobs, provisions which must be followed for all Class I asbestos jobs, and provisions governing the construction and testing of negative pressure enclosures.

The first category includes the requirement for use of wet methods, HEPA vacuums, and immediate bagging of waste; Class I work must conform to the following provisions:

- Oversight by competent person

- Use of critical barriers over all openings to work area

- Isolation of HVAC systems

- Use of impermeable drop cloths and coverage of all objects within

- Regulated areas

In addition, more specific requirements for negative pressure enclosures (NPE) include:

- Maintenance of -0.02 inches water gauge within enclosure

- Manometric measurements

- Air movement away from employees performing removal work

- Smoke testing or equivalent for detection of leaks and air direction

- Deactivation of electrical circuits, if not provided with ground-fault circuit interrupters.

Planning the Project

An exposure assessment must be conducted before the asbestos job is begun. Information needed for that assessment, include data relating to prior similar jobs, as applied to the specific variables of the current job. The information needed to conduct the assessment will be useful in planning the project, and in complying with any reporting requirements, when significant changes are being made to a control system. Although the Asbestos standard does not explicitly require the preparation of a written asbestos removal plan, the usual constituents of such a plan, i.e., a description of the enclosure, the equipment, and the procedures to be used throughout the project, should be determined before the enclosure can be erected. The following information should be included in the planning of the system:

- A physical description of the work area;

- A description of the approximate amount of material to be removed;

- A schedule for turning off and sealing existing ventilation systems;

- Personnel hygiene procedures;

- A description of personal protective equipment and clothing to be worn by employees;

- A description of the local exhaust ventilation systems to be used and how they are to be tested;

- A description of work practices to be observed by employees;

- An air monitoring plan;

- A description of the method to be used to transport waste material;

- The location of the dump site.

Materials and Equipment Necessary for Asbestos Removal

Although individual asbestos removal projects vary in terms of the equipment required to accomplish the removal of the materials, some equipment and materials are common to most asbestos removal operations.

Plastic sheeting used to protect horizontal surfaces, seal HVAC openings or to seal vertical openings and ceilings should have a minimum thickness of 6 mils. Tape or other adhesive used to attach plastic sheeting should be of sufficient adhesive strength to support the weight of the material plus all stresses encountered during the entire duration of the project without becoming detached from the surface.

Other equipment and materials which should be available at the beginning of each project are:

- HEPA Filtered Vacuum is essential for cleaning the work area after the asbestos has been removed. It should have a long hose capable of reaching out-of-the-way places, such as areas above ceiling tiles, behind pipes, etc.

- Portable air ventilation systems installed to provide the negative air pressure and air removal from the enclosure must be equipped with a HEPA filter. The number and capacity of units required to ventilate an enclosure depend on the size of the area to be ventilated. The filters for these systems should be designed in such a manner that they can be replaced when the air flow volume is reduced by the build-up of dust in the filtration material. Pressure monitoring devices with alarms and strip chart recorders attached to each system to indicate the pressure differential and the loss due to dust buildup on the filter are recommended.

- Water sprayers should be used to keep the asbestos material as saturated as possible during removal; the sprayers will provide a fine mist that minimizes the impact of the spray on the material. Water used to saturate the asbestos containing material can be amended by adding at least 15 milliliters (1/4 ounce) of wetting agent in 1 liter (1 pint) of water. An example of a wetting agent is a 50/50 mixture of  polyoxyethylene ether and polyoxyethylene polyglycol ester.

- Backup power supplies are recommended, especially for ventilation systems.

- Shower and bath water should be with mixed hot and cold water faucets. Water that has been used to clean personnel or equipment should either be filtered or be collected and discarded as asbestos waste. Soap and shampoo should be provided to aid in removing dust from the workers' skin and hair.

- Appropriate respiratory protection and protective clothing.

- Required signs and labels.

Preparing the Work Area

Disabling HVAC Systems: The power to the heating, ventilation, and air conditioning systems that service the restricted area must be deactivated and locked off. All ducts, grills, access ports, windows and vents must be sealed off with two layers of plastic to prevent entrainment of contaminated air.

Operating HVAC Systems in the Restricted Area: If components of a HVAC system located in the restricted area are connected to a system that will service another zone during the project, the portion of the duct in the restricted area must be sealed and pressurized. Necessary precautions include caulking the duct joints, covering all cracks and openings with two layers of sheeting, and pressurizing the duct throughout the duration of the project by restricting the return air flow. The power to the fan supplying the positive pressure should be locked "on" to prevent pressure loss.

Sealing Elevators: If an elevator shaft is located in the restricted area, it should be either shut down or isolated by sealing with two layers of plastic sheeting. The sheeting should provide enough slack to accommodate the pressure changes in the shaft without breaking the air-tight seal.

Removing Mobile Objects: All movable objects should be cleaned and removed from the work area before an enclosure is constructed unless moving the objects creates a hazard. Mobile objects will be assumed to be contaminated and should be either cleaned with amended water and a HEPA vacuum and then removed from the area or wrapped and then disposed of as hazardous waste.

Cleaning and Sealing Surfaces: After cleaning with water and a HEPA vacuum, surfaces of stationary objects should be covered with two layers of plastic sheeting. The sheeting should be secured with duct tape or an equivalent method to provide a tight seal around the object.

Bagging Waste: In addition to the requirement for immediate bagging of waste for disposal, it is further recommended that the waste material be double-bagged and sealed in plastic bags designed for asbestos disposal. The bags should be stored in a waste storage area that can be controlled by the workers conducting the removal. Filters removed from air handling units and rubbish removed from the area are to be bagged and handled as hazardous waste.

Constructing the Enclosure

The enclosure should be constructed to provide an air-tight seal around ducts and openings into existing ventilation systems and around penetrations for electrical conduits, telephone wires, water lines, drain pipes, etc. Enclosures should be both airtight and watertight except for those openings designed to provide entry and/or air flow control.

Size: An enclosure should be the minimum volume to encompass all of the working surfaces yet allow unencumbered movement by the worker(s), provide unrestricted air flow past the worker(s), and ensure walking surfaces can be kept free of tripping hazards.

Shape: The enclosure may be any shape that optimizes the flow of ventilation air past the worker(s).

Structural Integrity: The walls, ceilings and floors must be supported in such a manner that portions of the enclosure will not fall down during normal use.

Openings: It is not necessary that the structure be airtight; openings may be designed to direct air flow. Such openings should be located at a distance from active removal operations. They should be designed to draw air into the enclosure under all anticipated circumstances. In the event that negative pressure is lost, they should be fitted with either HEPA filters to trap dust or automatic trap doors that prevent dust from escaping the enclosure. Openings for exits should be controlled by an airlock or a vestibule.

Barrier Supports: Frames should be constructed to support all unsupported spans of sheeting.

Sheeting: Walls, barriers, ceilings, and floors should be lined with two layers of plastic sheeting having a thickness of at least 6 mil.

Seams: Seams in the sheeting material should be minimized to reduce the possibilities of accidental rips and tears in the adhesive or connections. All seams in the sheeting should overlap, be staggered and not be located at corners or wall-to-floor joints. Areas Within an Enclosure: Each enclosure consists of a work area, a decontamination area, and waste storage area. The work area where the asbestos removal operations occur should be separated from both the waste storage area and the contamination control area by physical curtains, doors, and/or airflow patterns that force any airborne contamination back into the work area.

Hygiene Facilities

Decontamination Area Entry Procedures. Employees will enter the decontamination area through the clean room;

remove and deposit street clothing within a locker provided for their use; and put on protective clothing and respiratory protection before leaving the clean room. Before entering the regulated area, employees must pass through the equipment room.

Equipment room. The equipment room will be supplied with impermeable, labeled bags and containers for the containment and disposal of contaminated protective equipment.

Decontamination Area Exit Procedures. During egress from the work area, each worker should step into the equipment room, clean tools and equipment, and remove gross contamination from clothing by wet cleaning and HEPA vacuuming. Before entering the shower area, foot coverings, head coverings, hand coverings, and coveralls are removed and placed in impervious bags for disposal or cleaning. Airline connections from airline respirators with HEPA disconnects and power cables from powered air-purifying respirators (PAPRs) will be disconnected just prior to entering the shower room.

Clean change room. The clean room is equipped with a locker or appropriate storage container for each employee's use. Employees may be permitted to clean their protective clothing with a portable HEPA-equipped vacuum before such employees leave the regulated area when engaged in Class I asbestos jobs. Following showering, employees must then change into street clothing in clean change areas.

Shower area. Whenever possible, shower facilities will be adjacent both to the equipment room and the clean room. Asbestos contamination will be removed from the worksuits in the equipment room using a HEPA vacuum before proceeding to a shower if not adjacent to the work area; or contaminated worksuits will be removed in the equipment room, then clean worksuits will be donned, and employees will proceed to a shower that is not adjacent to the work area.

Lunch Areas. Whenever food or beverages are consumed at the worksite where employees are performing Class I asbestos work, the employer shall provide lunch areas in which the airborne concentrations of asbestos are below the permissible exposure limit and/or excursion limit.

Establishing Negative Pressure Within the Enclosure

Negative Pressure: Air is to be drawn into the enclosure under all anticipated conditions and exhausted through a HEPA filter for 24 hours a day during the entire duration of the project.

Air Flow Tests: Air flow patterns will be checked before removal operations begin, at least once per operating shift and any time there is a question regarding the integrity of the enclosure. The primary test for air flow is to trace air currents with smoke tubes or other visual methods. Flow checks are made at each opening and at each doorway to demonstrate that air is being drawn into the enclosure and at each worker's position to show that air is being drawn away from the breathing zone.

Monitoring Pressure Within the Enclosure: After the initial air flow patterns have been checked, the static pressure must be monitored within the enclosure. Monitoring may be made using manometers, pressure gauges, or combinations of these devices. It is recommended that they be attached to alarms and strip chart recorders at points identified by the design engineer.

Corrective Actions: If the manometers or pressure gauges demonstrate a reduction in pressure differential below the required level, work should cease and the reason for the change investigated and appropriate changes made. The air flow patterns should be retested before work begins again.

Pressure Differential: The design parameters for static pressure differentials between the inside and outside of enclosures typically range from 0.02 to 0.10 inches of water gauge, depending on conditions. All zones inside the enclosure must have less pressure than the ambient pressure outside of the enclosure (-0.02 inches water gauge differential). Design specifications for the differential vary according to the size, configuration, and shape of the enclosure as well as ambient and mechanical air pressure conditions around the enclosure.

Air Flow Patterns: The flow of air past each worker shall be enhanced by positioning the intakes and exhaust ports to remove contaminated air from the worker's breathing zone, by positioning HEPA vacuum cleaners to draw air from the worker's breathing zone, by forcing relatively uncontaminated air past the worker toward an exhaust port, or by using a combination of methods to reduce the worker's exposure.

Air Handling Unit Exhaust: The exhaust plume from air handling units should be located away from adjacent personnel and intakes for HVAC systems.

Air Flow Volume: The air flow volume (cubic meters per minute) exhausted (removed) from the workplace must exceed the amount of makeup air supplied to the enclosure. The rate of air exhausted from the enclosure should be designed to maintain a negative pressure in the enclosure and air movement past each worker. The volume of air flow removed from the enclosure should replace the volume of the container at every 5 to 15 minutes. Air flow volume will need to be relatively high for large enclosures, enclosures with awkward shapes, enclosures with multiple openings, and operations employing several workers in the enclosure.

Air Flow Velocity: At each opening, the air flow velocity must visibly "drag" air into the enclosure. The velocity of air flow within the enclosure must be adequate to remove airborne contamination from each worker's breathing zone without disturbing the asbestos-containing material on surfaces.

Airlocks: Airlocks are mechanisms on doors and curtains that control the air flow patterns in the doorways. If air flow occurs, the patterns through doorways must be such that the air flows toward the inside of the enclosure. Sometimes vestibules, double doors, or double curtains are used to prevent air movement through the doorways. To use a vestibule, a worker enters a chamber by opening the door or curtain and then closing the entry before opening the exit door or curtain.

Airlocks should be located between the equipment room and shower room, between the shower room and the clean room, and between the waste storage area and the outside of the enclosure. The air flow between adjacent rooms must be checked using smoke tubes or other visual tests to ensure the flow patterns draw air toward the work area without producing eddies.

Monitoring for Airborne Concentrations

In addition to the breathing zone samples taken as outlined in paragraph (f) of this section, samples of air should be taken to demonstrate the integrity of the enclosure, the cleanliness of the clean room and shower area, and the effectiveness of the HEPA filter. If the clean room is shown to be contaminated, the room must be relocated to an uncontaminated area.

Samples taken near the exhaust of portable ventilation systems must be done with care.

General Work Practices

Preventing dust dispersion is the primary means of controlling the spread of asbestos within the enclosure. Whenever practical, the point of removal should be isolated, enclosed, covered, or shielded from the workers in the area. Waste asbestos containing materials must be bagged during or immediately after removal; the material must remain saturated until the waste container is sealed.

Waste material with sharp points or corners must be placed in hard air-tight containers rather than bags.

Whenever possible, large components should be sealed in plastic sheeting and removed intact.

Bags or containers of waste will be moved to the waste holding area, washed, and wrapped in a bag with the appropriate labels.

Cleaning the Work Area

Surfaces within the work area should be kept free of visible dust and debris to the extent feasible. Whenever visible dust appears on surfaces, the surfaces within the enclosure must be cleaned by wiping with a wet sponge, brush, or cloth and then vacuumed with a HEPA vacuum.

All surfaces within the enclosure should be cleaned before the exhaust ventilation system is deactivated and the enclosure is disassembled. An approved encapsulant may be sprayed onto areas after the visible dust has been removed.

29 CFR 1926.905—Loading of Explosives or Blasting Agents

Scope/Application: This standard applies to loading of explosive and blasting agents.

Standard Requirements for 29 CFR 1926.905—Loading of Explosives or Blasting Agents:

- Procedures/Practices: Loading procedures

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Documentation: Record of supplies, agents and explosives, inventory of agents and explosives

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.905—Loading of Explosives or Blasting Agents to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

Explosives and Blasting Agents—Loading Procedures

Loading Procedures

Procedures that permit safe and efficient loading will be established before loading is started.

The following site-specific procedures have been established for loading explosives:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The following site-specific procedures have been established for loading blasting agents:

_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In addition,

- All drill holes will be sufficiently large to admit freely the insertion of the cartridges of explosives.

- Tamping will be done only with wood rods or plastic tamping poles without exposed metal parts, but nonsparking metal connectors may be used for jointed poles. Violent tamping will be avoided. The primer will never be tamped.

- No holes will be loaded except those to be fired in the next round of blasting. After loading, all remaining explosives and detonators will be immediately returned to an authorized magazine.

- Drilling will not be started until all remaining butts of old holes are examined for unexploded charges, and if any are found, they will be refired before work proceeds.

- No person will be allowed to deepen drill holes which have contained explosives or blasting agents.

- No explosives or blasting agents will be left unattended at the blast site.

- Machines and all tools not used for loading explosives into bore holes will be removed from the immediate location of holes before explosives are delivered. Equipment will not be operated within 50 feet of loaded holes.

- No activity of any nature other than that which is required for loading holes with explosives will be permitted in a blast area.

- Powerlines and portable electric cables for equipment being used will be kept a safe distance from explosives or blasting agents being loaded into drill holes. Cables in the proximity of the blast area shall be deenergized and locked out by the blaster.

- Holes will be checked prior to loading to determine depth and conditions. Where a hole has been loaded with explosives but the explosives have failed to detonate, there will be no drilling within 50 feet of the hole.

- When loading a long line of holes with more than one loading crew, the crews will be separated by practical distance consistent with efficient operation and supervision of crews.

- No explosive will be loaded or used underground in the presence of combustible gases or combustible dusts.

- No explosives other than those in Fume Class 1, as set forth by the Institute of Makers of Explosives, will be used; however, explosives complying with the requirements of Fume Class 2 and Fume Class 3 may be used if adequate ventilation has been provided.

- All blast holes in open work will be stemmed to the collar or to a point which will confine the charge.

- A bore hole will never be sprung when it is adjacent to or near a hole that is loaded. Flashlight batteries will not be used for springing holes.

- Drill holes which have been sprung or chambered, and which are not water-filled, will be allowed to cool before explosives are loaded.

- No loaded holes will be left unattended or unprotected.

- When loading blasting agents pneumatically over electric blasting caps, semiconductive delivery hose will be used and the equipment will be bonded and grounded.

Warning Signs

Warning signs, indicating a blast area, will be maintained at all approaches to the blast area. The warning sign lettering will not be less than 4 inches in height on a contrasting background.

Records and Inventory

The blaster will maintain an accurate, up-to-date record of explosives, blasting agents, and blasting supplies used in a blast and will keep an accurate running inventory of all explosives and blasting agents stored for the operation. This record and inventory will be maintained at:______________________________________________________.

29 CFR 1926.705—Requirements for Lift-Slab Operations

Scope/Application: This standard applies to concrete and masonry lift-slab operations.

Standard Requirements for 29 CFR 1926.705—Requirements for Lift-Slab Operations:

- Procedures/Practices: Protective measures

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Documentation: Plans, designs

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.705—Loading of Explosives or Blasting Agents to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

Concrete and Masonry Lift-Slab Operations—Protective Measures

and Procedures

Plans and Designs

Lift-slab operations will be designed and planned by a registered professional engineer who has experience in lift-slab construction. These plans and designs will include detailed instructions and sketches indicating the prescribed method of erection. These plans and designs will also include provisions for ensuring lateral stability of the building/structure during construction.

Jacks/Lifting Units Design

Jacks/lifting units will be marked to indicate their rated capacity as established by the manufacturer and will not be loaded beyond their rated capacity as established by the manufacturer.

Jacking equipment will be capable of supporting at least two and one-half times the load being lifted during jacking operations and the equipment shall not be overloaded. For the purpose of this provision, jacking equipment includes any load bearing component which is used to carry out the lifting operation(s). Such equipment includes, but is not limited, to the following: threaded rods, lifting attachments, lifting nuts, hook-up collars, T-caps, shearheads, columns, and footings.

Jacks/lifting units will be designed and installed so that they will neither lift nor continue to lift when they are loaded in excess of their rated capacity. They will also have a safety device installed which will cause the jacks/lifting units to support the load in any position in the event any jacklifting unit malfunctions or loses its lifting ability.

Jacks/Lifting Procedures

Jacking operations will be synchronized in such a manner to ensure even and uniform lifting of the slab. During lifting, all points at which the slab is supported shall be kept within 1/2 inch of that needed to maintain the slab in a level position.

If leveling is automatically controlled, a device will be installed that will stop the operation when the 1/2 inch tolerance is exceeded or where there is a malfunction in the jacking (lifting) system.

If leveling is maintained by manual controls, such controls will be located in a central location and attended by a competent person whole lifting is in progress

No employee, except those essential to the jacking operation, will be permitted in the building/structure while any jacking operation is taking place unless the building/structure has been reinforced sufficiently to ensure its integrity during erection.

Under no circumstances, will any employee who is not essential to the jacking operation be permitted immediately beneath a slab while it is being lifted.

When making temporary connections to support slabs, wedges will be secured by tack welding, or an equivalent method of securing the wedges to prevent them from falling out of position. Lifting rods may not be released until the wedges at that column have been secured.

All welding on temporary and permanent connections will be performed by a certified welder, familiar with the welding requirements specified in the plans and specifications for the lift-slab operation.

Load transfer from jacks/lifting units to building columns will not be executed until the welds on the column shear plates (weld blocks) are cooled to air temperature.

Jacks/lifting units will be positively secured to building columns so that they do not become dislodged or dislocated.

Jack/Lifting Unit Measures

All equipment will be designed and installed so that the lifting rods cannot slip out of position. Whenever this is not possible, we will institute other measures such as the use of locking or blocking devices, which will provide positive connection between the lifting rods and attachments and will prevent components from disengaging during lifting operations.

The equipment that needs additional measures include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The measures used for________________________include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The measures used for________________________include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The measures used for________________________include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

Scope/Application: This standard applies to concrete and masonry lift-slab operations.

Standard Requirements for 29 CFR 1926 Subpart CC—Cranes & Derricks in Construction:

- Procedures/Practices: Manufacturer procedures, employer procedures, assembly/disassembly procedures, electrical procedures, equipment procedures, monitoring procedures, testing procedures, system operations, climbing procedures, operational procedures

- Training: Initially, refresher

- Documentation: Plans, procedures, training, inspections

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926 Subpart CC—Cranes & Derricks in Construction to ensure that all requirements are being met.

Cranes and Derricks—Procedures

Manufacturer Procedures

When assembling or disassembling equipment, we will generally follow manufacturer procedures. In the following cases, we will follow our own procedures. These cases include:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Note: We will follow manufacturer procedures when an employer uses synthetic slings during assembly or disassembly rigging.

Employer Procedures

Qualified person. Our procedures will only be developed and updated by a qualified person. Our site-specific procedures include the following:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In addition, when using our procedures instead of manufacturer procedures for assembly/disassembly, we will also use the following procedures:

- Prevent unintended dangerous movement, and prevent collapse, of any part of the equipment.

- Provide adequate support and stability of all parts of the equipment.

- Position employees involved in the assembly/disassembly operation so that their exposure to unintended movement or collapse of part or all of the equipment is minimized.

Assembly/Disassembly Procedures

Assembly/disassembly will be directed by a person who meets the criteria for both a competent person and a qualified person, or by a competent person who is assisted by one or more qualified persons.

Where the assembly/disassembly is being performed by only one person, that person will meet the criteria for both a competent person and a qualified person.

Review of procedures. The qualified and competent person will be responsible for reviewing the applicable assembly/disassembly procedures immediately prior to the commencement of assembly/disassembly.

Outriggers and Stabilizers. When the load to be handled and the operating radius require the use of outriggers or stabilizers, or at any time when outriggers or stabilizers are used, all of the following will be met:

- The outriggers or stabilizers will be either fully extended or, if manufacturer procedures permit, deployed as specified in the load chart.

- The outriggers will be set to remove the equipment weight from the wheels (does not apply to stabilizers).

- When outrigger floats are used, they will be attached to the outriggers. When stabilizer floats are used, they will be attached to the stabilizers.

- Each outrigger or stabilizer must be visible to the operator or to a signal person during extension and setting.

- Outrigger and stabilizer blocking must:

  - Be placed only under the outrigger or stabilizer float/pad of the jack or, where the outrigger or stabilizer is designed without a jack, under the outer bearing surface of the extended outrigger or stabilizer beam.

- For locomotive cranes, when using outriggers or stabilizers to handle loads, the manufacturer's procedures will be followed. When lifting loads without using outriggers or stabilizers, the manufacturer's procedures will be met regarding truck wedges or screws.

Rigging

The rigging work will only be done by a qualified rigger.

Synthetic slings are protected from:

- Abrasive, sharp or acute edges, and configurations that could cause a reduction of the sling's rated capacity, such as distortion or localized compression.

- When synthetic slings are used, the synthetic sling manufacturer's instructions, limitations, specifications and recommendations will be followed.

Hazard Assessments and Precautions Inside the Work Zone

Before beginning equipment operations, we will:

Identify the work zone by either:

- Demarcating boundaries (such as with flags, or a device such as a range limit device or range control warning device) and prohibiting the operator from operating the equipment past those boundaries, or

- Defining the work zone as the area 360 degrees around the equipment, up to the equipment's maximum working radius.

- Determine if any part of the equipment, load line or load (including rigging and lifting accessories), if operated up to the equipment's maximum working radius in the work zone, could get closer than 20 feet to a power line. If so, we will use Option (1), Option (2), or Option (3):

  - Option (1)-Deenergize and ground. Confirm from the utility owner/operator that the power line has been deenergized and visibly grounded at the worksite.

  - Option (2)-20 foot clearance. Ensure that no part of the equipment, load line, or load (including rigging and lifting accessories), gets closer than 20 feet to the power line by implementing protective measures.

  - Option (3)-Table A clearance. Determine the line's voltage and the minimum approach distance permitted under Table A.

TABLE A—MINIMUM CLEARANCE DISTANCES

| Voltage (nominal, kV, alternating current) | Minimum clearance distance (feet) |
| --- | --- |
| up to 50 over 50 to 200 over 200 to 350 over 350 to 500 over 500 to 750 over 750 to 1,000 over 1,000 | 10 15 20 25 35 45 (As established by the utility owner/operator or registered professional engineer who is a qualified person with respect to electrical power transmission and distribution). |

Note: The value that follows "to" is up to and includes that value. For example, over 50 to 200 means up to and including 200kV.

- If any part of the equipment, load line or load (including rigging and lifting accessories), while operating up to the equipment's maximum working radius in the work zone, could get closer than the minimum approach distance of the power line permitted under Table A, then we will:

  - Conduct a planning meeting with the operator and the other workers who will be in the area of the equipment or load to review the location of the power line(s), and the steps that will be implemented to prevent encroachment/electrocution.

  - If tag lines are used, they must be non-conductive.

  - Erect and maintain an elevated warning line, barricade, or line of signs, in view of the operator, equipped with flags or similar high-visibility markings, at 20 feet from the power line (if using Option (2) or at the minimum approach distance under Table A if using Option (3).

  - If the operator is unable to see the elevated warning line, a dedicated spotter will be used in addition to implementing one of the following measures:

    - A proximity alarm set to give the operator sufficient warning to prevent encroachment.

    - A dedicated spotter who is in continuous contact with the operator. Where this measure is selected, the dedicated spotter will:

      - Be equipped with a visual aid to assist in identifying the minimum clearance distance.

      - Be positioned to effectively gauge the clearance distance.

      - Where necessary, use equipment that enables the dedicated spotter to communicate directly with the operator.

      - Give timely information to the operator so that the required clearance distance can be maintained.

Electrical Procedures

A planning meeting with the utility owner/operator (or registered professional engineer who is a qualified person with respect to electrical power transmission and distribution) will be held to determine the procedures that will be followed to prevent electrical contact and electrocution.

At a minimum, these procedures will be followed:

- If the power line is equipped with a device that automatically reenergizes the circuit in the event of a power line contact, before the work begins, the automatic reclosing feature of the circuit interrupting device must be made inoperative if the design of the device permits.

- A dedicated spotter who is in continuous contact with the operator.

  - The dedicated spotter must:

    - Be equipped with a visual aid to assist in identifying the minimum clearance distance.

    - Be positioned to effectively gauge the clearance distance.

    - Where necessary, use equipment that enables the dedicated spotter to communicate directly with the operator.

    - Give timely information to the operator so that the required clearance distance can be maintained.

- An elevated warning line, or barricade (not attached to the crane), in view of the operator (either directly or through video equipment), equipped with flags or similar high-visibility markings, to prevent electrical contact.

Procedures for Equipment Traveling Under or Near a Power Line on a Construction Site With No Load

- The boom/mast and boom/mast support system will be kept lowered.

- The clearances specified in Table T of this section are maintained.

TABLE T—MINIMUM CLEARANCE DISTANCES WHILE TRAVELING WITH NO LOAD

| Voltage (nominal, kV, alternating current) | While traveling—minimum clearance distance (feet) |
| --- | --- |
| up to 0.75 over .75 to 50 over 50 to 345 over 345 to 750 Over 750 to 1,000 Over 1,000 | 4 6 10 16 20 (as established by the utility owner/operator or registered professional engineer who is a qualified person with respect to electrical power transmission and distribution). |

- The effects of speed and terrain on equipment movement (including movement of the boom/mast) will be considered so that those effects do not cause the minimum clearance distances specified in Table T to be breached.

- Dedicated spotter. If any part of the equipment while traveling will get closer than 20 feet to the power line, a dedicated spotter who is in continuous contact with the driver/operator will be used. The dedicated spotter must:

  - Be positioned to effectively gauge the clearance distance.

  - Where necessary, use equipment that enables the dedicated spotter to communicate directly with the operator.

  - Give timely information to the operator so that the required clearance distance can be maintained.

- Additional precautions for traveling in poor visibility. When traveling at night, or in conditions of poor visibility, we will ensure that:

  - The power lines are illuminated or another means of identifying the location of the lines is used.

  - A safe path of travel is identified and used.

Wire Rope Inspections

Shift inspection—A competent person will begin a visual inspection prior to each shift the equipment is used, which will be completed before or during that shift.

The inspection will consist of observation of wire ropes (running and standing) that are likely to be in use during the shift for apparent deficiencies, including those listed below.

Apparent deficiencies—Category I. Apparent deficiencies in this category include the following:

- Significant distortion of the wire rope structure such as kinking, crushing, unstranding, birdcaging, signs of core failure or steel core protrusion between the outer strands.

- Significant corrosion.

- Electric arc damage (from a source other than power lines) or heat damage.

- Improperly applied end connections.

- Significantly corroded, cracked, bent, or worn end connections (such as from severe service).

Apparent deficiencies—Category II. Apparent deficiencies in this category are:

- Visible broken wires, as follows:

  - In running wire ropes: Six randomly distributed broken wires in one rope lay or three broken wires in one strand in one rope lay, where a rope lay is the length along the rope in which one strand makes a complete revolution around the rope.

  - In rotation resistant ropes: Two randomly distributed broken wires in six rope diameters or four randomly distributed broken wires in 30 rope diameters.

  - In pendants or standing wire ropes: More than two broken wires in one rope lay located in rope beyond end connections and/or more than one broken wire in a rope lay located at an end connection.

  - A diameter reduction of more than 5% from nominal diameter.

Apparent deficiencies—Category III. Apparent deficiencies in this category include the following:

- In rotation resistant wire rope, core protrusion or other distortion indicating core failure.

- Prior electrical contact with a power line.

- A broken strand.

Critical review items. The competent person will give particular attention to all of the following:

- Rotation resistant wire rope in use.

- Wire rope being used for boom hoists and luffing hoists, particularly at reverse bends.

- Wire rope at flange points, crossover points and repetitive pickup points on drums.

- Wire rope at or near terminal ends.

- Wire rope in contact with saddles, equalizer sheaves or other sheaves where rope travel is limited.

Removal From Service

If a deficiency in Category I is identified, an immediate determination will be made by the competent person as to whether the deficiency constitutes a safety hazard. If the deficiency is determined to constitute a safety hazard, operations involving use of the wire rope in question will be prohibited until:

- The wire rope is replaced.

- If the deficiency is localized, the problem is corrected by severing the wire rope in two; the undamaged portion may continue to be used. Joining lengths of wire rope by splicing is prohibited. If a rope is shortened, we will ensure that the drum will still have two wraps of wire when the load and/or boom is in its lowest position.

If a deficiency in Category II is identified, operations involving use of the wire rope in question will be prohibited until:

- We will comply with the wire rope manufacturer's established criterion for removal from service or a different criterion that the wire rope manufacturer has approved in writing for that specific wire rope.

- The wire rope is replaced.

- If the deficiency is localized, the problem is corrected by severing the wire rope in two; the undamaged portion may continue to be used. Joining lengths of wire rope by splicing is prohibited. If a rope is shortened, we will ensure that the drum will still have two wraps of wire when the load and/or boom is in its lowest position.

If a deficiency in Category III is identified, operations involving use of the wire rope in question will be prohibited until:

- The wire rope is replaced.

- If the deficiency (other than power line contact) is localized, the problem is corrected by severing the wire rope in two; the undamaged portion may continue to be used. Joining lengths of wire rope by splicing is prohibited. Repair of wire rope that contacted an energized power line is also prohibited. If a rope is shortened, we will ensure that the drum will still have two wraps of wire when the load and/or boom is in its lowest position.

- Where a wire rope is required to be removed from service, either the equipment (as a whole) or the hoist with that wire rope must be tagged-out, until the wire rope is repaired or replaced.

Monthly inspection. Each month an inspection will be conducted of items inspected during shift inspection.

- The inspection will include any deficiencies that the qualified person who conducts the annual inspection determines they must be monitored.

- Wire ropes on equipment will not be used until an inspection under this paragraph demonstrates that no corrective action is required.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual/comprehensive. At least every 12 months, wire ropes in use on equipment inspected during shift inspection will be conducted by a qualified person.

In addition, at least every 12 months, the wire ropes in use on equipment must be inspected by a qualified person, as follows:

- For deficiencies.

- The inspection will include covering the surface of the entire length of the wire ropes, with particular attention given to all of the following:

  - Critical review items.

  - Items normally hidden during shift and monthly inspections.

  - Wire rope subject to reverse bends.

  - Wire rope passing over sheaves.

If a deficiency is identified, an immediate determination must be made by the qualified person as to whether the deficiency constitutes a safety hazard.

If the deficiency is determined to constitute a safety hazard, operations involving use of the wire rope in question will be prohibited until:

- The wire rope is replaced.

If the deficiency is localized, the problem is corrected by severing the wire rope in two; the undamaged portion may continue to be used. Joining lengths of wire rope by splicing is prohibited. If a rope is shortened, we will ensure that the drum will still have two wraps of wire when the load and/or boom is in its lowest position.

If the qualified person determines that, though not presently a safety hazard, the deficiency needs to be monitored, the employer will ensure that the deficiency is checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Equipment Inspection Procedures

Modified equipment—Equipment that has had modifications or additions which affect the safe operation of the equipment (such as modifications or additions involving a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) or capacity will be inspected by a qualified person after such modifications/additions have been completed, prior to initial use.

The inspection will meet all of the following requirements:

- Inspection will assure that the modifications or additions have been done with the approval of the manufacturer or registered professional engineer (RPE).

- Inspection will include functional testing of the equipment.

- Equipment will not be used until an inspection has been approved by the manufacturer or an RPE.

Repaired/adjusted equipment—Equipment that has had a repair or adjustment that relates to safe operation (such as: A repair or adjustment to a safety device or operator aid, or to a critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism), will be inspected by a qualified person after such a repair or adjustment has been completed, prior to initial use.

The inspection will meet all of the following requirements:

- The qualified person will determine if the repair/adjustment meets manufacturer equipment criteria (where applicable and available).

- Where manufacturer equipment criteria are unavailable or inapplicable, the qualified person will:

  - Determine if an RPE is needed to develop criteria for the repair/adjustment. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

  - Determine if the repair/adjustment can be developed by a qualified person or an RPE is required.

- Inspection will include functional testing of the repaired/adjusted parts and other components that may be affected by the repair/adjustment.

- Equipment will not be used until an inspection demonstrates that the repair/adjustment meets manufacturer requirements and approval.

Post-assembly—Upon completion of assembly, the equipment will be inspected by a qualified person to assure that it is configured in accordance with manufacturer equipment criteria.

Where manufacturer equipment criteria are unavailable, a qualified person will:

- Determine if an familiar with the type of equipment involved is needed to develop criteria for the equipment configuration. If an RPE is not needed, we will ensure that the criteria are developed by the qualified person. If an RPE is needed, we will ensure that they are developed by an RPE.

- Determine if the equipment meets the criteria of needing an RPE.

- Equipment will not be used until an inspection demonstrates that the equipment is configured in accordance with the applicable criteria.

Each shift—A competent person will begin a visual inspection prior to each shift the equipment will be used, which must be completed before or during that shift.

- The inspection will consist of observation for apparent deficiencies.

- Taking apart equipment components and booming down is not required as part of this inspection unless the results of the visual inspection or trial operation indicate that further investigation necessitating taking apart equipment components or booming down is needed.

- Determinations made in conducting the inspection will be reassessed in light of observations made during operation.

At a minimum, the inspection will include all of the following:

- Control mechanisms for maladjustments interfering with proper operation.

- Control and drive mechanisms for apparent excessive wear of components and contamination by lubricants, water or other foreign matter.

- Air, hydraulic, and other pressurized lines for deterioration or leakage, particularly those which flex in normal operation.

- Hydraulic system for proper fluid level.

- Hooks and latches for deformation, cracks, excessive wear, or damage such as from chemicals or heat.

- Wire rope reeving for compliance with the manufacturer's specifications.

- Wire rope.

- Electrical apparatus for malfunctioning, signs of apparent excessive deterioration, dirt or moisture accumulation.

- Tires (when in use) for proper inflation and condition.

- Ground conditions around the equipment for proper support, including ground settling under and around outriggers/stabilizers and supporting foundations, ground water accumulation, or similar conditions. The equipment for level position within the tolerances specified by the equipment manufacturer's recommendations, both before each shift and after each move and setup.

- Operator cab windows for significant cracks, breaks, or other deficiencies that would hamper the operator's view.

- Rails, rail stops, rail clamps and supporting surfaces when the equipment has rail traveling.

- Safety devices and operational aids for proper operation.

Deficiencies—If any deficiency or any additional inspection items required to be checked for specific types of equipment is identified, an immediate determination will be made by the competent person as to whether the deficiency constitutes a safety hazard. If the deficiency is determined to constitute a safety hazard, the equipment will be taken out of service until it has been corrected.

If any deficiency is identified for safety devices/operational aids, operations will not begin until they are in working order.

Monthly—Each month the equipment is in service, it will be inspected each shift. Equipment will not be used until an inspection demonstrates that no corrective action is required.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual/comprehensive—At least every 12 months, the equipment will be inspected by a qualified person. If needed, disassembly may be required to complete the inspection.

The equipment will be inspected for all of the following:

- Equipment structure (including the boom and, if equipped, the jib):

- Structural members: Deformed, cracked, or significantly corroded.

- Bolts, rivets and other fasteners: loose, failed or significantly corroded.

- Welds for cracks.

- Sheaves and drums for cracks or significant wear.

- Parts such as pins, bearings, shafts, gears, rollers and locking devices for distortion, cracks or significant wear.

- Brake and clutch system parts, linings, pawls and ratchets for excessive wear.

- Safety devices and operational aids for proper operation (including significant inaccuracies).

- Gasoline, diesel, electric, or other power plants for safety-related problems (such as leaking exhaust and emergency shut-down feature) and conditions, and proper operation.

- Chains and chain drive sprockets for excessive wear of sprockets and excessive chain stretch.

- Travel steering, brakes, and locking devices, for proper operation.

- Tires for damage or excessive wear.

Hydraulic, pneumatic and other pressurized hoses, fittings and tubing, will be inspected as follows:

- Flexible hose or its junction with the fittings for indications of leaks.

- Threaded or clamped joints for leaks.

- Outer covering of the hose for blistering, abnormal deformation or other signs of failure/impending failure.

- Outer surface of a hose, rigid tube, or fitting for indications of excessive abrasion or scrubbing.

- Hydraulic and pneumatic pumps and motors, as follows:

- Performance indicators: Unusual noises or vibration, low operating speed, excessive heating of the fluid, low pressure.

- Loose bolts or fasteners.

- Shaft seals and joints between pump sections for leaks.

Hydraulic and pneumatic valves, will be inspected as follows:

- Spools: Sticking, improper return to neutral, and leaks.

- Leaks.

- Valve housing cracks.

- Relief valves: Failure to reach correct pressure (if there is a manufacturer procedure for checking pressure, it must be followed).

Hydraulic and pneumatic cylinders, will be inspected as follows:

- Drifting caused by fluid leaking across the piston.

- Rod seals and welded joints for leaks.

- Cylinder rods for scores, nicks, or dents.

- Case (barrel) for significant dents.

- Rod eyes and connecting joints: Loose or deformed.

- Outrigger or stabilizer pads/floats for excessive wear or cracks.

- Slider pads for excessive wear or cracks.

- Electrical components and wiring for cracked or split insulation and loose or corroded terminations.

- Warning labels and decals originally supplied with the equipment by the manufacturer or otherwise required: Missing or unreadable.

- Originally equipped operator seat (or equivalent): Missing.

- Operator seat: Unserviceable.

- Originally equipped steps, ladders, handrails, guards: Missing.

- Steps, ladders, handrails, guards: In unusable/unsafe condition.

This inspection will include functional testing to determine that the equipment as configured in the inspection is functioning properly.

- If any deficiency is identified, an immediate determination will be made by the qualified person as to whether the deficiency constitutes a safety hazard or, though not yet a safety hazard, needs to be monitored in the monthly inspections.

- If the qualified person determines that a deficiency is a safety hazard, the equipment will be taken out of service until it has been corrected, except when temporary alternative measures are implemented.

- If the qualified person determines that, though not presently a safety hazard, the deficiency needs to be monitored, the employer will ensure that the deficiency is checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Severe service—Where the severity of use/conditions is such that there is a reasonable probability of damage or excessive wear (such as loading that may have exceeded rated capacity, shock loading that may have exceeded rated capacity, prolonged exposure to a corrosive atmosphere), we will stop using the equipment and a qualified person will:

- Inspect the equipment for structural damage to determine if the equipment can continue to be used safely.

- In light of the use/conditions determine whether any items/conditions need to be inspected; if so, the qualified person will inspect those items/conditions.

- If a deficiency is found, the qualified person will determine if it constitutes a safety hazard and take appropriate corrective action.

Equipment not in regular use—Equipment that has been idle for 3 months or more will be inspected by a qualified person before initial use.

Manufacturer procedures—Any part of a manufacturer's procedures regarding inspections that relate to safe operation (such as to a safety device or operational aid, critical part of a control system, power plant, braking system, load-sustaining structural components, load hook, or in-use operating mechanism) that is more comprehensive or has a more frequent schedule of inspection than the above requirements will be followed.

Barge, pontoons, vessel or other means of flotation used to support a floating crane/derrick or land crane/derrick

Shift inspections—The following will be inspected during each shift inspection:

- The means used to secure/attach the equipment to the vessel/flotation device is in proper condition, including wear, corrosion, loose or missing fasteners, defective welds, and (when applicable) insufficient tension.

Monthly inspections—The following will be inspected during each monthly inspection:

- The means used to secure/attach the equipment to the vessel/flotation device is in proper condition, including inspection for wear, corrosion, and, when applicable, insufficient tension.

- The vessel/flotation device is not taking on water.

- The deckload is properly secured.

- The vessel/flotation device is watertight based on the condition of the chain lockers, storage, fuel compartments, and hatches

- The firefighting and lifesaving equipment is in place and functional.

- The shift and monthly inspections are conducted by a competent person, and:

  - If any deficiency is identified, an immediate determination is made by a qualified person whether the deficiency constitutes a hazard.

  - If the deficiency is determined to constitute a hazard, the vessel/flotation device is removed from service until the deficiency has been corrected.

Documentation of shift and monthly inspections—The following information for the inspections conducted each shift and monthly will be documented and maintained for 3 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Annual: external vessel/flotation device inspection—For each annual inspection:

- The external portion of the barge, pontoons, vessel or other means of flotation used will be inspected annually by a qualified person who has expertise with respect to vessels/flotation devices and that the inspection includes the following items:

  - The items listed in shift and monthly Inspections above.

  - Cleats, bitts, chocks, fenders, capstans, ladders, and stanchions, for significant corrosion, wear, deterioration, or deformation that could impair the function of these items.

  - External evidence of leaks and structural damage; evidence of leaks and damage below the waterline may be determined through internal inspection of the vessel/flotation device.

  - Four-corner draft readings.

  - Firefighting equipment for serviceability.

  - Rescue skiffs, lifelines, work vests, life preservers and ring buoys are inspected for proper condition.

- If any deficiency is identified, an immediate determination is made by the qualified person whether the deficiency constitutes a hazard or, though not yet a hazard, needs to be monitored in the monthly inspections.

- If the qualified person determines that the deficiency constitutes a hazard, the vessel/flotation device is removed from service until it has been corrected.

- If the qualified person determines that, though not presently a hazard, the deficiency needs to be monitored, the deficiency will be checked in the monthly inspections.

Documentation of annual/comprehensive inspection—The following information will be documented, maintained, and retained for a minimum of 12 months:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Four-year: internal vessel/flotation device inspection. For each four-year inspection:

- A marine engineer, marine architect, licensed surveyor, or other qualified person who has expertise with respect to vessels/flotation devices surveys the internal portion of the barge, pontoons, vessel, or other means of flotation will conduct the inspection.

- If the surveyor identifies a deficiency, an immediate determination is made by the surveyor as to whether the deficiency constitutes a hazard or, though not yet a hazard, needs to be monitored in the monthly or annual inspections, as appropriate.

- If the surveyor determines that the deficiency constitutes a hazard, the vessel/flotation device will be removed from service until it has been corrected.

- If the surveyor determines that, though not presently a hazard, the deficiency needs to be monitored, the deficiency is checked in the monthly or annual inspections, as appropriate.

Documentation of four year inspection. The following information will be documented, maintained, and retained for a minimum of 4 years:

- The items checked and the results of the inspection.

- The name and signature of the person who conducted the inspection and the date.

Unavailable Operation Procedures

Where the manufacturer procedures are unavailable, we will develop and ensure compliance with all procedures necessary for the safe operation of the equipment and attachments.

Procedures for the operational controls will be developed by a qualified person.

Procedures related to the capacity of the equipment must be developed and signed by a registered professional engineer familiar with the equipment.

Accessibility of procedures. The procedures applicable to the operation of the equipment, including rated capacities (load charts), recommended operating speeds, special hazard warnings, instructions, and operator's manual, will be readily available in the cab at all times for use by the operator.

Where rated capacities are available in the cab only in electronic form: In the event of a failure which makes the rated capacities inaccessible, the operator will immediately cease operations or follow safe shut-down procedures until the rated capacities (in electronic or other form) are available.

The operator will not engage in any practice or activity that diverts his/her attention while actually engaged in operating the equipment, such as the use of cellular phones (other than when used for signal communications).

Leaving the equipment unattended. The operator will not leave the controls while the load is suspended, except where all of the following are met:

- The operator will remain adjacent to the equipment and is not engaged in any other duties.

- The load is to be held suspended for a period of time exceeding normal lifting operations.

The competent person will determine that it is safe to do so and implements measures necessary to restrain the boom hoist and telescoping, load, swing, and outrigger or stabilizer functions.

Barricades or caution lines, and notices, are erected to prevent all employees from entering the fall zone. No employees, are permitted in the fall zone.

Tag-out

Tagging out of service equipment/functions. Where the equipment has been taken out of service, a tag will be placed in the cab stating that the equipment is out of service and is not to be used. If a function(s) is taken out of service, a tag will be placed in a conspicuous position stating that the function is out of service and is not to be used.

Response to "do not operate"/tag-out signs. If there is a warning (tag-out or maintenance/do not operate) sign on the equipment or starting control, the operator will not activate the switch or start the equipment until the sign has been removed by a person authorized to remove it, or until the operator has verified that:

- No one is servicing, working on, or otherwise in a dangerous position on the machine.

- The equipment has been repaired and is working properly.

- If there is a warning (tag-out or maintenance/do not operate) sign on any other switch or control, the operator will not activate that switch or control until the sign has been removed by a person authorized to remove it, or until the operator has verified equipment has been repaired and is working properly.

- Before starting the engine, the operator will verify that all controls are in the proper starting position and that all personnel are in the clear.

Storm Warning

When a local storm warning has been issued, the competent person will determine whether it is necessary to implement manufacturer recommendations for securing the equipment.

If equipment adjustments or repairs are necessary:

- The operator will, in writing, promptly inform the person designated by the employer to receive such information and, where there are successive shifts, to the next operator.

- Notify all affected employees, at the beginning of each shift, of the necessary adjustments or repairs and all alternative measures.

- Safety devices and operational aids will not be used as a substitute for the exercise of professional judgment by the operator.

- If the competent person determines that there is a slack rope condition requiring re-spooling of the rope, it will be verified (before starting to lift) that the rope is seated on the drum and in the sheaves as the slack is removed.

- The competent person will adjust the equipment and/or operations to address the effect of wind, ice, and snow on equipment stability and rated capacity.

Compliance With Rated Capacity

- The equipment will not be operated in excess of its rated capacity.

Load Weight

The operator will verify that the load is within the rated capacity of the equipment by at least one of the following methods:

- The weight of the load will be determined from a source recognized by the industry (such as the load's manufacturer), or by a calculation method recognized by the industry (such as calculating a steel beam from measured dimensions and a known per foot weight), or by other equally reliable means.

- When requested by the operator, this information will be provided to the operator prior to the lift.

- The operator will begin hoisting the load to determine, using a load weighing device, load moment indicator, rated capacity indicator, or rated capacity limiter, if it exceeds 75 percent of the maximum rated capacity at the longest radius that will be used during the lift operation. If it does, the operator must not proceed with the lift until he/she verifies the weight of the load.

- The boom or other parts of the equipment will not contact any obstruction.

- The equipment will not be used to drag or pull loads sideways.

- On wheel-mounted equipment, no loads will be lifted over the front area, except as permitted by the manufacturer.

- The operator will test the brakes each time a load that is 90% or more of the maximum line pull is handled by lifting the load a few inches and applying the brakes. In duty cycle and repetitive lifts where each lift is 90% or more of the maximum line pull, this requirement applies to the first lift but not to successive lifts.

- Neither the load nor the boom will be lowered below the point where less than two full wraps of rope remain on their respective drums.

Traveling with a load.

- Traveling with a load is prohibited if the practice is prohibited by the manufacturer.

- Where traveling with a load, the employer will ensure that:

- A competent person supervises the operation, determines if it is necessary to reduce rated capacity, and makes determinations regarding load position, boom location, ground support, travel route, overhead obstructions, and speed of movement necessary to ensure safety.

- The determinations of the competent person will be implemented.

- For equipment with tires, tire pressure specified by the manufacturer is maintained.

- Rotational speed of the equipment will be such that the load does not swing out beyond the radius at which it can be controlled.

- A tag or restraint line will be used if necessary to prevent rotation of the load that would be hazardous.

- The brakes will be adjusted in accordance with manufacturer procedures to prevent unintended movement.

- The operator will obey a stop (or emergency stop) signal, irrespective of who gives it.

Swinging Locomotive Cranes

A locomotive crane will not be swung into a position where railway cars on an adjacent track could strike it, until it is determined that cars are not being moved on the adjacent track and that proper flag protection has been established.

Climbing Procedures

Prior to, and during, all climbing procedures (including inside climbing and top climbing), we will:

- Comply with all manufacturer prohibitions.

- Have a registered professional engineer verify that the host structure is strong enough to sustain the forces imposed through the braces, brace anchorages and supporting floors.

We will also:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Operation Procedures

We will comply with all manufacturer procedures applicable to the operational functions of the equipment, including its use with attachments.

Unavailable operation procedures. We will:

- When the manufacturer's procedures are unavailable, we will develop, and ensure compliance with, all procedures necessary for the safe operation of the equipment and attachments.

- Procedures for the operational controls will be developed by a qualified person.

- Procedures related to the capacity of the equipment will be developed and signed by a registered professional engineer familiar with the equipment.

These will generally include the following procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Load Chart Procedures

- The load chart will be available to the operator at the control station.

- Procedures applicable to the operation of the equipment, recommended operating speeds, special hazard warnings, instructions, and operator's manual will be readily available for use by the operator.

- When rated capacities are available at the control station only in electronic form and a failure occurs that makes the rated capacities inaccessible, the operator immediately ceases operations or follows safe shut-down procedures until the rated capacities (in electronic or other form) are available.

Safety Devices and Operational Aids

We will ensure that safety devices and operational aids that are part of the original equipment are maintained in accordance with manufacturer procedures.

Training

Initially: All employees will be trained initially on applicable crane and derrick procedures.

Competent Persons and Qualified Persons: Each competent person and qualified person will be trained on the requirements of Cranes and Derricks Standard applicable to their respective roles.

Refresher training: We will evaluate each employee’s training to confirm that the employee understands the information provided in the training.

Refresher training will be provided in relevant topics for each employee when, based on the conduct of the employee or an evaluation of the employee's knowledge, there is an indication that retraining is necessary.

Operator Certification Procedures

We will use the following procedures for operators to re-apply and be re-tested in the event an operator applicant fails a test or is decertified.

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

We will have the following testing procedures for re-certification designed to ensure that the operator continues to meet the technical knowledge and skills:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

CFR 1926 Subpart V—Electric Power Transmission and Distribution

Scope/Application: This standard applies to the construction of electric power transmission and distribution lines and equipment. The term "construction" includes the erection of new electric transmission and distribution lines and equipment, and the alteration, conversion, and improvement of existing electric transmission and distribution lines and equipment.

Standard Requirements for 29 CFR 1926 Subpart V—Electric Power Transmission and Distribution:

- Procedures/Practices: Emergency procedures, work procedures, work practices, line clearance operating procedures

- Training: Initially, each day, annually, before each job, refresher

- Documentation: Diligence records

Example Procedures and Practices: The following example procedures and practices should be modified to be site-specific to your organization. Please reference 29 CFR 1926 Subpart V—Electric Power Transmission and Distribution to ensure that all requirements are being met. The standard does not require the procedures to be in writing. They have been put into writing as a “best practice”.

Electrical—Safety-Related Work Procedures and Practices

Purpose

Safety-related work procedures and practices will be in use by our employees to prevent electric shock or other injuries resulting from either direct or indirect electrical contact, when work is performed near or on equipment or circuits that are or may be energized. The specific safety-related work practices will be consistent with the nature and extent of the associated electrical hazards.

This program covers the servicing and maintenance of machines and equipment that have not been placed in an electrically safe working condition and the installation/removal of main disconnect switches on bus ducts. Conductors and parts of electric equipment that have been de-energized but have not been locked out or tagged will be treated as energized parts. Any machine or equipment that has not been shut down per our lockout/tagout procedures will not be considered to be electrically safe.

Covered Employees

The provisions of these procedures cover electrical safety-related work practices for both qualified persons (those who have training in avoiding the electrical hazards of working on or near exposed-energized parts) and unqualified persons (those with little or no such training) working on, near or with the following installations:

- Premises Wiring—Installations of electric conductors and equipment within or on buildings or other structures, and on other premises such as yards, parking and other lots, and industrial substations.

- Wiring for Connections to Supply—Installations of conductors that connect to the supply of electricity.

- Other Wiring—Installations of other outside conductors on the premises.

- Optical Fiber Cable—Installations of optical fiber cable where such installations are made along with electric conductors.

- Bus Duct Switches—Installation and removal of bus duct switches on energized busses.

Qualified person—(i.e., those permitted to work on or near exposed energized parts) will at a minimum, be trained in and familiar with the following:

- The skills and techniques necessary to distinguish exposed live parts from other parts of electric equipment.

- The skills and techniques necessary to determine the nominal voltage of exposed live parts.

Training

The training contained in this document apply to employees who face a risk of shock that is not reduced to a safe level by the installation as required by the National Electrical Code (NEC) and 29 CFR 1910 Subpart S—Electrical.

Other employees who also may reasonably be expected to face comparable risk of injury due to electric shock or other electrical hazards must also be trained.

Employees who are covered by the scope of this policy, but who are not qualified persons will also be trained in and familiar with any electrical safety-related practices not specifically addressed but which are necessary for their safety.

The training required will be of the classroom or on-the-job type (preferably both). The degree of training provided will be determined by the risk to the employee.

Selection and Use of Work Practices and Procedures

Safety-related work practices and procedures will be used to prevent electric shock or other injuries resulting from either direct or indirect electrical contacts, when work is performed near or on equipment or circuits that are or may be energized. The specific safety-related work practices will be consistent with the nature and extent of the associated electrical hazards:

- De-energized parts—Live parts to which an employee may be exposed will be de-energized before the employee works on or near them, unless the employer can demonstrate that de-energizing introduces additional or increased hazards or is infeasible due to equipment design or operational limitations. Live parts that operate at less than 50 volts to ground need not be de-energized if there will not be increased exposure to electrical burns or to explosion due to electric arcs.

- Energized parts—If the exposed live parts are not de-energized (i.e., for reasons of increased or additional hazards or infeasibility), other safety-related work practices will be used to protect employees who may be exposed to the electrical hazards involved. Such work practices will protect employees against contact with energized circuit parts directly with any part of their body or indirectly through some other conductive object. When working on energized parts, the appropriate PPE will be used.

Note: Examples of work that may be performed on or near energized circuit parts because of infeasibility due to equipment design or operational limitations include testing of electric circuits that can only be performed with the circuit energized (troubleshooting) and work on circuits that form an integral part of a continuous industrial process that would otherwise need to be shut down completely to permit work on one circuit or piece of equipment.

Lockout/Tagout

While any employee is exposed to contact with parts of fixed electric equipment or circuits that have been de-energized, the circuits energizing the parts will be locked out or tagged (or both) in accordance with the requirements of this paragraph in the following order:

- Procedures will be in place before equipment may be de-energized.

- Circuits and equipment to be worked on will be disconnected from all electrical energy sources.

- Stored electrical energy that poses a hazard to workers will be released.

- Stored nonelectrical energy in devices that could re-energize electric circuit parts will be blocked or relieved to the extent that the circuit parts could not be accidentally energized by the device.

- A lock and a tag will be placed on each disconnecting means used to de-energize circuits and equipment on which work is to be performed, except as provided below.

- Each tag will contain a statement prohibiting unauthorized operation of the disconnecting means and removal of the tag.

- If a lock cannot be applied, or if the employer can demonstrate that tagging procedures will provide a level of safety equivalent to that obtained by the use of a lock, a tag may be used without a lock.

- A tag used without a lock as permitted above, will be supplemented by at least one additional safety measure that provides a level of safety equivalent to that obtained by the use of a lock. Examples include the removal of an isolating circuit element, blocking of a controlling switch or opening of an extra disconnecting device.

- A lock may be placed without a tag only under the following conditions:

- Only one circuit or piece of equipment is de-energized.

- The lockout period does not extend beyond the work shift.

- Employees exposed to the hazards associated with re-energizing the circuit or equipment are familiar with this procedure.

- Before any circuits or equipment can be considered and worked as de-energized:

- A qualified person will operate the equipment operating controls or otherwise verify that the equipment cannot be restarted.

- A qualified person will use test equipment to test the circuit elements and electrical parts of equipment to which employees will be exposed and will verify that the circuit elements and equipment parts are de-energized.

- Before circuits and equipment are re-energized, even temporarily, the following requirements will be met, in the order given:

- A qualified person will conduct tests and visual inspections, as necessary, to verify that all tools, electrical jumpers, shorts, grounds and other such devices have been removed so that the circuits and equipment can be safely energized.

- Employees exposed to the hazards associated with re-energizing the circuit or equipment will be warned to stay clear of circuits and equipment.

- Each lock and tag will be removed by the employee who applied it or under his or her direct supervision. However, if the employee is absent from the workplace, then the lock or tag may be removed by a qualified person designated to perform this task provided that the employer ensures that the employee who applied the lock or tag is not available at the workplace and is aware that the lock or tag has been removed before he or she resumes work at that workplace.

- There will be a visual determination that all employees are clear of the circuits and equipment.

Working on or Near Energized Equipment

This section applies to work performed on exposed live parts (involving either direct contact or contact by means of tools or materials) or near enough to them for employees to be exposed to any hazard they present.

Only qualified persons may work on electric circuit parts or equipment that has not been de-energized under the procedures of these standards. Such individuals will be capable of working safely on energized circuits and will be familiar with the proper use of special precautionary techniques, personal protective equipment, insulating and shielding materials, and insulated tools.

Illumination—Employees may not enter spaces containing exposed energized parts unless illumination is provided that enables the employees to perform the work safely. Where lack of illumination or an obstruction precludes observation of the work to be performed, employees may not perform tasks near exposed energized parts. Employees may not reach blindly into areas that may contain energized parts.

Conductive Materials and Equipment—Conductive materials and equipment that are in contact with any part of an employee’s body will be handled in a manner that will prevent them from contacting exposed energized conductors or circuit parts. If an employee must handle long dimensional conductive objects (such as ducts or pipes) in areas with live parts, the hazard must be minimized by the use of insulation, guarding or material handling techniques.

Note: Nonconductive fish tapes must be used when pulling wire through conduit that contains energized conductors or when entering an enclosure with exposed live parts.

- Portable ladders—Portable ladders must be of the nonconductive type (wood or fiberglass) if they are used where the employee or the ladder could contact exposed energized parts.

- Conductive apparel—Conductive articles of jewelry and clothing (such as bands, bracelets, rings, key chains, necklaces, metalized aprons, cloth with conductive thread or metal headgear) may not be worn if they might contact exposed energized parts unless they are rendered nonconductive by covering, wrapping or other insulating means.

- Housekeeping duties—Where live parts present an electrical contact hazard, employees may not perform housekeeping duties in such close proximity to the parts that there is a possibility of contact unless adequate safeguards (such as insulating equipment or barriers) are provided. Electrically conductive cleaning materials may not be used in proximity to energized parts unless procedures are followed which will prevent electrical contact.

- Interlocks—Only a qualified person following the requirements of this section may defeat an electrical safety interlock, and then only temporarily while he or she is working on the equipment. The interlock system will be returned to its operable condition when this work is completed.

- Confined or enclosed work spaces—When an employee works in a confined or enclosed space (such as a manhole or vault) that contains exposed energized parts, the employer will provide, and the employee will use, protective shields, protective barriers or insulating materials as necessary to avoid inadvertent contact with these parts. Doors, hinged panels and the like will be secured to prevent their swinging into an employee and causing the employee to contact exposed energized parts.

- Overhead lines—Employees will not work on or near (within 12 feet) overhead lines. This

12-foot barrier includes any conductive object in that space. OSHA provides specific instructions regarding work on overhead lines.

Use of Equipment

Portable Electric Equipment—This section applies to the use of cord-and-plug connected equipment, including flexible cord sets (extension cords).

Extension Cord Use

- Employees using extension cords (drop cords) to power tools and/or equipment for the performance of construction, maintenance, repair or demolition will use GFCI protection. This pertains to any part of the company, both inside and outside.

- All extension cords must be grounding type, made with UL listed parts, and be in good physical condition.

- Extension cords may not be lengthened or repaired with tape.

- Power outlet strips are for equipment needing surge protection (e.g., computers).

- Extension cords will not be run through holes in walls, ceilings or floors.

- Extension cords may not be plugged into power strips. Power strips may not be connected to each other (i.e., “piggy-backed”).

- An extension cord should not be run across high traffic areas or used in applications where potential damage to the cord might occur:

- The use of an extension cord must not create a trip hazard.

- Extension cords will not be attached to building surfaces or used in lieu of fixed wiring of a structure.

- Extension cords will not be run through doorways or windows or concealed behind walls, ceilings or floors.

Handling—Portable equipment will be handled in a manner that will not cause damage. Flexible electric cords connected to equipment may not be used for raising or lowering the equipment. Flexible cords may not be fastened with staples or otherwise hung in such a fashion as could damage the outer jacket or insulation.

Visual Inspection—Portable cord-and-plug connected equipment and flexible cord sets (extension cords) will be visually inspected before use on any shift for external defects and evidence of possible internal damage:

- Cord-and-plug connected equipment and extension cords that remain connected once they are put in place and are not exposed to damage need not be visually inspected until they are relocated.

- Defective or damaged items will be removed from service until repaired.

Grounding Type Equipment—A flexible cord used with grounding type equipment will contain an equipment grounding conductor:

- Attachment plugs and receptacles may not be connected or altered in a manner that would prevent proper continuity of the equipment grounding conductor at the point where plugs are attached to receptacles. Additionally, these devices may not be altered to allow the grounding pole of a plug to be inserted into slots intended for connection to the current carrying conductors.

- Adapters (i.e., “cheaters”) that interrupt the continuity of the equipment grounding connection may not be used.

Conductive Work Locations—Portable electric equipment and flexible cords used in highly conductive work locations (such as those inundated with water or other conductive liquids) or in job locations where employees are likely to contact water or conductive liquids will be approved for those locations.

Connecting Attachment Plugs—Employees’ hands may not be wet when plugging and unplugging flexible cords and cord and plug-connected equipment, if energized equipment is involved.

- Energized plug and receptacle connections may be handled only with insulating protective equipment if the condition of the connection could provide a conducting path to the employee’s hand.

- Locking type connectors will be properly secured after connection.

Electric Power and Lighting Circuits

Routine Opening and Closing of Circuits—Load-rated switches, circuit breakers or other devices specifically designed as disconnecting means will be used for the opening, reversing or closing of circuits under load conditions. Cable connectors not of the load break type, fuses, terminal lugs and cable splice connections will not be used for such purposes, except in an emergency.

Reclosing Circuits After Protective Device Operation—After a circuit is de-energized by a circuit protective device, the circuit may not be manually re-energized until it has been determined that the equipment and circuit can be safely energized. The repetitive manual reclosing of circuit breakers or re-energizing circuits through replaced fuses is prohibited.

Note:  Circuit breakers or fuses can only be energized after an overload condition has been determined. If a fault condition exists, the circuit must be tested and determined safe before the circuit can be energized. Circuit breakers can be reset; however, repetitive reclosing is prohibited. The problem should be traced to the root cause if a circuit breaker trips twice in succession.

Overcurrent Protection Modification

Overcurrent protection of circuits and conductors may not be modified, even on a temporary basis, beyond that allowed in the installation safety requirements for overcurrent protection.

Test Instruments and Equipment

- Use—Only qualified persons may perform testing work on electric circuits or equipment.

- Visual inspection—Test instruments and equipment and all associated test leads, cables, power cords, probes and connectors will be visually inspected for external defects and damage before the equipment is used. If there is a defect or evidence of damage that might expose an employee to injury, the defective or damaged item will be removed from service, and no employee may use it until necessary repairs and tests to render the equipment safe have been made.

- Rating of equipment—Test instruments and equipment and their accessories will be rated for the circuits and equipment to which they will be connected and will be designed for the environment in which they will be used.

Occasional Use of Flammable or Ignitable Materials

Where flammable materials are present only occasionally, electric equipment capable of igniting them will not be used unless measures are taken to prevent hazardous conditions from developing.

Safeguard for Personnel Protection

Personal Protective Equipment—Employees working in areas where there are potential electrical hazards will be provided with and will use electrical protective equipment that is appropriate for the specific parts of the body to be protected and for the work to be performed:

- Protective equipment will be maintained in a safe, reliable condition and will be periodically inspected or tested.

- If the insulating capability of protective equipment may be subject to damage during use, the insulating material will be protected. (For example, an outer covering of leather is sometimes used for the protection of rubber insulating material.)

- Employees will wear nonconductive head protection wherever there is a danger of head injury from electric shock or bums due to contact with exposed energized parts.

- Employees will wear protective equipment for the eyes or face wherever there is danger of injury to the eyes or face from electric arcs or flashes or from flying objects resulting from electrical explosion.

When working near exposed energized conductors or circuit parts, each employee will use insulated tools or handling equipment if the tools or handling equipment might make contact with such conductors or parts. If the insulating capability of insulated tools or handling equipment is subject to damage, the insulating material will be protected:

- Fuse handling equipment, insulated for the circuit voltage, will be used to remove or install fuses when the fuse terminals are energized.

- Ropes and handlines used near exposed energized parts will be nonconductive.

- Protective shields, protective barriers or insulating materials will be used to protect each employee from shock, burns or other electrically related injuries while that employee is working near exposed energized parts that might be accidentally contacted or where dangerous electric heating or arcing might occur. When normally enclosed live parts are exposed for maintenance or repair, they will be guarded to protect unqualified persons from contact with live parts.

Note: Cabinet doors and electrical enclosures should be kept closed. If, however, this is not possible due to the conditions that follow, additional precautions must be taken to minimize the extent of the hazard.

This section covers situations where:

- Energized equipment is exposed and must be left unattended.

- The scope of the energized equipment is so large that the person working cannot monitor it.

- The equipment cannot otherwise be guarded against accidental intrusion by a passerby.

Alerting Techniques—The following alerting techniques will be used to warn and protect employees from hazards that could cause injury due to electric shock, burns or failure of electric equipment parts:

- Safety signs, safety symbols or accident prevention tags will be used where necessary to warn employees about electrical hazards that may endanger them, as required.

- Barricades will be used in conjunction with safety signs where it is necessary to prevent or limit employee access to work areas exposing employees to un-insulated energized conductors or circuit parts. Conductive barricades may not be used where they might cause an electrical contact hazard.

- Attendant—If signs and barricades do not provide sufficient warning and protection from electrical hazards, an attendant will be stationed to warn and protect employees.

Safe Work Practices

- Know the equipment and potential hazards—Define the scope of work.

- Submit the scope of work to your safety coordinator for approval.

- Analyze the hazards use engineered methods to mitigate hazards.

- Establish procedures as necessary.

- Use barricades or other means to prevent unqualified persons from crossing approach boundaries.

- Employees will employ insulating barriers to prevent themselves and others from leaning into or falling into live parts and to prevent live parts that might become loose from contacting other employees.

- Employees will wear safety glasses.

- Employees will not wear metallic personal items (e.g., jewelry, glasses, watches) while working on or near live parts.

- Employees will use non-conducting ladders when needed.

- Always assume a conductor is energized until proven otherwise.

- Employees will wear voltage rated gloves when using tools on or near live parts.

- Employees will use only PPE that is designed (approved or certified) for the hazard.

- Employees will use only insulated tools when working on or near live parts.

- Employees will use only tools and instruments that are designed for the system voltage.

- Employees will not bypass interlocks or safety devices that protect people against electrical shock except when absolutely necessary and then only with written approval from their supervisor.

- Whenever possible, do not work alone.

- Safety watch is required when deemed so by your supervisor. This person will be CPR trained and be familiar with removing all sources of power to the device being worked upon and have ready access to a phone in order to call 911 in case of emergency.

- When operating circuit breakers or fused switches. ALWAYS stand to the side NEVER directly in front of the device being operated.

- Employees should inspect electrical equipment for defective parts, faulty insulation, improper grounding, loose connections, ground faults and unguarded live parts and should take appropriate remedial action before working on or near live parts.

- Employees should work only where there is adequate clearance.

- Employees should not work on or near live parts that are in a hazardous location (e.g., in wet or damp areas or where there are corrosive or flammable atmospheres).

- Restrict unnecessary people from being in the work area.

Note: An example Electrical Safety-Related Work Practices Self-Audit Checklist is located in Section 6—Forms.29

CFR 1926 Subpart V—Electric Power Transmission and Distribution

Scope/Application: This standard applies to the construction of electric power transmission and distribution lines and equipment. The term "construction" includes the erection of new electric transmission and distribution lines and equipment, and the alteration, conversion, and improvement of existing electric transmission and distribution lines and equipment.

Standard Requirements for 29 CFR 1926 Subpart V—Electric Power Transmission and Distribution:

- Procedures/Practices: Emergency procedures, work procedures, work practices, line clearance operating procedures

- Training: Initially, each day, annually, before each job, refresher

- Documentation: Diligence records

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926 Subpart V—Electric Power Transmission and Distribution to ensure that all requirements are being met. The standard does not require the procedures to be in writing. They have been put into writing as a “best practice”.

Electric Power Transmission and Distribution—Procedures

Safe Work Procedures

Confined spaces. We have established safe work practices for entry into and work in enclosed spaces and for rescue of employees from such spaces. In addition to procedures required in our Confined Space Program,  we also require the following procedures:

- Before any entrance cover to an enclosed space is removed, ___________________________will determine whether that it is safe to do so by checking for the presence of any atmospheric pressure or temperature differences and by evaluating whether there might be a hazardous atmosphere in the space. Any conditions making it unsafe to remove the cover will be eliminated before the cover is removed.

- When covers are removed from enclosed spaces, the opening will be promptly guarded by a railing, temporary cover, or other barrier designed to prevent an accidental fall through the opening and to protect employees working in the space from objects entering the space.

- While work is being performed in the enclosed space, an attendant with first-aid training will be immediately available outside the enclosed space to provide assistance if a hazard exists because of traffic patterns in the area of the opening used for entry. The attendant is not precluded from performing other duties outside the enclosed space if these duties do not distract the attendant from monitoring employees within the space or ensuring that it is safe for employees to enter and exit the space.

- Test instruments used to monitor atmospheres in enclosed spaces will be kept in calibration and have a minimum accuracy of ±10 percent.

- Before an employee enters an enclosed space, the atmosphere in the enclosed space will be tested for oxygen deficiency with a direct-reading meter or similar instrument, capable of collection and immediate analysis of data samples without the need for offsite evaluation. If continuous forced-air ventilation is provided, testing is not required provided that the procedures used ensure that employees are not exposed to the hazards posed by oxygen deficiency.

- Before an employee enters an enclosed space, the internal atmosphere will be tested for flammable gases and vapors with a direct-reading meter or similar instrument capable of collection and immediate analysis of data samples without the need for off-site evaluation. This test will be performed after the oxygen testing and ventilation demonstrate that there is sufficient oxygen to ensure the accuracy of the test for flammability.

- If flammable gases or vapors are detected or if an oxygen deficiency is found, forced-air ventilation will be used to maintain oxygen at a safe level and to prevent a hazardous concentration of flammable gases and vapors from accumulating.

- Continuous monitoring during confined space work to ensure that no increase in flammable gas or vapor concentration above safe levels occurs may be followed in lieu of ventilation if flammable gases or vapors are initially detected at safe levels.

- If continuous forced-air ventilation is used, it will begin before entry is made and be maintained long enough for the employer to be able to demonstrate that a safe atmosphere exists before employees are allowed to enter the work area. The forced-air ventilation will be so directed as to ventilate the immediate area where employees are present within the enclosed space and continue until all employees leave the enclosed space.

- The air supply for the continuous forced-air ventilation will be from a clean source and may not increase the hazards in the enclosed space.

- If open flames are used in enclosed spaces, a test for flammable gases and vapors will be made immediately before the open flame device is used and at least once per hour while the device is used in the space. Testing will be conducted more frequently if conditions present in the enclosed space indicate that once per hour is insufficient to detect hazardous accumulations of flammable gases or vapors.

Training

Initial training. The following will be addressed as part of initial training:

- Safety-related work practices, safety procedures, and other safety requirements that pertain to their job assignments

- Other safety practices, including applicable emergency procedures (such as pole-top and manhole rescue), and other procedures related to their work and are necessary for their safety

- Degree of training will be determined by the risk to the employee for the hazard involved

- Each employee must demonstrate proficiency in the work practices involved before being considered as having completed the required training

Qualified employees. Each qualified employee will also be trained and competent in:

- Skills and techniques necessary to distinguish exposed live parts from other parts of electric equipment

- Skills and techniques necessary to determine the nominal voltage of exposed live parts

- Minimum approach distances specified in this subpart corresponding to the voltages to which the qualified employee will be exposed and the skills and techniques necessary to maintain those distances

- Proper use of the special precautionary techniques, personal protective equipment, insulating and shielding materials, and insulated tools for working on or near exposed energized parts of electric equipment

- Recognition of electrical hazards to which the employee may be exposed and the skills and techniques necessary to control or avoid these hazards

Confined space training. Each employee that enters an enclosed space or who serves as an attendant will be trained in the hazards of enclosed-space entry, in enclosed-space entry procedures, and in enclosed-space rescue procedures. Refer to our Confined Space program.

Before each job. Each employee will be provided information that relates to the determination of existing characteristics and conditions:

- Existing characteristics and conditions of electric lines and equipment that are related to the safety of the work to be performed will be determined before work on or near the lines or equipment is started. This includes:

  - Nominal voltages of lines and equipment

  - Maximum switching-transient voltages

  - Presence of hazardous induced voltages

  - Presence of protective grounds and equipment grounding conductors

  - Locations of circuits and equipment, including electric supply lines, communication lines, and fire protective signaling circuits

  - Condition of protective grounds and equipment grounding conductors

  - Condition of poles

  - Environmental conditions relating to safety

Briefing by the employee in charge. The employee in charge will conduct a job briefing with the employees involved before they start each job. The briefing will cover at least the following subjects:

- Hazards associated with the job

- Work procedures involved

- Special precautions, energy-source controls

- Personal protective equipment requirements

- A brief discussion will be conducted if the work involved is routine and if the employees, by virtue of training and experience, can reasonably be expected to recognize and avoid the hazards involved in the job.

- A more extensive discussion will be conducted if the work is complicated or particularly hazardous, or if the employee(s) cannot be expected to recognize and avoid the hazards involved in the job.

One briefing before each day or shift. If the work or operations to be performed during the work day or shift are repetitive and similar, at least one job briefing will be conducted before the start of the first job of each day or shift. Typically, these briefings will be in short duration.

Additional briefings. Additional job briefings will be held if significant changes, which might affect the safety of the employees, occur during the course of the work. Typically, these briefings will be more extensive.

Working alone. An employee working alone does not conduct a job briefing. However, the supervisor will ensure that the tasks to be performed are planned as if a briefing were required.

First-aid training. When employees are performing work on, or associated with, exposed lines or equipment energized at 50 volts or more, persons with first-aid training will be available as follows:

- For field work involving two or more employees at a work location, at least two trained persons will be available

- For fixed work locations such as substations, the number of trained persons available will be sufficient to ensure that each employee exposed to electric shock can be reached within 4 minutes by a trained person

- Where the existing number of employees is insufficient to meet the above criteria (at a remote substation), each employee at the work location will be a trained employee

Supervision and annual inspection.  Regular supervision of employees and annual inspections will be conducted to ensure that each employee is complying with the safety related work practices.

Additional training. An employee will receive additional training (or retraining) under any of the following conditions:

- If the supervision or annual inspections indicate that an employee is not complying with the safety-related work practices

- If new technology, new types of equipment, or changes in procedures necessitate the use of safety-related work practices that are different from those which the employee would normally use

- If the employee must employ safety related work practices that are not normally used during their regular job duties

Inspections

Daily inspection. Each live-line tool will be wiped clean and visually inspected for defects before use each day. If any defect or contamination that could adversely affect the insulating qualities or mechanical integrity of the live-line tool is present after wiping, the tool will be removed from service and examined and tested before being returned to service.

Biennial inspection and testing. Live-line tools used for primary employee protection will be removed from service every 2 years for examination, cleaning, repair, and testing as follows:

- Each tool shall be thoroughly examined for defects

- If a defect or contamination that could adversely affect the insulating qualities or mechanical integrity of the live-line tool is found, the tool will be repaired and refinished or be permanently removed from service

- If no defect or contamination is found, the tool will be cleaned and waxed

- Each tool will be tested under the following conditions:

  - After the tool has been repaired or refinished

  - After the examination if repair or refinishing is not performed, unless the tool is made of FRP rod or foam-filled FRP tube and we can demonstrate that the tool has no defects that could cause it to fail during use

- Test method used will be designed to verify the tool's integrity along its entire working length and, if the tool is made of fiberglass-reinforced plastic, its integrity under wet conditions

- Voltage applied during the tests will be as follows:

  - 246,100 volts per meter (75,000 volts per foot) of length for 1 minute if the tool is made of fiberglass

  - 164,000 volts per meter (50,000 volts per foot) of length for 1 minute if the tool is made of wood

  - Other tests that demonstrate are equivalent

Line-Clearance Tree Trimming Procedures

Electrical hazards. To prevent electrical hazards, these procedures will be followed:

- Before an employee climbs, enters, or works around any tree, a determination will be made of the nominal voltage of electric power lines posing a hazard to employees. However, a determination of the maximum nominal voltage to which an employee will be exposed may be made instead, if all lines are considered as energized at this maximum voltage.

- Line-clearance tree trimming may not be performed when adverse weather conditions make the work hazardous in spite of our safe work practices.

- Each employee performing line-clearance tree trimming in the aftermath of a storm or under similar emergency conditions will be trained in the special hazards related to this type of work.

- Thunderstorms in the immediate vicinity, high winds, snow storms, and ice storms are examples of adverse weather conditions that are presumed to make line-clearance tree trimming too hazardous to perform safely.

Brush chippers. We will follow these procedures:

- Brush chippers will be equipped with a locking device in the ignition system.

- Access panels for maintenance and adjustment of the chipper blades and associated drive train will be in place and secure during operation of the equipment.

- Brush chippers not equipped with a mechanical infeed system will be equipped with an infeed hopper of length sufficient to prevent employees from contacting the blades or knives of the machine during operation.

- Trailer chippers detached from trucks will be chocked or otherwise secured.

- Each employee in the immediate area of an operating chipper feed table will wear personal protective equipment.

Sprayers and related equipment. We will follow these procedures:

- Walking and working surfaces of sprayers and related equipment will be covered with slip-resistant material. If slipping hazards cannot be eliminated, slip-resistant footwear or handrails and stair rails may be used instead of slip-resistant material.

- Equipment on which employees stand to spray while the vehicle is in motion will be equipped with guardrails around the working area.

Stump cutters. We will follow these procedures:

- Stump cutters will be equipped with enclosures or guards to protect employees.

- Each employee in the immediate area of stump grinding operations including the stump cutter operator) will wear personal protective equipment.

Gasoline-engine power saws. We will follow these procedures:

- Each power saw weighing more than 15 pounds, service weight, that is used in trees will be supported by a separate line, except when work is performed from an aerial lift and except during topping or removing operations where no supporting limb will be available.

- Each power saw will be equipped with a control that will return the saw to idling speed when released.

- Each power saw will be equipped with a clutch and shall be so adjusted that the clutch will not engage the chain drive at idling speed.

- A power saw be started on the ground or where it is otherwise firmly supported. Drop starting of saws over 15 pounds, other than chain saws, is permitted outside of the bucket of an aerial lift only if the area below the lift is clear of personnel.

- A power saw engine may be started and operated only when all employees other than the operator are clear of the saw.

- A power saw may not be running when the saw is being carried up into a tree by an employee.

- Power saw engines will be stopped for all cleaning, refueling, adjustments, and repairs to the saw or motor, except as the manufacturer's servicing procedures require otherwise.

Backpack power units for use in pruning and clearing. We will follow these procedures:

- While a backpack power unit is running, no one other than the operator may be within 10 feet of the cutting head of a brush saw.

- A backpack power unit will be equipped with a quick shutoff switch readily accessible to the operator.

- Backpack power unit engines will be stopped for all cleaning, refueling, adjustments, and repairs to the saw or motor, except as the manufacturer's servicing procedures require otherwise.

Rope. We will follow these procedures:

- Climbing ropes will be used by employees working aloft in trees. These ropes will have a minimum diameter of  0.5 inch with a minimum breaking strength of 2,300 pounds. Synthetic rope will have elasticity of not more than 7 percent.

- Rope will be inspected before each use and, if unsafe (for example, because of damage or defect), may not be used.

- Rope will be stored away from cutting edges and sharp tools. Rope contact with corrosive chemicals, gas, and oil will be avoided.

- When stored, rope will be coiled and piled, or shall be suspended, so that air can circulate through the coils.

- Rope ends will be secured to prevent their unraveling.

- Climbing rope may not be spliced to effect repair.

- A rope that is wet, that is contaminated to the extent that its insulating capacity is impaired, or that is otherwise not considered to be insulated for the voltage involved may not be used near exposed energized lines.

Fall protection. Each employee will be tied in with a climbing rope and safety saddle when the employee is working above the ground in a tree, unless he or she is ascending into the tree.

Microwave transmission. We will follow these procedures:

- No employee looks into an open waveguide or antenna connected to an energized microwave source.

- All areas are posted warning signs in areas where electromagnetic-radiation level within an accessible area associated with microwave communications systems exceeds the radiation-protection guide.

- We have implemented measures such as administrative and engineering controls and personal protective equipment to protect employees.

Manhole or vault access. We will follow these procedures:

- Employees will use a ladder or other climbing device to enter and exit a manhole or subsurface vault exceeding 4 feet in depth. No employee may climb into or out of a manhole or vault by stepping on cables or hangers.

- Equipment used to lower materials and tools into manholes or vaults will be capable of supporting the weight to be lowered and be checked for defects before use.

- Before anyone lowers tools or material into the opening for a manhole or vault, each employee working in the manhole or vault will be clear of the area directly under the opening.

- While work is being performed in a manhole or vault containing energized electric equipment, an employee (attendant) with first-aid training will be available on the surface in the immediate vicinity of the manhole or vault entrance to render emergency assistance.

- Occasionally, an employee on the surface may briefly enter a manhole or vault to provide nonemergency assistance.

- For the purpose of inspection, housekeeping, taking readings, or similar work, an employee working alone may enter, for brief periods of time, a manhole or vault where energized cables or equipment are in service if the employer can demonstrate that the employee will be protected from all electrical hazards.

- All employees maintain reliable communications, through two-way radios or other equivalent means, among all employees involved in the job.

Duct rods. We will follow these procedures:

- Employees will install duct rods in the direction presenting the least hazard to employees.

- An employee will be stationed at the far end of the duct line being rodded to ensure that the employees maintain the required minimum approach distances.

Multiple cables. We will follow these procedures:

- When multiple cables are present in a work area, we will the identify the cable to be worked by electrical means, unless its identity is obvious by reason of distinctive appearance or location or by other readily apparent means of identification.

- We will protect cables other than the one being worked from damage.

- Employees will inspect energized cables to be moved for abnormalities.

- Where a cable in a manhole or vault has one or more abnormalities that could lead to a fault or be an indication of an impending fault, we will deenergize the cable with the abnormality before any employee may work in the manhole or vault, except when service-load conditions and a lack of feasible alternatives require that the cable remain energized.

  - In that case, employees may enter the manhole or vault provided the employer protects them from the possible effects of a failure using shields or other devices that are capable of containing the adverse effects of a fault.

- If the work employees will perform in a manhole or vault could cause a fault in a cable, the cable needs to be deenergized before any employee works in the manhole or vault, except when service-load conditions and a lack of feasible alternatives require that the cable remain energized. In that case, employees may enter the manhole or vault provided the employer protects them from the possible effects of a failure using shields or other devices that are capable of containing the adverse effects of a fault.

Sheath continuity. When employees perform work on buried cable or on cable in a manhole or vault, the maintain metallic-sheath continuity will be maintained, or the cable sheath shall be treated as energized.

Access and working space. We will maintain sufficient access and working space about electric equipment to permit ready and safe operation and maintenance of such equipment by employees.

Draw-out-type circuit breakers. The employer shall ensure that, when employees remove or insert draw-out-type circuit breakers, the breaker is in the open position. The employer shall also render the control circuit inoperable if the design of the equipment permits.

Substation fences. Conductive fences around substations are grounded. When a substation fence is expanded or a section is removed, fence sections will be isolated, grounded, or bonded as necessary to protect employees from hazardous differences in electric potential.

Guarding of rooms and other spaces containing electric supply equipment. Rooms and other spaces in which electric supply lines or equipment are installed under the following conditions:

- If exposed live parts operating at 50 to 150 volts to ground are within 8 feet of the ground or other working surface inside the room or other space

- If live parts operating at 151 to 600 volts to ground and located within 8 feet of the ground or other working surface inside the room or other space are guarded only by location

- If live parts operating at more than 600 volts to ground are within the room or other space, unless:

  - All live parts are enclosed within grounded, metal-enclosed equipment whose only openings are designed so that foreign objects inserted in these openings will be deflected from energized parts

  - All live parts are installed at a height, above ground and any other working surface, that provides protection at the voltage on the live parts corresponding to the protection provided by an  8-foot height at 50 volts

- Fences, screens, partitions, or walls will enclose the rooms and other spaces so as to minimize the possibility that unqualified persons will enter.

- Unqualified persons may not enter the rooms or other spaces while the electric supply lines or equipment are energized.

- All rooms will display signs at entrances to the rooms and other spaces warning unqualified persons to keep out.

- Each entrance to a room or other space will be locked, unless the entrance is under the observation of a person who is attending the room or other space for the purpose of preventing unqualified employees from entering.

Guarding of energized parts. We will follow these procedures:

- Guards will be maintained around all live parts operating at more than 150 volts to ground without an insulating covering unless the location of the live parts gives sufficient clearance (horizontal, vertical, or both) to minimize the possibility of accidental employee contact.

- Except for fuse replacement and other necessary access by qualified persons, guarding will be done around energized parts within a compartment during operation and maintenance functions to prevent accidental contact with energized parts and to prevent dropped tools or other equipment from contacting energized parts.

- Before guards are removed from energized equipment, barriers will be installed around the work area to prevent employees who are not working on the equipment, but who are in the area, from contacting the exposed live parts.

Substation entry. We will follow these procedures:

- Upon entering an attended substation, each employee, other than employees regularly working in the station, will report their presence to the employee in charge of substation activities to receive information on special system conditions affecting employee safety.

- A job briefing will cover information on special system conditions affecting employee safety, including the location of energized equipment in or adjacent to the work area and the limits of any deenergized work area.

Work Related Practice for Power Generation

Interlocks and other safety devices. We will follow these procedures:

- Interlocks and other safety devices will be maintained in a safe, operable condition.

- No interlock or other safety device may be modified to defeat its function, except for test, repair, or adjustment of the device.

Changing brushes. We will follow these procedures:

- Before exciter or generator brushes are changed while the generator is in service, the exciter or generator field will be checked to determine whether a ground condition exists.

- The brushes may not be changed while the generator is energized if a ground condition exists.

Access and working space. We will follow these procedures:

- Maintain sufficient access and working space about electric equipment to permit ready and safe operation and maintenance of such equipment by employees.

Guarding of rooms and other spaces containing electric supply equipment. We will follow these procedures:

- Rooms and other spaces in which electric supply lines or equipment are installed under the following conditions:

  - If exposed live parts operating at 50 to 150 volts to ground are within 8 feet of the ground or other working surface inside the room or other space.

  - If live parts operating at 151 to 600 volts to ground and located within 8 feet of the ground or other working surface inside the room or other space are guarded only by location.

  - If live parts operating at more than 600 volts to ground are within the room or other space, unless:

    - The live parts are enclosed within grounded, metal-enclosed equipment whose only openings are designed so that foreign objects inserted in these openings will be deflected from energized parts or,

    - The live parts are installed at a height, above ground and any other working surface, that provides protection at the voltage on the live parts corresponding to the protection provided by a 2.4-meter (8-foot) height at 50 volts.

  - Fences, screens, partitions, or walls will enclose the rooms and other spaces so as to minimize the possibility that unqualified persons will enter.

  - Unqualified persons may not enter the rooms or other spaces while the electric supply lines or equipment are energized.

  - Signs will be displayed at entrances to the rooms and other spaces warning unqualified persons to keep out

- The employer shall keep each entrance to a room or other space locked, unless the entrance is under the observation of a person who is attending the room or other space for the purpose of preventing unqualified employees from entering.

Guarding of energized parts. We will follow these procedures:

- Guards will be provided around all live parts operating at more than 150 volts to ground without an insulating covering unless the location of the live parts gives sufficient clearance (horizontal, vertical, or both) to minimize the possibility of accidental employee contact.

- Except for fuse replacement and other necessary access by qualified persons, we will maintain guarding of energized parts within a compartment during operation and maintenance functions to prevent accidental contact with energized parts and to prevent dropped tools or other equipment from contacting energized parts.

- Before guards are removed from energized equipment, we will shall install barriers around the work area to prevent employees who are not working on the equipment, but who are in the area, from contacting the exposed live parts.

Water or steam spaces associated with boiler. We will follow these procedures:

- A designated employee will inspect conditions before work is permitted and after its completion. Eye protection, or full face protection if necessary, will be worn at all times when condenser, heater, or boiler tubes are being cleaned.

- Where it is necessary for employees to work near tube ends during cleaning, shielding will be installed at the tube ends.

Chemical cleaning of boilers and pressure vessels. We will follow these procedures:

- Areas where chemical cleaning is in progress will be cordoned off to restrict access during cleaning.

- If flammable liquids, gases, or vapors or combustible materials will be used or might be produced during the cleaning process, the following requirements also apply:

  - Signs will be posted restricting entry and warning of the hazards of fire and explosion.

  - Smoking, welding, and other possible ignition sources are prohibited in these restricted areas.

  - There will be ready access to water or showers for emergency use.

  - Employees in restricted areas will wear protective equipment but not limited to, protective clothing, boots, goggles, and gloves.

Coal and ash handling. We will follow these procedures:

- Only designated persons may operate railroad equipment.

- Before a locomotive or locomotive crane is moved, a warning will be given to employees in the area.

- Employees engaged in switching or dumping cars may not use their feet to line up drawheads.

- Drawheads and knuckles may not be shifted while locomotives or cars are in motion.

- When a railroad car is stopped for unloading, the car will be secured from displacement that could endanger employees.

- An emergency means of stopping dump operations will be provided at railcar dumps.

- Employees who work in coal- or ash handling conveyor areas will be trained and knowledgeable in conveyor operation.

- Employees may not ride a coal or ash-handling conveyor belt at any time.

- Employees may not cross over the conveyor belt, except at walkways, unless the conveyor's energy source has been deenergized and has been locked out or tagged.

- A conveyor that could cause injury when started may not be started until personnel in the area are alerted by a signal or by a designated person that the conveyor is about to start.

- If a conveyor that could cause injury when started is automatically controlled or is controlled from a remote location, an audible device will be provided that sounds an alarm that will be recognized by each employee as a warning that the conveyor will start and that can be clearly heard at all points along the conveyor where personnel may be present.

- The warning device will be actuated by the device starting the conveyor and shall continue for a period of time before the conveyor starts that is long enough to allow employees to move clear of the conveyor system. A visual warning may be used in place of the audible device if it will provide an equally effective warning in the particular circumstances involved.

- Remotely and automatically controlled conveyors, and conveyors that have operating stations which are not manned or which are beyond voice and visual contact from drive areas, loading areas, transfer points, and other locations on the conveyor path not guarded by location, position, or guards will be furnished with emergency stop buttons, pull cords, limit switches, or similar emergency stop devices.

- Emergency stop devices will be easily identifiable in the immediate vicinity of such locations.

- An emergency stop device will act directly on the control of the conveyor involved and may not depend on the stopping of any other equipment.

- Emergency stop devices will be installed so that they cannot be overridden from other locations.

- Where coal-handling operations may produce a combustible atmosphere from fuel sources or from flammable gases or dust, sources of ignition will be eliminated or safely controlled to prevent ignition of the combustible atmosphere.

- An employee may not work on or beneath overhanging coal in coal bunkers, coal silos, or coal storage areas, unless the employee is protected from all hazards posed by shifting coal.

- An employee entering a bunker or silo to dislodge the contents will wear a body harness with lifeline attached. The lifeline will be secured to a fixed support outside the bunker and shall be attended at all times by an employee located outside the bunker or facility.

Chlorine systems. We will follow these procedures:

- Chlorine system enclosures will be posted with signs restricting entry and warning of the hazard to health and the hazards of fire and explosion.

- Only designated employees may enter the restricted area. Additionally, the number of personnel will be limited to those necessary to accomplish the task safely.

- Emergency repair kits will be available near the shelter or enclosure to allow for the prompt repair of leaks in chlorine lines, equipment, or containers.

- Before repair procedures are started, chlorine tanks, pipes, and equipment will be purged with dry air and isolated from other sources of chlorine.

- We will ensure that chlorine is not mixed with materials that would react with the chlorine in a dangerously exothermic or other hazardous manner.

Boilers. We will follow these procedures:

- Before internal furnace or ash hopper repair work is started, overhead areas will be inspected for possible falling objects. If the hazard of falling objects exists, overhead protection such as planking or nets shall be provided.

- When opening an operating boiler door, employees will stand clear of the opening of the door to avoid the heat blast and gases which may escape from the boiler.

Turbine generators. We will follow these procedures:

- Smoking and other ignition sources are prohibited near hydrogen or hydrogen sealing systems, and signs warning of the danger of explosion and fire will be posted.

- Excessive hydrogen makeup or abnormal loss of pressure will be considered as an emergency and be corrected immediately.

- A sufficient quantity of inert gas will be available to purge the hydrogen from the largest generator.

Capacitors. We will follow these procedures:

- Before employees work on capacitors, the capacitors will be disconnected from energized sources and short circuit the capacitors.

- The employee short circuiting the capacitors must wait at least 5 minutes from the time of disconnection before applying the short circuit,

- Before employees handle the units, each unit will be short circuited in series-parallel capacitor banks between all terminals and the capacitor case or its rack. If the cases of capacitors are on ungrounded substation racks, bond the racks to ground.

- Any line connected to capacitors will be short circuited before the line is treated as deenergized.

Protection against drowning. We will follow these procedures:

- Whenever an employee may be pulled or pushed, or might fall, into water where the danger of drowning exists, employees will be provided with U.S. Coast Guard approved personal flotation devices.

- Personal flotation devices will be provided in a safe condition and inspected frequently enough to ensure that it does not have rot, mildew, water saturation, or any other condition that could render the device unsuitable for use.

- An employee may cross streams or other bodies of water only if a safe means of passage, such as a bridge, is available.

Employee protection in public work areas. We will follow these procedures:

- Traffic-control signs and traffic-control devices used for the protection of employees.

- Before employees begin work in the vicinity of vehicular or pedestrian traffic that may endanger them, we will shall place warning signs or flags and other traffic-control devices in conspicuous locations to alert and channel approaching traffic.

- Barricades will be placed where additional employee protection is necessary.

- Warning lights will be displayed prominently at night.

Medical Services and First Aid

First aid. In the absence of an infirmary, clinic, hospital, or physician, that is reasonably accessible in terms of time and distance to the worksite, available for the treatment of injured employees:

- We will have trained first aid providers available at the worksite to render first aid

- First aid supplies will be readily and easily accessible.

- Contents of each first aid kit will be in a weatherproof container with individual sealed packages for each type of item, and be checked by the supervisor or other responsible party before being sent out on each job and at least weekly on each job to ensure that the expended items are replaced.

Emergency procedures. When other than first aid is required:

- Proper equipment for prompt transportation of the injured person to a physician or hospital, or a communication system for contacting necessary ambulance service, will be provided

- In areas where 911 is not available, the telephone numbers of the physicians, hospitals, or ambulances will be posted

- Where the eyes or body of any person may be exposed to injurious corrosive materials, suitable facilities for quick drenching or flushing of the eyes and body will be provided within the work area for immediate emergency use.

- Other:____________________________________________________________________________

29 CFR 1926.21—Safety Training and Education

Scope/Application: This standard applies to all construction site activities.

Standard Requirements for 29 CFR 1926.21—Safety Training and Education

- Procedures/Practices: First aid procedures, personal protective measures

- Training: Initially, refresher

- Documentation: Not stated

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.21—Safety Training and Education to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

First Aid Procedures and Protective Measures

First Aid Procedures

If the injury is life threatening,

- Call 911.

- Notify your supervisor and first aid responder(s).

- Don’t move the injured person.

- Stop severe bleeding.

In the event of a __________________, employees are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In the event of a __________________, employees are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In the event of a __________________, employees are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In the event of a __________________, employees are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In the event of a __________________, employees are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

First aid kits are located:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Emergency Contact Numbers

Emergency phone numbers are posted throughout the job site. The following employees have been trained in first aid:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

In the event of an emergency, communication devices are located:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Protective Measures

Employees at this job site will follow these protective measures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Emergency eyewash and showers are located:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Only employees that have been trained on fire extinguishers will be allowed to use them. Fire extinguishers, fire blankets and sand are located:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals

29 CFR 1926.417—Lockout and Tagging of Circuits

29 CFR 1926.702—Requirements for Tools and Equipment

Scope/Application: 29 CFR 1926.64—Process Safety Management of Highly Hazardous Materials, 29 CFR 1926.417—Lockout and Tagging of Circuits, and 1926.702—Requirements for Equipment and Tools require lockout/tagout procedures and /or practices.

Standard Requirements for 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals:

- Procedures/Practices: Operating procedures, engineering controls, safe work practices, lockout/tagout practices

- Training: Initially, refresher

- Documentation: Hot work permits, management of change, training records, engineering practices, procedures

Standard Requirements for 29 CFR 1926.417—Lockout and Tagging of Circuits:

- Procedures/Practices: Lockout/tagout procedures

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Documentation: Tags

Standard Requirements for 29 CFR 1926.702—Requirements for Equipment and Tools:

- Procedures/Practices: Lockout/tagout procedures

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Documentation: Tags

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.64—Process Safety Management of Highly Hazardous Materials, 29 CFR 1926.417—Lockout and Tagging of Circuits, and 1926.702—Requirements for Equipment and Tools to ensure that all requirements are being met.

Lockout/Tagout Procedures and Practices

Wherever possible, energy-isolating devices should be locked out. Before employees service, repair or perform maintenance, the machine or equipment must be isolated from all hazardous energy, and the energy isolation-device(s) for the machine or equipment must be locked out or tagged out.

Types and Magnitude of Energy and Hazards

Each employee will be instructed in the types and magnitude of energy used on site. The following types of energy are used:

(a) _________________ (b) ________________

The magnitude of energy (a) (_____________ energy) used is: ____________; the magnitude of hazards presented by the _____________ energy is: ____________________.

The magnitude of energy (b) (_____________ energy) used is: ___________; the magnitude of hazards presented by the _____________ energy is: ____________________.

Training and Retraining of Affected and Authorized Employees

Each employee must be thoroughly trained with respect to lockout/tagout procedure used by our company. Each employee must know that lockout/tagout is used to protect employees against hazardous energy from inadvertent operation of equipment or machinery. Each employee must understand that he or she is to never attempt to operate an energy-isolating device when it is locked or tagged. Each employee will be retrained if there is a change in the employee’s job assignment, a change in machinery or equipment that presents a new hazard, a change in energy control procedures, or management considers that retraining is necessary.

Training or retraining must include:

- How to recognize hazardous energy sources.

- Type and magnitude of energy used especially with respect to the machinery or equipment to which the employee will be exposed.

- Purpose of the lockout/tagout procedure.

- Steps for shutting down, isolating, blocking and securing equipment to which the employee will be exposed.

- Steps for placement, removal and transfer of lockout/tagout devices and the division of responsibility for accomplishing those tasks.

- Requirements for testing to determine and verify effectiveness of lockout/tagout devices.

- The proper use and limitations of tags.

Employees who will use (actually implement) the lockout/tagout procedure will receive written authorization from supervision.

Documentation will be completed for each employee following every training or retraining session.

Inspection Certification

As a best practice, a periodic inspection of the energy control procedure will be conducted annually to ensure that the procedure and the requirements of the standard are being followed.

The periodic inspection will be performed by an authorized employee other than the ones(s) utilizing the energy control procedure being inspected. The purpose of the periodic inspection is to correct any deviations or inadequacies identified.

Where lockout is used for energy control, the periodic inspection will include a review, between the inspector and each authorized employee, of that employee's responsibilities under the energy control procedure being inspected.

Where tagout is used for energy control, the periodic inspection will include a review, between the inspector and each authorized and affected employee, of that employee's responsibilities under the energy control procedure being inspected, and an overview regarding the limitations of the tags.

The periodic inspections will be  documented by a certification stating the machine or equipment on which the energy control procedure was being utilized, the date of the inspection, the employees included in the inspection, and the person performing the inspection.

Note: Refer to form “Lockout/Tagout Inspection Certification“ located in Section 6—Forms.

Sequence of Lockout/Tagout System—Procedure

Each employee will be informed of the lockout/tagout sequence. That sequence includes the following steps:

Step One—The authorized employee (designated by supervision to implement lockout/tagout) will notify all affected employees and others in the area that lockout/tagout is to be used and the reason for its use. Use “Types/Locations of Energy-Isolating Devices,” located in Section 6—Forms for the respective machine or equipment lists all pertinent information, including the magnitude of energy and the hazards to be expected.)

Step Two—The machine must be shut down by normal procedure.

Step Three—Each energy-isolating device must be located. Each device must be operated to isolate the equipment from the energy source(s).

Step Four—Each device or manner by which energy can be stored must be located.

Step Five—Each energy-isolating device will be locked or tagged with assigned individual locks or tags.

Note: If more than one authorized employee is required to affix a lockout/tagout device (see group lockout), the designated group coordinator must have each authorized employee who affixes a lockout/tagout device sign his/her name and enter job title. Use a separate sheet if needed.

Step Six—(a) Ensure that personnel are not exposed; (b) attempt to start the equipment with the normal operating controls to ensure that lockout/tagout is effective; (c) return the operating controls to “neutral” or “off.” The equipment is now properly locked or tagged out.

Tagout Device. When tags are used, they should be:

- Singularly identified.

- Device used only for controlling energy.

- Not used for other purposes.

- Durable/substantial.

- Able to withstand its intended environment.

- Nonreusable.

- Attachable by hand.

- Self-locking.

- Indicates employee identity.

- Exposure will not cause deterioration.

- Does not deteriorate in corrosive environment.

- Standardized as to: ___color; ___shape and size; ___print and format.

- Minimum unlocking strength of no less than 50 pounds.

- Equivalent to a one piece, all environment-tolerant nylon cable tie.

Procedure for Restoring Machines or Equipment to Normal Operations

- When servicing, maintenance or repair is complete and the equipment/machine is ready to be started up, the authorized employee will ensure that: (a) no one is exposed to the equipment/machine; (b) all tools have been removed from the machine/equipment; (c) guards have been reinstalled; (d) there are no exposed electrical wires; (e) and that he or she is satisfied that it is safe for start up.

- If the authorized employee is not available to remove the lockout/tagout devices, the devices may only be removed by or under the direction of the supervisor who completes the following:

- Identify the authorized employee whose device is being removed _______________.

- Describe all reasonable efforts to locate this  employee: _______________________.

- Describe the action taken to ensure that, prior to his or her resumption of work, the employee knows that the device was removed ________________________.

- Enter signature and date of supervisor to certify the above steps were taken ____________________.

- If more than one authorized employee is required to remove a lockout/tagout device, the designated group coordinator will have each employee who removes a device sign his or her name and enter the job title.

Name(s)/Titles: ____________________________________________________________________________________________________________________________________________________________________________________________

- Operate the devices to restore energy to the machine/equipment.

Temporary Removal of Lockout/Tagout Devices

When testing, the positioning of machines/equipment or other requirements demand the temporary removal of lockout/tagout devices, the authorized employee or supervisor must: (a) follow the sequence steps one through three; (b) conduct the tests or position the equipment; and (c) de-energize all systems and reapply energy control measures in accordance with policy.

Subcontractors

If the maintenance, service or repair is performed by another contractor, the supervisor will appoint an employee to serve as the subcontractor’s authorized employee for the purposes of this policy.

Group Lockout or Tagout

When group lockout/tagout is required and when more than one group is involved, a group coordinator must be designated by supervision. The designated group coordinator must seek agreement from the other authorized employees and must ensure that each authorized employee: (a) places his or her personal lockout or tagout device on the energy-isolating devices; or (b) places the device on a multiple lockout/tagout device (hasp) if the device cannot accept multiple locks/tags; or (c) secures the personal lock to a multiple-lock lockout box or cabinet that holds the key to the single lock on the energy-isolating device; and (d) signs and enters his/her job title at the time of affixing and removing the device.

29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals

Scope/Application: This standard provides the requirements for preventing or minimizing the consequences of catastrophic releases of toxic, reactive, flammable, or explosive chemicals.

Standard Requirements for 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals:

- Procedures/Practices: Operating procedures, engineering controls, safe work practices, lockout/tagout practices

- Training: Initially, refresher

- Documentation: Hot work permits, management of change, training records, engineering practices, procedures

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals to ensure that all requirements are being met.

Process Safety Management—Work Practices and Procedures

Process Safety Information

Hazards of the Chemicals Used in the Process—Complete and accurate written information concerning process chemicals, process technology and process equipment is essential to an effective process safety management program and to a process hazard analysis. The compiled information will be a necessary resource to a variety of users, including the team performing the process hazard analysis as required by PSM; those developing the training programs and the operating procedures; contractors whose employees will be working with the process; those conducting the pre-startup reviews; as well as local emergency preparedness planners, insurance and enforcement officials.

The information to be compiled about the chemicals, including process intermediates, may be comprehensive enough for an accurate assessment of the fire and explosion characteristics, reactivity hazards, the safety and health hazards to workers, and the corrosion and erosion effects on the process equipment and monitoring tools. Current safety data sheet (SDS) information will be used to help meet this but will be supplemented with process chemistry information, including runaway reaction and over-pressure hazards, if applicable. __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Technology of the Process—Process technology information will be a part of the process safety information package and will include established criteria for maximum inventory levels for process chemicals; limits beyond which would be considered upset conditions; and a qualitative estimate of the consequences or results of deviation that could occur if operating beyond the established process limits. __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Equipment in the Process—Piping and instrument diagrams (P&IDs) are appropriate diagrams to show some of the above details as well as display the information for the piping designer and engineering staff. The P&IDs are to be used to describe the relationships between equipment and instrumentation as well as other relevant information that will enhance clarity. The information pertaining to process equipment design will be documented. __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Employee Involvement—Under our existing safety and health program, we have established methods to keep employees informed about relevant safety and health issues to meet our obligations under PSM.

Process Hazard Analysis—A process hazard analysis (PHA), or evaluation, is one of the most important elements of the process safety management program. A PHA is an organized and systematic effort to identify and analyze the significance of potential hazards associated with the processing or handling of highly hazardous chemicals. A PHA provides information that will assist employers and employees in making decisions for improving safety and reducing the consequences of unwanted or unplanned releases of hazardous chemicals.

A PHA analyzes potential causes and consequences of fires, explosions, releases of toxic or flammable chemicals, and major spills of hazardous chemicals. The PHA focuses on equipment, instrumentation, utilities, human actions (routine and non-routine), and external factors that might affect the process.

We use a generic PHA, evolved from a checklist or what-if questions, that has been developed and effectively used to reflect our process.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Operating Procedures—Operating procedures describe tasks to be performed, data to be recorded, operating conditions to be maintained, samples to be collected, and safety and health precautions to be taken. The procedures need to be technically accurate, understandable to employees, and revised periodically to ensure that they reflect current operations. The process safety information helps to ensure that the operating procedures and practices are consistent with the known hazards of the chemicals in the process and that the operating parameters are correct. Operating procedures will be reviewed by engineering staff and operating personnel to ensure their accuracy and that they provide practical instructions on how to actually carry out job duties safely. We also certify annually that all operating procedures are current and accurate.

Operating procedures provide specific instructions or details on what steps are to be taken or followed in carrying out the stated procedures. The specific instructions include the applicable safety precautions and appropriate information on safety implications.

Operating procedures and instructions are to be used for training operating personnel. The operating procedures are viewed as the standard operating practices (SOPs) for operations. Control room personnel and operating staff, in general, need to have a full understanding of operating procedures. Operating procedures need to be changed when there is a change in the process.

Training will include instruction on how to handle upset conditions as well as what operating personnel are to do in emergencies such as pump seal failures or pipeline ruptures. Communication among operating personnel and workers within the process area performing non-routine tasks must be maintained. The hazards of the tasks are to be conveyed to operating personnel in accordance with established procedures and to those performing the actual tasks. When the work is completed, operating personnel will be informed to provide closure on the job.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Employee Training—All employees, including maintenance and contractor employees involved with highly hazardous chemicals, need to fully understand the safety and health hazards of the chemicals and processes they work with so they can protect themselves, their fellow employees and the citizens of nearby communities. Training conducted in compliance with the OSHA Hazard Communication Standard informs employees about the chemicals they work with and familiarize them with reading and understanding SDSs. However, additional training in the following subjects such as operating procedures and safe work practices, emergency evacuation and response, safety procedures, routine and non-routine work authorization activities, and other areas pertinent to process safety and health will also be covered in our training program.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Contractors—Employer responsibilities. In choosing a contractor, we will obtain and evaluate information regarding the contract employer's safety performance and programs. Once selected, we will:

- Inform contract employers of the known potential fire, explosion, or toxic release hazards related to the contractor's work and the process.

- Explain to contract employers the applicable provisions of the emergency action plan.

- Develop and implement safe work practices consistent to control the entrance, presence and exit of contract employers and contract employees in covered process areas.

- We will periodically evaluate the performance of contract employers in fulfilling their obligations.

- Maintain a contract employee injury and illness log related to the contractor's work in process areas.

Contractors—Contract employer responsibilities. The contract employer will be responsible for:

- Ensuring that each contract employee is trained in the work practices necessary to safely perform his/her job.

- Assuring that each contract employee is instructed in the known potential fire, explosion, or toxic release hazards related to his/her job and the process, and the applicable provisions of the emergency action plan.

- Documenting that each contract employee has received and understood the training provided to them.

- Preparing a record which contains the identity of the contract employee, the date of training, and the means used to verify that the employee understood the training.

- Assuring that each contract employee follows the safety rules of the facility including the safe work practices.

- Advising the employer of any unique hazards presented by the contract employer's work, or of any hazards found by the contract employer's work.

Pre-Startup Safety Review—The initial startup procedures and normal operating procedures has been fully evaluated to ensure a safe transfer into the normal operating mode.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Mechanical Integrity of Equipment—We have implemented a mechanical integrity program to ensure the continued integrity of process equipment. Elements of our mechanical integrity program includes identifying and categorizing equipment and instrumentation, inspections and tests and their frequency; maintenance procedures; training of maintenance personnel; criteria for acceptable test results; documentation of test and inspection results; and documentation of manufacturer recommendations for equipment and instrumentation.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Process Defenses—The first line of defense is to operate and maintain the process as designed and to contain the chemicals. This is backed up by the second line of defense that is to control the released chemicals through venting to scrubbers or flares, or to surge or overflow tanks designed to receive such chemicals. This also would include fixed fire protection systems like sprinklers, water spray, or deluge systems, monitor guns, dikes, designed drainage systems, and other systems to control or mitigate hazardous chemicals once an unwanted release occurs.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Inspection and Testing—The mean time to failure of various instrumentation and equipment parts would be known from the manufacturer’s data or the employer’s experience with the parts, which then influence inspection and testing frequency and associated procedures. Also, applicable codes and standards—such as the National Board Inspection Code, or those from the American Society for Testing and Materials, American Petroleum Institute, National Fire Protection Association, American National Standards Institute, American Society of Mechanical Engineers, and other groups—provide information to help establish an effective testing and inspection frequency, as well as appropriate methodologies.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Quality Assurance—A quality assurance system helps ensure the use of proper materials of construction, the proper fabrication and inspection procedures, and appropriate installation procedures that recognize field installation concerns. The quality assurance program is an essential part of our mechanical integrity program and will help maintain the primary and secondary lines of defense designed into the process to prevent unwanted chemical releases or to control or mitigate a release.

Equipment installation jobs need to be properly inspected in the field for use of proper materials and procedures and to ensure that qualified craft workers do the job. The use of appropriate gaskets, packing, bolts, valves, lubricants and welding rods may be verified in the field. Also, procedures for installing safety devices need to be verified, such as the torque on the bolts on rupture disc installations, uniform torque on flange bolts, and proper installation of pump seals. If the quality of parts is a problem, it may be appropriate for the employer to conduct audits of the equipment supplier's facilities to better ensure proper purchases of required equipment suitable for intended service. Any changes in equipment that may become necessary will need to be reviewed for management of change procedures.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Non-routine Work Authorizations—Non-routine work conducted in process areas must be controlled in a consistent manner. The hazards identified involving the work to be accomplished must be communicated to those doing the work and to those operating personnel whose work could affect the safety of the process. A work authorization notice or permit must follow a procedure that describes the steps the maintenance supervisor, contractor representative or other person needs to follow to obtain the necessary clearance to start the job. The work authorization procedures must reference and coordinate, as applicable, lockout/tagout procedures, line breaking procedures, confined space entry procedures and hot work authorizations. This procedure also must provide clear steps to follow once the job is completed to provide closure for those that need to know the job is now completed and that equipment can be returned to normal.

Managing Change—To properly manage changes to process chemicals, technology, equipment and facilities, one must define what is meant by change. In the Process Safety Management Standard, change includes all modifications to equipment, procedures, raw materials and processing conditions other than “replacement in kind.” These changes must be properly managed by identifying and reviewing them prior to implementing them.

Changes in process technology can result from changes in production rates, raw materials, experimentation, equipment unavailability, new equipment, new product development, change in catalysts, and changes in operating conditions to improve yield or quality. Equipment changes can be in materials of construction, equipment specifications, piping prearrangements, experimental equipment, computer program revisions, and alarms and interlocks.

We use a change form that includes a description and the purpose of the change, the technical basis for the change, safety and health considerations, documentation of changes for the operating procedures, maintenance procedures, inspection and testing, P&IDs, electrical classification, training and communications, pre-startup inspection, duration (if a temporary change), approvals, and authorization.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Note: An example Management of Change form is located in Section 6—Forms.

Incident Investigation—We will investigate all incidents that occur in our facilities. The report, its findings and recommendations will be shared with those who can benefit from the information. The cooperation of employees is essential to an effective incident investigation. The focus of the investigation will be to obtain facts and not to place blame. The investigative process will deal with all involved individuals in a fair, open and consistent manner.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Emergency Preparedness—Emergency preparedness is our third line of defense that will be relied on along with the second line of defense, which is to control the release of chemical. Control releases and emergency preparedness will take place when the first line of defense to operate and maintain the process and contain the chemicals fails to stop the release.

Our employees will follow our emergency action plan that will facilitate the prompt evacuation of employees when there is an unwanted release of a highly hazardous chemical.
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Compliance Audits—An audit is a technique used to gather sufficient facts and information, including statistical information, to verify compliance with standards. Our audit includes an evaluation of the design and effectiveness of the process safety management system and a field inspection of the safety and health conditions and practices to verify that the systems are effectively implemented. __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Evaluation and Corrective Action—Any deficiency identified in the audit will be addressed, the corrective action to be taken is noted, and the responsible audit person will be documented. __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

29 CFR 1926.1060—Stairways and Ladders—Training Requirements

Scope/Application: This standard applies to stairways and ladders.

Standard Requirements for 29 CFR 1926.1060—Training Requirements:

- Procedures/Practices: Stairway and ladder procedures

- Training: Initially, retraining

- Documentation: Not stated

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.1060—Training Requirements to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

Stairways and Ladders—Procedures

All employees will be trained on using ladders and stairways, as necessary. The training will enable each employee to recognize hazards related to ladders and stairways, and will include procedures to be followed to minimize these hazards.

Training

Each employee will be trained by a competent person in the following areas, as applicable to their job and assigned tasks:

- The nature of fall hazards in the work area;

- The correct procedures for erecting, maintaining, and disassembling the fall protection systems to be used;

- The proper construction, use, placement, and care in handling of all stairways and ladders;

- The maximum intended load-carrying capacities of ladders and

- The standards contained in Subpart X—Stairways and Ladders.

Retraining will be provided for each employee as necessary so that the employee maintains the understanding and knowledge acquired through compliance with this section.

Site-Specific Procedures

Most if not all of the site-specific procedures will be conducted as hands-on training.

Ladders-Safe Work Practices

- Portable ladders will be visually inspected each day prior to use. Other ladders will be inspected at least annually or more often if the conditions of use or location necessitate more frequent inspection.

- Portable and fixed ladders with structural defects—such as broken or missing rungs, cleats or steps, broken or split rails, or corroded components—will be withdrawn from service by immediately tagging "DO NOT USE" or marking in a manner that identifies them as defective, or will be blocked, such as with a plywood attachment that spans several rungs. Repairs must restore ladder to its original design criteria.

- Portable non-self-supporting ladders will be placed on a substantial base, have clear access at top and bottom, and be placed at an angle so the horizontal distance from the top support to the foot of the ladder is approximately one-quarter the working length of the ladder.

- Portable ladders used for access to an upper landing surface will extend a minimum of 3 feet (0.9144 meters) above the landing surface, or where not practical, be provided with grab rails and be secured against movement while in use.

- Ladders will have nonconductive side rails if they are used where the worker or the ladder could contact energized electrical conductors or equipment.

- Job-made ladders will be constructed for their intended use. Cleats will be uniformly spaced not less than 10 inches (25.4 centimeters) apart, nor more than 14 inches (35.56 centimeters) apart.

- A ladder (or stairway) will be provided at all work points of access where there is a break in elevation of 19 inches (48.26 centimeters) or more except if a suitable ramp, runway, embankment, or personnel hoist is provided to give safe access to all elevations.

- Wood job-made ladders with spliced side rails will be used at an angle where the horizontal distance is one-eighth the working length of the ladder.

- Fixed ladders will be used at a pitch no greater than 90 degrees from the horizontal, measured from the back side of the ladder.

- Ladders will be used only on stable and level surfaces unless secured to prevent accidental movement.

- Ladders will not be used on slippery surfaces unless secured or provided with slip-resistant feet to prevent accidental movement. Slip-resistant feet will not be used as a substitute for the care in placing, lashing, or holding a ladder upon a slippery surface.

Stairways-Safe Work Practices

- A stairway or ladder will be provided at all worker points of access where there is a break in elevation of 19 inches (48.26 centimeters) or more and no ramp, runway, sloped embankment, or personnel hoist is provided.

- When there is only one point of access between levels, it will be kept clear to permit free passage by workers. If free passage becomes restricted, a second point of access must be provided and used.

- When there are more than two points of access between levels, at least one point of access will be kept clear.

- All stairway and ladder fall protection systems will be provided and installed as required by the stairway and ladder rules before employees begin work that requires them to use stairways or ladders and their respective fall protection systems.

- Stairways that will not be a permanent part of the structure on which construction work is performed will have landings at least 30 inches deep and 22 inches wide (76.2 x 55.88 centimeters) at every 12 feet (3.6576 meters) or less of vertical rise.

- Stairways will be installed at least 30 degrees, and no more than 50 degrees, from the horizontal.

- Variations in riser height, or stair tread, or landing depth, will not exceed 1/4 inch (.6425 centimeter) in any stairway system, including any foundation structure used as one or more treads of the stairs.

- Where doors or gates open directly onto a stairway, a platform will be provided, and the swing of the door shall not reduce the effective width of the platform to less than 20 inches (50.80 centimeters). Except during construction of the actual stairway, stairways with metal pan landings and treads will not be used where the treads and/or landings have not been filled in with concrete or other material, unless the pans of the stairs and/or landings are temporarily filled in with wood or other material.

- All treads and landings will be replaced when worn below the top edge of the pan.

- Stairways having four or more risers, or rising more than 30 inches in height (76.2 centimeters), whichever is less, will have at least one handrail. A stairrail will be installed along each unprotected side or edge. When the top edge of a stairrail system also serves as a handrail, the height of the top edge will not be more than 37 inches (93.98 centimeters) nor less than 36 inches (91.44 centimeters) from the upper surface of the stairrail to the surface of the tread in line with face of riser at forward edge of tread.

- Winding and spiral stairways will be equipped with a handrail offset sufficiently to prevent walking on those portions of the stairways where the tread width is less than 6 inches (15.24 centimeters).

- Midrails, screens, mesh, intermediate vertical members, or equivalent intermediate structural members will be provided between the top rail and stairway steps of the stairrail system.

- Midrails, when used, will be located midway between the top of the stairrail system and the stairway steps.

- The height of handrails will not be more than 37 inches (93.98 centimeters) nor less than 30 inches (76.2 centimeters) from the upper surface of the handrail to the surface of the tread in line with face of riser at forward edge of tread.

- The height of the top edge of a stairrail system used as a handrail will not be more than 37 inches (93.98 centimeters) nor less than 36 inches (91.44 centimeters) from the upper surface of the stairrail system to the surface of the tread in line with face of riser at forward edge of tread.

- Temporary handrails will have a minimum clearance of 3 inches (7.62 centimeters) between the handrail and walls, stairrail systems, and other objects.

- Unprotected sides and edges of stairway landings will be provided with a standard 42-inch (106.68- centimeter) guardrail systems.

29 CFR 1926 Subpart S—Underground Construction, Caissons, Cofferdams,

and Compressed Air

Scope/Application: This standard applies to the construction of underground tunnels, shafts, chambers, and passageways. It also applies to cut-and-cover excavations which are both physically connected to ongoing underground construction operations within the scope of this section, and covered in such a manner as to create conditions characteristic of underground construction.

Standard Requirements for 29 CFR 1926 Subpart S—Underground Construction Caissons, Cofferdams, and Compressed Air:

- Procedures/Practices: Decompression procedures, rescue procedures, check in/out procedures,

- Training: Initially

- Documentation: Procedures

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926 Subpart S—Underground Construction Caissons, Cofferdams, and Compressed Air to ensure that all requirements are being met.

Underground Construction—Procedures

Check-In/Check-Out Procedures

We maintain a check-in/check-out procedure that will ensure that above-ground personnel can determine an accurate count of the number of persons underground in the event of an emergency. All personnel will abide by this procedure at all times.

This procedure is not required when the construction of underground facilities designed for human occupancy has been sufficiently completed so that the permanent environmental controls are effective, and when the remaining construction activity will not cause any environmental hazard or structural failure within the facilities.

Identification Badges

Identification badges will be furnished to all employees, indicating that the wearer is a compressed air worker. A permanent record will be kept of all identification badges issued. The badge will give the employee's name, address of the medical lock, the telephone number of the licensed physician for the compressed air project, and contain instructions that in case of emergency of unknown or doubtful cause or illness, the wearer shall be rushed to the medical lock. The badge will be worn at all times-off the job, as well as on the job.

Safety Instruction

All employees will be instructed in the recognition and avoidance of hazards associated with underground construction activities including, where appropriate, the following subjects:

- Air monitoring:

- Ventilation:

- Illumination:

- Communications:

- Flood control:

- Mechanical equipment:

- Personal protective equipment:

- Explosives:

- Fire prevention and protection: and

- Emergency procedures, including evacuation plans and check- in/check-out systems.

Notification Procedures

Oncoming shifts will be informed of any hazardous occurrences or conditions that have affected or might affect employee safety, including liberation of gas, equipment failures, earth or rock slides, cave-ins, floodings, fires or explosions.

Communications and Communication Procedures

We have established and will maintain direct communications for coordination of activities with other employers whose operations at the jobsite affect or may affect the safety of employees underground.

When natural unassisted voice communication is ineffective, a power-assisted means of voice communication will be used to provide communication between the work face, the bottom of the shaft, and the surface.

Two effective means of communication, at least one of which shall be voice communication, shall be provided in all shafts which are being developed or used either for personnel access or for hoisting.

Powered communication systems will operate on an independent power supply, and will be installed so that the use of or disruption of any one phone or signal location will not disrupt the operation of the system from any other location.

Communication systems will be tested upon initial entry of each shift to the underground, and as often as necessary at later times, to ensure that they are in working order.

Any employee working alone underground in a hazardous location, who is both out of the range of natural unassisted voice communication and not under observation by other persons, will be provided with an effective means of obtaining assistance in an emergency.

Emergency Provisions

Hoisting capability. When a shaft is used as a means of egress, we will make advance arrangements for power-assisted hoisting capability to be readily available in an emergency, unless the regular hoisting means can continue to function in the event of an electrical power failure at the jobsite. Hoisting means will be designed so that the load hoist drum is powered in both directions of rotation and so that the brake is automatically applied upon power release or failure.

Self-rescuers. Respirators will be immediately available to all employees at work stations in underground areas where employees might be trapped by smoke or gas. Refer to our respirator program.

Designated person. At least one designated person will be on duty above ground whenever any employee is working underground. This designated person will be responsible for securing immediate aid and keeping an accurate count of employees underground in case of emergency.

Emergency lighting. Each employee underground will have an acceptable portable hand lamp or cap lamp in his or her work area for emergency use, unless natural light or an emergency lighting system provides adequate illumination for escape.

Rescue teams. On jobsites where 25 or more employees work underground at one time, we will provide (or make arrangements in advance with locally available rescue services to provide) at least two 5-person rescue teams, one on the jobsite or within one-half hour travel time from the entry point, and the other within 2 hours travel time.

On jobsites where less than 25 employees work underground at one time, we will provide (or make arrangements in advance with locally available rescue services to provide) at least one 5-person rescue team to be either on the jobsite or within one-half hour travel time from the entry point.

Rescue team members will be qualified in rescue procedures, the use and limitations of breathing apparatus, and the use of firefighting equipment. Qualifications will be reviewed annually.

On jobsites where flammable or noxious gases are encountered or anticipated in hazardous quantities, rescue team members will practice donning and using self-contained breathing apparatus monthly.

All rescue teams are expected to be familiar with conditions at the jobsite.

Hazardous Classifications

Potentially gassy. Underground construction operations are classified as potentially gassy if either:

- Air monitoring discloses 10 percent or more of the lower explosive limit for methane or other flammable gases measured at 12 inches (304.8 mm) to + or - 0.25 inch (6.35 mm) from the roof, face, floor or walls in any underground work area for more than a 24-hour period: or

- The history of the geographical area or geological formation indicates that 10 percent or more of the lower explosive limit for methane or other flammable gases is likely to be encountered in such underground operations.

Gassy operations. Underground construction operations will be classified as gassy if:

- Air monitoring discloses 10 per cent or more of the lower explosive limit for methane or other flammable gases measured at 12 inches (304.8 mm) + or - inch (6.35 mm) from the roof, face, floor or walls in any underground work area for three consecutive days: or

- There has been an ignition of methane or of other flammable gases emanating from the strata that indicates the presence of such gases: or

- The underground construction operation is both connected to an underground work area which is currently classified as gassy and is also subject to a continuous course of air containing the flammable gas concentration.

Declassification to potentially gassy operations. Underground construction gassy operations may be declassified to Potentially Gassy when air monitoring results remain under 10 percent of the lower explosive limit for methane or other flammable gases for three consecutive days.

Gassy operations additional procedures. Additional procedures for gassy operations include:

- Only acceptable equipment, maintained in suitable condition, will be used in gassy operations.

- Mobile diesel-powered equipment used in gassy operation will be either approved in accordance with the requirement of 30 CFR Part 36 (formerly Schedule 31) by MSHA, or be demonstrated to be fully equivalent to such MSHA-approved equipment, and shall be operated in accordance with that part.

- Each entrance to a gassy operation will be prominently posted with signs notifying all entrants of the gassy classification.

- Smoking will be prohibited in all gassy operations and the employer shall be responsible for collecting all personal sources of ignition, such as matches and lighters, from all persons entering a gassy operation.

- A fire watch will be maintained when hot work is performed.

Operations related to the control of the gas concentration. Procedures for controlling gas concentrations include:

- Installation of new equipment, or conversion of existing equipment.

- Installation of above-ground controls for reversing the air flow.

Air Quality and Monitoring Procedures

We have assigned a competent person to perform all air monitoring. The competent person will make a reasonable determination as to which substances to monitor and how frequently to monitor, considering at least the following factors:

- Location of jobsite: Proximity to fuel tanks, sewers, gas lines, old landfills, coal deposits, and swamps;

- Geology: Geological studies of the jobsite, particularly involving the soil type and its permeability;

- History: Presence of air contaminants in nearby jobsites, changes in levels of substances monitored on the prior shift; and

- Work practices and jobsite conditions: The use of diesel engines, use of explosives, use of fuel gas, volume and flow of ventilation, visible atmospheric conditions, decompression of the atmosphere, welding, cutting and hot work, and employees' physical reactions to working underground.

- The atmosphere in all underground work areas will be tested as often as necessary to assure that the atmosphere at normal atmospheric pressure contains at least 19.5 percent oxygen and no more than 22 percent oxygen.

- Tests for oxygen content will be made before tests for air contaminants.

- The atmosphere in all underground work areas will be tested quantitatively for carbon monoxide, nitrogen dioxide, hydrogen sulfide, and other toxic gases, dusts, vapors, mists, and fumes as often as necessary to ensure that the permissible exposure limits are not exceeded.

- The atmosphere in all underground work areas will be tested quantitatively for methane land other flammable gases as often as necessary to determine:

  - Whether action needs to be taken, and

  - Whether an operation is to be classified potentially gassy or gassy.

- If diesel-engine or gasoline-engine driven ventilating fans or compressors are used, an initial test will be made of the inlet air of the fan or compressor, with the engines operating, to ensure that the air supply is not contaminated by engine exhaust.

- Testing will be performed as often as necessary to ensure that the ventilation is adequate.

- When rapid excavation machines are used, a continuous flammable gas monitor will be operated at the face with the sensor(s) placed as high and close to the front of the machine's cutter head as practicable.

- Whenever air monitoring indicates the presence of 5 ppm or more of hydrogen sulfide, a test will be conducted in the affected underground work area(s), at least at the beginning and midpoint of each shift, until the concentration of hydrogen sulfide has been less than 5 ppm for 3 consecutive days.

- Whenever hydrogen sulfide is detected in an amount exceeding 10 ppm, a continuous sampling and indicating hydrogen sulfide monitor will be used to monitor the affected work area.

- Affected employees will be informed when a concentration of 10 ppm hydrogen sulfide is exceeded.

- The continuous sampling and indicating hydrogen sulfide monitor will be designed, installed, and maintained to provide a visual and aural alarm when the hydrogen sulfide concentration reaches 20 ppm to signal that additional measures, such as respirator use, increased ventilation, or evacuation, might be necessary to maintain hydrogen sulfide exposure below the permissible exposure limit.

- When the competent person determines, on the basis of air monitoring results or other information, that air contaminants may be present in sufficient quantity to be dangerous to life, the employer shall:

- All entrances to the underground jobsite will be posted to inform all entrants of the hazardous condition; and to ensure that the necessary precautions are taken.

- Whenever five percent or more of the lower explosive limit for methane or other flammable gases is detected in any underground work area(s) or in the air return, steps will be taken to increase ventilation air volume or otherwise control the gas concentration, unless the employer is operating in accordance with the potentially gassy or gassy operation requirements. Such additional ventilation controls may be discontinued when gas concentrations are reduced below five percent of the lower explosive limit, but will be reinstituted whenever the five percent level is exceeded.

- Whenever 10 percent or more of the lower explosive limit for methane or other flammable gases is detected in the vicinity of welding, cutting, or other hot work, such work will be suspended until the concentration of such flammable gas is reduced to less than 10 percent of the lower explosive limit.

- Whenever 20 percent or more of the lower explosive limit for methane or other flammable gases is detected in any underground work area(s) or in the air return:

  - All employees, except those necessary to eliminate the hazard, will be immediately withdrawn to a safe location above ground; and electrical power, except for acceptable pumping and ventilation equipment, will be cut off to the area endangered by the flammable gas until the concentration of such gas is reduced to less than 20 percent of the lower explosive limit.

Additional monitoring for potentially gassy and gassy operation. Operations which meet the criteria for potentially gassy and gassy operations will also follow these additional monitoring procedures:

- A test for oxygen content will be conducted in the affected underground work areas and work areas immediately adjacent to such areas at least at the beginning and midpoint of each shift.

- When using rapid excavation machines, continuous automatic flammable gas monitoring equipment will be used to monitor the air at the heading, on the rib, and in the return air duct. The continuous monitor will signal the heading, and shut down electric power in the affected underground work area, except for acceptable pumping and ventilation equipment, when 20 percent or more of the lower explosive limit for methane or other flammable gases encountered.

- A manual flammable gas monitor will be used as needed, but at least at the beginning and midpoint of each shift, to ensure that the limits. In addition, a manual electrical shut down control will be provided near the heading.

- Local gas tests be made prior to and continuously during any welding, cutting or other hot work.

- In underground operations driven by drill-and-blast methods, the air in the affected area will be tested for flammable gas prior to re-entry after blasting, and continuously when employees are working underground.

Decompression Procedures

Decompression to normal condition will be in accordance with the Decompression Tables in 1926 Subpart S, Appendix A.

In the event it is necessary for an employee to be in compressed air more than once in a 24-hour period, the appointed physician will be responsible for the establishment of methods and procedures of decompression applicable to repetitive exposures.

If decanting is necessary, the appointed physician will establish procedures before any employee is permitted to be decompressed by decanting methods. The period of time that the employees spend at atmospheric pressure between the decompression following the shift and recompression will not exceed 5 minutes.

Training

Employees will be trained initially on applicable procedures before starting work.

Signs and Signals

The time of decompression will be posted in each man lock as follows:

Time of Decompression for This Lock

___ pounds to ___ pounds in ___ minutes.

___ pounds to ___ pounds in ___ minutes.

(Signed by) _________(Superintendent)

This form will be posted in the Man Lock at all times.

Any code of signals used will be conspicuously posted near workplace entrances and such other locations as may be necessary to bring them to the attention of all employees concerned.

Records and Recordkeeping

A record of all air quality tests will be maintained above ground at the worksite. The record will include the location, date, time, substance and amount monitored.

Records of exposures to toxic substances shall be retained for 30 years. Medical records will be maintained for duration of employment plus 30 years. All other air quality test records will be retained until completion of the project.

A permanent record will be kept of all identification badges issued. The badge will give the employee's name, address of the medical lock, the telephone number of the licensed physician for the compressed air project, and contain instructions that in case of emergency of unknown or doubtful cause or illness, the wearer shall be rushed to the medical lock.

For each 8-hour shift, a record of employees employed under air pressure will be kept by an employee who will remain outside the lock near the entrance. This record will show the period each employee spends in the air chamber and the time taken from decompression. A copy will be submitted to the appointed physician after each shift.

29 CFR 1926.57—Ventilation

Scope/Application: This standard applies to ventilation requirements relating to hazardous substances, abrasive blasting operations, grinding, polishing and buffing operations, and spray booths and rooms.

Standard Requirements for 29 CFR 1926.57—Ventilation:

- Procedures/Practices: Operational procedures

- Training: Initially (Reference 29 CFR 1926.21—Safety Training and Education)

- Documentation: Static pressure records

Example Procedures: The following example procedures should be modified to be site-specific to your organization. Please reference 29 CFR 1926.57—Ventilation to ensure that all requirements are being met. The Standard does not require the procedures to be in writing. It has been put into writing as a “best practice”.

Ventilation—Operational Procedures and First Aid Procedures

Operational Procedures and General Safety

Dust is not be permitted to accumulate on the floor or on ledges outside of an abrasive-blasting enclosure, and dust spills need to be cleaned up promptly. Aisles and walkways must be kept clear of steel shot or similar abrasive which may create a slipping hazard.

For all operations where an abrasive is forcibly applied to a surface by pneumatic or hydraulic pressure, or by centrifugal force, the following procedures will be followed:

Personal protection. All employees working in and around open-surface tank operations will be instructed as to the hazards of their respective jobs, and in the personal protection and first aid procedures applicable to these hazards.

All persons required to work in such a manner that their feet may become wet will be provided with rubber or other impervious boots or shoes, rubbers, or wooden-soled shoes sufficient to keep feet dry.

All persons required to handle work wet with a liquid other than water will be provided with gloves impervious to such a liquid and of a length sufficient to prevent entrance of liquid into the tops of the gloves. The interior of gloves will be kept free from corrosive or irritating contaminants.

All persons required to work in such a manner that their clothing may become wet will be provided with aprons, coats, jackets, sleeves, or other garments made of rubber, or of other materials impervious to liquids other than water, or as needed to keep their clothing dry.

Aprons will extend well below the top of boots to prevent liquid splashing into the boots. Provision of dry, clean, cotton clothing along with rubber shoes or short boots and an apron impervious to liquids other than water will be considered a satisfactory substitute where small parts are cleaned, plated, or acid dipped in open tanks and rapid work is required.

Whenever there is a danger of splashing, for example, when additions are made manually to the tanks, or when acids and chemicals are removed from the tanks, employees will be required to wear either tight-fitting chemical goggles or an effective face shield.

During emergencies, when employees will be in areas where concentrations of air contaminants are greater than OSHA limits or oxygen concentrations are less than 19.5 percent, they must use respirators that reduce their exposure to a level below these limits or that provide adequate oxygen. Respirators will be marked, quickly-accessible storage compartments built for this purpose when the possibility exists of accidental release of hazardous concentrations of air contaminants. Respirators will be selected by a competent industrial hygienist or other technically-qualified source.

Near each tank containing a liquid which may burn, irritate, or otherwise be harmful to the skin if splashed upon the worker's body, there will a supply of clean cold water. Emergency shower and eye wash stations are provided where harmful chemicals may be splashed on parts of the body.

Operators with sores, burns, or other skin lesions requiring medical treatment will not be allowed to work at their regular operations until so authorized by a physician. Any small skin abrasions, cuts, rash, or open sores which are found or reported will be treated by a properly designated person so that chances of exposures to the chemicals are removed. Workers exposed to chromic acids will have a periodic examination made of nostrils and other parts of the body, to detect incipient ulceration.

Sufficient washing facilities, including soap, individual towels, and hot water, will be provided for all persons required to use or handle any liquids which may burn, irritate, or otherwise be harmful to the skin, on the basis of at least one basin (or its equivalent) with a hot water faucet for every 10 employees.

Locker space or equivalent clothing storage facilities is provided to prevent contamination of street clothing.

First Aid Procedures

First aid facilities specific to the hazards of the operations conducted is readily available at__________________.

All employees are to be familiar with the chemicals they are using. This includes first aid procedures, PPE and other protective measures. They are to also know the location of the safety data sheets for additional information relating to the chemicals.

If an employee gets splashed with ________________________________, they are to follow these procedures:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

SECTION 5—ENVIRONMENTAL, HEALTH AND SAFETY TRAINING AND INDOCTRINATION

Note: Many State-Specific and Construction Industry standards require employee training. Some require documentation and/or certification that training has been conducted while some do not require documentation of any kind. It is recommended, as a ‘best practice”, to always document your training even if a standard does not specifically require it.  The following standards require training, however if a standard is not listed below as requiring training, refer back to 29 CFR 1926.20—General Safety and Health Provisions and 29 CFR 1926.21—Safety Training and Education.

STANDARDS REQUIRING TRAINING

NORTH CAROLINA STATE-SPECIFIC STANDARDS APPLICABLE TO CONSTRUCTION

Standard: 13 NCAC 7A .0600—Safety & Health Programs & Committees

- Training: Initially; initially, annually, refresher (Dependent on required OSHA programs)

- Recordkeeping: Dependent on required OSHA Standard

Standard: 7F .0200—Construction Standards

- Training: Initially, annually

- Recordkeeping: Training certification

Standard: 7F .0207—Toxic and Hazardous Substances (Reference 29 CFR 1910.1030—Bloodborne Pathogens)

- Training: Initially, annually

- Recordkeeping: Training record

Standard: 7F .0600—Communication Towers

- Training: Initially, refresher

- Recordkeeping: Training record

Standard: 7F .0700—Blasting and Use of Explosives

- Training: Initially

- Recordkeeping: Competency evidence

RECORDKEEPING STANDARDS APPLICABLE TO CONSTRUCTION

Standard: 29 CFR 1904.35—Recordkeeping—Employee Involvement

- Training: Initially

- Recordkeeping: Not stated in standard

CONSTRUCTION STANDARDS

SUBPART C—GENERAL SAFETY AND HEALTH PROVISIONS

Standard: 29 CFR 1926.20—General Safety and Health Provisions*

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.21—Safety Training and Education*

- Training: Initially

- Recordkeeping: Not stated in standard

*Note: These standards are a “catch all” for providing training, conducting inspections and implementing programs needed to protect employees from injuries and illnesses as many construction standards do not otherwise specifically state it.

Standard: 29 CFR 1926.33—Access to Employee Exposure and Medical Records (Reference 29 CFR 1910.1020—Access to Employee Exposure and Medical Records)

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.35—Employee Emergency Action Plans

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

SUBPART D—OCCUPATIONAL HEALTH AND ENVIRONMENTAL CONTROLS

Standard: 29 CFR 1926.50—Medical Services and First Aid

- Training: Initially, refresher

- Recordkeeping: Training certificate

Standard: 29 CFR 1926.53—Ionizing Radiation (Reference 29 CFR 1910.1096—Ionizing Radiation)

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.54—Nonionizing Radiation

- Training: Initially

- Recordkeeping: Qualifications

Standard: 29 CFR 1926.57—Ventilation

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.59—Hazard Communication (Reference 29 CFR 1910.1200—Hazard Communication)

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.60—Methylenedianiline

- Training: Initially, annually

- Recordkeeping: Training materials

Standard: 29 CFR 1926.62—Lead

- Training: Initially, annually

- Recordkeeping: Training materials

Standard: 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals (Reference 29 CFR 1910.119—Process Safety Management of Highly Hazardous Chemicals)

- Training: Initially, annually, refresher

- Recordkeeping: Training certification

Standard: 29 CFR 1926.65—HAZWOPER

- Training: Initially, annually, refresher

- Recordkeeping:  Training certification

SUBPART E—PERSONAL PROTECTIVE AND LIFE SAVING EQUIPMENT

Standard: 29 CFR 1926.103—Respiratory Protection (Reference 29 CFR 1910.134—Respiratory Protection)

- Training: Initially, annually, retrain

- Recordkeeping: Not stated in standard

SUBPART F—FIRE PROTECTION AND PREVENTION

Standard: 29 CFR 1926.150—Fire Protection

- Training: Initially

- Recordkeeping: Posted instructions

Standard: 29 CFR 1926.152—Flammable Liquids

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART I—TOOLS – HAND AND POWER

Standard: 29 CFR 1926.302—Power-Operated Hand Tools

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART J—WELDING AND CUTTING

Standard: 29 CFR 1926.351—Arc Welding and Cutting

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.352—Fire Prevention

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART K—ELECTRICAL

Standard: 29 CFR 1926.416—General Requirements

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART L—SCAFFOLDS

Standard: 29 CFR 1926.451—General Requirements

- Training: Initially, retraining

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.454—Training Requirements

- Training: Initially, retraining

- Recordkeeping: Not stated in standard

SUBPART M—FALL PROTECTION

Standard: 29 CFR 1926.503—Training Requirements

- Training: Initially, retraining

- Recordkeeping: Training records

SUBPART N—HELICOPTERS, HOISTS, ELEVATORS AND CONVEYORS

Standard: 29 CFR 1926.551—Helicopters

- Training: Daily briefings

- Recordkeeping: Not stated in standard

SUBPART O—MOTOR VEHICLES, MECHANIZED EQUIPMENT AND MARINE OPERATIONS

Standard: 29 CFR 1926.602—Material Handling Equipment

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.604—Site Clearing

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART R—STEEL ERECTION

Standard: 29 CFR 1926.753—Hoisting and Rigging

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.760—Fall Protection

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.761—Training

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART S—UNDERGROUND CONSTRUCTION, CAISSONS, COFFERDAMS,

AND COMPRESSED AIR

Standard: 29 CFR 1926.800—Underground Construction

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.803—Compressed Air

- Training: Initially

- Recordkeeping: Not stated in standard

SUBPART V—ELECTRIC POWER TRANSMISSION AND DISTRIBUTION

Standard: 29 CFR 1926.950—General

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.951—Medical Services and First Aid

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.952—Job Briefings

- Training: Before each job, daily

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.953—Enclosed Spaces

- Training: Before each job, daily

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.961—Deenergizing Lines and Equipment for Employee Protection

- Training: Transfers

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.963—Testing and Test Facilities

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.965—Underground Electrical Installations

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.966—Substations

- Training: Each job, each day

- Recordkeeping: Not stated in standard

SUBPART X—STAIRWAYS AND LADDERS

Standard: 29 CFR 1926.1060—Training Requirements

- Training: Initially, retraining

- Recordkeeping: Not stated in standard

SUBPART Y—COMMERCIAL DIVING OPERATIONS

Standard: 29 CFR 1926.1076—Qualification of Dive Team (Reference 29 CFR 1910.410—Qualification of Dive Team)

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1081—Pre-Dive Procedures (Reference 29 CFR 1910.421— Pre-Dive Procedures)

- Training: Briefings before dive

- Recordkeeping: Not stated in standard

Standard: 1926.1083—Post-Dive Procedures (Reference to 1910.423—Post-Dive Procedures)

- Training: After dive briefings

- Recordkeeping: Not stated in standard

SUBPART Z—TOXIC AND HAZARDOUS SUBSTANCES

Standard: 29 CFR 1926.1101—Asbestos

- Training: Initially, annually

- Recordkeeping: Training records

Standard: 29 CFR 1926.1103—13 Carcinogens (Reference 29 CFR 1910.1003—13 Carcinogens)

- Training: Initially, annually

- Recordkeeping: Posted instructions

Standard: 29 CFR 1926.1117—Vinyl Chloride (Reference 29 CFR 1910.1017—Vinyl Chloride)

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1118—Inorganic Arsenic (Reference 29 CFR 1910.1018—Inorganic Arsenic)

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1124—Beryllium

- Training: Initially, annually

- Recordkeeping: Training record

Standard: 29 CFR 1926.1126—Chromium (VI) (Reference 29 CFR 1910.1026—Chromium (VI))

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1127—Cadmium

- Training: Initially, annually

- Recordkeeping: Training record

Standard: 29 CFR 1926.1128—Benzene (Reference 29 CFR 1910.1028—Benzene)

- Training: Initially, annually

- Recordkeeping:  Not stated in standard

Standard: 29 CFR 1926.1144—1,2-dibromo-3-chloropropane (Reference 29 CFR 1910.1044—1,2-dibromo-3-chloropropane)

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1926.1145—Acrylonitrile (Reference 29 CFR 1910.1045—Acrylonitrile)

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1926.1147—Ethylene Oxide (Reference 29 CFR 1910.1047—Ethylene Oxide)

- Training: Initially, annually

- Recordkeeping:   Not stated in standard

Standard: 29 CFR 1926.1148—Formaldehyde (Reference 29 CFR 1910.1048—Formaldehyde)

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1926.1152—Methylene Chloride (Reference 29 CFR 1910.1052—Methylene Chloride)

- Training: Initially, annually

- Recordkeeping:  Not stated in standard

Standard: 29 CFR 1926.1153—Respirable Crystalline Silica

- Training: Initially

- Recordkeeping:  Not stated in standard

SUBPART AA—CONFINED SPACES IN CONSTRUCTION

Standard: 29 CFR 1926.1203—General Requirements

- Training: Initially

- Recordkeeping: Training certification

Standard: 29 CFR 1926.1207—Training

- Training: Initially

- Recordkeeping: Training records

Standard: 29 CFR 1926.1208—Duties of Authorized Entrants

- Training: Initially

- Recordkeeping: Training records

Standard: 29 CFR 1926.1209—Duties of Attendants

- Training: Initially

- Recordkeeping: Training records

Standard: 29 CFR 1926.1210—Duties of Entry Supervisors

- Training: Initially

- Recordkeeping: Training records

Standard: 29 CFR 1926.1211—Rescue and Emergency Services

- Training: Initially

- Recordkeeping: Training records, first aid certificates

SUBPART CC—CRANES AND DERRICKS IN CONSTRUCTION

Standard: 29 CFR 1926.1402—Ground Conditions

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1404—Assembly/Disassembly – General Requirements

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1407—Power Line Safety (Up to 350 kV) – Assembly/Disassembly

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1408—Power Line Safety (Up to 350 kV) – Equipment Operations

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1410—Power Line Safety (All Voltages) – Equipment Operations Closer than the Table A Zone

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1411—Power Line Safety – While Traveling Under or Near Power Lines with No Load

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1419—Signals – General Requirements

- Training: Initially (communication)

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1421—Voice Signals – Additional Requirements

- Training: Initially (communicate)

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1423—Fall Protection

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1424—Work Area Control

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1425—Keeping Clear of the Load

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1427—Operator Qualification and Certification

- Training: Initially

- Recordkeeping: Certification

Standard: 29 CFR 1926.1428—Signal Person Qualification

- Training: Initially, retraining

- Recordkeeping: Qualification Recordkeeping

Standard: 29 CFR 1926.1430—Training

- Training: Initially, retraining

- Recordkeeping: Certification

Standard: 29 CFR 1926.1432—Multiple Crane/Derrick Lifts – Supplemental Requirements

- Training: Meeting

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1436—Derricks

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1437—Floating Cranes/Derricks and Land Cranes/Derricks on Barges

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1926.1441—Equipment with a Rated Hoisting/Lifting Capacity of 2,000 Pounds or Less

- Training: Initially

- Recordkeeping: Not stated in standard

GENERAL INDUSTRY STANDARDS REFERENCED IN CONSTRUCTION STANDARDS

Standard: 29 CFR 1910.38—Emergency Action Plan

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.39—Fire Prevention Plan

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.134—Respiratory Protection

- Training: Initially, annually, changes

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.165—Employee Alarm Systems

- Training: Initially

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.178—Powered Industrial Trucks

- Training: Initially, deficiencies, refresher (every three years)

- Recordkeeping: Training certification

Standard: 29 CFR 1910.410—Qualification of Dive Team

- Training: Initially, refresher

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.1003—13 Carcinogens

- Training: Initially, annually

- Recordkeeping: Posted procedures

Standard: 29 CFR 1910.1017—Vinyl Chloride

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.1018—Inorganic Arsenic

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.1020—Access to Employee Exposure and Medical Records

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.1026—Chromium (VI)

- Training: Initially, annually

- Recordkeeping: Not stated in standard

Standard: 29 CFR 1910.1027—Cadmium

- Training: Initially, annually

- Recordkeeping: Training record

Standard: 29 CFR 1910.1028—Benzene

- Training: Initially, annually

- Recordkeeping:  Not stated in standard

Standard: 29 CFR 1910.1044—1,2-dibromo-3-chloropropane

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1910.1045—Acrylonitrile

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1910.1047—Ethylene Oxide

- Training: Initially, annually

- Recordkeeping:   Not stated in standard

Standard: 29 CFR 1910.1048—Formaldehyde

- Training: Initially, annually

- Recordkeeping:  Training materials

Standard: 29 CFR 1910.1052—Methylene Chloride

- Training: Initially, annually

- Recordkeeping:  Not stated in standard

Standard: 29 CFR 1910.1096—Ionizing Radiation

- Training: Initially, annually

- Recordkeeping:  Instructional materials

Standard: 29 CFR 1910.1200—Hazard Communication

- Training: Initially, refresher

- Recordkeeping:  Information

Note: This training document is intended to be consistent with existing OSHA standards; therefore, if an area is considered by the reader to be inconsistent with a standard, then the OSHA standard should be followed.

Example Program: The following example program may be modified to be site-specific to the organization. Please reference the appropriate standard to ensure that all training information required by the specific standard has been met.

Training (and Indoctrination) Program

Safety and health initial training will be conducted before an employee is exposed to a hazard. All applicable training will cover safety and health rules, work procedures, safe work practices, and other applicable safety and health training. Refresher training may be conducted annually or as deemed necessary due to an accident, deficiencies in an employee’s knowledge, or other requirement.

Problems that can be addressed effectively by training include those that arise from lack of knowledge of a work process, unfamiliarity with equipment, or incorrect execution of a task. Training is less effective (but still can be used) for problems arising from an employee's lack of motivation or lack of attention to the job. Whatever its purpose, training is most effective when designed in relation to the goals of the company’s safety and health program.

Whenever employees are not performing their jobs properly, we will not assume that training will bring them up to speed. It is possible that other actions (such as hazard abatement or the implementation of engineering controls) would enable employees to perform their jobs properly.

Since employees can also provide valuable information on additional training they need, we will elicit their responses to safety and health hazards or concerns by asking questions. These questions will focus on whether anything about their jobs frightens them, if they have had any near-miss incidents, if they feel they are taking risks, or if they believe that their jobs involve hazardous operations or substances.

All training will be presented in a manner that is clear to the employees. To do so, we will: (1) provide overviews of the material to be learned; (2) relate, wherever possible, the new information or skills to the employee's goals, interests, or experience; and (3) reinforce what the employees learned by summarizing the program's objectives and the key points of information covered. These steps will ensure that the training is presented in a clear, unambiguous manner.

We want our training program to be effective. So in order to have an effective training program, we want employees to participate in the training process and to practice their skills or knowledge. This will help ensure that they are attaining the required knowledge and skills while also permitting correction if necessary. Employees will become involved in the training process by participating in discussions, asking questions, contributing their knowledge and expertise, learning through hands-on experiences, and through role-playing exercises.

To make sure that the training program is accomplishing its goals, we will conduct an evaluation of the training program periodically. This evaluation will help ensure that employees are learning the material. Among the methods of evaluating training will be: (1) Student opinion. Questionnaires or informal discussions with employees can help determine the relevance and appropriateness of the training program; (2) Supervisors' observations. Supervisors are in good positions to observe an employee's performance both before and after the training and note improvements or changes; and (3) Workplace improvements. The ultimate success of our training program will result in a safer workplace with reduced injury or accident rates.

After the evaluation, if it is clear that the training did not give the employees the level of knowledge and skill that was expected, then it may be necessary to revise the training program or provide periodic retraining.

Training Schedule

We will conduct all initial and refresher training required by applicable OSHA standards at this workplace. Our training schedule is as follows:

# Orientation and Initial Training

All employees will go through an orientation training program that covers safe work practices, OSHA requirements, and safety policies and procedures. Depending on the employee’s job, the employee will then be released to the Safety Coordinator for on-the-job training (OJT), combination OJT/classroom, or other job progression training schedule. All employees will also be on a probationary period dictated by Human Resources and Management.

# On-The-Job Training

Each department has an OJT training matrix that each new employee goes through before they are released. The matrix for each department will be reviewed and updated as necessary by management.

# Annual Refresher Training

Annual refresher training will be conducted by each department on required OSHA and other safety and health topics along with job safe practices. The following matrix will be updated and modified based on Company needs. This will be the responsibility of management.

Note: Many OSHA standards require training but do not always require the training to be documented. Some standards may require training records to be kept until the next training session while others require them to be kept for three years. Please refer to the applicable OSHA standard for required recordkeeping timelines.

Periodic Training

Periodic safety training to include daily, weekly and monthly safety talks will be conducted within specific departments along with pre-job briefings.

# Daily Safety Talks

The following departments will conduct daily five minute safety talks (can be used in lieu of pre-job briefings):

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Topic choices are up to the supervisor or ___________________________________. A roster will be maintained for the personnel files.

# Weekly Safety Talks

The following departments will conduct weekly safety talks:

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Topic choices are up to the supervisor or _____________________________________. A roster will be maintained for the personnel files.

# Monthly Safety Talks

The following departments will conduct monthly safety talks:

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Topic choices are up to the supervisor or ___________________________________. A roster will be maintained for the personnel files.

Note: Reference Section 6—Forms for examples of an Employee Orientation Checklist, Training Matrices, Employee Roster, and Certificate of Training.

SECTION 6—FORMS

NCAC 7A .0600—Safety and Health for Employers with 1.5 or Higher EMR

| Accident Investigation Form—Employee Note: Employees should use this form to report all work-related injuries, illnesses or “near miss” events (which could have caused an injury or illness)—no matter how minor. This helps to identify and correct hazards before they cause serious injuries. This form should be completed by employees as soon as possible and given to a supervisor for further action. (North Carolina Industrial Commission Form 18 may be used in place of this one.) |  |  |
| --- | --- | --- |
| I am reporting a work related: Injury Illness Near miss |  |  |
| Name: |  |  |
| # Job Title: |  |  |
| Supervisor: |  |  |
| Have you told your supervisor about this injury/near miss? Yes No |  |  |
| Date of injury/illness/near miss: |  | Time of injury/illness/near miss: |
| Names of witnesses (if any): |  |  |
| Where exactly did it happen? |  |  |
| What were you doing at the time? |  |  |
| Describe step by step what led up to the injury/illness/near miss (continue on the back if necessary): |  |  |
| What could have been done to prevent this injury/illness/near miss? |  |  |
| What parts of your body were injured? If a near miss, how could you have been hurt? |  |  |
| Did you see a doctor about this injury/illness? Yes No |  |  |
| If yes, whom did you see? | Doctor’s phone number: |  |
| Date: | Time: |  |
| Has this part of your body been injured before? Yes No |  |  |
| If yes, when? | Supervisor: |  |
| Employee’s signature: | Date: |  |

NCAC 7A .0600—Safety and Health for Employers with 1.5 or Higher EMR

| # Accident Investigation Form—Supervisor |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Name of Injured Person: |  | # ______________________________________________________________ |  |  |  |  |  |  |  |  |  |  |
| # Date of Birth: |  | # ______________ |  |  |  | # Telephone Number: |  |  |  | # ___________________ |  |  |
| # Address: |  | # ______________________________________________________________ |  |  |  |  |  |  |  |  |  |  |
| # City: |  | # ______________ |  |  |  | # State: |  | # ___________ |  |  | # Zip Code: | # _____________ |
| # Male Female |  |  |  |  |  |  |  |  |  |  |  |  |
| # What part of the body was injured? Describe in detail. |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| # What was the nature of the injury? Describe in detail. |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Describe fully how the accident happened. What was employee doing prior to the event? What equipment and tools were being used? |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| # ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Names of all witnesses: |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Event: | ______________ |  |  |  | Time of Event: |  |  |  | # ___________ a.m. p.m. |  |  |  |
| Exact location of event: |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| What caused the event? |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Were safety regulations in place and used? If not, what was wrong? |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Employee went to doctor/hospital? |  |  | Doctor’s Name: |  |  |  |  |  |  |  |  |  |
|  |  |  | Hospital’s Name: |  |  |  |  |  |  |  |  |  |
| Recommended preventive action to take in the future to prevent reoccurrence: |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| ________________________________________ |  |  |  | ________________________________________ |  |  |  |  |  |  |  |  |
| Supervisor’s Signature |  |  |  | Date |  |  |  |  |  |  |  |  |

NCAC 7A .0600—Safety and Health for Employers with 1.5 or Higher EMR

| Accident Investigation Report Note: This form should be completed as soon as possible after any incident that an employee reports or which results in serious injury or illness and to investigate a minor injury or near miss that could have resulted in a serious injury or illness. |  |
| --- | --- |
| This is a report of: Death Lost Time Dr. Visit Only First Aid Only Near Miss |  |
| Date of incident: | This report is made by: Employee Supervisor Team Other_________ |

| Step 1: Injured employee (complete this part for each injured employee) |  |  |  |
| --- | --- | --- | --- |
| Name: | Sex: Male Female | Age: |  |
| Department: | Job title at time of incident: |  |  |
| Part of body affected (shade all that apply): | Nature of injury (most serious one): Abrasion, scrapes Amputation Broken bone Bruise Burn (heat) Burn (chemical) Concussion (to the head) Crushing Injury Cut, laceration, puncture Hernia Illness Sprain, strain Damage to a body system: Other ___________ |  | This employee works: Regular full time Regular part time Seasonal Temporary |
|  |  |  | Months with this company: |
|  |  |  | Months doing this job: |

| Step 2: Describe the incident |  |
| --- | --- |
| Exact location of the incident: | Exact time: |
| What part of employee’s workday? Entering or leaving work Doing normal work activities During meal period During break Working overtime Other___________________ |  |
| Names of witnesses (if any): |  |

| Attachments: | Written witness statements: | Photographs: | Maps/drawings: |
| --- | --- | --- | --- |
| What personal protective equipment was being used (if any)? |  |  |  |
| Describe, step-by-step the events that led up to the injury. Include names of any machines, parts, objects, tools, materials and other important details. Attach separate sheets if necessary. |  |  |  |

| Step 3: Why did the incident happen? |  |
| --- | --- |
| Unsafe workplace conditions: (Check all that apply) Inadequate guard Unguarded hazard Defective safety device Defective tool or equipment Hazardous workstation layout Unsafe lighting Unsafe ventilation Lack of needed personal protective equipment Lack of appropriate equipment/tools Unsafe clothing No training or insufficient training Other:__________________________________ | Unsafe acts by people: (Check all that apply) Operating without permission Operating at unsafe speed Servicing equipment that has power to it Making a safety device inoperative Using defective equipment Using equipment in an unapproved way Unsafe lifting Taking an unsafe position or posture Distraction, teasing, horseplay Failure to wear personal protective equipment Failure to use the available equipment/tools Other:_______________________________ |
| Why did the unsafe conditions exist? |  |
| Why did the unsafe acts occur? |  |
| Is there a reward (such as “the job can be done more quickly” or “the product is less likely to be damaged”) that may have encouraged the unsafe conditions or acts? Yes No If yes, describe: |  |
| Were the unsafe acts or conditions reported prior to the incident? Yes No |  |
| Have there been similar incidents or near misses prior to this one? Yes No |  |

Step 4: How can future incidents be prevented?

What changes do you suggest to prevent this incident/near miss from happening again? Stop this activity Guard the hazard Train the employee(s) Train the supervisor(s) Redesign task steps Redesign workstation Write a new policy/rule Enforce existing policy Routinely inspect for the hazard Personal protective equipment Other: __________________

What should be (or has been) done to carry out the suggestion(s) checked above? Attach separate sheets if necessary.

| Step 5: Who completed and reviewed this form? (Please Print) |  |  |  |
| --- | --- | --- | --- |
| Written by: Department: | Title: Date: |  |  |
| Names of investigation team members: |  |  |  |
| Does team agree with corrective action recommended in step 4? Yes No N/A (Step 6 should be completed using investigation team’s final recommendations) |  |  |  |
| Reviewed by: |  | Title: Date: |  |
| Step 6: Corrective Action and Follow-up |  |  |
| Written by: Department: | Title: Date: |  |
| List corrective action to be implemented, date completed and responsible parties. 1.; ______________________________________________________________________. ______________________________________________________________________. 2.; ______________________________________________________________________. ______________________________________________________________________. 3.; ______________________________________________________________________. _________________________________________________________________________. |
| Date of follow-up: |  | Conducted by: |

NCAC 7F .0207—Toxic and Hazardous Substances

29 CFR 1910.1030—Bloodborne Pathogens

Bloodborne Pathogens—Hepatitis B Vaccine Declination

I understand that due to my occupational exposure to blood or other potentially infectious materials I may be at risk of acquiring hepatitis B virus (HBV) infection. I have been given the opportunity to be vaccinated with hepatitis B vaccine, at no charge to myself. However, I decline hepatitis B vaccination at this time. I understand that by declining this vaccine, I continue to be at risk of acquiring hepatitis B, a serious disease. If in the future I continue to have occupational exposure to blood or other potentially infectious materials and I want to be vaccinated with hepatitis B vaccine, I can receive the vaccination series at no charge to me.

______________________________________________

Employee’s name (print)

______________________________________________

Employee’s signature

______________________________________________

Date

Note: The above declination can be placed on company letterhead but no other changes should be made to it.

29 CFR 1926 Subpart AA—Confined Spaces in Construction

Confined Space Entry Permit

| Date and time issued: | ________________________ | Date and time expires: | ________________________ |
| --- | --- | --- | --- |
| Jobsite/space I.D.: | ________________________ | Job supervisor: | ________________________ |
| Equipment to be worked on: | ________________________ | Work to be performed: | ________________________ |
| Entrants name(s): | ______________________________________________________________________________ |  |  |
| Stand-by personnel: | ______________________________________________________________________________ |  |  |

1. Atmospheric checks:

| Time | __________ |  |
| --- | --- | --- |
| Oxygen | __________ | % |
| Explosive | __________ | % L.F.L. |
| Toxic | __________ | PPM |

2. Tester’s signature: _________________________________________________________

3. Source isolation (no entry):

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Pumps or lines blinded |  |  |  |
| Disconnected or blocked |  |  |  |

4. Ventilation modification:

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Mechanical |  |  |  |
| Natural ventilation only |  |  |  |

5. Atmospheric check after isolation and ventilation:

| Oxygen | ____________ | % | > | 19.5 | <23.5% |
| --- | --- | --- | --- | --- | --- |
| Explosive | ____________ | % L.F.L | < | 10 | % |
| Toxic | ____________ | PPM | < | 10 | H2S PPM |
| Time | ____________ |  |  |  |  |

Tester’s signature: __________________________________________________________________________________________

6. Communication procedures: ________________________________________________________________________________

7. Rescue procedures: ______________________________________________________________________________________

8. Entry, standby and backup persons: ______________________________

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Successfully completed required training? |  |  |  |
| Is it current? |  |  |  |

9. Equipment

| Direct reading gas monitor-tested | Yes | No | N/A |
| --- | --- | --- | --- |
| Safety harnesses and lifelines for entry and standby persons |  |  |  |
| Hoisting equipment |  |  |  |
| Powered communications |  |  |  |
| SAR or SCBA for entry and standby persons |  |  |  |
| Protective clothing |  |  |  |
| All electric equipment listed Class I, Division I, Group D and nonsparking tools |  |  |  |

10. Periodic atmospheric tests:

| Oxygen | ____________ | % Time | ____________ | Oxygen | ____________ | % Time | ____________ |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Oxygen | ____________ | % Time | ____________ | Oxygen | ____________ | % Time | ____________ |
| Explosive | ____________ | % Time | ____________ | Explosive | ____________ | % Time | ____________ |
| Explosive | ____________ | % Time | ____________ | Explosive | ____________ | % Time | ____________ |
| Toxic | ____________ | % Time | ____________ | Toxic | ____________ | % Time | ____________ |
| Toxic | ____________ | % Time | ____________ | Toxic | ____________ | % Time | ____________ |

We have reviewed the work authorized by this permit and the information contained herein. Written instructions and safety procedures have been received and are understood. Entry cannot be approved if any squares are marked in the “No” column. This permit is not valid unless all appropriate items are completed.

| Permit prepared by: (supervisor) | ___________________________________ | ___________________________________ |
| --- | --- | --- |
| Approved by: (unit supervisor) | ___________________________________ | ___________________________________ |
| Reviewed by: (operations personnel) | ___________________________________ | ___________________________________ |
|  | (Printed name) | (Signature) |

29 CFR 1926 Subpart AA—Confined Spaces in Construction

Confined Space Entry Permit

| Date: | _______________________________________________ |
| --- | --- |
| Site location and description: | _______________________________________________ |
| Purpose of entry: | _______________________________________________ |
| Supervisor(s) in charge of crews: | _______________________________________________ |
| Crew Phone #: | _______________________________________________ |
| Communication procedures: | _______________________________________________ |
| Rescue procedures (phone numbers at bottom): | _______________________________________________ |

| Requirements Completed | Date | Time |
| --- | --- | --- |
| Lockout/de-energize/verify | _____________ | _____________ |
| Line(s) broken-capped-blanked | _____________ | _____________ |
| Purge (flush and vent) | _____________ | _____________ |
| Ventilation | _____________ | _____________ |
| Secure area (post and flag) | _____________ | _____________ |
| Breathing apparatus | _____________ | _____________ |
| Resuscitator—inhalator | _____________ | _____________ |
| Standby safety personnel | _____________ | _____________ |
| Full body harness with “D” ring | _____________ | _____________ |
| Emergency escape retrieval equipment | _____________ | _____________ |
| Lifelines | _____________ | _____________ |
| Fire extinguishers | _____________ | _____________ |
| Lightning (explosive proof) | _____________ | _____________ |
| Protective clothing | _____________ | _____________ |
| Respirator(s) (air-purifying) | _____________ | _____________ |
| Burning and welding permit | _____________ | _____________ |

Note: Items that do not apply enter N/A in the blank.

**Record continuous monitoring results every two hours

| Continuous monitoring** Test(s) to be taken | Permissible entry level | Results | Results | Results | Results | Results |
| --- | --- | --- | --- | --- | --- | --- |
| Percent of oxygen | 19.5% to 23.5% | _____ | _____ | _____ | _____ | _____ |
| Lower flammable limit | Under 10% | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |
|  |  | _____ | _____ | _____ | _____ | _____ |

See Appendix D-2 in 29 CFR 1910.146 for prior table layout.

*Short-term exposure limit: Employee can work in the area up to 15 minutes.

+8-hour time-weighted average: Employee can work in area 8 hours (longer with appropriate respiratory protection).

Remarks: __________________________________________________________________________________________________

| Gas tester name and check # | Instrument(s) used | Model and/or type | Serial and/or unit # |
| --- | --- | --- | --- |
| ________________________ | ________________________ | ________________________ | ________________________ |
| ________________________ | ________________________ | ________________________ | ________________________ |

| Standby person(s) | Check # | Instrument(s) | Check # | Confined space entrant(s) | Check # |
| --- | --- | --- | --- | --- | --- |
| _______________ | _______________ | _______________ | _______________ | _______________ | _______________ |
| _______________ | _______________ | _______________ | _______________ | _______________ | _______________ |

| Supervisor authorizing—all conditions satisfied: | ___________________________________________________ |
| --- | --- |
| Department/phone: | ___________________________________________________ |
| Phone # for ambulance: | ___________________________________________________ |
| Phone # for fire department: | ___________________________________________________ |
| Phone # for rescue: | ___________________________________________________ |
| Phone # for gas company: | ___________________________________________________ |

29 CFR 1926.404—Electrical

Assured Equipment Grounding Conductor Test Record

Date of Current Test:___________    Date of Last Test:______________

Testing Interval (If applicable): _____________________________

Equipment Tested:

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Test Completed:

Continuity Test: ___  			Pass / Fail

Terminal Connection Test:___		Pass / Fail

Reason for Test (Please check):

Initial Use:____         After Repair: ____ 		After Damage: _____		Three Month: _____

Other: ________________________________________________________________________________________

A written record of the required tests, identifying all equipment that passed the test and the last date it was tested (or the testing interval) will be maintained. These records will be readily available to OSHA and affected persons upon demand.

Signature:______________________________________________________________________________________

29 CFR 1926 Subpart V—Electric Power Transmission and Distribution

Electrical Safety-Related Work Practices Self-Audit Checklist

Area: ____________________ Room: ____________ Date: _________ Audit Performed by: _____________

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Model written program available. |  |  |  | _______________________ |
| Training complete and documented. |  |  |  | _______________________ |
| Lockout/tagout program includes electrical safety-related work practices. |  |  |  | _______________________ |

Selection and Use of Work Practices

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Minimum safe work distances established when work involves energized parts. |  |  |  | _______________________ |
| Illumination provided in all spaces containing exposed electrical conductors. |  |  |  | _______________________ |
| Measures taken to avoid inadvertent contact with energized parts in enclosed or confined spaces. |  |  |  | _______________________ |
| Measures taken to avoid inadvertent contact of conductive materials or equipment with energized parts during handling. |  |  |  | _______________________ |
| Portable ladders have nonconductive side rails. |  |  |  | _______________________ |
| Conductive apparel not worn unless rendered nonconductive. |  |  |  | _______________________ |
| Measures taken to avoid inadvertent contact with energized parts during housekeeping duties. |  |  |  | _______________________ |
| Electrical safety interlocks defeated only by a qualified person following specific procedures. |  |  |  | _______________________ |

Use of Equipment

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Procedures for handling portable equipment implemented. |  |  |  | _______________________ |
| Procedures for working with extension cords implemented. |  |  |  | _______________________ |
| Only qualified persons allowed to perform test work. |  |  |  | _______________________ |
| Measures taken to prevent hazards from the occasional use of flammable materials near electrical equipment. |  |  |  | _______________________ |

Safeguards for Personnel Protection

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Personal protective equipment appropriate for the electrical hazard provided and used. |  |  |  | _______________________ |
| Insulated tools and handling equipment used for work performed near exposed energized circuits. |  |  |  | _______________________ |
| Protective shields, barriers or insulating materials used near exposed electrical circuits or where dangerous electric heating or arcing may occur. |  |  |  | _______________________ |
| Appropriate alerting techniques used to warn and protect workers. |  |  |  | _______________________ |

29 CFR 1926.24—Fire Protection and Prevention

29 CFR 1926.150—Fire Protection

29 CFR 1926.151—Fire Prevention

29 CFR 1910.39—Fire Prevention Plans

Fire Prevention Checklist

| Electrical Equipment |  |  |  |
| --- | --- | --- | --- |
| ___ | No makeshift wiring | ___ | Fuse and control boxes clean and closed |
| ___ | Extension cords serviceable | ___ | Circuits properly fused or otherwise protected |
| ___ | Motors and tools free of dirt and grease areas (if required) | ___ | Equipment approved for use in hazardous |
| ___ | Lights clear of combustible materials | ___ | Safest cleaning solvents used |

| Friction |  |  |  |
| --- | --- | --- | --- |
| ___ | Machinery properly lubricated | ___ | Machinery properly adjusted and/or aligned |

| Special Fire-Hazard Materials |  |  |  |
| --- | --- | --- | --- |
| ___ | Storage of special flammable isolated | ___ | Nonmetal stock free of tramp metal |

| Welding and Cutting |  |  |  |
| --- | --- | --- | --- |
| ___ | Area surveyed for fire safety | ___ | Combustible removed or covered |
| ___ | Permit issued |  |  |

| Open Flames |  |  |  |
| --- | --- | --- | --- |
| ___ | Kept away from spray rooms and booths | ___ | Portable torches clear of flammable surfaces |
| ___ | No gas leak |  |  |

| Portable Heaters |  |  |  |
| --- | --- | --- | --- |
| ___ | Set up with ample horizontal and overhead clearances | ___ | Safely mounted on noncombustible surfaces |
| ___ | Secured against tipping or upset | ___ | Use of steel drums prohibited |
| ___ | Combustibles removed or covered | ___ | Not used as rubbish burners |

| Hot Surfaces |  |  |  |
| --- | --- | --- | --- |
| ___ | Hot pipes clear of combustible materials | ___ | Soldering irons kept off combustible surfaces |
| ___ | Ample containers available and serviceable | ___ | Ashes in metal containers |

| Smoking and Matches |  |  |  |
| --- | --- | --- | --- |
| ___ | No smoking” and “smoking” areas clearly marked areas | ___ | No discarded smoking materials in prohibited |
| ___ | Discarded cigarette containers available and serviceable | ___ | Ashes in metal containers |

| Spontaneous Ignition |  |  |  |
| --- | --- | --- | --- |
| ___ | Flammable waste material in closed metal containers | ___ | Piled material kept dry and well ventilated |
| ___ | Flammable waste material containers emptied frequently | ___ | Trash receptacle emptied daily |

| Static Electricity |  |  |  |
| --- | --- | --- | --- |
| ___ | Flammable liquid dispensing vessels grounded and bonded | ___ | Proper humidity maintained |
| ___ | Moving machinery grounded |  |  |

| Housekeeping |  |  |  |
| --- | --- | --- | --- |
| ___ | No accumulation of rubbish | ___ | Premises free of unnecessary combustible materials |
| ___ | Safe storage of flammables | ___ | No leaks or dripping of flammables and floor free of spills |
| ___ | Passageways clear of obstacles freely | ___ | Fire doors unblocked and operating |
| ___ | Automatic sprinklers unobstructed |  |  |

| Fire Protection |  |  |  |
| --- | --- | --- | --- |
| ___ | Proper type of fire extinguisher | ___ | Extinguishing system in working order |
| ___ | Fire extinguisher in proper location | ___ | Service date current |
| ___ | Access to fire extinguishers unobstructed | ___ | Personnel trained in use of equipment |
| ___ | Access to fire extinguishers clearly marked | ___ | Personnel exits unobstructed and maintained |
| ___ | Fire protection equipment turned on |  |  |

29 CFR 1926.52—Occupational Noise Exposure

Hearing Conservation—Notification of “Quiet Period” Prior

to Baseline Hearing Test

It is an OSHA hearing conservation standard requirement that employees be free from high noise exposure for 14 hours before each audiometric test. If it is not possible to avoid high noise levels prior to testing, the employee should wear hearing protection prior to the test to minimize the possibility of a temporary threshold.

The following types of noise exposures should be avoided prior to the test:

- Workplace noise

- Lawn mowers

- Leaf blowers

- Weed trimmers

- Chain saws

- Power tools

- Small engines

- Car races

- Snow mobiles

- Small airplanes

- Power boats

- All firearms (hunting, target shooting, skeet shooting)

- Loud music (concerts, walkman or other headset radio, radio/stereos)

I have been notified of the need to avoid occupational and non-occupational noise prior to my test.

| _____________________________________ | _____________________________________ |
| --- | --- |
| Employee Signature | Date |

29 CFR 1926.1206—Entry Permits (Confined Spaces in Construction)

Hot Work Permit

Date ____________________ Time_________________________ a.m. p.m.

Name of Person(s) Performing Work _____________________________________________

Specific Location of Work _________________________________

|  | Yes | No |
| --- | --- | --- |
| Cutting or welding permitted in an area that has been made fire safe. | ____ | ____ |
| All movable fire hazards in the vicinity have been taken to a safe place. | ____ | ____ |
| Guards used to contain the heat, sparks and slag if fire hazards cannot be removed. | ____ | ____ |
| Floor or wall openings or cracks, open doorways and windows protected or closed. | ____ | ____ |
| Fire extinguisher available for use. | ____ | ____ |
| Fire watch in areas where other than a minor fire might develop, such as around combustible material. | ____ | ____ |
| Floors swept clean of combustible material for a radius of 35 feet. | ____ | ____ |
| Combustible floors have been kept wet, covered with damp sand or protected by fire-resistant shields. | ____ | ____ |
| Welding/cutting done only in areas authorized by management. No welding/cutting in sprinkled building when sprinkler system is impaired or in presence of explosive atmosphere or in area of storage of readily ignitable material. | ____ | ____ |
| Dusts and conveyor systems that might carry sparks to distant combustibles protected or shutdown. | ____ | ____ |
| Cutter/welder is trained in safe operation of equipment and safe use of the process. | ____ | ____ |
| Any on-site contractors advised about flammable material or hazardous conditions of which they may not be aware. | ____ | ____ |

Welding or Cutting Containers:

|  | Yes | No |
| --- | --- | --- |
| Container thoroughly cleaned and ventilated. | ____ | ____ |
| Any pipelines or connections to containers disconnected or blanked. | ____ | ____ |
| PPE used as needed, e.g., eye protection, helmet, protective clothing, respirator and gloves. | ____ | ____ |
| Warning sign posted to warn other workers of hot metal. | ____ | ____ |
| Appropriate ventilation provided. | ____ | ____ |
| When working in confined spaces, a permit has been issued as per 29 CFR 1910.146. | ____ | ____ |

| _____________________________________ | _____________________________________ |
| --- | --- |
| Authorized Signature—Supervisor | Date |

29 CFR 1926.64—Process Safety Management of Highly Hazardous Material

29 CFR 1926.417—Lockout and Tagging of Circuits

29 CFR 1926.702—Requirements for Equipment and Tools

Lockout-Tagout—Types/Locations of Energy-Isolating Devices

- Name of department: __________________________________________________________

- Name of equipment or machine: _________________________________________________

- Serial number of equipment or machine: ___________________________________________

- Location of equipment or machine: _______________________________________________

- Each type of energy used by the equipment or machine:

- ________________________________________________________________________

- ________________________________________________________________________

- Magnitude of each source of energy:

- ________________________________________________________________________

- ________________________________________________________________________

- Hazards to be expected from each source of energy:

- ________________________________________________________________________

- ________________________________________________________________________

- Type and location of each device for isolating energy to the machine or equipment and the method of lockout/tagout to be used (use an additional form, if needed):

| Type | Location | Method of Lockout/Tagout |
| --- | --- | --- |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |

- Identification of each device and manner by which energy can be stored in the machine or equipment and identification of the procedure for dissipating or restraining the stored energy (use additional form, if needed):

Device/Manner

Procedure

a. ________________________________________________________________________________

b.________________________________________________________________________________

29 CFR 1926.64—Process Safety Management of Highly Hazardous Material

29 CFR 1926.417—Lockout and Tagging of Circuits

29 CFR 1926.702—Requirements for Equipment and Tools

Lockout/Tagout—Inspection Certification

| Name of Equipment/Procedure: | ____________________________________________ |
| --- | --- |
| Employee Name: | ___________________________________________ |
| Employee Address: | ___________________________________________ |
| Home Phone: | ( _____ ) – _____ – __________ |
| Cell Phone: | ( _____ ) – _____ – __________ |
| Job Title: | ___________________________________________ |
| Department: | ___________________________________________ |
| Date of Inspection/Certification: | _____ / _____ / _____ |
| Signature of Employee: | ___________________________________________ |
| Signature of Trainer: | ___________________________________________ |
| Is the employee authorized to implement lockout/tagout procedure? | Yes No |
| Date Authorized: | _____ / _____ / _____ |
| Authorizing Supervisor’s Signature: | ___________________________________________ |

29 CFR 1926.64—Process Safety Management of Highly Hazardous Material

Process Safety

PSM—Management of Change

| CHANGE INFORMATION |  | Date: |
| --- | --- | --- |
| Originator: |  |  |
| Proposed Date of Change: |  |  |
| Permanent | Temporary | Location of change: |
| Description of change: |  |  |
| Basis for change: |  |  |

| NATURE OF THE CHANGES |  | List Items |  |
| --- | --- | --- | --- |
| Type of Change: | Safety | Environmental |  |
|  | Health | Equipment Removal |  |
|  | Alarm | Chemical |  |
|  | Job Procedure | Other |  |
|  | Task Procedure |  |  |

| PREMODIFICATION |  |  |  |
| --- | --- | --- | --- |
| Applicable | N/A | Initials | List Items to check |

| BEFORE STARTUP: |  |  |  |
| --- | --- | --- | --- |
| Applicable | N/A | Initials | List Items to check |

| Approvals: | Name | Date |
| --- | --- | --- |
| Originator: | _________________________________ | _________________________________ |
| First Reviewer: | _________________________________ | _________________________________ |
| Manager: | _________________________________ | _________________________________ |

29 CFR 1926.103—Respiratory Protection

29 CFR 1910.134—Respiratory Protection

Respiratory Protection—Appendix C—Respirator Medical Evaluation Questionnaire (Mandatory)

To the employer: Answers to questions in Section 1, and to question 9 in Section 2 of Part A, do not require a medical examination. 

To the employee: 

Can you read (circle one): Yes/No 

Your employer must allow you to answer this questionnaire during normal working hours, or at a time and place that is convenient to you. To maintain your confidentiality, your employer or supervisor must not look at or review your answers, and your employer must tell you how to deliver or send this questionnaire to the health care professional who will review it. 

Part A. Section 1. (Mandatory) The following information must be provided by every employee who has been selected to use any type of respirator (please print). 

1. Today’s date:_________________________________________________________________________________ 

2. Your name:__________________________________________________________________________________ 

3. Your age (to nearest year):_______________________________________________________________________

4. Sex (circle one): Male/Female 

5. Your height: __________ ft. __________ in. 

6. Your weight: ____________ lbs. 

7. Your job title:_____________________________________________________ 

8. A phone number where you can be reached by the health care professional who reviews this questionnaire (include the Area Code): ____________________ 

9. The best time to phone you at this number: _________________________________________________________ 

10. Has your employer told you how to contact the health care professional who will review this questionnaire (circle one): Yes/No 

11. Check the type of respirator you will use (you can check more than one category):
a. ______ N, R, or P disposable respirator (filter-mask, non-cartridge type only).
b. ______ Other type (for example, half- or full-facepiece type, powered-air purifying, supplied-air, self-contained breathing apparatus). 

12. Have you worn a respirator (circle one): Yes/No 

If “yes,” what type(s):____________________________________________________________________________
______________________________________________________________________________________________ 

Part A. Section 2. (Mandatory) Questions 1 through 9 below must be answered by every employee who has been selected to use any type of respirator (please circle “yes” or “no”). 

1. Do you currently smoke tobacco, or have you smoked tobacco in the last month: Yes/No 

2. Have you ever had any of the following conditions?

- Seizures: Yes/No

- Diabetes (sugar disease): Yes/No

- Allergic reactions that interfere with your breathing: Yes/No

- Claustrophobia (fear of closed-in places): Yes/No

- Trouble smelling odors: Yes/No

3. Have you ever had any of the following pulmonary or lung problems?

- Asbestosis: Yes/No

- Asthma: Yes/No

- Chronic bronchitis: Yes/No

- Emphysema: Yes/No

- Pneumonia: Yes/No

- Tuberculosis: Yes/No

- Silicosis: Yes/No

- Pneumothorax (collapsed lung): Yes/No

- Lung cancer: Yes/No

- Broken ribs: Yes/No

- Any chest injuries or surgeries: Yes/No

- Any other lung problem that you've been told about: Yes/No

4. Do you currently have any of the following symptoms of pulmonary or lung illness?

- Shortness of breath: Yes/No

- Shortness of breath when walking fast on level ground or walking up a slight hill or incline: Yes/No

- Shortness of breath when walking with other people at an ordinary pace on level ground: Yes/No

- Have to stop for breath when walking at your own pace on level ground: Yes/No

- Shortness of breath when washing or dressing yourself: Yes/No

- Shortness of breath that interferes with your job: Yes/No

- Coughing that produces phlegm (thick sputum): Yes/No

- Coughing that wakes you early in the morning: Yes/No

- Coughing that occurs mostly when you are lying down: Yes/No

- Coughing up blood in the last month: Yes/No

- Wheezing: Yes/No

- Wheezing that interferes with your job: Yes/No

- Chest pain when you breathe deeply: Yes/No

- Any other symptoms that you think may be related to lung problems: Yes/No

5. Have you ever had any of the following cardiovascular or heart problems?

- Heart attack: Yes/No

- Stroke: Yes/No

- Angina: Yes/No

- Heart failure: Yes/No

- Swelling in your legs or feet (not caused by walking): Yes/No

- Heart arrhythmia (heart beating irregularly): Yes/No

- High blood pressure: Yes/No

- Any other heart problem that you've been told about: Yes/No

6. Have you ever had any of the following cardiovascular or heart symptoms?

- Frequent pain or tightness in your chest: Yes/No

- Pain or tightness in your chest during physical activity: Yes/No

- Pain or tightness in your chest that interferes with your job: Yes/No

- In the past two years, have you noticed your heart skipping or missing a beat: Yes/No

- Heartburn or indigestion that is not related to eating: Yes/No

- Any other symptoms that you think may be related to heart or circulation problems: Yes/No

7. Do you currently take medication for any of the following problems?

- Breathing or lung problems: Yes/No

- Heart trouble: Yes/No

- Blood pressure: Yes/No

- Seizures: Yes/No

8. If you've used a respirator, have you ever had any of the following problems? (If you've never used a respirator, check the following space and go to question 9:)

- Eye irritation: Yes/No

- Skin allergies or rashes: Yes/No

- Anxiety: Yes/No

- General weakness or fatigue: Yes/No

- Any other problem that interferes with your use of a respirator: Yes/No

9. Would you like to talk to the health care professional who will review this questionnaire about your answers to this questionnaire: Yes/No 

Questions 10 to 15 below must be answered by every employee who has been selected to use either a full-facepiece respirator or a self-contained breathing apparatus (SCBA). For employees who have been selected to use other types of respirators, answering these questions is voluntary. 

10. Have you ever lost vision in either eye (temporarily or permanently): Yes/No 

11. Do you currently have any of the following vision problems?

- Wear contact lenses: Yes/No

- Wear glasses: Yes/No

- Color blind: Yes/No

- Any other eye or vision problem: Yes/No

12. Have you ever had an injury to your ears, including a broken eardrum: Yes/No 

13. Do you currently have any of the following hearing problems?

- Difficulty hearing: Yes/No

- Wear a hearing aid: Yes/No

- Any other hearing or ear problem: Yes/No

14. Have you ever had a back injury: Yes/No 

15. Do you currently have any of the following musculoskeletal problems?

- Weakness in any of your arms, hands, legs, or feet: Yes/No

- Back pain: Yes/No

- Difficulty fully moving your arms and legs: Yes/No

- Pain or stiffness when you lean forward or backward at the waist: Yes/No

- Difficulty fully moving your head up or down: Yes/No

- Difficulty fully moving your head side to side: Yes/No

- Difficulty bending at your knees: Yes/No

- Difficulty squatting to the ground: Yes/No

- Climbing a flight of stairs or a ladder carrying more than 25 lbs: Yes/No

- Any other muscle or skeletal problem that interferes with using a respirator: Yes/No

Part B Any of the following questions, and other questions not listed, may be added to the questionnaire at the discretion of the health care professional who will review the questionnaire. 

1. In your present job, are you working at high altitudes (over 5,000 feet) or in a place that has lower than normal amounts of oxygen: Yes/No 

If “yes,” do you have feelings of dizziness, shortness of breath, pounding in your chest, or other symptoms when you’re working under these conditions: Yes/No 

2. At work or at home, have you ever been exposed to hazardous solvents, hazardous airborne chemicals (e.g., gases, fumes, or dust), or have you come into skin contact with hazardous chemicals: Yes/No 

If “yes,” name the chemicals if you know them:________________________________________________________
______________________________________________________________________________________________
______________________________________________________________________________________________ 

3. Have you ever worked with any of the materials, or under any of the conditions, listed below:

- Asbestos: Yes/No

- Silica (e.g., in sandblasting): Yes/No

- Tungsten/cobalt (e.g., grinding or welding this material): Yes/No

- Beryllium: Yes/No

- Aluminum: Yes/No

- Coal (for example, mining): Yes/No

- Iron: Yes/No

- Tin: Yes/No

- Dusty environments: Yes/No

- Any other hazardous exposures: Yes/No

If “yes,” describe these exposures:__________________________________________________________________
______________________________________________________________________________________________
______________________________________________________________________________________________ 

4. List any second jobs or side businesses you have:____________________________________________________
______________________________________________________________________________________________
______________________________________________________________________________________________ 

5. List your previous occupations:___________________________________________________________________
______________________________________________________________________________________________
______________________________________________________________________________________________ 

6. List your current and previous hobbies:____________________________________________________________
______________________________________________________________________________________________
______________________________________________________________________________________________ 

7. Have you been in the military services? Yes/No 

If “yes,” were you exposed to biological or chemical agents (either in training or combat): Yes/No 

8. Have you ever worked on a HAZMAT team? Yes/No 

9. Other than medications for breathing and lung problems, heart trouble, blood pressure, and seizures mentioned earlier in this questionnaire, are you taking any other medications for any reason (including over-the-counter medications): Yes/No 

If “yes,” name the medications if you know them:____________________________________________________ 

10. Will you be using any of the following items with your respirator(s)?

- HEPA Filters: Yes/No

- Canisters (for example, gas masks): Yes/No

- Cartridges: Yes/No

11. How often are you expected to use the respirator(s) (circle “yes” or “no” for all answers that apply to you)?:

- Escape only (no rescue): Yes/No

- Emergency rescue only: Yes/No

- Less than 5 hours per week: Yes/No

- Less than 2 hours per day: Yes/No

- 2 to 4 hours per day: Yes/No

- Over 4 hours per day: Yes/No

12. During the period you are using the respirator(s), is your work effort:

- Light (less than 200 kcal per hour): Yes/No

If “yes,” how long does this period last during the average shift:____________hrs.____________mins. 

Examples of a light work effort are sitting while writing, typing, drafting, or performing light assembly work; or standing while operating a drill press (1-3 lbs.) or controlling machines.

- Moderate (200 to 350 kcal per hour): Yes/No

If “yes,” how long does this period last during the average shift:____________hrs.____________mins. 

Examples of moderate work effort are sitting while nailing or filing; driving a truck or bus in urban traffic; standing while drilling, nailing, performing assembly work, or transferring a moderate load (about 35 lbs.) at trunk level; walking on a level surface about 2 mph or down a 5-degree grade about 3 mph; or pushing a wheelbarrow with a heavy load (about 100 lbs.) on a level surface.

- Heavy (above 350 kcal per hour): Yes/No

If “yes,” how long does this period last during the average shift:____________hrs.____________mins. 

Examples of heavy work are lifting a heavy load (about 50 lbs.) from the floor to your waist or shoulder; working on a loading dock; shoveling; standing while bricklaying or chipping castings; walking up an 8-degree grade about 2 mph; climbing stairs with a heavy load (about 50 lbs.). 

13. Will you be wearing protective clothing and/or equipment (other than the respirator) when you’re using your respirator: Yes/No 

If “yes,” describe this protective clothing and/or equipment:______________________________________________
______________________________________________________________________________________________ 

14. Will you be working under hot conditions (temperature exceeding 77 deg. F): Yes/No 

15. Will you be working under humid conditions: Yes/No 

16. Describe the work you’ll be doing while you’re using your respirator(s):
____________________________________________________________________________________________________________________________________________________________

17. Describe any special or hazardous conditions you might encounter when you’re using your respirator(s) (for example, confined spaces, life-threatening gases):
____________________________________________________________________________________________________________________________________________________________

18. Provide the following information, if you know it, for each toxic substance that you’ll be exposed to when you’re using your respirator(s): 

Name of the first toxic substance:___________________________________________________________________
Estimated maximum exposure level per shift:__________________________________________________________
Duration of exposure per shift:_____________________________________________________________________
Name of the second toxic substance:_________________________________________________________________
Estimated maximum exposure level per shift:__________________________________________________________
Duration of exposure per shift:_____________________________________________________________________
Name of the third toxic substance:__________________________________________________________________
Estimated maximum exposure level per shift:_________________________________________________________
Duration of exposure per shift:_____________________________________________________________________
The name of any other toxic substances that you’ll be exposed to while using your respirator:
____________________________________________________________________________________________________________________________________________________________

19. Describe any special responsibilities you’ll have while using your respirator(s) that may affect the safety and well-being of others (for example, rescue, security):
____________________________________________________________________________________________________________________________________________________________

29 CFR 1926.103—Respiratory Protection

29 CFR 1910.134—Respiratory Protection

Respiratory Protection—Appendix D—Information for Employees Using Respirators When Not Required Under the Standard

Respirators are an effective method of protection against designated hazards when properly selected and worn. Respirator use is encouraged, even when exposures are below the exposure limit, to provide an additional level of comfort and protection for workers. However, if a respirator is used improperly or not kept clean, the respirator itself can become a hazard to the worker. Sometimes, workers may wear respirators to avoid exposures to hazards, even if the amount of hazardous substance does not exceed the limits set by OSHA standards. If your employer provides respirators for your voluntary use, or if you provide your own respirator, you need to take certain precautions to be sure that the respirator itself does not present a hazard. 

You should do the following: 

1. Read and heed all instructions provided by the manufacturer on use, maintenance, cleaning and care, and warnings regarding the respirators limitations. 

2. Choose respirators certified for use to protect against the contaminant of concern. NIOSH, the National Institute for Occupational Safety and Health of the U.S. Department of Health and Human Services, certifies respirators. A label or statement of certification should appear on the respirator or respirator packaging. It will tell you what the respirator is designed for and how much it will protect you. 

3. Do not wear your respirator into atmospheres containing contaminants for which your respirator is not designed to protect against. For example, a respirator designed to filter dust particles will not protect you against gases, vapors, or very small solid particles of fumes or smoke. 

4. Keep track of your respirator so that you do not mistakenly use someone else’s respirator.

Instructor Name:  _________________________________

Date:  _______________

The following employees have received training on Appendix D of 29 CFR 1910.134 (Information for Employees Using Respirators When Not Required Under the Standard – Filtering Facepiece ONLY) and have demonstrated an understanding of the requirements.  In addition, these employees have received training and will heed all instructions provided by the manufacturer on use, maintenance, cleaning and care, and warnings regarding the respirators limitations for the following filtering facepieces: _________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

29 CFR 1926.21—Safety Training and Education

29 CFR 1926—Construction

Training—Employee Orientation Checklist

| EMPLOYEE ORIENTATION CHECKLIST |  |  |  |
| --- | --- | --- | --- |
| Areas to be Covered | Description | Completed |  |
|  |  | Yes | No |
| Company Tour | Work areas and facility tour. Introductions. |  |  |
| Department EHS Training | Hands-on training and safe work practices. |  |  |
|  | - Safe work practices (e.g.; company, department, job-specific) |  |  |
|  | - Emergency procedures (e.g.; exits, alarms, fire extinguishers, contact list, shelters) |  |  |
|  | - Hazardous areas and materials |  |  |
|  | - Equipment and tools – safe work practices and use (e.g.; ladders, power tools) |  |  |
|  | - Break and lunch areas (food only areas) |  |  |
|  | - Safety Data Sheets location |  |  |
|  | - Accident reporting and investigation procedures |  |  |
|  | - Personal protective equipment (e.g.; use, location, care, repair) |  |  |
|  | - Security measures (e.g.; ID badges, reporting procedures) |  |  |
|  | - Employee rights and responsibilities under the OSH Act |  |  |
|  | - Company safety responsibilities (e.g.; providing safe work place) |  |  |
|  | - Department safety responsibilities (e.g.; correcting hazards) |  |  |
|  | - Employee safety responsibilities (e.g.; reporting unsafe conditions) |  |  |
|  | - Disciplinary policy |  |  |
|  | - Drug and alcohol abuse policy |  |  |
|  | - Fleet safety policy |  |  |
|  | - Inspections |  |  |
|  | - Housekeeping policy |  |  |
| EHS Training | OSHA required safety, environmental, and health training. |  |  |
|  | - Emergency Action Plan |  |  |
|  | - Hazard Communication Program |  |  |
|  | - Personal Protective Equipment |  |  |
|  | - Fire Prevention Plan |  |  |
|  | - Electrical safety related work practices |  |  |
|  | - Confined space program |  |  |
|  | - Bloodborne Pathogens |  |  |

Employee Name: 										Date:

Supervisor's Signature:

29 CFR 1926.21—Safety Training and Education

29 CFR 1926—Construction

Training Matrices

Training—Initial Training Matrix

| Job: |  |  | Department: |  |  |
| --- | --- | --- | --- | --- | --- |
| Conducted by: |  |  | Company: |  |  |
| Time | Day 1 | Day 2 | Day 3 | Day 4 | Day 5 |

# Training—On the Job Training Matrix

| Job: |  |  | Department: |  |  |
| --- | --- | --- | --- | --- | --- |
| Conducted by: |  |  | Company: |  |  |
| Week 1 | Monday | Tuesday | Wednesday | Thursday | Friday |
| Week 2 | Monday | Tuesday | Wednesday | Thursday | Friday |
| Week 3 | Monday | Tuesday | Wednesday | Thursday | Friday |

Note: Dependent on assigned job duties and responsibilities, OJT training may be a few days to several weeks.

# Training—Annual Refresher Training Matrix

| Job: |  |  | Department: |  |  |
| --- | --- | --- | --- | --- | --- |
| Conducted by: |  |  | Company: |  |  |
| Time | Day 1 | Day 2 | Day 3 | Day 4 | Day 5 |

29 CFR 1926.21—Safety Training and Education

29 CFR 1926—Construction

# Training—Employee Training Roster and

# Certificate of Training

# Topic: ___________________________________________________Date:______________

Trainer: _______________________________            Employer:_______________________________

Material Covered:

- ________________________________

- ________________________________

- ________________________________

- ________________________________

- ________________________________

- ________________________________

| Employee Name: | Department: | Signature: |
| --- | --- | --- |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |
| ___________________________ | ___________________________ | ___________________________ |

NCGS 95-129(1)—General Duty Clause

Workplace Violence Incident Report Form

A reportable violent incident should be defined as any threatening remark or overt act of physical violence against a person(s) or property whether reported or observed.

1. Date: Day of Week: Time: Assailant: ❑ Female ❑ Male

2. Specific Location: ____________________________________________________________________________

3.Violence Directed Toward: ❑ Patient ❑ Staff ❑ Visitor ❑ Other
Assailant: ❑ Patient ❑ Staff ❑ Visitor ❑ Other
Assailant's Name: _______________________________________________________________________________
Assailant: ❑ Unarmed ❑ Armed (weapon)

4. Predisposing Factors:
❑ Intoxication ❑ Dissatisfied with Care/Waiting Time
❑ Grief Reaction ❑ Prior History of Violence
❑ Gang Related ❑ Other (Describe) ________________________________________________________________

5. Description of Incident: ❑ Physical Abuse ❑ Verbal Abuse ❑ Other

6. Injuries: ❑ Yes ❑ No

7. Extent of Injuries: ___________________________________________________________________________

8. Detailed Description of the Incident: ____________________________________________________________

9. Did Any Person Leave the Area because of Incident?
❑ Yes ❑ No ❑ Unable to Determine

10. Present at Time of Incident:
❑ Police Name of Department: ____________________________________________________________________
❑ Hospital Security Officer

11. Needed to Call:
❑ Police Name of Department: ____________________________________________________________________
❑ Hospital Security 

12.Termination of Incident:
Incident Diffused ❑ Yes ❑ No           Police Notified ❑ Yes ❑ No
Assailant Arrested ❑ Yes ❑ No

13. Disposition of Assailant:
❑ Stayed on Premises ❑ Escorted off Premises ❑ Left on Own ❑ Other

14. Restraints Used: ❑ Yes ❑ No Type: _____________________

15. Report Completed By: ________________ Title: __________________________________________________
Witnesses: _____________________________________________________________________________________
Supervisor Notified: ________________________________________________________ Time: _______________

SECTION 7—INSPECTION FORMS

Note: Many State-Specific and General Industry standards require inspections and some require that theses inspection be documented.. Some require documentation that the inspections have been conducted while some do not require documentation of any kind. It is recommended, as a ‘best practice”, to always document your inspections even if a standard does not require it.  The following standards require inspections, however if a standard is not listed below as requiring inspections, refer back to 29 CFR 1926.20—General Safety and Health Provisions.

NORTH CAROLINA STATE SPECIFIC STANDARDS

Standard: 7A .0600—Safety & Health Programs & Committees

- Inspections:  Quarterly, annually

- Documentation: Inspection forms

Standard: 7F .0200—Construction Standards

- Inspections: Frequently, regularly

- Documentation: Not stated

Standard: 7F .0207—Toxic and Hazardous Substances (Reference 29 CFR 1910.1030—Bloodborne Pathogens)

- Inspections: Routinely

- Documentation:  Not stated

Standard: 7F .0600—Communication Towers

- Inspections: Initially, daily, annually, changes

- Documentation: Inspection forms

Standard: 7F .0700—Blasting and Use of Explosives

- Inspections: Before firing blast, after firing blast

- Documentation: Not stated

CONSTRUCTION STANDARDS

Subpart C—General Safety and Health Provisions

Standard: 29 CFR 1926.20—General Safety and Health Provisions*

- Inspections: Regularly, frequently

- Documentation: Not stated

*Note: This standard is a “catch all” for conducting inspections and implementing programs needed to protect employees from injuries and illnesses as many construction standards do not otherwise specifically state it.

Subpart D—Occupational Health and Environmental Controls

Standard: 29 CFR 1926.50—Medical Services and First Aid

- Inspections: Initially, weekly

- Documentation: Not stated

Standard: 29 CFR 1926.53—Ionizing Radiation (Reference 29 CFR 1910.1096—Ionizing Radiation)

- Inspections: Initially, periodically

- Documentation: Not stated

Standard: 29 CFR 1926.57—Ventilation

- Inspections: Regularly, initially, after shutdown

- Documentation: Static pressure record

Standard: 29 CFR 1926.60—Methylenedianiline

- Inspections: Regularly

- Documentation: Not stated

Standard: 29 CFR 1926.62—Lead

- Inspections: Regularly, frequently

- Documentation: Not stated

Standard: 29 CFR 1926.64—Process Safety Management of Highly Hazardous Chemicals (Reference 29 CFR 1910.119—Process Safety Management of Highly Hazardous Chemicals)

- Inspections: Initially, frequently

- Documentation: Not stated

Standard: 29 CFR 1926.65—HAZWOPER

- Inspections: Initially, periodically

- Documentation: Not stated

Standard: 29 CFR 1926.66—Criteria for Design and Construction of Spray Booths

- Inspections: Periodically

- Documentation: Not stated

Subpart E—Personal Protective and Life Saving Equipment

Standard: 29 CFR 1926.97—Electrical Protective Equipment

- Inspections: Daily, after incident

- Documentation: Not stated

Standard: 29 CFR 1926.103—Respiratory Protection (Reference 29 CFR 1910.134—Respiratory Protection)

- Inspections: Before use, during cleaning, monthly

- Documentation: Certification record

Subpart F—Fire Protection and Prevention

Standard: 29 CFR 1926.150—Fire Protection

- Inspections: Periodically

- Documentation: Not stated

Standard: 29 CFR 1926.151—Fire Prevention

- Inspections: Frequently, regularly

- Documentation: Not stated

Standard: 29 CFR 1926.152—Flammable Liquids

- Inspections: Initially

- Documentation: Not stated

Subpart H—Materials Handling, Storage, Use and Disposal

Standard: 29 CFR 1926.251—Rigging Equipment for Material Handling

- Inspections: Each shift, daily, annually, regularly

- Documentation: Inspections

Subpart I—Tools – Hand and Power

Standard: 29 CFR 1926.302—Power-Operated Hand Tools

- Inspections: Daily

- Documentation: Not stated

Standard: 29 CFR 1926.303—Abrasive Wheels and Tools

- Inspections: Initially

- Documentation: Not stated

Standard: 29 CFR 1926.305—Jacks-Lever and Ratchet, Screw, and Hydraulic

- Inspections: Semi-annually, after shock, after special work

- Documentation: Not stated

Standard: 29 CFR 1926.306—Air Receivers

- Inspections: Regularly, frequently

- Documentation: Not stated

Standard: 29 CFR 1926.307—Mechanical Power-Transmission-Apparatus

- Inspections: Periodically

- Documentation: Not stated

Subpart J—Welding – Cutting

Standard: 29 CFR 1926.351—Arc Welding and Cutting

- Inspections: Each shift

- Documentation: Not stated

Subpart K—Electrical

Standard: 29 CFR 1926.404—Wiring Design and Protection

- Inspections: Before use, daily, quarterly

- Documentation: Not stated

Subpart L—Scaffolds

Standard: 29 CFR 1926.451—General Requirements

- Inspections: Prior to use, after occurrence

- Documentation: Not stated

Standard: 29 CFR 1926.452—Additional Requirements Applicable to Specific Types of Scaffolds

- Inspections: Before erection

- Documentation: Not stated

Subpart M—Fall Protection

Standard: 29 CFR 1926.502—Fall Protection Systems

- Inspections: Frequently, prior to use, weekly

- Documentation: Not stated

Subpart N—Helicopters, Hoists, Elevators, and Conveyors

Standard: 29 CFR 1926.551—Helicopters

- Inspections: Prior to each day

- Documentation: Not stated

Standard: 29 CFR 1926.552—Material hoists, Personnel hoists, and Elevators

- Inspections: Weekly, prior to use, quarterly

- Documentation: Inspections

Standard: 29 CFR 1926.554—Overhead Hoists

- Inspections: Per manufacturer requirements

- Documentation: Not stated

Standard: 29 CFR 1926.555—Conveyors

- Inspections: Per ANSI requirements

- Documentation: Not stated

Subpart O—Motor Vehicles, Mechanized Equipment, and Marine Operations

Standard: 29 CFR 1926.601—Motor Vehicles

- Inspections: Each shift

- Documentation: Not stated

Standard: 29 CFR 1926.602—Material Handling Equipment

- Inspections: Per ANSI requirements

- Documentation: Not stated

Subpart P—Excavations

Standard: 29 CFR 1926.651—Specific Excavation Requirements

- Inspections: Initially, daily, after rain

- Documentation: Not stated

Subpart Q—Concrete and Masonry Construction

Standard: 29 CFR 1926.703—Requirements for Cast-In-Place Concrete

- Inspections: Initially, during, after

- Documentation: Not stated

Subpart R—Steel Erection

Standard: 29 CFR 1926.753—Hoisting and Rigging

- Inspections: Pre-shift

- Documentation: Not stated

Standard: 29 CFR 1926.755—Column Anchorage

- Inspections: Initially

- Documentation: Inspection documented

Standard: 29 CFR 1926.760—Fall Protection

- Inspections: Initially

- Documentation: Not stated

Subpart S—Underground Construction, Caissons, Cofferdams, and Compressed Air

Standard: 29 CFR 1926.800—Underground Construction

- Inspections: Initially, frequently, each shift, weekly

- Documentation: Inspection documented

Subpart T—Demolition

Standard: 29 CFR 1926.850—Preparatory Operations

- Inspections: Initially

- Documentation: Not stated

Standard: 29 CFR 1926.851—Stair, Passageways, and Ladders

- Inspections: Periodically

- Documentation: Not stated

Standard: 29 CFR 1926.859—Mechanical Demolition

- Inspections: Continuing

- Documentation: Not stated

Subpart U—Blasting and the Use of Explosives

Standard: 29 CFR 1926.903—Underground Transportation of Explosives

- Inspections: Weekly

- Documentation: Inspection documented

Standard: 29 CFR 1926.906—Initiation of Explosive Charges – Electric Blasting

- Inspections: Periodically

- Documentation: Not stated

Standard: 29 CFR 1926.908—Use of Detonating Cord

- Inspections: Initially

- Documentation: Not stated

Standard: 29 CFR 1926.910—Inspection After Blasting

- Inspections: After blasting

- Documentation: Not stated

Subpart V—Electric Power Transmission and Distribution

Standard: 29 CFR 1926.950—General

- Inspections: Initially, annually

- Documentation: Not stated

Standard: 29 CFR 1926.954—Personal Protective Equipment

- Inspections: Each day

- Documentation: Not stated

Standard: 29 CFR 1926.957—Live Line Tools

- Inspections: Each day, biennial, before use

- Documentation: Not stated

Standard: 29 CFR 1926.959—Mechanical Equipment

- Inspections: Before use

- Documentation: Not stated

Standard: 29 CFR 1926.960—Working On or Near Exposed Energized Parts

- Inspections: Initially, before use

- Documentation: Not stated

Standard: 29 CFR 1926.964—Overhead Lines and Live-Line Barehand Work

- Inspections:  Before climb/work

- Documentation: Not stated

Standard: 29 CFR 1926.965—Underground Electrical Installations

- Inspections:  Before climb/work

- Documentation: Not stated

Standard: 29 CFR 1926.967—Special Conditions

- Inspections:  Frequently

- Documentation: Not stated

Subpart X—Stairways and Ladders

Standard: 29 CFR 1926.1053—Ladders

- Inspections:  After incident

- Documentation: Not stated

Subpart Y—Commercial Diving Operations

Standard: 29 CFR 1926.1081—Pre-Dive Procedures (Reference 29 CFR 1910.421—Pre-Dive Procedures)

- Inspections: Before dive

- Documentation: Inspection forms

Standard: 29 CFR 1926.1090—Equipment (Reference 29 CFR 1910.430—Equipment)

- Inspections: Regularly, annually, semi-annually

- Documentation: Inspection forms

Standard: 29 CFR 1926.1091—Recordkeeping (Reference 29 CFR 1910.440—Recordkeeping)

- Inspections: Regularly, annually, semi-annually, before dive

- Documentation: Inspection forms

Subpart Z—Toxic and Hazardous Substances

Standard: 29 CFR 1926.1101—Asbestos

- Inspections: Initially, each shift

- Documentation: Inspection forms

Standard: 29 CFR 1926.1124—Beryllium

- Inspections: Regularly, frequently

- Documentation: Not stated

Standard: 29 CFR 1926.1145—Acrylonitrile (Reference 29 CFR 1910.1045—Acrylonitrile)

- Inspections: Regularly

- Documentation: Not stated

Standard: 29 CFR 1926.1148—Formaldehyde (Reference 29 CFR 1910.1048—Formaldehyde)

- Inspections: Regularly

- Documentation: Not stated

Standard: 29 CFR 1926.1150—Methylenedianiline (Reference 29 CFR 1910.1050—Methylenedianiline)

- Inspections: Regularly

- Documentation: Not stated

Standard: 29 CFR 1926.1153—Respirable Crystalline Silica

- Inspections: Frequently, regularly

- Documentation:  Not stated

Standard: 29 CFR 1926.1196—Ionizing Radiation (Reference 29 CFR 1910.1096—Ionizing Radiation)

- Inspections: Initially, periodically

- Documentation: Not stated

Subpart AA—Confined Spaces in Construction

Standard: 29 CFR 1926.1203—General Requirements

- Inspections: Initially

- Documentation: Not stated

Standard: 29 CFR 1926.1204—Permit-Required Confined Space Program

- Inspections: Initially

- Documentation: Not stated

Subpart CC—Cranes and Derricks in Construction

Standard: 1926.1402—Ground Conditions

- Inspections: Frequently, regularly

- Documentation: Not stated

Standard: 1926.1404—Assembly/Disassembly—General Requirements

- Inspections: After assembly

- Documentation: Not stated

Standard: 1926.1412—Inspections

- Inspections:  Initially, each shift, monthly, annually

- Documentation: Inspection forms

Standard: 1926.1413—Wire Rope—Inspections

- Inspections:  Initially, each shift, monthly, annually

- Documentation: Inspection forms

Standard: 1926.1414—Wire Rope—Selection and Installation Criteria

- Inspections:  Initially, each shift, monthly, annually

- Documentation: Inspection forms

Standard: 1926.1423—Fall Protection

- Inspections:  Initially

- Documentation: Not stated

Standard: 1926.1431—Hoisting Personnel

- Inspections:  Initially, pre-lift

- Documentation: Not stated

Standard: 1926.1435—Tower Cranes

- Inspections:  Annually, pre and post erection

- Documentation: Inspection forms

Standard: 1926.1436—Derricks

- Inspections:  Daily, annually

- Documentation: Not stated

Standard: 1926.1437—Floating Cranes/Derricks and Land Cranes/Derricks on Barges

- Inspections:  Each shift, annually, monthly, 4 year

- Documentation: Inspection forms

Standard: 1926.1441—Equipment With a Rated Hoisting/Lifting Capacity of 2,000 Pounds or Less

- Inspections:  Post assembly, per manufacturers procedures

- Documentation: Not stated

Note: This document is intended to be consistent with existing OSHA standards; therefore, if an area is considered by the reader to be inconsistent with a standard, then the OSHA standard should be followed.

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

CLIMBING FRAME INSPECTION

Lessee:

Week of:

Year:

Project:

Crane Owner:

Site Address:

Crane Make:

Model:

Serial #:

9 = Approved and in good working order	X	= Found faulty – notified supervisor

–	= Not applicable to this item	(details required under remarks)

Yearly Inspection	Certification Date:

| 1 | NDT Certification on file and verified |  |
| --- | --- | --- |
| 2 | Maintain hydraulic ram and relief valve in accordance with manufacturer’s recommendation for the system |  |

Owner’s Signature:

Owner’s Name:

Before Each Climb

| # | Erector |  |
| --- | --- | --- |
| 1 | Confirm the climbing frame is correct for use with that model of crane |  |
| 2 | Confirm the identification number of the frame and all corresponding sections match the certified NDT test document |  |
| 3 | Inspect the frame, suspension brackets for damage |  |
| 4 | Confirm the free movement of all guide rollers and check for damage |  |
| 5 | Check that all keep plates are in place and secure |  |
| 6 | Check the hydraulic ram mounting brackets for security and damage |  |
| 7 | Check the lifting yoke at the base of the hydraulic ram for signs of wear damage and deformity |  |
| 8 | Check the hydraulic ram joint pin for lift and that it is correctly locked in position |  |
| 9 | Check that the rollers are free to rotate |  |
| 10 | Check that the hydraulic system is free from leaks and has no damage to the pipe work or the connections |  |
| 11 | Check the travelling platform for damage to itself and its supports |  |
| 12 | Check the walkways for damage and security of fixing. Close off the walkways |  |
| 13 | Confirm the engineer or re-shoring design, bracing, and inspection of tip backs are on site |  |
| 14 | Erector to sign off prior to climb |  |

Erector’s Signature:

Erector’s Name:

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

LUFFING TOWER CRANE (FOR CRANE OPERATORS)

“START OF SHIFT INSPECTION”

Date:___________			Inspector:_____			Crane Make/Model:

Please note: This is a sample checklist that employers may use; manufacturer/supplier may have additional requirements

| # | Luffing Tower Crane Operator | Sun | Mon | Tue | Wed | Thu | Fri | Sat |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Electrical power cords – main feed – junction box/splice |  |  |  |  |  |  |  |
| 2 | Ground fault circuit interrupter (GFCI) |  |  |  |  |  |  |  |
| 3 | ON/OFF switch (main disconnect) |  |  |  |  |  |  |  |
| 4 | Crane base inspection |  |  |  |  |  |  |  |
| 5 | Inspect walkways, handrails, guards, and ladders |  |  |  |  |  |  |  |
| 6 | Inspect structure, pins, keepers, and mast bolts |  |  |  |  |  |  |  |
| 7 | Ensure all tower wedges or tie backs are in place and tight |  |  |  |  |  |  |  |
| 8 | Ensure all doors, panels, and covers are in place and weather-tight |  |  |  |  |  |  |  |
| 9 | Operators controls are functioning adequately |  |  |  |  |  |  |  |
| 10 | Load moment hoist limit |  |  |  |  |  |  |  |
| 11 | Load moment luffing limit |  |  |  |  |  |  |  |
| 12 | Maximum load (line pull) |  |  |  |  |  |  |  |
| 13 | Luffing up switch(s) |  |  |  |  |  |  |  |
| 14 | Luffing down switch(s) |  |  |  |  |  |  |  |
| 15 | Luffing up and down deceleration switch |  |  |  |  |  |  |  |
| 16 | Boom angle indicator |  |  |  |  |  |  |  |
| 17 | Counterweight safety switch |  |  |  |  |  |  |  |
| 18 | Hoist up deceleration limit |  |  |  |  |  |  |  |
| 19 | Hoist upper limit |  |  |  |  |  |  |  |
| 20 | Anti 2 block switch (hoist up and boom down) |  |  |  |  |  |  |  |
| 21 | Hoist down limit or slack line |  |  |  |  |  |  |  |
| 22 | Ensure all audio/visual indicators are functioning properly |  |  |  |  |  |  |  |
| 23 | Anemometer |  |  |  |  |  |  |  |
| 24 | Hoist brake is functioning |  |  |  |  |  |  |  |
| 25 | Slewing brake is functioning |  |  |  |  |  |  |  |
| 26 | Luffing brake |  |  |  |  |  |  |  |
| 27 | Visually inspect load block and hook |  |  |  |  |  |  |  |
| 28 | Travel brake to rail where applicable |  |  |  |  |  |  |  |
| 29 | Rail travel forward and reverse |  |  |  |  |  |  |  |
| 30 | Inspect tracks for loose connections, proper drainage, subsidence and bogie wear on travelling cranes, rail clamps, and end stops |  |  |  |  |  |  |  |
| 31 | Housekeeping: concrete debris, rebar dowels, signage lights, access/egress, etc. |  |  |  |  |  |  |  |
| 32 | Supervisor notified of defects or faults |  |  |  |  |  |  |  |

Remarks:

Weekly Supervisor and Operator signatures indicating inspections have been completed.

Operator’s Signature:  	Operator’s Name:

Supervisor’s Signature:  	Supervisor’s Name:

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

| MOBILE CRANE MONTHLY INSPECTION |  |  |  |
| --- | --- | --- | --- |
| Inspection Checklist may also be used for shift inspection Signature of Competent Person ______________________________________ Date*: ______________________ |  |  |  |
| Crane Model: | Crane Serial # |  | Max. Crane Capacity: |
| Notes: |  |  |  |
| Based on requirements of 13 NCAC 07F.0915 |  |  |  |
| General |  | Status: S = Satisfactory X = Deficiency R = Recommendation N/A = Not Applicable |  |
| A. Control Mechanisms |  |  |  |
| B. Control and drive mechanisms |  |  |  |
| C. Air, hydraulic, and other pressurized lines |  |  |  |
| D. Hydraulic system |  |  |  |
| E. Hooks and latches |  |  |  |
| F. Wire rope reeving |  |  |  |
| G. Wire rope |  |  |  |
| H. Electrical apparatus |  |  |  |
| I. Tires |  |  |  |
| J. Ground conditions |  |  |  |
| K. Equipment level |  |  |  |
| L. Operator cab windows |  |  |  |
| M. Rails, rail stops, rail clamps |  |  |  |
| N. Safety devices and operational aids |  |  |  |

*Form must be retained at least three (3) months.

- At least every 12 months a qualified person performs and documents an annual/comprehensive inspection in accordance with 13 NCAC 07F.0915(f).

29 CFR 1926—Construction

SAFETY INSPECTION AND CORRECTIVE ACTION REPORT

Job Name ____________________

Inspected by ________________  			Date _________________________

## Y    N    N/A            Corrective Action

| 1. Job Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - OSHA 300 forms posted and complete? |  |  |  |  |  |
| - OSHA poster posted ? |  |  |  |  |  |
| - Phone no. for the nearest medical center posted ? |  |  |  |  |  |
| - Weekly Safety Meetings up to date? |  |  |  |  |  |
| - Work areas properly signed and barricaded? |  |  |  |  |  |
| - Is each employee instructed in the recognition and avoidance of unsafe conditions? |  |  |  |  |  |
| - Are first aid supplies readily accessible? |  |  |  |  |  |
| - Is facility for the treatment of injured employees located within 15 minutes of the jobsite, if not, is there an employee trained in first aid at the site? |  |  |  |  |  |
| - Are telephone numbers, physicians, hospitals and ambulances conspicuously posted? |  |  |  |  |  |
| - Are potable drinking water and toilet facilities available at the site? |  |  |  |  |  |
| - Is there protection for bloodborne pathogens? |  |  |  |  |  |
| 2. Housekeeping |  |  |  |  |  |
| - General neatness of work area? |  |  |  |  |  |
| - Projecting nails removed or bent over? |  |  |  |  |  |
| - Waste containers provided and used? |  |  |  |  |  |
| - Passageways and walkways clear? |  |  |  |  |  |
| 3. Fire Prevention |  |  |  |  |  |
| - Adequate fire extinguishers, checked and accessible? |  |  |  |  |  |
| - Phone no. of fire department posted? |  |  |  |  |  |
| - “No Smoking” posted and enforced near flammables? |  |  |  |  |  |
| 4. Electrical |  |  |  |  |  |
| - Extension cords or attachments cords with bare wires or missing ground prongs or damaged taken out of service? |  |  |  |  |  |
| - Ground fault circuit interrupters being used? |  |  |  |  |  |
| - Terminal boxes equipped with required covers? |  |  |  |  |  |
| - Are flexible cords and cables protected from damage? |  |  |  |  |  |
| - Are unused openings in cabinet boxes and fittings closed? |  |  |  |  |  |
| - Are all cabinets, panels and switches located in wet locations enclosed in weather proof enclosures? |  |  |  |  |  |
| 5. Hand, Power & Powder Actuated Tools |  |  |  |  |  |
| - Hand tools inspected regularly? Broken handles and mushroom heads? |  |  |  |  |  |
| - Guards in place on machines, such as saws? |  |  |  |  |  |
| - Right tool being used for job at hand? |  |  |  |  |  |
| - Operators of powder actuated tools are licensed? |  |  |  |  |  |
| 6. Fall Protection |  |  |  |  |  |
| - Safety rails and cables are secured properly? |  |  |  |  |  |
| - Employees exposed to fall hazards are tied off? |  |  |  |  |  |
| - Employees below protected from falling objects? |  |  |  |  |  |
| - Employees using body belts for positioning devices only? |  |  |  |  |  |
| - Are employees working more than 6' above a lower level protected by guardrails, safety nets, personal fall arrest system? |  |  |  |  |  |
| 7. Ladders |  |  |  |  |  |
| - Ladders extend at least 36" above the landing? |  |  |  |  |  |
| - Ladders are secured to prevent slipping, sliding, or falling? |  |  |  |  |  |
| - Ladders with split or missing rungs taken out of service? |  |  |  |  |  |
| - Stepladders used in fully open position? |  |  |  |  |  |
| - No step at top two rungs of stepladder? |  |  |  |  |  |

| 8. Scaffolding |  |  |  |  |
| --- | --- | --- | --- | --- |
| - All scaffolding inspected daily? |  |  |  |  |
| - Erected on sound rigid footing? |  |  |  |  |
| - Tied to structure as required? |  |  |  |  |
| - Guardrails, intermediate rails, toeboards and screens in place? |  |  |  |  |
| - Planking is sound and sturdy? |  |  |  |  |
| - Proper access provided? |  |  |  |  |
| - Employees below protected from falling objects? |  |  |  |  |
| 9. Floor & Wall Openings |  |  |  |  |
| - All floor or deck openings are planked over or barricaded? |  |  |  |  |
| - Perimeter protection is in place? |  |  |  |  |
| - Deck planks are secured? |  |  |  |  |
| - Materials are stored away from edge? |  |  |  |  |
| 10. Trenches, Excavation & Shoring |  |  |  |  |
| - Competent person on hand inspecting daily |  |  |  |  |
| - Excavations over 5' in depth are shored or sloped back? |  |  |  |  |
| - Materials are stored at least two feet from trench? |  |  |  |  |
| - Equipment is a safe distance from edge of trench or excavation? |  |  |  |  |
| - Ladders provided every 25' in trench more than 4' deep? |  |  |  |  |
| - Have underground utility installations been located? |  |  |  |  |
| - Are employees exposed to vehicular traffic wearing warning vests of reflectorized or highly visibility material? |  |  |  |  |
| 11. Material Handling |  |  |  |  |
| - Materials are properly stored or stacked? |  |  |  |  |
| - Employees are using proper lifting methods? |  |  |  |  |
| - Tag lines are used to guide loads? |  |  |  |  |
| - Proper number of workers for each operation? |  |  |  |  |
| 12. Welding & Burning |  |  |  |  |
| - Gas cylinders stored upright and secured? |  |  |  |  |
| - Proper separating distance between fuels and oxygen?(min 20') |  |  |  |  |
| - Burning/welding goggles or shields are used? |  |  |  |  |
| - Fire extinguishers are nearby? |  |  |  |  |
| - Hoses and regulators are in good condition? |  |  |  |  |

| 13. Cranes |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Outriggers are extended and swing radius barricade in place? |  |  |  |  |
| - Operator is familiar with load carts? |  |  |  |  |
| - Crane operators logs are up-to-date? |  |  |  |  |
| - Employees kept from under suspended loads? |  |  |  |  |
| - Chains and sling inspected and tagged as required? |  |  |  |  |
| - Hand signal charts are on crane? |  |  |  |  |
| 14. Concrete Construction |  |  |  |  |
| - Employees are protected from cement dust? |  |  |  |  |
| - Exposed skin covered? |  |  |  |  |
| - Runways are adequate? |  |  |  |  |
| - Walls over 8' are supported? |  |  |  |  |
| - Are all protruding reinforcing rods covered? |  |  |  |  |
| - Is lockout/tagout procedure in use on any machinery where inadvertent operation could cause injury? |  |  |  |  |

| 15. Personal Protective Equipment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - Hard hats are being worn? |  |  |  |  |  |
| - Safety glasses are being worn? |  |  |  |  |  |
| - Respirators are used when required? |  |  |  |  |  |
| - Hearing protection being worn when required? |  |  |  |  |  |
| - Traffic vests being worn? |  |  |  |  |  |
| 16. Vehicles |  |  |  |  |  |
| - Do vehicles, earth moving or compacting equipment with an obstructed view to the rear have a backup alarm or used with an observer? |  |  |  |  |  |
| - Do vehicles and earth moving equipment have seat belts and are they used? |  |  |  |  |  |
| - Are flagmen wearing reflectorized garments and using flags, sign paddles or lights? |  |  |  |  |  |
| 17. Stairs |  |  |  |  |  |
| - Are flights of stairs with 4 or more risers equipped with standard stair railings or handrails? |  |  |  |  |  |
| 18. Miscellaneous |  |  |  |  |  |
| - Is a written Hazard Communication Program on site including MSDS, materials list, container labeling, employee training. |  |  |  |  |  |
| - Is exposure to lead or lead based paint, such as paint removal controlled? |  |  |  |  |  |
| - Is exposure to silica, such as sandblasting, using sand or cutting brick or cinderblock controlled? |  |  |  |  |  |
| - Is exposure to asbestos controlled? |  |  |  |  |  |
| 19. Other unsafe acts/hazard (List): ___________________________________________________________________________________________________________ ___________________________________________________________________________________________________________ |  |  |  |  |  |

Signature ______________________________________	Date ___________________________

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

29 CFR 1926 Subpart R—Steel Erection

STEEL ERECTION CRANE INSPECTION

Date of Inspection ___________________	Crane Manufacturer _________________________________

Signature of Inspector _________________	Crane Serial No. or Identifier __________________________

Any deficiencies shall be required to be repaired or defective parts replaced before continued use.

| OK | Not OK |  |
| --- | --- | --- |
| ___ | ___ | Rated load capacities, operating speeds, special hazard warning or instruction posted on equipment. |
| ___ | ___ | Instructions or warning visible to operator while at control station. |
| ___ | ___ | A competent person inspects all machinery and equipment prior to each use, and during use, to make sure it is in safe operating condition. |
| ___ | ___ | Wire rope shall be taken out of service when: - In running rope 6 randomly distributed broken wires - Wear of 1/3 the original – to outside individual wires. - Evidence of heat damage from any cause. - Reduction in diameter of rope. - In standing ropes more than 2 broken wires in 1 lay in sections beyond end connection |
| ___ | ___ | All moving parts exposed to employee contact are guarded. |
| ___ | ___ | Swing radius of the rear of the rotating super structure guarded. |
| ___ | ___ | Exhaust pipes guarded or insulated. |
| ___ | ___ | No visible distortion of window safety glass. |
| ___ | ___ | Guardrails, hand hold steps provided for easy access to cab. |
| ___ | ___ | Platform and walkways have antiskid surfaces. |
| ___ | ___ | Fire extinguisher accessible (5 BC minimum). |
| ___ | ___ | Crane operated clear of electrical lines. |
| ___ | ___ | No modifications or additions which affect the operating capacity or safe operation of the crane shall be made by the employer without the manufacturer’s written approval. |
| ___ | ___ | Check control mechanisms for maladjustments. |
| ___ | ___ | Check control and drive mechanism for excessive wear or contamination. |
| ___ | ___ | Check safety devices including boom angle indicators, boom stops, boom kick out devices, anti-two block devices and load moment indicators where required. |
| ___ | ___ | Check air, hydraulic and other pressurized lines for deterioration or leakage. |
| ___ | ___ | Check hooks and latches for deformation, chemical damage, cracks or wear. |
| ___ | ___ | Check electrical apparatus for malfunctioning, signs of excessive deterioration, dirt or moisture accumulation. |
| ___ | ___ | Check hydraulic system for proper fluid level. |
| ___ | ___ | Check tires for proper inflation and condition. |
| ___ | ___ | Check ground conditions around the hoisting equipment for proper support, including ground settling under and around outriggers, ground water accumulation or similar conditions. |
| ___ | ___ | Check hoisting equipment for level position. |
| ___ | ___ | Check hoisting equipment for level position after each move and setup. |
| ___ | ___ | The competent person will determine if any deficiency constitutes a hazard. |
| ___ | ___ | If the deficiency constitutes a hazard, the hoisting equipment shall be removed from service until corrected. |
| ___ | ___ | A qualified rigger shall inspect the rigging prior to each shift in accordance with 1926.251. |
| ___ | ___ | The headache ball, hook, or lead shall not be used to transport personnel except in a personnel platform. |
| ___ | ___ | Safety latches on hooks shall not be deactivated. (See exceptions in 1926.753(c)(5)). |

Other conditions: ____________________________________________________________________________

__________________________________________________________________________________________

__________________________________________________________________________________________

Note: Refer to your owners’ manuals for more specific requirements and to 1926.750; 1926.751; 1926.752 and 1926.753.

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

Tower Crane Pre-Shift Inspection

Date of Inspection ___________________	Crane Manufacturer _________________________________

Signature of Inspector _________________	Crane Serial No. or Identifier __________________________

Any deficiencies shall be required to be repaired or defective parts replaced before continued use.

| # | Standard Tower Crane Operator | Sun | Mon | Tue | Wed | Thu | Fri | Sat |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Electrical power cords – main feed – junction box/splice |  |  |  |  |  |  |  |
| 2 | Ground fault circuit interrupter (GFCI) |  |  |  |  |  |  |  |
| 3 | ON/OFF switch (main disconnect) |  |  |  |  |  |  |  |
| 4 | Crane base inspection |  |  |  |  |  |  |  |
| 5 | Inspect walkways, handrails, guards, ladders, and perimeter barricade |  |  |  |  |  |  |  |
| 6 | Inspect structure, pins, keepers, and mast bolts |  |  |  |  |  |  |  |
| 7 | Ensure all tower wedges or tie backs are in place and tight |  |  |  |  |  |  |  |
| 8 | Ensure all doors, panels, and covers are in place and weather-tight |  |  |  |  |  |  |  |
| 9 | Operators controls functioning adequately |  |  |  |  |  |  |  |
| 10 | Load moment hoist limit |  |  |  |  |  |  |  |
| 11 | Load moment trolley limit |  |  |  |  |  |  |  |
| 12 | Maximum load (line pull) |  |  |  |  |  |  |  |
| 13 | Trolley out |  |  |  |  |  |  |  |
| 14 | Trolley in |  |  |  |  |  |  |  |
| 15 | Hoist up deceleration limit |  |  |  |  |  |  |  |
| 16 | Hoist upper limit |  |  |  |  |  |  |  |
| 17 | Hoist down limit or slack line |  |  |  |  |  |  |  |
| 18 | Ensure all audio/visual indicators are functioning properly |  |  |  |  |  |  |  |
| 19 | Anemometer |  |  |  |  |  |  |  |
| 20 | Hoist brake is functioning |  |  |  |  |  |  |  |
| 21 | Slewing brake is functioning |  |  |  |  |  |  |  |
| 22 | Trolley brake |  |  |  |  |  |  |  |
| 23 | Visually inspect load block and hook |  |  |  |  |  |  |  |
| 24 | Travel brake to rail where applicable |  |  |  |  |  |  |  |
| 25 | Rail travel forward and reverse operation and limit |  |  |  |  |  |  |  |
| 26 | Inspect racks for loose connections, proper drainage, subsidence and bogie wear on travelling cranes, rail clamps, and end stops |  |  |  |  |  |  |  |
| 27 | Housekeeping: concrete debris, rebar dowels, signage lights, access/egress, etc. |  |  |  |  |  |  |  |
| 28 | Supervisor notified of defects or faults |  |  |  |  |  |  |  |

29 CFR 1926 Subpart CC—Cranes & Derricks in Construction

Tower Crane Weekly/Monthly Inspection

Date of Inspection ___________________	Crane Manufacturer _________________________________

Signature of Inspector _________________	Crane Serial No. or Identifier __________________________

Any deficiencies shall be required to be repaired or defective parts replaced before continued use.

| # | Tower Crane Operator | Week 1 | Week 2 | Week 3 | Week 4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Trolley rollers, tracks, slewing rings, and rollers |  |  |  |  |
| 2 | Sheaves, brushings, and pins |  |  |  |  |
| 3 | Jib backstops (boom stop) if applicable (luffing only) |  |  |  |  |
| 4 | Boom hoist brake (luffing only) |  |  |  |  |
| 5 | Guy ropes, pendant lines, cable clips, thimbles, and ferrules |  |  |  |  |
| 6 | All rope attachments (dead end) |  |  |  |  |
| 7 | Inspect load line, trolley line, and boom hoist rope, if applicable |  |  |  |  |
| 8 | Tie-ins to slabs or other bracing systems if used |  |  |  |  |
| 9 | Machine is properly lubricated and oil reservoirs checked |  |  |  |  |
| 10 | Inspection of all drive components |  |  |  |  |
| 11 | Counterweight supports and brackets are secure |  |  |  |  |
| 12 | Anchor bolts/pins |  |  |  |  |
| 13 | Tower bolts/pins |  |  |  |  |
| 14 | Track level, parallel |  |  |  |  |
| 15 | Supervisor notified of defects or faults |  |  |  |  |

| 16 | Operator to initial weekly |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

MONTHLY INSPECTION	Date:

| 1 | Bogie wear (travelling cranes) |  |
| --- | --- | --- |
| 2 | All belts for tension, alignment, and signs of chaffing |  |
| 3 | All brakes for adjustment and wear |  |
| 4 | Load line path: drums, sheave wear, bearings, and mounts |  |
| 5 | Trolley line path: drums, sheave wear, bearings, and mounts |  |
| 6 | Fire extinguisher |  |
| 7 | Windows and guards (visibility) |  |
| 8 | Heater |  |
| 9 | Cab supports |  |
| 10 | Pendent line connections |  |
| 11 | Supervisor notified of defects or faults |  |

12	Operator to initial monthly

Remarks:

Operator’s Signature:	 Operator’s Name:	 Certificate No.

Supervisor’s Signature:	 Supervisor’s Name:

Construction Self-Inspection Checklist

Yes   Needs   NA

Concrete         										         Action

- Is formwork and shoring adequate to support all intended loads during concrete 		___   ____   ____

placement?

- Are protruding rebars covered or bent over where work must be performed 		____   ____   ____

overhead?

3.	Do employees wear gloves and eye protection during stripping operations?		____   ____   ____

4.	Are nails removed or bent over stripped forms?					____   ____   ____

5.	Are clear pathways maintained through stripping areas?				____   ____   ____

Cranes

- Are cranes and derricks restricted from operating within 20 feet of any electrical 		____   ____   ____

power line?

- Are rated capacities, operating speed, and instructions posted and visible to 		____   ____   ____

the operator?

3.	Does the operator understand and use the load chart?					____   ____   ____

- Is the operator able to determine the angle and length of the crane boom 			____   ____   ____

at all times?

- Is the crane machinery and other rigging equipment inspected daily prior to 		____   ____   ____

use to make sure that it is in good condition?

6.	Are accessible areas within the swing radius barricaded?				____   ____   ____

7.	Are tag lines being used to prevent dangerous swing or spin of materials 		____   ____   ____

when raised or lowered by crane or derrick?

8.	Is a fire extinguisher of at least 5BC rating provided on					____   ____   ____

the crane?

9.	Are illustrations of hand signals to crane and derrick operators posted on the 		____   ____   ____

job site?

10. Does the rigger/signalman use correct signals for the crane operator to follow?		____   ____   ____

- Are crane outriggers used as required?						____   ____   ____

12.	Do crane platforms and walkways have anti-skid surfaces?				____   ____   ____

13. Is broken, worn, or damaged wire rope removed from service?				____   ____   ____

14. Are exhaust pipes guarded or insulated where employees might contact them?		____   ____   ____

Yes   Needs   NA

Action

15.  Are guardrails, hand holds, and steps provided for safe and easy access to all 		____   ____   ____

areas of the crane?

16.  Are trolley and two block limits on hammerhead tower cranes working?			____   ____   ____

17.  Have tower bolts been property torqued?						____   ____   ____

18.  Have overload limits been tested and correctly set?					____   ____   ____

19.  Do personnel platforms suspended from crane hooks conform to OSHA 			____   ____   ____

requirements?

20.  Does the crane operation comply with manufacturer’s specifications?			____   ____   ____

Flaggers

- Are flaggers provided with and made to wear high visibility garments while 		____   ____   ____

working in vehicular traffic?

- Are the warning garments of reflectorized material?					____   ____   ____

- Are the flaggers knowledgeable of standard flag signals to control traffic			____   ____   ____

effectively?

Ladders

- Are employees made aware that metal ladders are not to be used where they 		____   ____   ____

may contact electrical conductors or equipment?

- Are ladders with broken or missing rungs or split side rails tagged and taken out 		____   ____   ____

of service?

3.	Are metal ladders inspected for damage or signs of corrosion?				____   ____   ____

- Are portable wood ladders and metal ladders adequate for their purpose, in good 		____   ____   ____

condition, and provided with secure footing?

5.	Are areas around the top and bottom of the ladder kept clear?				____   ____   ____

- Are portable ladders used at such a pitch that horizontal distance from the top 		____   ____   ____

bearing to the foot of the ladder is about 1/4 of the working length of the ladder?

- Are ladders prohibited from being used in a horizontal position as platforms, 		____   ____   ____

runways, or scaffolds?

8.	Are portable ladders tied, blocked, or otherwise secured against movement?		____   ____   ____

9.	If simultaneous two-way traffic is expected, is a double cleat ladder installed?		____   ____   ____

10.  Are the rungs of ladders uniformly spaced?						____   ____   ____

Yes   Needs   NA

Action

11.	Are the side rails of the ladder extending at least 36 inches above the landing?		____   ____   ____

12.	Did a competent person provide ladder safety training to all employees?			____   ____   ____

13. Are stairways or ladders provided at all break in elevation 19 inches or higher 		____   ____   ____

to provide safe access for employees?

14.  Are stairways in good condition and are stair rails provided for stairways having 		____   ____   ____

four or more risers?

Lasers

- Are only trained and qualified employees assigned to operate laser equipment?		____   ____   ____

- Do laser operators carry proof of qualification?						____   ____   ____

- Are employees who may be potentially exposed provided with anti-laser eye 		____   ____   ____

protection?

- Are placards warning of lasers posted in the laser use area?				____   ____   ____

- When the laser is not in use are beam shutters or caps used or is the unit 			____   ____   ____

turned off?

- Is it a strict requirement that the laser beam shall never be directed at employees?		____   ____   ____

Lift Trucks

- Before being placed into service are powered industrial trucks examined for 		____   ____   ____

any conditions that may adversely affect the safety of the vehicle?

- Are defective powered industrial trucks immediately repaired or removed from 		____   ____   ____

service?

- Are the high lift rider trucks equipped with an overhead guard to protect the 		____   ____   ____

operator?

- Is a vertical load backrest provided to prevent raised loads from falling 			____   ____   ____

rearward?

- Are powered industrial trucks provided with an audible warning device to alert 		____   ____   ____

others in the area of their presence?

- Are only trained and qualified personnel permitted to operate powered 			____   ____   ____

industrial trucks?

- Are the rated load capacities of the powered industrial trucks clearly marked 		____   ____   ____

and not exceeded?

- Are raised loads kept as close to the ground as possible to prevent tipping while 		____   ____   ____

traveling?

Yes   Needs   NA

Action

- Are trucks driven with the load facing upgrade, when ascending or descending		____   ____   ____

grades in excess of 10 percent?

- Are the load engaging means fully lowered, controls neutralized, power shut 		____   ____   ____

off, and brakes set on unattended powered industrial trucks?

11. Are unauthorized riders prohibited from riding on lift trucks?				____   ____   ____

12.  Are seat belts worn by operators?							____   ____   ____

Material Hoists

- Are workers prohibited from riding the hoist?						____   ____   ____

- Is overhead protection provided  over  the  cage  or platform and the 			____   ____   ____

operator’s position?

- Is a load rating plate attached to the hoist?						____   ____   ____

- Has wire rope been inspected for harmful defects?					____   ____   ____

- Are there at least three full wraps on the winding drum when the platform is 		____   ____   ____

at the lowest point of travel?

- Is there at least three feet of clearance between the cathead sheave and 			____   ____   ____

the top of the cage when it is at the uppermost terminal on the landing?

- Are sheave bearings well lubricated?							____   ____   ____

- Are gears on the hoisting machine well-guarded?					____   ____   ____

- Are entrances to hoistway guarded or barricaded?					____   ____   ____

- Does the operator remain at the controls while the load is suspended or the 		____   ____   ____

master clutch is engaged?			____   ____   ____

- Are brakes capable of stopping and holding 125 percent of the rated load?			____   ____   ____

___   ____   ____			____   ____   ____

Guardrail Systems, Canopies and Covers

- On walking working surfaces 6 feet or more in height, are guardrail systems 		____   ____   ____

used to prevent falls from unprotected sides, edges, holes, remote excavations,

and wall openings?

- Are the top edge heights of guardrail system members 42 inches, plus or 			____   ____   ____

minus 3 inches, above the walking working surface?

- Are  wire  rope  guardrail  systems more  than  1/4  of an inch in diameter or 		____   ____   ____

greater and flagged at 6 foot intervals?

Yes   Needs   NA

Action

4.	Are canopies, screens, or toeboards installed to prevent falling objects?			____   ____   ____

5.	Are labeled covers secured over holes?						____   ____   ____

Personal Fall Arrest System (PFAS)

- Is the PFAS used to prevent falls from heights above 6 feet?				____   ____   ____

- Was the PFAS designed and installed by a qualified person to maintain a 		____   ____   ____

safety factor of two?

- Will the  PFAS  limit  the  maximum  arresting  forces imposed on an employee 		____   ____   ____

wearing a body harness to 1,800 pounds?

- Is the PFAS rigged in such a manner that an employee can neither free fall more		____   ____   ____

than 6 feet nor contact any lower level?

Safety Net Systems

- Are safety nets installed as close as practicable but no more than 30 feet 			____   ____   ____

below the walking working surface?

- Are safety nets extended beyond the edges of the walking working surfaces 		____   ____   ____

8 to 13 feet depending on the potential fall distance?

- Is  the  potential  fall  area  from  the  walking  working surfaces on 			____   ____   ____

bridges to the nets unobstructed?

- Is a certification  record  available  stating  that  a competent person has 		____   ____   ____

inspected untested nets?

Scaffolding

- Is  the  scaffold  erected  under  the  supervision  of someone competent in 		____   ____   ____

scaffold erection?

- Is the footing of the scaffold sound, rigid, and capable of carrying 4 times the 		____   ____   ____

maximum intended load?

- Are guardrails provided on scaffolds more than 10 feet above the ground?			____   ____   ____

- Are heavy loads placed over or near the bearers and not in the center of the 		____   ____   ____

plank?

- Is planking of sufficient stress grade or scaffold grade timber?				____   ____   ____

- Is  planking  of  platforms  overlapped  not  less  than 6  inches  or  more  than  		____   ____   ____

12 inches or secured  from movement?

- Where persons work under scaffold, is a 1/2 inch mesh screen provided between		____   ____   ____

toeboard and guardrail?

Yes   Needs   NA

Action

- Are poles, legs, or uprights of scaffolds plumb and securely braced to prevent		____   ____   ____

swaying and displacement?

- Are defective parts on scaffolds immediately replaced or repaired?			____   ____   ____

- Are  guardrails  and  toeboards  installed  on  all  open sides and ends of scaffold 		____   ____   ____

platforms?

- Are scaffolds  equipped  with  toeboards  wherever there is a possibility that 		____   ____   ____

falling material could cause a hazard?

- Are toeboards at least four inches in height?						____   ____   ____

- When employees are working on suspended scaffolds, are life lines firmly 		____   ____   ____

anchored to an overhead structure and not to the scaffold?

- Are employees wearing body harnesses attached to life lines?				____   ____   ____

Hand and Power Tools

- Are hand tools and other equipment regularly inspected for safe condition?			____   ____   ____

2.	Are tool handles free of splits and cracks?						____   ____   ____

3.	Are handles wedged tightly in the heads of all tools?					____   ____   ____

4.	Are impact tools free of mushroomed heads?						____   ____   ____

- Are the heads of chisels or punches ground periodically to prevent 			____   ____   ____

mushrooming?

- Are cutting edges kept sharp so the tool will move smoothly without binding 		____   ____   ____

or skipping?

- Is sharpening, redressing, or repairing tools  done properly, using tools 			____   ____   ____

suited to each purpose?

- When compressed air is used for cleaning purposes is nozzle pressure safely 		____   ____   ____

reduced to less than 30 psi?

9.	Are power saws and similar equipment provided with safety guards?			____   ____   ____

- Are  tools  used  with  the  correct  shield,  guard,  or attachments			____   ____   ____

recommended by the manufacturer?

- Are abrasive wheel grinders provided with safety guards which cover the 			____   ____   ____

spindle ends, nut, and flange projections?

- Are work rests and tongue guards properly set?						____   ____   ____

Yes   Needs   NA

Action

- Are portable circular saws equipped with guards above and below the base 		____   ____   ____

or shoe?

- Are saw guards checked to assure they are not wedged up thereby leaving 			____   ____   ____

an unguarded lower portion of the blade?

- Are springs checked for wear?							____   ____   ____

- Are guards kept in place and in working order?						____   ____   ____

- Are rotating or moving parts of equipment guarded to prevent contact by			____   ____   ____

employees?

- Do operators wear eye and face protection when grinding?				____   ____   ____

- Is the pneumatic hose line secured to the pneumatic tool?				____   ____   ____

- Are the tool bits secured by use of safety clips or retainers to prevent 		____   ____   ____

accidental disconnecting?

- Are appropriate ground-fault circuit interrupters provided at the job site?			____   ____   ____

- Is an assured equipment grounding conductor program established and			____   ____   ____

implemented at the job site?

- Are electric powered tools double-insulated or properly grounded?			____   ____   ____

- Is eye and face protection used when driving hardened or tempered 			____   ____   ____

studs or nails?

- Are tools stored in a dry, secure location where they won’t be tampered 		____   ____   ____

with?

Powder Actuated Tools

- Do all  users  of powder  actuated  tools  possess  an “Operator’s Card” 			____   ____   ____

to demonstrate that they have been trained?

2.	Are tools left unloaded until they are ready for immediate use?				____   ____   ____

3.	Are tools inspected each day for defects or obstructions prior to use?			____   ____   ____

4.	Are   the   following   types   of   personal   protective equipment used by 		____   ____   ____

operators and others in areas of tool use?

  - Hard hats? 									____   ____   ____

  - Safety goggles? 								____   ____   ____

  - Safety Shoes? 									____   ____   ____

Yes   Needs   NA

Action

  - Ear protection when making fastenings in confined areas such as 			____   ____   ____

small rooms, tanks, vaults, or ship compartments?

Trenches & Excavations

1.	Has the utility company been notified of intended digging?				____   ____   ____

- Are  daily  inspections  made  of  the  excavation  to determine the 			____   ____   ____

possibility of a cave-in and are necessary steps taken to protect employees?

- Are shoring and sloping systems used to support the walls and faces of 			____   ____   ____

the excavations sufficient to ensure against cave-ins?

4.	Is there a ladder in the excavation? 							___   ____   ____

Access to Information About Hazardous & Toxic Substances

1.	Have you evaluated your work site for compliance with this Law?			____   ____   ____

2.	Has a chemical information list been compiled?					____   ____   ____

- Have safety data sheets (SDS) been obtained or developed for all substances 		____   ____   ____

on the chemical information list?

- Are SDS readily accessible to employees?						____   ____   ____

- Is the chemical information list accessible to employees?				____   ____   ____

- Are copies provided within 5 days of a request?					____   ____   ____

- When new substances are brought on-site are additional SDS ordered?			____   ____   ____

- Has each employer provided for the exchange of information regarding 			____   ____   ____

hazardous chemicals used or stored on-site with all other employers at that site?

- Have employees been informed of their rights under this Law and procedures 		____   ____   ____

for obtaining information on hazardous substances?

- Have employees been trained about the hazards of the substances, 			____   ____   ____

appropriate work practices, control programs, protective measures, and

emergency procedures?

Asbestos

- Are materials  containing  more  than  1%  asbestos (ACM) handled in 			____   ____   ____

accordance with the construction asbestos standard?

- Are thermal system insulation and surfacing material found in building			____   ____   ____

constructed before 1980 treated as presumed asbestos containing materials

(PACM), unless demonstrated to be otherwise using the protocol of materials

in the construction asbestos standard?

Yes   Needs   NA

Action

- Are class II and III asbestos work operations being conducted in regulated 		____   ____   ____

areas?

a. Are they properly enclosed and posted? 						____   ____   ____

b. Is access limited to authorized personnel? 						____   ____   ____

c. Are appropriate respirators worn by entrants?					____   ____   ____

d.	 Is eating, drinking, smoking, and gum chewing prohibited?				____   ____   ____

e. Is there an adjacent clean room and decontamination area?				____   ____   ____

f.	Are operations supervised by a competent person?					____   ____   ____

- Do work practices and methods of control conform to the construction asbestos 		____   ____   ____

standard?

- Is an exposure  assessment   conducted   by   the competent person 			____   ____   ____

immediately before or at the initiation of operations to determine devices

provided when engineering and/or administrative expected exposures?

- Is air monitoring conducted in the manner and at the frequency specified in 		____   ____   ____

the construction asbestos standard?

- Do work practices and methods of control keep employee exposures 			____   ____   ____

below and 8-hour TWA of 0.1 f/cc?

  - In addition, are all 30-minute exposures maintained below 1 f/cc?			____   ____   ____

8.	Are respirators and protective clothing properly selected and used?			____   ____   ____

- Are respirators and containers of asbestos waste properly labeled?			____   ____   ____

- Are waste containers impermeable and sealed prior to disposal?				____   ____   ____

- Has an employee information and training program been implemented?		____   ____   ____

- Have other on-site employers been informed of the nature of the asbestos-related		____   ____   ____

activity and of measures to take to prevent exposure?

13.  If required, has an employee medical surveillance program been implemented?		____   ____   ____

- Are all activities involving asbestos being conducted in compliance with 		____   ____   ____

regulations established by the Department of Environmental Quality?

Carbon Monoxide

1.	Are salamanders and fire pots vented to the outside atmosphere?			____   ____   ____

- Are exhaust manifolds, pipes, and mufflers in good repair to eliminate 			____   ____   ____

harmful leakage of the engine exhaust?

Yes   Needs   NA

Action

- Is equipment maintained in good repair to reduce the amount of unburned 		____   ____   ____

hydrocarbons which result in the manufacture of carbon monoxide?

- Are pipings to the outdoors used when engines must be run for repair or 			____   ____   ____

adjustments while they are in enclosed areas?

5.	Are carbon monoxide levels checked regularly?					____   ____   ____

Confined Spaces

- Is the internal atmosphere tested to assure an oxygen level of not less 			____   ____   ____

than 19.5%?

- If the confined space is a manhole, is it impossible for vehicular exhaust or 		____   ____   ____

carbon monoxide to creep into the space?

- Has the space been examined for decaying vegetation and animal matter which 		____   ____   ____

may produce methane?

- Has the space been surveyed for possible industrial waste which may 			____   ____   ____

contribute to the accumulation of a toxic or combustible atmosphere?

- When there is inadequate natural air movement and adequate forced 			____   ____   ____

ventilation is not provided, is the internal atmosphere tested for combustible

gas and air contaminants?

- Has an adequate oxygen concentration been assured prior to testing 			____   ____   ____

for combustible gas and air contaminants?

- Is the space ventilated to a safe level before employees enter?				____   ____   ____

- If ventilation does not reduce or remove the hazardous substance, do 			____   ____   ____

employees wear an appropriate approved respirator to enter the space?

- Are employees trained in the use of respirators?					____   ____   ____

- Are  electrical services other than lights made inoperable by a padlock 			____   ____   ____

and tagging?

- Are employees inside and outside the confined space trained in rescue and 		____   ____   ____

CPR procedures?

- Is rescue equipment readily available for immediate use?				___   ____   ____

- Is there constant communication with employees in the immediate vicinity who 		____   ____   ____

are not in the confined space?

- Is there a written procedure covering entry under emergency conditions?			____   ____   ____

Yes   Needs   NA

Action

Dust, Gases, Vapors, Fumes, & Mists

- Are safety data sheets maintained on each product in use at the 			____   ____   ____

construction site?

- Are  agents  identified  which  may  cause  harm  by inhalation, ingestion, 		____   ____   ____

skin absorbtion, or contact?

- Can a less harmful method or product be used?						____   ____   ____

- Is adequate ventilation provided?							____   ____   ____

- Is protective equipment used to protect against over-exposure?				____   ____   ____

- Are employees made knowledgeable of the hazards when working with 		____   ____   ____

harmful agents?

Lead in Construction

- Has a determination been made as to the possibility of airborne lead exposure 		____   ____   ____

harmful agents on the job? (Significant airborne lead exposures can occur when

welding, cutting, grinding, and abrasive blasting are performed during structural

steel demolition and renovation.)

- If it has been determined that employees may have been exposed to airborne 		____   ____   ____

harmful agents lead, have you:

a.	Designated a competent person? 							____   ____   ____

  - Become familiar with the Lead Construction Standard?				____   ____   ____

  - Conducted representative personal monitoring to assess employee 			____   ____   ____

exposures?

  - Arranged for appropriate protection for employees during the assessment 		____   ____   ____

period?

  - Trained employees? 								____   ____   ____

  - Provided hand washing facilities?						____   ____   ____

  - Determined if  your  activity  is  also  covered  by the  Department  of    		____   ____   ____

Environmental Quality regulations?

3.	If exposures exceed the action level:

a.	Has a medical surveillance program been established?				____   ____   ____

b.	Have provisions been made for the required periodic air monitoring?		____   ____   ____

c.	Has additional training been provided?						____   ____   ____

- If exposures exceed the permissible exposure level, have the following 			____   ____   ____

additional requirements been met?

Yes   Needs   NA

Action

a.	Use of engineering and work practice controls to reduce exposures?			____   ____   ____

b.	Use of adequate personal protective equipment, including respiratory 		____   ____   ____

protection?

c.	Prohibition of food and beverage consumption and smoking in exposed 		____   ____   ____

areas?

d.	Establishment of a food and beverage consumption area?				____   ____   ____

  - Establishment of a change area with storage facilities?				____   ____   ____

f.	Provision of showering facilities? 						____   ____   ____

g.	Posting of warning signs at exposure area?						____   ____   ____

Lighting

- Are 5 foot-candles of illumination provided throughout the general construction 		____   ____   ____

area?

- Are the workshops and storerooms provided with 10 foot-candles of			____   ____   ____

illuminations?

3.	Is the first aid station illuminated to 30 foot-candles?					____   ____   ____

4.	Are light guards provided where there is a possibility of breakage?			____   ____   ____

5.	Are the light fixtures raised above the worker’s heads?					____   ____   ____

6.	Are wire guards grounded to the electrical grounding system?				____   ____   ____

7.	Are stairways, floor opening areas, and wall opening areas well illuminated?		____   ____   ____

Noise

- Are hearing protectors  and  a  hearing  conservation program provided for noise 		____   ____   ____

levels above 90 decibels?

- Have administrative or engineering controls been applied to eliminate or reduce 		___   ____   ____

the excessive noise?

- If administrative or engineering controls are not feasible, is personal hearing 		____   ____   ____

protection provided to reduce sound levels?

4.	Is the use of hearing protection equipment enforced?					____   ____   ____

- Is hearing protection equipment correctly fitted and maintained in a clean 		____   ____   ____

and sanitary condition?

6.	Is an audiometric testing program in effect?						____   ____   ____

Yes   Needs   NA

Action

- Are employees instructed in the effects of noise on hearing, the signs of 		____   ____   ____

over-exposure to noise, and proper use of hearing protectors?

Silica

- Is adequate exhaust provided to remove silica dust particles from the work 		____   ____   ____

area or operation?

- Are respirators provided to employees who may be over-exposed to silica dust 		____   ____   ____

particles?

- Can certain grinding, sandblasting, or mixing operations be performed by wet 		____   ____   ____

method to reduce the airborne silica hazard?

OSH Publications

We provide a variety of OSH publications. These include general industry and construction regulations, industry guides that cover different OSH topics, quick cards, fact sheets and brochures that cover a wide variety of serious safety and health workplace hazards. Workplace labor law posters are available free of charge. Review the entire list of publications at www.labor.nc.gov/safety-and-health/publications.

To obtain publications, call toll free at 1-800-NC-LABOR (1-800-625-2267) or direct at 919-707-7876. You may also download publications from www.labor.nc.gov/safety-and-health/publications or visit us at 111 Hillsborough St., Raleigh, 4th Floor (near state capitol).

Occupational Safety and Health (OSH)

Sources of Information

You may call 1-800-NC-LABOR (1-800-625-2267) to reach any division of the N.C. Department of Labor; or visit the NCDOL home page on the World Wide Web: http://www.labor.nc.gov.

N.C. Occupational Safety and Health Division.

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 3rd Floor)

Local Telephone: 919-707-7806 Fax: 919-807-2856

For information concerning education, training, interpretations of occupational safety and health standards, and OSH recognition programs contact:

Education, Training and Technical Assistance Bureau

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 4th Floor)

Telephone: 919-707-7876 Fax: 919-807-2876

For information concerning occupational safety and health consultative services contact:

Consultative Services Bureau

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 3rd Floor)

Telephone: 919-707-7846 Fax: 919-807-2902

For information concerning migrant housing inspections and other related activities contact:

Agricultural Safety and Health Bureau

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 2nd Floor)

Telephone: 919-707-7820 Fax: 919-807-2924

For information concerning occupational safety and health compliance contact:

Safety and Health Compliance District Offices

Raleigh District Office (3801 Lake Boone Trail, Suite 300, Raleigh, NC 27607)

Telephone: 919-779-8570  Fax: 919-420-7966

Asheville District Office (204 Charlotte Highway, Suite B, Asheville, NC 28803-8681)

Telephone: 828-299-8232  Fax: 828-299-8266

Charlotte District Office (901 Blairhill Road, Suite 200, Charlotte, NC 28217-1578)

Telephone: 704-665-4341  Fax: 704-665-4342

Winston-Salem District Office (4964 University Parkway, Suite 202, Winston-Salem, NC 27106-2800)

Telephone: 336-776-4420   Fax: 336-776-4422

Wilmington District Office (1200 N. 23rd St., Suite 205, Wilmington, NC 28405-1824)

Telephone: 910-251-2678  Fax: 910-251-2654

***To make an OSH Complaint, OSH Complaint Desk: 919-807-2796***

For statistical information concerning program activities contact:

Planning, Statistics and Information Management Bureau

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 2nd Floor)

Telephone: 919-707-7838  Fax: 919-807-2951

For information about books, periodicals, vertical files, videos, films, audio/slide sets and computer databases contact:

N.C. Department of Labor Library

Mailing Address:	Physical Location:

1101 Mail Service Center	111 Hillsborough St.

Raleigh, NC 27699-1101	(Old Revenue Building, 5th Floor)

Telephone: 919-707-2881 Fax: 919-807-2849

N.C. Department of Labor (Other than OSH)

1101 Mail Service Center

Raleigh, NC 27699-1101

Telephone: 919-707-7766 Fax: 919-733-6197