29 CFR 1910.119—Process Safety Management of Highly

Hazardous Chemicals

29 CFR 1910.146—Permit-Required Confined Space

29 CFR 1910.252—Welding, Cutting and Brazing - Definitions

29 CFR 1910.272—Grain Handling Facilities

29 CFR 1926.352—Welding and Cutting – Fire Prevention

29 CFR 1926.1206—Entry Permits (Confined Spaces in Construction)

Hot Work Permit

Date ____________________ Time_________________________ a.m. p.m.

Name of Person(s) Performing Work _____________________________________________

Specific Location of Work _________________________________

|  | Yes | No |
| --- | --- | --- |
| Cutting or welding permitted in an area that has been made fire safe. | ____ | ____ |
| All movable fire hazards in the vicinity have been taken to a safe place. | ____ | ____ |
| Guards used to contain the heat, sparks and slag if fire hazards cannot be removed. | ____ | ____ |
| Floor or wall openings or cracks, open doorways and windows protected or closed. | ____ | ____ |
| Fire extinguisher available for use. | ____ | ____ |
| Fire watch in areas where other than a minor fire might develop, such as around combustible material. | ____ | ____ |
| Floors swept clean of combustible material for a radius of 35 feet. | ____ | ____ |
| Combustible floors have been kept wet, covered with damp sand or protected by fire-resistant shields. | ____ | ____ |
| Welding/cutting done only in areas authorized by management. No welding/cutting in sprinkled building when sprinkler system is impaired or in presence of explosive atmosphere or in area of storage of readily ignitable material. | ____ | ____ |
| Dusts and conveyor systems that might carry sparks to distant combustibles protected or shutdown. | ____ | ____ |
| Cutter/welder is trained in safe operation of equipment and safe use of the process. | ____ | ____ |
| Any on-site contractors advised about flammable material or hazardous conditions of which they may not be aware. | ____ | ____ |

Welding or Cutting Containers:

|  | Yes | No |
| --- | --- | --- |
| Container thoroughly cleaned and ventilated. | ____ | ____ |
| Any pipelines or connections to containers disconnected or blanked. | ____ | ____ |
| PPE used as needed, e.g., eye protection, helmet, protective clothing, respirator and gloves. | ____ | ____ |
| Warning sign posted to warn other workers of hot metal. | ____ | ____ |
| Appropriate ventilation provided. | ____ | ____ |
| When working in confined spaces, a permit has been issued as per 29 CFR 1910.146. | ____ | ____ |

| _____________________________________ | _____________________________________ |
| --- | --- |
| Authorized Signature—Supervisor | Date |